GENERAL SERVICES ADMINISTRATION

FEDERAL SUPPLY SERVICE

AUTHORIZED FEDERAL SUPPLY SCHEDULE PRICE LIST

On-line access to contract ordering information, terms and conditions, up-to-date pricing, and the

option to create an electronic delivery order are available through GSA Advantage!, a menu-driven

database system. The INTERNET address GSA Advantage! is: GSAAdvantage.gov.

Omni Controls, Inc.

Schedule 66  - Scientific Equipment and Services

Geophysical and Environmental Analysis Equipment

Test and Measurement Equipment, Unmanned Scientific Vehicles

Federal Supply Class: 66

SIN: 66-607

SIN: 66-608

SIN: 66-612

SIN: 66-616

SIN: 66-618

SIN: 66-619

SIN: 627-23

Contract Number: GS-07F-6012R

Contract Period: Aug 15, 2005 – Aug 14, 2015

For more information on ordering from Federal Supply Schedules click on the FSS Schedules  button at fss.gsa.gov.

Omni Controls, Inc.

5309 Technology Drive

Tampa, FL 33647

Point of Contact: Bob Lamb, President

E-MAIL: bob@omnicontrols.com

TEL: 800-783-6664

FAX: 813-971-5117

WEB: www.omnicontrols.com

Business Size: Small

INFORMATION FOR ORDERING ACTIVITIES

1a. Awarded SIN:

SIN: 66-607: Air Temperature Measuring Instruments, Solar Radiation Measuring Instruments,

Barometric Pressure Measuring Instruments

SIN: 66-608: Humidity, Precipitation and Wind Measuring Instruments

SIN: 66-612: Environmental Data Loggers & Communication Equipment

SIN: 66-616: Liquid/ Gas Flow Measuring Instruments, Liquid Level Measuring Instruments

SIN: 66-618: Multi-Parameter Water Quality Instruments, Meters and Analyzers

SIN: 66-619: Stack Emission Measuring Equipment, Gas Analyzers, Monitors, Particle

Analyzers/Detectors

SIN: 627 23: Voltmeters, Ammeters and Multi-Meters

1b. Lowest Priced Item

Please see Page 4 for all pricing.

2. Maximum Order Limitation: All SINs - $150,000 except 627 23 $300,000

3. Minimum Order: All SINs - $100

4. Scope of Delivery: Domestic delivery excluding Hawaii, Puerto Rico and Alaska

5. Point of Production: Tampa, FL (Hillsborough County)

6. Discounts: Net GSA prices are shown

7. Volume Discounts: $8,001-$15,000 = 15% , $15,001+ = 18%

8. Prompt Payment: Net 30

9a. Government purchase cards are accepted at or below the micro-purchase threshold.

9b. Government purchase cards are accepted above the micro-purchase threshold.

10. Foreign Items: None

11. Delivery Time:

a. Normal – 18 Days ARO

b. Expedited – 7 Days ARO with confirming phone cal & stock availability

c. Overnight and 2-day delivery - Contact Contractor for Availability

d. Urgent Requirements – Contact Contractor for Availability

12. FOB: Destination

13. Ordering Address:

Omni Controls, Inc.

5309 Technology Drive

Tampa, FL 33647

Phone: 800-783-6664

Fax: 813-971-5117

13b.	Ordering procedures: For supplies and services, the ordering procedures, information on Blanket Purchase Agreements (BPA’s), and a sample BPA can be found at the GSA/FSS Schedule homepage (fss.gsa.gov/schedules)

14. Payment Address:

Omni Controls, Inc.

5309 Technology Drive

Tampa, FL 33647

Phone: 800-783-6664

Fax: 813-971-5117

15. Warranty: Standard Commercial Warranty

16. Export packing charges, if applicable: N/A

17. Terms and conditions of Government purchase card acceptance (any thresholds above the micropurchase level): N/A

18. Terms and conditions of rental, maintenance, and repair (if applicable): N/A

19. Terms and conditions of installation (if applicable). N/A

20. Terms and conditions of repair parts indicating date of parts price lists and any discounts from list prices (if applicable). N/A

20a. Terms and conditions for any other services (if applicable). N/A

21. List of service and distribution points (if applicable): N/A

22. List of participating dealers (if applicable): N/A

23. Preventive maintenance (if applicable): N/A

24a. Section 508 compliance information available at: NA

The EIT standards can be found at: www.Section508.gov/.

25. DUNS: 152713608

26. SAM Registration: Yes (Cage: 0PBR1)

PRICING

| SIN # | Manufacturer / Supplier | MFR Part # | Product Name/ Description | GSA Price |
| --- | --- | --- | --- | --- |
| 66 608 | ALNOR | 6200D | Alnor 6200D LoFlo Balometer with 2' x 2' (610 mm x 610 mm) hood-Includes: Instruments, batteries, carrying case, NIST calibration certificate, owners manual and two-year limited warranty. | $ 1,398.14 |
| 66 608 | ALNOR | 6200E | Alnor 6200E LoFlo Balometer with no hood-Includes: Instruments, batteries, carrying case, NIST calibration certificate, owners manual and two-year limited warranty. | $ 1,384.99 |
| 66 608 | ALNOR | 6200F | Alnor 6200F LoFlo Balometer with 16" x 16" (406 mm x 406 mm), 18" (460 mm) tall hood-Includes: Instruments, batteries, carrying case, NIST calibration certificate, owners manual and two-year limited warranty. | $ 1,398.14 |
| 66 608 | ALNOR | 634620085 | Alnor LoFlo Balometer hood and frame kit 16" x 16" * 18" tall- | $ 202.49 |
| 66 608 | ALNOR | 634620120 | Alnor LoFlo Balometer hood and frame kit 16" x 16" - 8" tall- | $ 202.49 |
| 66 608 | ALNOR | 634620130 | Alnor Loflo Balometer hood and frame kit 26" x 26"- | $ 202.49 |
| 66 608 | ALNOR | 634634000 | Alnor Pitot probe -12"- | $ 120.53 |
| 66 608 | ALNOR | 634634001 | Alnor Pitot probe -18"- | $ 130.17 |
| 66 608 | ALNOR | 634634002 | Alnor Pitot probe -24"- | $ 139.81 |
| 66 608 | ALNOR | 634634003 | Alnor Pitot probe -36"- | $ 163.92 |
| 66 608 | ALNOR | 634634004 | Alnor Pitot probe telescoping 8" - 38"- | $ 245.88 |
| 66 608 | ALNOR | 634634005 | Alnor Pitot probe -60"- | $ 192.85 |
| 66 608 | ALNOR | 801090 | Alnor 801090 16-point Velocity Matrix with telescopic handle- | $ 337.48 |
| 66 608 | ALNOR | 801097 | Alnor 801097 2x2 Hood Frame Kit- | $ 302.42 |
| 66 608 | ALNOR | 801200 | Alnor 1 x 4 Hood Frame Kit- | $ 302.42 |
| 66 608 | ALNOR | 801201 | Alnor 2 x 4 Hood Frame Kit- | $ 302.42 |
| 66 608 | ALNOR | 801202 | Alnor 1 x 5 Hood Frame Kit- | $ 302.42 |
| 66 608 | ALNOR | 801203 | Alnor 3 x 3 Hood Frame Kit- | $ 302.42 |
| 66 608 | ALNOR | 801206 | Alnor 1 x 4 and 2 x4 Hood Frame Kit- | $ 433.90 |
| 66 608 | ALNOR | 801207 | Alnor 1 x 5 and 3 x 3 Hood Frame Kit- | $ 433.90 |
| 66 608 | ALNOR | 8100-8 | Alnor 8100-8 Velometer Jr Range:0/200 and 0/800fpm- | $ 429.08 |
| 66 608 | ALNOR | 8100A-16 | Alnor 8100A-16 Velometer Jr Range: 0/400 and 0/1600fpm- | $ 429.08 |
| 66 608 | ALNOR | 8100B-25 | Alnor 8100B-25 Velometer Jr 0/500 and 0/2500 fpm- | $ 429.08 |
| 66 608 | ALNOR | 8455-03 | Alnor Air Velocity Transducer, 3" probe-Includes: Probe attached to 16.4-ft (5-m) cable connected to control module compression fittings for mounting in duct work, two holding clips to mount probe to parallel surface, operation and service manual and | $ 747.28 |
| 66 608 | ALNOR | 8455-06 | Alnor Air Velocity Transducer, 6" probe-Includes: Probe attached to 16.4-ft (5-m) cable connected to control module compression fittings for mounting in duct work, two holding clips to mount probe to parallel surface, operation and service manual and | $ 747.28 |
| 66 608 | ALNOR | 8455-09 | Alnor Air Velocity Transducer, 9" probe-Includes: Probe attached to 16.4-ft (5-m) cable connected to control module compression fittings for mounting in duct work, two holding clips to mount probe to parallel surface, operation and service manual and | $ 747.28 |
| 66 608 | ALNOR | 8455-12 | Alnor Air Velocity Transducer, 12" probe-Includes: Probe attached to 16.4-ft (5-m) cable connected to control module compression fittings for mounting in duct work, two holding clips to mount probe to parallel surface, operation and service manual an | $ 747.28 |
| 66 608 | ALNOR | 8465-03 | Alnor Air Velocity Transducer, 3" probe-Includes: Probe attached to 16.4-ft (5-m) cable connected to control module compression fittings for mounting in duct work, two holding clips to mount probe to parallel surface, operation and service manual and | $ 1,055.83 |
| 66 608 | ALNOR | 8465-06 | Alnor Air Velocity Transducer, 6" probe-Includes: Probe attached to 16.4-ft (5-m) cable connected to control module compression fittings for mounting in duct work, two holding clips to mount probe to parallel surface, operation and service manual and | $ 1,055.83 |
| 66 608 | ALNOR | 8465-09 | Alnor Air Velocity Transducer, 9" probe-Includes: Probe attached to 16.4-ft (5-m) cable connected to control module compression fittings for mounting in duct work, two holding clips to mount probe to parallel surface, operation and service manual and | $ 1,055.83 |
| 66 608 | ALNOR | 8465-12 | Alnor Air Velocity Transducer, 12" probe-Includes: Probe attached to 16.4-ft (5-m) cable connected to control module compression fittings for mounting in duct work, two holding clips to mount probe to parallel surface, operation and service manual an | $ 1,055.83 |
| 66 608 | ALNOR | 8475-03 | Alnor Air Velocity Transducer, 3" probe-Includes: Probe attached to 16.4-ft (5-m) cable connected to control module compression fittings for mounting in duct work, two holding clips to mount probe to parallel surface, operation and service manual and | $ 1,325.82 |
| 66 608 | ALNOR | 8475-06 | Alnor Air Velocity Transducer, 6" probe-Includes: Probe attached to 16.4-ft (5-m) cable connected to control module compression fittings for mounting in duct work, two holding clips to mount probe to parallel surface, operation and service manual and | $ 1,325.82 |
| 66 608 | ALNOR | 8475-09 | Alnor Air Velocity Transducer, 9" probe-Includes: Probe attached to 16.4-ft (5-m) cable connected to control module compression fittings for mounting in duct work, two holding clips to mount probe to parallel surface, operation and service manual and | $ 1,325.82 |
| 66 608 | ALNOR | 8475-12 | Alnor Air Velocity Transducer, 12" probe-Includes: Probe attached to 16.4-ft (5-m) cable connected to control module compression fittings for mounting in duct work, two holding clips to mount probe to parallel surface, operation and service manual an | $ 1,325.82 |
| 66 608 | ALNOR | ABT701 | Alnor ABT701 Analog Balometer with 2' x 2' Hood, Range 30-1000CFM- | $ 2,432.49 |
| 66 608 | ALNOR | ABT703 | Alnor ABT703 Analog Balometer with 16" x 16" Hood, Range 30-1000CFM- | $ 2,121.31 |
| 66 608 | ALNOR | AVM430 | Alnor AVM430 Air Velocity meter, straight probe with basic datalogging-Includes: Instrument, hard carrying case, batteries, USB cable / LogDat2 software, manual and NIST Calibration Certificte | $ 859.04 |
| 66 608 | ALNOR | AVM430-A | Alnor AVM430-A Air Velocity meter, articulated probe with basic datalogging-Includes: Instrument, hard carrying case, batteries, USB cable / LogDat2 software, manual and NIST Calibration Certificte | $ 999.29 |
| 66 608 | ALNOR | AVM440 | Alnor AVM440 Air Velocity meter, straight probe with basic datalogging-Includes: Instrument, hard carrying case, batteries, USB cable / LogDat2 software, manual and NIST Calibration Certificte | $ 1,148.31 |
| 66 608 | ALNOR | AVM440-A | Alnor AVM440-A Air Velocity meter, articulated probe with basic datalogging-Includes: Instrument, hard carrying case, batteries, USB cable / LogDat2 software, manual and NIST Calibration Certificte | $ 1,288.56 |
| 66 608 | ALNOR | AXD610 | Alnor AXD610 Micromanometer with Pressure and Velocity-Includes: Instrument, hard carrying case, batteries, manual and NIST calibration certificte | $ 482.12 |
| 66 608 | ALNOR | AXD620 | Alnor AXD620 Micromanometer with Pressure, Velocity, Flow and Datalogging-Includes: Instrument, hard carrying case, batteries, manual and NIST calibration certificat, rubber tubing, pressure tips, LogDat software / USB cable | $ 740.71 |
| 66 608 | ALNOR | RVA501 | Alnor RVA501 Rotation Vane Anemometer- | $ 727.56 |
| 66 608 | ALNOR | RVA801 | Alnor RVA801 Rotating Vane Anemometer- | $ 477.73 |
| 66 608 | ALNOR | 9303-01 | Handheld APC, 3 channels, .3/.5/5 µm (.5 ADJ), 0.1 CFM | $ 1,924.08 |
| 66 608 | ALNOR | 9306-03 | Handheld APC, 6 channels, .3/.5/.7/1/2/5 µm, 0.1 CFM | $ 3,414.26 |
| 66 608 | ALNOR | 9306-04 | Handheld APC, 6 channels, .3/.5/1/3/5/10 µm, 0.1 CFM | $ 3,414.26 |
| 66 608 | ALNOR | 9306-V2 | Handheld APC, 6 channels, 0.3 to 10 µm (ADJ), 0.1 CFM | $ 3,501.91 |
| 66 608 | ALNOR | 700020 | Inlet, Barbed fitting, 0.1 CFM Handhelds (connects directly to | $ 35.06 |
| 66 608 | ALNOR | 700004 | Inlet, Isokinetic, Stainless Steel, 0.1 CFM,(connects directly to | $ 65.74 |
| 66 608 | ALNOR | 700001 | Probe, Isokinetic, Aluminum, 0.1 CFM, (connects to tubing) | $ 52.59 |
| 66 608 | ALNOR | 700002 | Probe, Isokinetic, Stainless Steel, 0.1 CFM, (connects to tubing) | $ 87.66 |
| 66 608 | ALNOR | 700025 | Battery Charger, AeroTrak 9306 | $ 179.70 |
| 66 608 | ALNOR | 700027 | Printer Paper - 10 Rolls | $ 39.45 |
| 66 608 | ALNOR | 700083 | Carrying Case for 9306 APC w/Handle | $ 144.63 |
| 66 608 | ALNOR | 700085 | External Printer for AeroTrak Portables and Model 9306 Handheld Particle | $ 355.01 |
| 66 608 | ALNOR | 700009 | Superthane Tubing, 1/8" ID 1/4" OD, 100 FT (30.5 m) | $ 56.98 |
| 66 608 | ALNOR | 700115 | Carrying Case for AeroTrak 9303 APC | $ 109.57 |
| 66 608 | ALNOR | 700084 | Temperature/RH Probe for 9306 w/cable | $ 315.57 |
| 66 608 | ALNOR | 700003 | Inlet, Isokinetic, Aluminum, 0.1 CFM, (connects directly to instrument) | $ 43.83 |
| 66 608 | ALNOR | 700005 | Purge Filter Assembly, 0.1 CFM | $ 92.04 |
| 66 608 | ALNOR | 700019 | Battery, AeroTrak 9303 | $ 87.66 |
| 66 608 | ALNOR | 700021 | Power Supply, AeroTrak 9303 | $ 87.66 |
| 66 608 | ALNOR | 700036 | Computer Cable, AeroTrak 9303 | $ 30.68 |
| 66 608 | ALNOR | 700032 | Battery, AeroTrak 9306 | $ 96.42 |
| 66 608 | ALNOR | 700033 | Computer Cable, AeroTrak 9306 <(>&<)> Portables | $ 30.68 |
| 66 608 | ALNOR | 801694 | Power Supply, DustTrak II/DRX Handheld Models 8532/8534, and AeroTrak | $ 96.42 |
| 66 608 | ALNOR | 9310-02 | Portable APC, 6 channels, .3/.5/1/3/5/10 µm, 1 CFM | $ 7,884.79 |
| 66 608 | ALNOR | 9510-02 | Portable APC, 6 channels, .5/.7/1/3/5/10 µm, 1 CFM | $ 7,621.81 |
| 66 608 | ALNOR | 9350-02 | Portable APC, 6 channels, .3/.5/1/2/3/5 µm, 50 LPM | $ 8,498.39 |
| 66 608 | ALNOR | 9550-02 | Portable APC, 6 channels, .5/.7/1/3/5/10 µm, 50 LPM | $ 8,235.42 |
| 66 608 | ALNOR | 9500-01 | Portable APC, 6 channels, .5/.7/1/3/5/10 µm, 100 LPM | $ 9,637.93 |
| 66 608 | ALNOR | 9310-02N | Portable APC, 6 channels, .3/.5/1/3/5/10 µm, 1 CFM, No Printer | $ 7,884.79 |
| 66 608 | ALNOR | 9510-02N | Portable APC, 6 channels, .5/.7/1/3/5/10 µm, 1 CFM, No Printer | $ 7,621.81 |
| 66 608 | ALNOR | 9350-02N | Portable APC, 6 channels, .3/.5/1/2/3/5 µm, 50 LPM, No Printer | $ 8,498.39 |
| 66 608 | ALNOR | 9550-02N | Portable APC, 6 channels, .5/.7/1/3/5/10 µm, 50 LPM,No Printer | $ 8,235.42 |
| 66 608 | ALNOR | 9500-01N | Portable APC, 6 channels, .5/.7/1/3/5/10 µm, 100 LPM,No Printer | $ 9,637.93 |
| 66 608 | ALNOR | 9110-01 | Portable APC, 0.1µm, 1 CFM, 8 Channels | $ 18,846.35 |
| 66 608 | ALNOR | 700069 | Probe, Isokinetic, Stainless Steel, 1.0 CFM Portables (connects to | $ 118.34 |
| 66 608 | ALNOR | 700070 | Filter Scanning Probe, 1 CFM Portables (used with tubing) | $ 385.69 |
| 66 608 | ALNOR | 700071 | Filter Scanning Probe, 50 LPM Portables (used with tubing) | $ 416.37 |
| 66 608 | ALNOR | 700062 | Superthane Tubing, 3/8" ID 1/2" OD, 100 FT | $ 135.87 |
| 66 608 | ALNOR | 700026 | Probe, Isokinetic, Stainless Steel, 50 LPM Portables (connects to | $ 122.72 |
| 66 608 | ALNOR | 700091 | Probe, Isokinetic, Stainless Steel, 100 LPM Portables (Connects to | $ 127.10 |
| 66 608 | ALNOR | 700088 | Filter Scanning Probe, 100 LPM Portables (used with tubing) | $ 460.20 |
| 66 608 | ALNOR | 700094 | Electronic Filter Scanning Probe, 1 CFM | $ 486.50 |
| 66 608 | ALNOR | 700095 | Electronic Filter Scanning Probe, 50 LPM | $ 547.86 |
| 66 608 | ALNOR | 700096 | Electronic Filter Scanning Probe, 100 LPM | $ 604.84 |
| 66 608 | ALNOR | 700086 | Hard-side carrying case for AeroTrak Portables | $ 416.37 |
| 66 608 | ALNOR | 700087 | Heavy Duty Carrying Case for AeroTrak Portables | $ 604.84 |
| 66 608 | ALNOR | 700108 | Superthane Tubing, 1/2" ID 5/8" OD, 100 FT | $ 166.55 |
| 66 608 | ALNOR | 700102 | Filter Scanning Probe, 0.1 µm, 1 CFM Model 9110 AeroTrak Portable APC | $ 460.20 |
| 66 608 | ALNOR | 700103 | Electronic Filter Scanning Probe 0.1µm for 9110 AeroTrak APC | $ 609.22 |
| 66 608 | ALNOR | 700029 | Battery Charger, AeroTrak Portable | $ 447.05 |
| 66 608 | ALNOR | 960 | Air Velocity Probe, Straight, Velocity, Temp. | $ 600.45 |
| 66 608 | ALNOR | 962 | Air Velocity Probe, Articulated, Velocity, Temp. | $ 740.71 |
| 66 608 | ALNOR | 964 | Air Velocity Probe, Straight, Velocity, Temp., Humidity | $ 784.53 |
| 66 608 | ALNOR | 966 | Air Velocity Probe, Articulated, Velocity, Temp., Humidity | $ 924.79 |
| 66 608 | ALNOR | 700097 | Temperature/RH Probe w/cable, for Portable APCs | $ 398.84 |
| 66 608 | ALNOR | M32-01 | Manifold w/32 ports for AeroTrak 1 CFM APCs | $ 6,442.82 |
| 66 608 | ALNOR | 700101 | Manifold Adapter Kit for 9110-01,9X10-02 AeroTrak APCs | $ 236.68 |
| 66 608 | ALNOR | 700110 | Exhaust Fan Filters (5) for 0.1 µm Model 9110 AeroTrak | $ 311.18 |
| 66 608 | ALNOR | 700018 | Inlet, Isokinetic, Stainless Steel, 1.0 CFM Portables and Remotes, | $ 118.34 |
| 66 608 | ALNOR | 700035 | Inlet, Isokinetic, Stainless Steel, 50 LPM Portables (connects directly | $ 122.72 |
| 66 608 | ALNOR | 700093 | Inlet, Isokinetic, Stainless Steel, 100 LPM Portables (connects directly | $ 127.10 |
| 66 608 | ALNOR | 700007 | Manifold Service Kit (replacment of consumable parts) | $ 258.59 |
| 66 608 | ALNOR | 700028 | Battery, AeroTrak Portables | $ 258.59 |
| 66 608 | ALNOR | 3000192 | Tripod, Isokinetic Probes | $ 30.68 |
| 66 608 | ALNOR | 700057 | Power Cord - US | $ 13.15 |
| 66 608 | ALNOR | 700058 | Power Cord - UK | $ 17.53 |
| 66 608 | ALNOR | 700059 | Power Cord - EURO | $ 17.53 |
| 66 608 | ALNOR | 801692 | Power Supply, DustTrak II/DRX Desktop Models 8530/8531/8532, OPS Model | $ 87.66 |
| 66 608 | ALNOR | 700098 | Purge (zero) filter, 100 LPM AeroTrak Portable | $ 175.31 |
| 66 608 | ALNOR | 700068 | Probe, Isokinetic, Aluminum, 1.0 CFM, Portables (connects to tubing) | $ 61.36 |
| 66 608 | ALNOR | 700089 | Probe, Isokinetic, Aluminum, 50 LPM Portables (connects to tubing) | $ 65.74 |
| 66 608 | ALNOR | 700092 | Probe, Isokinetic, Aluminum, 100 LPM Portables (connects to tubing) | $ 78.89 |
| 66 608 | ALNOR | 700104 | Purge (zero) Filter, 0.1 µm, 1 CFM, 9110 and 7110 AeroTrak Portable and | $ 267.36 |
| 66 608 | ALNOR | 700067 | Purge (zero) filter, 1 CFM and 50 LPM AeroTrak Portables | $ 153.40 |
| 66 608 | ALNOR | 700106 | Probe, Isokinetic, Stainless Steel, 0.1 µm, 1 CFM Model 9110 AeroTrak | $ 149.02 |
| 66 608 | ALNOR | 9515 | Air Velocity Meter, Temp | $ 556.62 |
| 66 608 | ALNOR | 9535 | Air Velocity Meter, Straight Probe, Temp, Basic Data Logging | $ 859.04 |
| 66 608 | ALNOR | 9535-A | Air Velocity Meter, Articulated Probe, Temp, Basic Data Logging | $ 999.29 |
| 66 608 | ALNOR | 9545 | Air Velocity Meter, Straight Probe, Temp, Humidity, Data Logging | $ 1,148.31 |
| 66 608 | ALNOR | 9545-A | Air Velocity Meter, Articulated Probe, Temp, Humidity, Data Logging | $ 1,288.56 |
| 66 608 | ALNOR | 9565 | Multi-Function Ventilation Meter with Differential Pressure Sensor and | $ 1,945.99 |
| 66 608 | ALNOR | 9565-A | Multi-Function Ventilation Meter with Differential Pressure Sensor and | $ 2,090.63 |
| 66 608 | ALNOR | 9565-P | Multi-Function Ventilation Meter with Differential Pressure Sensor, No | $ 1,178.99 |
| 66 608 | ALNOR | 9565-X | Multi-Function Ventilation Meter, No Differential Pressure Sensor, No | $ 994.91 |
| 66 608 | ALNOR | 801752 | Carry Case, Basic Thermal Anemometer | $ 70.13 |
| 66 608 | ALNOR | 801757 | Carry Case, Air Velocity Meter with Data Logging | $ 109.57 |
| 66 608 | ALNOR | 801751 | Carry Case, Multi-Function Meter | $ 144.63 |
| 66 608 | ALNOR | 801760 | Large Carry Case for Multi-Function Meter and Multiple Probes | $ 179.70 |
| 66 608 | ALNOR | 801761 | Universal Power Supply | $ 52.59 |
| 66 608 | ALNOR | 372000000 | 8' (2.5 m) Norprene tubing | $ 13.15 |
| 66 608 | ALNOR | 800681 | IAQ Probe Stand | $ 43.83 |
| 66 608 | ALNOR | 801749 | Air Cone Kit TSI | $ 205.99 |
| 66 608 | ALNOR | 801748 | RV Telescopic Rod | $ 131.49 |
| 66 608 | ALNOR | 3002017 | Static pressure probe | $ 26.30 |
| 66 608 | ALNOR | 801395 | Sensor, CO | $ 245.44 |
| 66 608 | ALNOR | 1303754 | USB cable (3-foot USB-A to USB mini-B connectors) | $ 30.68 |
| 66 608 | ALNOR | 995 | Rotating Vane Probe, 100 mm, Velocity, Temp. | $ 512.80 |
| 66 608 | ALNOR | 980 | IAQ Probe, CO2, Temp, Humidity | $ 1,485.79 |
| 66 608 | ALNOR | 982 | IAQ Probe, CO2, Temp, Humidity, CO | $ 1,761.91 |
| 66 608 | ALNOR | 792 | Surface Temperature Probe | $ 127.10 |
| 66 608 | ALNOR | 794 | Air Temperature Probe | $ 127.10 |
| 66 608 | ALNOR | 984 | VOC probe (ppb), Temp | $ 2,752.44 |
| 66 608 | ALNOR | 985 | VOC Probe (ppm), Temp | $ 2,064.33 |
| 66 608 | ALNOR | 986 | IAQ Probe, VOC (ppb), CO2, Temp, Humidity | $ 3,230.18 |
| 66 608 | ALNOR | 987 | IAQ Probe, VOC (ppm), CO2, Temp, Humidity | $ 2,892.70 |
| 66 608 | ALNOR | 8934 | Portable Printer, Bluetooth | $ 385.69 |
| 66 608 | ALNOR | 8924 | Thermal paper for printer models 8925/8930/8934 (20 rolls) | $ 105.19 |
| 66 608 | ALNOR | 1208060 | Replacement battery for Model 8930 and 8934 | $ 105.19 |
| 66 608 | ALNOR | 1210390 | Belt clip for Models 8930 and 8934 | $ 26.30 |
| 66 608 | ALNOR | 1322812 | Adaptor 1.3MM TO 2.1MM COAX | $ 13.15 |
| 66 608 | ALNOR | 800706 | Calibration Gas, VOC, 10 ppm (For PPB) | $ 188.46 |
| 66 608 | ALNOR | 800707 | Calibration Gas, VOC, 100 ppm (For PPM) | $ 188.46 |
| 66 608 | ALNOR | 801780 | Replacement Lamp+Spring, VOC Sensor, ppm | $ 214.76 |
| 66 608 | ALNOR | 801781 | Electrode Stack+Tool, for ppm VOC Sensor | $ 109.57 |
| 66 608 | ALNOR | 801782 | Lamp Cleaning Kit + Spring, VOC Sensor | $ 140.25 |
| 66 608 | ALNOR | 801783 | VOC Sensor, ppm Range | $ 1,095.72 |
| 66 608 | ALNOR | 801784 | VOC Sensor, ppb Range | $ 1,029.97 |
| 66 608 | ALNOR | 801785 | Replacement Lamp+Spring, VOC Sensor, ppb | $ 214.76 |
| 66 608 | ALNOR | 801786 | Electrode Stack+Tool, VOC Sensor, ppb | $ 109.57 |
| 66 608 | ALNOR | 801787 | VOC Calibration Kit - 100 PPM isobutylene for PPM sensors, zero | $ 569.77 |
| 66 608 | ALNOR | 801788 | VOC Calibration Kit - 10 PPM Isobutylene for PPB sensors, zero gas | $ 569.77 |
| 66 608 | ALNOR | 5725 | Rotating Vane Anemometer | $ 723.17 |
| 66 608 | ALNOR | 801755 | Carry Case, Rotating Vane with Data Logging | $ 109.57 |
| 66 608 | ALNOR | RP-5725 | Repair & Calibrate Model 5725 | $ 293.65 |
| 66 608 | ALNOR | 5815 | Micromanometer, Pressure, Velocity | $ 482.12 |
| 66 608 | ALNOR | 5825 | Micromanometer, Press., Vel., Flow, Data Logging | $ 740.71 |
| 66 608 | ALNOR | 801754 | Carry Case, Basic Micromanometer | $ 70.13 |
| 66 608 | ALNOR | 801762 | Carry Case, Micromanometer with Data Logging | $ 109.57 |
| 66 608 | ALNOR | EBT730 | EBT730 Micromanometer Kit | $ 1,569.07 |
| 66 608 | ALNOR | 801092 | NiMH battery holder with (4) AA NiMH batteries | $ 43.83 |
| 66 608 | ALNOR | 801093 | External battery charger with 4 AA NiMH batteries, North America only | $ 109.57 |
| 66 608 | ALNOR | 1208048 | NiMH Battery - AA (each) | $ 13.15 |
| 66 608 | ALNOR | 1319378 | Carrying case | $ 179.70 |
| 66 608 | ALNOR | 2609081 | Telescopic, articulated probe for Velocity Matrix | $ 127.10 |
| 66 608 | ALNOR | 804241 | Velocity Matrix Stand-off Kit | $ 35.06 |
| 66 608 | ALNOR | 801040 | Power cord for EBT720/EBT721/EBT730/EBT731/8710/ | $ 83.27 |
| 66 608 | ALNOR | 800220 | Temperature and humidity probe | $ 311.18 |
| 66 608 | ALNOR | 1801157 | Battery holder for four AA batteries for select Alnor and TSI | $ 17.53 |
| 66 608 | ALNOR | 2913011 | Carrying strap/tether | $ 17.53 |
| 66 608 | ALNOR | 800873 | EBT730 Micromanometer Only | $ 1,420.05 |
| 66 608 | ALNOR | 634640006 | Duct plug, 1/4" (6.4mm) diameter - 5000 pieces | $ 293.65 |
| 66 608 | ALNOR | 634640008 | Duct plug, 1/2" (12.7mm) diameter - 1000 pieces | $ 65.74 |
| 66 608 | ALNOR | 634640015 | Duct plug, 7/8" (22.2mm) diameter - 5000 pieces | $ 293.65 |
| 66 608 | ALNOR | 8495 | Display and monitor, AVT, 115VAC | $ 569.77 |
| 66 608 | ALNOR | 1082791 | Cable, transducer to 8911/8495/other power supply | $ 35.06 |
| 66 608 | ALNOR | 8911 | AVT Transducer power supply, US | $ 131.49 |
| 66 608 | ALNOR | EBT731 | EBT731 2X2 Balometer kit | $ 2,774.36 |
| 66 608 | ALNOR | 801096 | Foam Nitrile ADH BK 0.5" x 0.5" x 60' for frame channels | $ 65.74 |
| 66 608 | ALNOR | 801180 | 2' x 2' (610mm x 6100mm) Hood and Frame Kit | $ 302.42 |
| 66 608 | ALNOR | 804240 | Repl pins, springs and c-clips | $ 56.98 |
| 66 608 | ALNOR | 801204 | 8-in x 21-in (200mm x 530mm) Biological Safety Cabinet Hood Kit | $ 407.61 |
| 66 608 | ALNOR | 801205 | 10-in x 21-in (255mm x 530mm) Biological Safety Cabinet Hood Kit | $ 407.61 |
| 66 608 | ALNOR | 534593173 | Foam handle | $ 21.91 |
| 66 608 | ALNOR | 1083682 | Support Poles, Qty 4 | $ 118.34 |
| 66 608 | ALNOR | 801209 | 16-in X 16-in (406mm x 406mm) Hood and Frame Kit | $ 262.97 |
| 66 608 | ALNOR | 800521 | Hood fabric - 2' X 4' (610mm X 1220mm) | $ 166.55 |
| 66 608 | ALNOR | 800522 | Hood fabric - 1' X 4' (305mm X 1220mm) | $ 166.55 |
| 66 608 | ALNOR | 800523 | Hood fabric - 3' X 3' (915mm X 915mm) | $ 166.55 |
| 66 608 | ALNOR | 800524 | Hood fabric - 1' X 5' (305mm X 1525mm) | $ 166.55 |
| 66 608 | ALNOR | 534513041 | Hood frame channel #6 | $ 26.30 |
| 66 608 | ALNOR | 534513018 | Hood frame channel #1 | $ 65.74 |
| 66 608 | ALNOR | 534513040 | Hood frame channel #5 | $ 26.30 |
| 66 608 | ALNOR | 534513021 | Hood frame channel #4 | $ 52.59 |
| 66 608 | ALNOR | 534513020 | Hood frame channel #3 | $ 43.83 |
| 66 608 | ALNOR | 534513017 | Hood frame channel #2 | $ 26.30 |
| 66 608 | ALNOR | 534513031 | Hood frame assembly - 2' x 2' (610mm X 610mm) | $ 122.72 |
| 66 608 | ALNOR | 801210 | 5.25-in X 48-in (133mm x 1220mm) Hood and Frame Kit | $ 359.40 |
| 66 608 | ALNOR | 801211 | 28-in X 28-in (710mm x 710mm) Hood and Frame Kit | $ 359.40 |
| 66 608 | ALNOR | 801212 | 28-in X 50-in (710mm x 1270mm) Hood and Frame Kit | $ 451.44 |
| 66 608 | ALNOR | 801214 | Support Poles, BSC Hood Kit, Qty 4 | $ 113.95 |
| 66 608 | ALNOR | 801192 | New Base Temperature Probe Kit | $ 39.45 |
| 66 608 | ALNOR | 801213 | Swirl X Flow Conditioner | $ 17.53 |
| 66 608 | ALNOR | 634650002 | Duct plug, 3/8" (9.5 mm) diameter - 1000 pieces | $ 65.74 |
| 66 608 | ALNOR | 634650003 | Duct plug, 3/8" (9.5 mm) diameter - 5000 pieces | $ 293.65 |
| 66 608 | ALNOR | 1319379 | Carrying case, wheeled | $ 302.42 |
| 66 608 | ALNOR | 800520 | EBT Hood fabric - 2' X 2' (610mm X 610mm) | $ 166.55 |
| 66 608 | ALNOR | 800877 | EBT731 base only, 2' x 2' (610 mm x 610 mm) hood, carrying case | $ 1,363.07 |
| 66 608 | ALNOR | CH-STAND | Capture Hood Stand | $ 420.76 |
| 66 608 | ALNOR | 6200 | LoFlo Balometer with 16" x 16" (406 mm x 406 mm), 8" (200 mm) tall hood | $ 1,384.99 |
| 66 608 | ALNOR | 634620110 | LoFlo Balometer hood and frame kit - 2' x 2' (610 mm x 610 mm) | $ 210.38 |
| 66 608 | ALNOR | 346620055 | Carrying Case, LoFlo Balometer 2'x2' hood and frame (only) | $ 39.45 |
| 66 608 | ALNOR | 346620056 | Carrying case, LoFlo Balometer instrument | $ 105.19 |
| 66 608 | ALNOR | 634620060 | Support pole kit, four, used with 16" x 16" (406 mm x 406 mm), 8" (200 | $ 56.98 |
| 66 608 | ALNOR | 634620050 | Support pole kit, four, used with 2' x 2' (610 mm x 610 mm) hood | $ 100.81 |
| 66 608 | ALNOR | 534620070 | 2' X 2' (610 mm x 610 mm) hood fabric | $ 96.42 |
| 66 608 | ALNOR | 534620080 | 16" x 16" (406 mm x 406 mm) hood fabric, 8" (200 mm) tall | $ 78.89 |
| 66 608 | ALNOR | 534620085 | 16" x 16" (406 mm x 406 mm) hood fabric, 18" (457 mm) tall | $ 127.10 |
| 66 608 | ALNOR | 634620061 | Support pole kit, four, used with 16" x 16" (406 mm x 406mm) 18" (457 | $ 92.04 |
| 66 608 | ALNOR | 634620030 | Replacement Bracket & Pin LOFLO BALO | $ 30.68 |
| 66 608 | ALNOR | 801588 | C-cell battery pack | $ 65.74 |
| 66 608 | ALNOR | PAN231 | Duct Leakage Tester with Inst., 230V. Includes | $ 8,572.90 |
| 66 608 | ALNOR | PAN231-110 | Duct Leakage Tester with Inst., 110V. Indludes | $ 8,572.90 |
| 66 608 | ALNOR | PAN315 | Duct Leak Tester (+/-) with no instruments, 230V | $ 7,670.03 |
| 66 608 | ALNOR | PAN315-110 | Duct Leak Tester (+/-) with no instruments, 110V | $ 7,670.03 |
| 66 608 | ALNOR | 6002638 | Duct Adaptor Assembly, PANDA | $ 113.95 |
| 66 608 | ALNOR | 6002667 | 102 I/D x 4000 LG P2 Gen Flexiduct | $ 100.81 |
| 66 608 | ALNOR | 6002598 | Low Flow Nozzle Assembly, PANDA | $ 293.65 |
| 66 608 | ALNOR | 6002607 | Cam Lock Hose Fitting, PANDA | $ 65.74 |
| 66 608 | ALNOR | 6002683 | Bandclamp (Protex 27HGR070-115ZN) | $ 39.45 |
| 66 608 | ALNOR | AFL82859201 | Thermocouple Probe | $ 96.42 |
| 66 608 | ALNOR | AFL9004167 | Smoke pellets (tube of 6) | $ 17.53 |
| 66 608 | ALNOR | AFL71549801 | Smoke cap holder | $ 74.51 |
| 66 608 | ALNOR | HM675 | Hydronic Manometer | $ 2,695.47 |
| 66 608 | ALNOR | HM685 | Hydronic Manometer | $ 3,291.54 |
| 66 608 | ALNOR | 801290 | HM Temperature probe, 4" probe length (10.2 cm) | $ 201.61 |
| 66 608 | ALNOR | 801291 | HM Temperature probe, 6" probe length (15.24 cm) | $ 227.91 |
| 66 608 | ALNOR | 801293 | HM temperature probe extension cable - 6' (1.8 m) | $ 83.27 |
| 66 608 | ALNOR | 632360004 | P/T Gauge adapter probes, package of 2 | $ 48.21 |
| 66 608 | ALNOR | 632360010 | Bell and Gosset read-out probes, package of 2 | $ 87.66 |
| 66 608 | ALNOR | 1319409 | HM Carrying case | $ 118.34 |
| 66 608 | ALNOR | 1801206 | Holder, Battery, 4AA's w/ 9V Snaps | $ 8.77 |
| 66 608 | ALNOR | 632650510 | HM Hose kit with one red and one blue hose | $ 131.49 |
| 66 608 | ALNOR | 632650515 | HM Hose snubber, package of 2 | $ 35.06 |
| 66 608 | ALNOR | 7525 | IAQ Meter, CO2, Temp, Humidity, Data Logging | $ 1,669.87 |
| 66 608 | ALNOR | 7545 | IAQ Meter, CO2, Temp, Humidity, CO, Data Logging | $ 1,910.93 |
| 66 608 | ALNOR | 7515 | IAQ Meter, CO2 | $ 534.71 |
| 66 608 | ALNOR | 800675 | Gas regulator, 0.3 lpm (fits all calibration kits) | $ 149.02 |
| 66 608 | ALNOR | 801679 | Calibration collar | $ 39.45 |
| 66 608 | ALNOR | 8936 | 1000 ppm CO2 Calibration kit - 1,000 ppm CO2 gas, 0 ppm gas (N2) | $ 574.16 |
| 66 608 | ALNOR | 8937 | 5000 ppm CO2 Calibration kit - 5,000 ppm CO2 gas, 0 ppm gas (N2) | $ 574.16 |
| 66 608 | ALNOR | 8938 | CO and CO2 Calibration kit - 35 ppm CO gas with 1000 ppm CO2 gas, 0 ppm | $ 574.16 |
| 66 608 | ALNOR | 8939 | 200 ppm Carbon monoxide calibration kit - 200 ppm CO gas, 0 ppm gas (air) | $ 574.16 |
| 66 608 | ALNOR | 800672 | 1,000 ppm CO2 calibration gas, 103 Liters | $ 162.17 |
| 66 608 | ALNOR | 800673 | 5,000 ppm CO2 calibration gas, 103 Liters | $ 162.17 |
| 66 608 | ALNOR | 800691 | Span calibration gas, CO, 35 ppm | $ 162.17 |
| 66 608 | ALNOR | 800692 | Span calibration gas, CO, 200 ppm | $ 162.17 |
| 66 608 | ALNOR | 800697 | Zero calibration gas (air) for CO2 or CO calibration, 103 liter cylinder | $ 149.02 |
| 66 608 | ALNOR | 800705 | 3.0% CO2 Calibration gas kit includes carry case, regulator and tubing | $ 609.22 |
| 66 608 | ALNOR | 801753 | Carry Case, Basic IAQ Meter | $ 70.13 |
| 66 608 | ALNOR | 801756 | Carry Case, IAQ Meter with Data Logging | $ 109.57 |
| 66 608 | ALNOR | 800702 | 35 ppm CO and 1000 ppm CO2 mixed calibration gas, 103 liters | $ 162.17 |
| 66 608 | ALNOR | RP-7425 | Repair & Calibrate Model 7425 | $ 293.65 |
| 66 608 | ALNOR | CL-8710 | Calibrate Model 8710 | $ 188.46 |
| 66 608 | ALNOR | RP-8710 | Repair and calibrate Model 8710 | $ 306.80 |
| 66 608 | ALNOR | CL-800218 | Calibration of Temperature Probe | $ 135.87 |
| 66 608 | ALNOR | RP-800218 | Repair and Cal Temperature Probe | $ 245.44 |
| 66 608 | ALNOR | CL-800219 | Calibration of Humidity / Temp Probe | $ 175.31 |
| 66 608 | ALNOR | RP-800219 | Repair and Cal - Humidity/Temp Probe | $ 328.72 |
| 66 608 | ALNOR | CL-8375 | Calibrate Model 8375 | $ 293.65 |
| 66 608 | ALNOR | RP-8375 | Repair and calibrate Model 8375 | $ 631.13 |
| 66 608 | ALNOR | CL-8371 | Calibrate Model 8371 | $ 315.57 |
| 66 608 | ALNOR | RP-8371 | Repair and calibrate Model 8371 | $ 762.62 |
| 66 608 | ALNOR | 8930 | Portable Printer | $ 333.10 |
| 66 608 | ALNOR | 1303862 | Replacement Cable for Model 8930 | $ 26.30 |
| 66 608 | ALNOR | 800218 | Temperature probe | $ 245.44 |
| 66 608 | ALNOR | 800219 | Humidity and temperature probe | $ 328.72 |
| 66 608 | ALNOR | 800525 | TSI Hood fabric-2' x 2' (610mm x 610mm) | $ 166.55 |
| 66 608 | ALNOR | 2917050 | Thermistor probe 8 pos DIN | $ 52.59 |
| 66 608 | ALNOR | 8940 | Computer down load cable | $ 65.74 |
| 66 608 | ALNOR | 800590 | Hood fabric - 610 mm x 610 mm (2' x 2') | $ 175.31 |
| 66 608 | ALNOR | 800591 | Hood fabric - 610 mm x 1220 mm (2' x 4') | $ 175.31 |
| 66 608 | ALNOR | 800592 | Hood fabric - 305 mm x 1220 mm (1' x 4') | $ 175.31 |
| 66 608 | ALNOR | 800593 | Hood fabric - 915 mm x 915 mm (3' x 3') | $ 175.31 |
| 66 608 | ALNOR | 800594 | Hoop fabric - 305 mm x 1525 (1'x5') | $ 192.85 |
| 66 608 | ALNOR | 802082 | Hood, 2'X4' with frame hardware. Requires frame hardware from 2' x 2' | $ 306.80 |
| 66 608 | ALNOR | 802083 | Hood, 1'X4' with frame hardware. Requires frame hardware from 2' x 2' | $ 306.80 |
| 66 608 | ALNOR | 802084 | Hood, 3'X3' with frame hardware. Requires frame hardware from 2' x 2' | $ 306.80 |
| 66 608 | ALNOR | 802085 | Hood, 1'X5' with frame hardware. Requires frame hardware from 2' x 2' | $ 306.80 |
| 66 608 | ALNOR | 1080165 | Flow conditioning screen - 2'X2' | $ 140.25 |
| 66 608 | ALNOR | 1082344 | Frame kit, 610 mm x 610 mm hood | $ 306.80 |
| 66 608 | ALNOR | 1080348 | Flow conditioning screen - 1'X4' | $ 144.63 |
| 66 608 | ALNOR | 1080349 | Flow conditioning screen - 2'X4' | $ 144.63 |
| 66 608 | ALNOR | 1080351 | Flow conditioning screen - 1'X5' | $ 144.63 |
| 66 608 | ALNOR | 1080352 | Flow conditioning screen - 3'X3' | $ 144.63 |
| 66 608 | ALNOR | 1081263 | Accubalance frame kit (necessary for 1' x 4', 2' x 4', 3' x 3' and 1' x | $ 131.49 |
| 66 608 | ALNOR | 1081390 | Frame support pole (4 required) | $ 17.53 |
| 66 608 | ALNOR | 1081580 | Tube connector, used only with the 1' x 5' hood frame - 1 | $ 122.72 |
| 66 608 | ALNOR | 1081584 | Right angle tubing connector (4 required) | $ 17.53 |
| 66 608 | ALNOR | 1302833 | Coupling Molded Straight 1/2 x 1/2 | $ 8.77 |
| 66 608 | ALNOR | 1081736 | Accubalance 3 hood kit: 2 fabrics (1' x 4', 2' x 4') and 2 frame kits | $ 556.62 |
| 66 608 | ALNOR | 1081737 | Accubalance 5 hood kit: 4 fabrics (1' x 4', 2' x 4', 1' x 5', 3' x 3') | $ 999.29 |
| 66 608 | ALNOR | 1081972 | Accubalance replacement battery cover | $ 52.59 |
| 66 608 | ALNOR | 1319067 | Carrying case, soft sided, Models 8371/8372/8373 | $ 280.50 |
| 66 608 | ALNOR | 1803030 | Handle grip, capture hood | $ 26.30 |
| 66 608 | ALNOR | CL-AXD610 | Calibrate Model AXD610 | $ 105.19 |
| 66 608 | ALNOR | RP-AXD610 | Repair & Calibrate Model AXD610 | $ 188.46 |
| 66 608 | ALNOR | CL-AXD620 | Calibrate Model AXD620 | $ 118.34 |
| 66 608 | ALNOR | RP-AXD620 | Repair & Calibrate Model AXD620 | $ 232.29 |
| 66 608 | ALNOR | 634040018 | Velometer tubing, black hose | $ 21.91 |
| 66 608 | ALNOR | 634040019 | Velometer tubing, red hose | $ 21.91 |
| 66 608 | ALNOR | 346028002 | Carrying case, Velometer Jr. | $ 30.68 |
| 66 608 | ALNOR | CL-8100VELJR | Calibrate Model 8100 | $ 188.46 |
| 66 608 | ALNOR | RP-8100VELJR | Repair and calibrate Model 8100 | $ 223.53 |
| 66 608 | ALNOR | RP-801291 | Repair or replace 6" (15 cm) temperature probe | $ 227.91 |
| 66 608 | ALNOR | RP-801290 | Repair and Calibration of 801290 | $ 201.61 |
| 66 608 | ALNOR | AVM410 | Air Velocity Meter, Temp | $ 556.62 |
| 66 608 | ALNOR | CL-AVM410 | Calibrate Model AVM410 | $ 140.25 |
| 66 608 | ALNOR | RP-AVM410 | Repair & Calibrate Model AVM410 | $ 227.91 |
| 66 608 | ALNOR | CL-AVM430 | Calibrate Model AVM430 | $ 170.93 |
| 66 608 | ALNOR | RP-AVM430 | Repair & Calibrate Model AVM430 | $ 306.80 |
| 66 608 | ALNOR | CL-AVM430-A | Calibrate AVM430-A | $ 170.93 |
| 66 608 | ALNOR | RP-AVM430-A | Repair & Calibrate AVM430-A | $ 425.14 |
| 66 608 | ALNOR | CL-AVM440 | Calibrate Model AVM440 | $ 236.68 |
| 66 608 | ALNOR | RP-AVM440 | Repair & Calibrate Model AVM440 | $ 372.54 |
| 66 608 | ALNOR | CL-AVM440-A | Calibrate Model AVM440-A | $ 236.68 |
| 66 608 | ALNOR | RP-AVM440-A | Repair & Calibrate Model AVM440-A | $ 464.58 |
| 66 608 | ALNOR | 801750 | Air Cone Kit Alnor | $ 205.99 |
| 66 608 | ALNOR | CL-RVA801 | Cal Rotating Vane Anemometer RVA801 | $ 127.10 |
| 66 608 | ALNOR | RP-RVA801 | Rep Cal Rotating Vane Anemometer RVA801 | $ 205.99 |
| 66 608 | ALNOR | CL-RVA501 | Calibrate Model RVA501 | $ 157.78 |
| 66 608 | ALNOR | RP-RVA501 | Repair & Calibrate Model RVA501 | $ 293.65 |
| 66 608 | ALNOR | CL-ABT | Calibrate ABT Analog Balometer | $ 267.36 |
| 66 608 | ALNOR | RP-ABT | Repair and Calibrate ABT Balometer | $ 539.09 |
| 66 608 | ALNOR | 534066061 | Low flow screen, Standard Balometer | $ 113.95 |
| 66 608 | ALNOR | 534513042 | Support dowel extension | $ 43.83 |
| 66 608 | ALNOR | 634593115 | Hood and frame kit - 2' x 4' (610 mm x 1220 mm) and 1' x 4' (305 mm x | $ 622.37 |
| 66 608 | ALNOR | 634593117 | Hood and frame kit - 1' x 4' (305 mm x 1220 mm) | $ 363.78 |
| 66 608 | ALNOR | 634593118 | Hood and frame kit - 2' x 4' (612 mm x 1220 mm) | $ 363.78 |
| 66 608 | ALNOR | 634593125 | Hood and frame kit - 3' x 3' (915 mm x 915 mm) and 1' x 5' (305 mm x | $ 622.37 |
| 66 608 | ALNOR | 634593127 | Hood and frame kit - 1' x 5' (305 mm x 1525 mm) | $ 363.78 |
| 66 608 | ALNOR | 634593128 | Hood and frame kit - 3' x 3' (915 mm x 915 mm) | $ 363.78 |
| 66 608 | ALNOR | 534513016 | Support dowel assembly | $ 48.21 |
| 66 608 | ALNOR | 534513030 | Manifold assembly | $ 394.46 |
| 66 608 | ALNOR | 534513032 | Hood fabric, 2' x 4'(610 mm x 1220 mm) | $ 179.70 |
| 66 608 | ALNOR | 534513033 | Hood fabric,1' x 4' (305 mm x 1220 mm) | $ 179.70 |
| 66 608 | ALNOR | 534513034 | Hood fabric,2' x 2' (610 mm x 610 mm) | $ 149.02 |
| 66 608 | ALNOR | 534513035 | Hood fabric,1' x 5' (305 mm x 1525 mm) | $ 179.70 |
| 66 608 | ALNOR | 534513036 | Hood fabric,3' x 3' (915 mm x 915 mm) | $ 179.70 |
| 66 608 | ALNOR | 634593107 | Hood and frame kit,2' x 2' (610 mm x 610 mm) | $ 280.50 |
| 66 608 | ALNOR | 534593155 | Folding, collapsible frame - 2' x 2' (610 mm x 610 mm) | $ 144.63 |
| 66 608 | ALNOR | 534593169 | Low flow screen | $ 144.63 |
| 66 608 | ALNOR | 534593168 | Hood fabric - 16" x 16" (406 mm x 406 mm) | $ 78.89 |
| 66 608 | ALNOR | 534593170 | Manifold assembly | $ 350.63 |
| 66 608 | ALNOR | 534593180 | Frame section 16" - (406 mm) | $ 48.21 |
| 66 608 | ALNOR | CL-6461 | Calibrate Model 6461 | $ 346.25 |
| 66 608 | ALNOR | RP-6461 | Repair and calibrate Model 6461 | $ 815.21 |
| 66 608 | ALNOR | CL-6463 | Calibrate Model 6463 | $ 346.25 |
| 66 608 | ALNOR | RP-6463 | Repair and calibrate Model 6463 | $ 815.21 |
| 66 608 | ALNOR | CL-6465 | Calibrate Model 6465 | $ 346.25 |
| 66 608 | ALNOR | RP-6465 | Repair and calibrate Model 6465 | $ 815.21 |
| 66 608 | ALNOR | CL-BALJR | Calibrate Balometer Jr. | $ 280.50 |
| 66 608 | ALNOR | RP-BALJR | Repair and calibrate Balometer Jr. | $ 596.07 |
| 66 608 | ALNOR | CL-8570 | Calibrate Model 8570 | $ 175.31 |
| 66 608 | ALNOR | RP-8570 | Repair and calibrate Model 8570 | $ 486.50 |
| 66 608 | ALNOR | CL-8571 | Calibrate Model 8571 | $ 175.31 |
| 66 608 | ALNOR | RP-8571 | Repair and calibrate Model 8571 | $ 394.46 |
| 66 608 | ALNOR | CL-8585 | Calibrate Model 8585 | $ 267.36 |
| 66 608 | ALNOR | RP-8585 | Repair and calibrate Model 8585 | $ 578.54 |
| 66 608 | ALNOR | CL-8586 | Calibrate Model 8586 | $ 267.36 |
| 66 608 | ALNOR | RP-8586 | Repair and calibrate Model 8586 | $ 556.62 |
| 66 608 | ALNOR | CL-RVA | Calibrate Model RVA | $ 271.74 |
| 66 608 | ALNOR | CL-RVAPLUS | Calibrate Model RVA+ | $ 157.78 |
| 66 608 | ALNOR | CL-RVD | Calibrate Model RVD | $ 192.85 |
| 66 608 | ALNOR | CL-RV6 | Cal Rotating Vane Anemometer RV-6 | $ 319.95 |
| 66 608 | ALNOR | CL-RVA1 | Cal Rotating Vane Anemometer RVA-1 | $ 271.74 |
| 66 608 | ALNOR | CL-AVT55 | Calibrate Model AVT55 | $ 192.85 |
| 66 608 | ALNOR | RP-AVT55 | Repair and calibrate Model AVT55 | $ 337.48 |
| 66 608 | ALNOR | CL-AVT65 | Calibrate Model AVT65 | $ 192.85 |
| 66 608 | ALNOR | RP-AVT65 | Repair and calibrate Model AVT65 | $ 455.82 |
| 66 608 | ALNOR | CL-AVT75 | Calibrate Model AVT75 | $ 192.85 |
| 66 608 | ALNOR | RP-AVT75 | Repair and calibrate Model AVT75 | $ 517.18 |
| 66 608 | ALNOR | CL-TH710 | Calibrate Model TH710 | $ 153.40 |
| 66 608 | ALNOR | RP-TH710 | Repair & Calibrate Model TH710 | $ 284.89 |
| 66 608 | ALNOR | CL-TH720 | Calibrate Model TH720 | $ 166.55 |
| 66 608 | ALNOR | RP-TH720 | Repair & Calibrate Model TH720 | $ 284.89 |
| 66 608 | ALNOR | RP-6006 | Repair and calibrate Model 6006 meter only | $ 280.50 |
| 66 608 | ALNOR | CL-6000AP | Calibrate Model 6000AP | $ 350.63 |
| 66 608 | ALNOR | RP-6000AP | Repair and calibrate Model 6000AP | $ 547.86 |
| 66 608 | ALNOR | CL-6000BP | Calibrate Model 6000BP | $ 350.63 |
| 66 608 | ALNOR | RP-6000BP | Repair and calibrate Model 6000BP | $ 617.98 |
| 66 608 | ALNOR | CL-CF910 | Calibrate Model CF910 | $ 153.40 |
| 66 608 | ALNOR | RP-CF910 | Repair & Calibrate Model CF910 | $ 267.36 |
| 66 608 | ALNOR | CL-CF920 | Calibrate Model CF920 | $ 249.82 |
| 66 608 | ALNOR | RP-CF920 | Repair & Calibrate Model CF920 | $ 447.05 |
| 66 608 | ALNOR | CL-CF930 | Calibrate Model CF930 | $ 328.72 |
| 66 608 | ALNOR | RP-CF930 | Repair & Calibrate Model CF930 | $ 517.18 |
| 66 608 | ALNOR | CL-EBT721 | Calibrate Model EBT721 | $ 293.65 |
| 66 608 | ALNOR | RP-EBT721 | Repair and Calibrate Model EBT721 | $ 631.13 |
| 66 608 | ALNOR | CL-EBT720 | Calibrate Model EBT720 | $ 188.46 |
| 66 608 | ALNOR | RP-EBT720 | Repair and calibrate Model EBT720 | $ 306.80 |
| 66 608 | ALNOR | CL-HM670 | Calibrate Model HM670 | $ 319.95 |
| 66 608 | ALNOR | RP-HM670 | Repair and calibrate Model HM670 | $ 753.85 |
| 66 608 | ALNOR | CL-HM680 | Calibrate Model HM680 | $ 319.95 |
| 66 608 | ALNOR | RP-HM680 | Repair and calibrate Model HM680 | $ 753.85 |
| 66 619 | BACHARACH | 0005-5114 | O RING | $ 3.86 |
| 66 619 | BACHARACH | 0007-1563 | FILTER, INLET OF GAS PUMP, ECA | $ 17.97 |
| 66 619 | BACHARACH | 0007-1644 | FILTER, SHORT WHITE (PACKAGE OF 3) | $ 27.17 |
| 66 619 | BACHARACH | 0010-5000 | FYRITE CARBON DIOXIDE GAS ANALYZER KIT (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 376.93 |
| 66 619 | BACHARACH | 0010-5002 | OIL BURNER COMBUSTION KIT (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 491.76 |
| 66 619 | BACHARACH | 0010-5011 | FYRITE OXYGEN GAS ANALYZER KIT (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 393.58 |
| 66 619 | BACHARACH | 0010-5014 | OIL BURNER COMBUSTION KIT (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 572.40 |
| 66 619 | BACHARACH | 0010-5020 | FYRITE DUPLEX GAS ANALYZER KIT (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 523.31 |
| 66 619 | BACHARACH | 0010-5022 | OIL BURNER COMBUSTION KIT (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 609.22 |
| 66 619 | BACHARACH | 0010-5032 | FYRITE CO2 GAS ANALYZER RANGE: 0-60% (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 407.17 |
| 66 619 | BACHARACH | 0010-5036 | OIL BURNER COMBUSTION KIT (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 550.05 |
| 66 619 | BACHARACH | 0010-5046 | FYRITE OXYGEN GAS ANALYZER RANGE 0-60% (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 420.32 |
| 66 619 | BACHARACH | 0010-5053 | FYRITE CO2 GAS ANALYZER RANGE 0-7% (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 433.90 |
| 66 619 | BACHARACH | 0010-5054 | FYRITE OXYGEN GAS ANALYZER RANGE 0-7% (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 458.01 |
| 66 619 | BACHARACH | 0010-5057 | C02 FLUID 3 BOT/CTN (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 47.77 |
| 66 619 | BACHARACH | 0010-5060 | OXYG FLUID 3 BOT/CTN (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 82.40 |
| 66 619 | BACHARACH | 0010-5100 | FYRITE C02 FLD 3 BOT/CTN 7% (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 47.77 |
| 66 619 | BACHARACH | 0010-5103 | FYRITE OXY FLD 3 BOT/CTN 7% (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 82.40 |
| 66 619 | BACHARACH | 0010-5111 | FYRITE GAS ANALYZER DUPLEX KIT RANGE: 0-60% C02 and 0-21%O2 (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 538.65 |
| 66 619 | BACHARACH | 0011-0019 | VALVE PLUNGER | $ 25.42 |
| 66 619 | BACHARACH | 0011-0021 | DIAPHRAGM FYRITE | $ 26.30 |
| 66 619 | BACHARACH | 0011-0026 | VALVE PLUNGER SPRING | $ 13.59 |
| 66 619 | BACHARACH | 0011-0126 | BOTTOM CAP | $ 35.94 |
| 66 619 | BACHARACH | 0011-0132 | TOP CAP | $ 26.30 |
| 66 619 | BACHARACH | 0011-0136 | TOP CAP RIM W/GASKET | $ 27.17 |
| 66 619 | BACHARACH | 0011-7029 | SAMPLING ASSY | $ 53.03 |
| 66 619 | BACHARACH | 0011-7032 | FYRITE C02 GAS ANALYZER RANGE: 0-20% (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 275.68 |
| 66 619 | BACHARACH | 0011-7036 | FYRITE OXYGEN GAS ANALYZER RANGE: 0-21% (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 282.70 |
| 66 619 | BACHARACH | 0011-7052 | FYRITE C02 REPAIR PKG 20 + 60% (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 67.06 |
| 66 619 | BACHARACH | 0011-7053 | FYRITE C02 REPAIR PKG, 7% (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 76.26 |
| 66 619 | BACHARACH | 0011-7054 | FYRITE O2 REPAIR PKG. (21 & 60%) (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 76.26 |
| 66 619 | BACHARACH | 0012-0011 | WICK REPLACEMENT KIT/PKG OF 4 | $ 17.09 |
| 66 619 | BACHARACH | 0012-0266 | PSYCH REFILLTHERM., 25 TO 120 F (RED SPIRIT) | $ 27.17 |
| 66 619 | BACHARACH | 0012-0327 | PSYCH REFILL THERM., -5 TO 50 C (RED SPIRIT) | $ 27.17 |
| 66 619 | BACHARACH | 0012-7012 | SLING PSYCHROMETER, 25 TO 120 F (RED SPIRIT) | $ 76.26 |
| 66 619 | BACHARACH | 0012-7014 | TEMPOINT, 6 IN, 200 TO 1000 F | $ 70.00 |
| 66 619 | BACHARACH | 0012-7018 | TEMPOINT, 12, 200 TO 1000 F | $ 88.53 |
| 66 619 | BACHARACH | 0012-7043 | SLING PSYCHROMETER, -5 TO 50 C (RED SPIRIT) | $ 76.26 |
| 66 619 | BACHARACH | 0013-3000 | DRAFT RITE -0.14" W | $ 98.35 |
| 66 619 | BACHARACH | 0013-3001 | DRAFT RITE - 0.25"W | $ 98.35 |
| 66 619 | BACHARACH | 0013-3002 | DRAFT RITE -25MM W | $ 98.35 |
| 66 619 | BACHARACH | 0013-3003 | DRAFT RITE -6.5MM W | $ 98.35 |
| 66 619 | BACHARACH | 0013-5010 | DRAFT RITE TUBE SET | $ 18.85 |
| 66 619 | BACHARACH | 0013-7018 | DRAFT GAUGE -5MM W | $ 192.85 |
| 66 619 | BACHARACH | 0013-7019 | DRAFT GAUGE -0.25"W | $ 192.85 |
| 66 619 | BACHARACH | 0017-0025 | MANOMETER FLUID 1 BOTTLE | $ 24.54 |
| 66 619 | BACHARACH | 0017-7000 | MANOMETER 15 "W/38CM | $ 127.10 |
| 66 619 | BACHARACH | 0017-7002 | MANOMETER 15"W/8.5 OZ | $ 127.10 |
| 66 619 | BACHARACH | 0019-0397 | LEAKATOR 10 CASE | $ 43.83 |
| 66 619 | BACHARACH | 0019-0398 | REP. SENSOR & MATCHED RESISTOR, LEAKATOR | $ 46.02 |
| 66 619 | BACHARACH | 0019-0499 | REP COMBUSTIBLE GAS SENSOR, INFORMANT 2 | $ 37.69 |
| 66 619 | BACHARACH | 0019-0501 | HARD CARRYING CASE | $ 47.77 |
| 66 619 | BACHARACH | 0019-0510 | REP REFRIG SENSOR, INFORMANT 2 & INFMT | $ 37.69 |
| 66 619 | BACHARACH | 0019-0553 | PROBE ASSEMBLY, TRU POINTE | $ 26.30 |
| 66 619 | BACHARACH | 0019-0559 | REPLACEMENT SENSOR, TRU POINTE | $ 39.45 |
| 66 619 | BACHARACH | 0019-0575 | REP COMBUSTIBLE GAS SENSOR, LEAKATOR JR. | $ 37.69 |
| 66 619 | BACHARACH | 0019-3037 | PROBE STOP (INCLUDES THUMB SCREW) | $ 45.58 |
| 66 619 | BACHARACH | 0019-3091 | REP FLEX PROBE ASSY, LEAKATOR | $ 102.12 |
| 66 619 | BACHARACH | 0019-3242 | CALIBRATION CUP, SNIFIT | $ 35.94 |
| 66 619 | BACHARACH | 0019-3265 | WATER TRAP/FILTER ASS'Y, (for 19-7110 & 19-7111 probe and hose assy) | $ 46.02 |
| 66 619 | BACHARACH | 0019-7051 | LEAKATOR 10 COMBUSTIBLE GAS DETECTOR | $ 289.27 |
| 66 619 | BACHARACH | 0019-7060 | SNIFIT 50 CO ANALYZER | $ 324.33 |
| 66 619 | BACHARACH | 0019-7061 | CO SENSOR, SNIFIT | $ 140.25 |
| 66 619 | BACHARACH | 0019-7063 | ETO LEAKATOR | $ 393.58 |
| 66 619 | BACHARACH | 0019-7075 | LEAKATOR JR. | $ 174.44 |
| 66 619 | BACHARACH | 0019-7110 | PROBE ASSEMBLY, PRO 100/MONOXOR III | $ 65.30 |
| 66 619 | BACHARACH | 0019-7111 | PROBE ASSEMBLY, PRO 110/120, TECH 50/60 | $ 120.09 |
| 66 619 | BACHARACH | 0019-8001 | NOx REPLACEMENT SENSOR | $ 308.55 |
| 66 619 | BACHARACH | 0019-8002 | SO2 REPLACEMENT SENSOR | $ 308.55 |
| 66 619 | BACHARACH | 0019-8038 | INFORMANT 2 CONTRACTOR KIT | $ 376.05 |
| 66 619 | BACHARACH | 0019-8041 | INFORMANT 2 COMBUSTIBLE GAS DETECTOR | $ 349.75 |
| 66 619 | BACHARACH | 0019-8042 | INFORMANT 2 DUAL REFRIG/COMB GAS DET | $ 393.58 |
| 66 619 | BACHARACH | 0019-8043 | INFORMANT 2 DELUXE KIT, REFRIGERANT DET | $ 419.88 |
| 66 619 | BACHARACH | 0019-8044 | INFORMANT 2 DELUXE KIT, COMB GAS DETECTOR | $ 419.88 |
| 66 619 | BACHARACH | 0019-8045 | INFORMANT 2 DELUXE KIT, DUAL REF/COMB DET | $ 463.71 |
| 66 619 | BACHARACH | 0019-8106 | TRU POINTE KIT | $ 187.06 |
| 66 619 | BACHARACH | 0021-0013 | GUARD SPRING | $ 8.33 |
| 66 619 | BACHARACH | 0021-0018 | SMOKE SCALE | $ 26.30 |
| 66 619 | BACHARACH | 0021-0019 | FILTER PAPER | $ 19.72 |
| 66 619 | BACHARACH | 0021-0020 | SCALE/PAPER PACKAGE | $ 38.57 |
| 66 619 | BACHARACH | 0021-0040 | LUBRICANT | $ 9.20 |
| 66 619 | BACHARACH | 0021-7006 | SMOKE TEST SET | $ 103.94 |
| 66 619 | BACHARACH | 0021-7012 | UNIVERSAL SMOKE TEST PUMP | $ 95.46 |
| 66 619 | BACHARACH | 0024-0492 | CO GAS CYLINDER 500PPM (103 LITER) (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 170.93 |
| 66 619 | BACHARACH | 0024-0519 | CO SENSOR, MONOXOR II | $ 168.74 |
| 66 619 | BACHARACH | 0024-0788 | REPLACEMENT 02 SENSOR, PCA & ECA | $ 140.25 |
| 66 619 | BACHARACH | 0024-0789 | REPLACEMENT CO SENSOR, PCA & ECA | $ 280.50 |
| 66 619 | BACHARACH | 0024-0794 | CO/H2 CALIBRATION GAS, 103L (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 174.44 |
| 66 619 | BACHARACH | 0024-0865 | PCA CARRYING CASE | $ 64.43 |
| 66 619 | BACHARACH | 0024-0881 | REPLACEMENT NO SENSOR, PCA & ECA | $ 280.50 |
| 66 619 | BACHARACH | 0024-0887 | IR PRINTER PAPER, 1 ROLL PER PKG | $ 8.77 |
| 66 619 | BACHARACH | 0024-0980 | PRINTER PAPER, ECA (PKG OF 5 ROLLS) | $ 23.67 |
| 66 619 | BACHARACH | 0024-0985 | UNIVERSAL POWER SUPPLY | $ 115.71 |
| 66 619 | BACHARACH | 0024-0997 | REPLACEMENT CO SENSOR (HIGH), ECA | $ 280.50 |
| 66 619 | BACHARACH | 0024-0998 | REPLACEMENT SO2 SENSOR FOR ECA | $ 280.50 |
| 66 619 | BACHARACH | 0024-1027 | REPLACEMENT NO2 SENSOR FOR ECA 450 | $ 280.50 |
| 66 619 | BACHARACH | 0024-1055 | REPLACEMENT COMBUSTIBLES SENSOR, ECA | $ 184.08 |
| 66 619 | BACHARACH | 0024-1124 | PROBE HOSE EXTENSION 20 FT, PCA & ECA | $ 366.85 |
| 66 619 | BACHARACH | 0024-1127 | PROTECTIVE BOOT W/MAGNETS, PRO | $ 52.59 |
| 66 619 | BACHARACH | 0024-1155 | CALIBRATION GAS CO, 4000 PPM, 103L (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 170.93 |
| 66 619 | BACHARACH | 0024-1156 | CALIBRATION GAS NO, 250 PPM, 58L (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 394.46 |
| 66 619 | BACHARACH | 0024-1157 | CALIBRATION GAS NO2, 100 PPM, 58L (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 394.46 |
| 66 619 | BACHARACH | 0024-1158 | CALIBRATION GAS SO2, 100 PPM, 58L (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 179.70 |
| 66 619 | BACHARACH | 0024-1172 | WATER TRAP/FILTER ASSY FOR ECA | $ 177.94 |
| 66 619 | BACHARACH | 0024-1254 | BATTERY ELIMINATOR, FYRITE PRO | $ 44.71 |
| 66 619 | BACHARACH | 0024-1267 | CARRY CASE, SOFT | $ 48.21 |
| 66 619 | BACHARACH | 0024-1310 | IRDA PRINTER PAPER, 5 ROLL PER PKG | $ 22.79 |
| 66 619 | BACHARACH | 0024-1397 | PCA 2 SMART SENSOR ASSY, CO-high | $ 631.13 |
| 66 619 | BACHARACH | 0024-1398 | PCA 2 SMART SENSOR ASSY, SO2 | $ 631.13 |
| 66 619 | BACHARACH | 0024-1399 | PCA 2 SMART SENSOR ASSY, NO2 | $ 631.13 |
| 66 619 | BACHARACH | 0024-1400 | IrDA PRINTER WITH DISPOSABLE BATTERIES | $ 262.10 |
| 66 619 | BACHARACH | 0024-1401 | PCA 2 SMART SENSOR ASSY, NO | $ 631.13 |
| 66 619 | BACHARACH | 0024-1409 | PCA 2, PROTECTIVE RUBBER BOOT | $ 49.53 |
| 66 619 | BACHARACH | 0024-1421 | GAS COVER (CO-H2), PCA2 | $ 10.61 |
| 66 619 | BACHARACH | 0024-3003 | STD PROBE & HOSE ASSY, PCA 10 & 20 | $ 178.38 |
| 66 619 | BACHARACH | 0024-3004 | DRAFT PROBE & HOSE ASSY, PCA 25, 35, 55 & 65 | $ 175.31 |
| 66 619 | BACHARACH | 0024-3009 | PUMP ASSEMBLY | $ 166.55 |
| 66 619 | BACHARACH | 0024-3020 | PUMP ASSEMBLY, PRO | $ 79.07 |
| 66 619 | BACHARACH | 0024-3023 | STD PROBE & HOSE ASSY, ECA | $ 349.75 |
| 66 619 | BACHARACH | 0024-3024 | 24" PROBE ASSY, ECA | $ 486.50 |
| 66 619 | BACHARACH | 0024-3025 | 36" PROBE ASSY, ECA | $ 517.18 |
| 66 619 | BACHARACH | 0024-3026 | CO HIGH RANGE SENSOR KIT FOR ECA 450 | $ 631.13 |
| 66 619 | BACHARACH | 0024-3027 | NO SENSOR KIT FOR ECA 450 | $ 617.11 |
| 66 619 | BACHARACH | 0024-3028 | COMBUSTIBLES SENSOR KIT FOR ECA 450 | $ 631.13 |
| 66 619 | BACHARACH | 0024-3029 | NO2 SENSOR KIT FOR ECA 450 | $ 597.82 |
| 66 619 | BACHARACH | 0024-3030 | SO2 SENSOR KIT , ECA 450 (REQUIRES NO2 SENSOR) | $ 631.13 |
| 66 619 | BACHARACH | 0024-3035 | 24" HIGH TEMP PROBE ASSY, ECA | $ 810.83 |
| 66 619 | BACHARACH | 0024-3036 | 36" HIGH TEMP PROBE ASSY, ECA | $ 876.57 |
| 66 619 | BACHARACH | 0024-3037 | 48" HIGH TEMP PROBE ASSY, ECA | $ 951.08 |
| 66 619 | BACHARACH | 0024-7059 | PORTABLE CALIBRATION KIT | $ 294.09 |
| 66 619 | BACHARACH | 0024-7221 | ECA 450 BASE UNIT (02, CO) W/PROBE | $ 5,412.85 |
| 66 619 | BACHARACH | 0024-7265 | FYRITE PRO REPLACEMENT CO SENSOR | $ 140.25 |
| 66 619 | BACHARACH | 0024-8214 | PRESSURE ACCESSORY KIT | $ 210.38 |
| 66 619 | BACHARACH | 0024-8400 | ECA 450 NOX KIT W/SAMPLE COND. | $ 8,060.10 |
| 66 619 | BACHARACH | 0024-8401 | ECA 450 NOX & SOX KIT W/SAMPLE COND. | $ 8,638.64 |
| 66 619 | BACHARACH | 0024-8414 | THERMOCOUPLE REPLACEMENT KIT, 12 INCH | $ 44.71 |
| 66 619 | BACHARACH | 0051-1994 | CO GAS CYLINDER, 100PPM, 103L (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 170.93 |
| 66 619 | BACHARACH | 0051-7131 | CALIBRATION GAS, ZERO GAS, 20.9% O2, 103L (A $35.00 Hazardous Material Charges applies for shipping this product) | $ 162.17 |
| 66 619 | BACHARACH | 0102-1982 | SCREW, CASE | $ 2.89 |
| 66 619 | BACHARACH | 0104-1797 | THERMOCOUPLE ASSY, 10 FT | $ 27.17 |
| 66 619 | BACHARACH | 0104-1798 | THERMOCOUPLE 1 IN. (AMBIENT AIR) | $ 35.06 |
| 66 619 | BACHARACH | 0104-4027 | SERIAL CABLE | $ 58.29 |
| 66 619 | BACHARACH | 0104-4032 | USB CABLE | $ 18.85 |
| 66 619 | BACHARACH | 2000-3601 | FM 3600-410A-S | $ 1,301.71 |
| 66 619 | BACHARACH | 2002-0001 | QV2 QUICK VAC ROTARY VANE VACUUM PUMP | $ 192.85 |
| 66 619 | BACHARACH | 2002-0003 | BV3 BALL VALVE HOSE SET R-12/22/134A | $ 33.31 |
| 66 619 | BACHARACH | 2002-0005 | QV5 QUICK VAC ROTARY VANE VACUUM PUMP | $ 274.81 |
| 66 619 | BACHARACH | 2002-0040 | R-410a BALL VALVE HOSE SET | $ 33.31 |
| 66 619 | BACHARACH | 2002-0081 | 80% SHUT OFF KIT (FOR FM MODELS) | $ 72.32 |
| 66 619 | BACHARACH | 2002-0122 | HTRW122 REFRIGERATION RATCHET WRENCH | $ 8.49 |
| 66 619 | BACHARACH | 2002-0123 | HTRW123 REFRIGERATION RATCHET WRENCH | $ 8.49 |
| 66 619 | BACHARACH | 2002-0125 | HTVCRT DOUBLE ENDED VALVE CORE REMOVAL TOOL | $ 11.83 |
| 66 619 | BACHARACH | 2002-0525 | HT525 FLARING & BURNISHING TOOL | $ 26.30 |
| 66 619 | BACHARACH | 2002-0780 | HT780 TUBING CUTTER | $ 8.49 |
| 66 619 | BACHARACH | 2002-1340 | LOW SIDE R134A COUPLER | $ 23.67 |
| 66 619 | BACHARACH | 2002-1341 | HIGH SIDE R134A COUPLER | $ 23.67 |
| 66 619 | BACHARACH | 2002-1800 | HUMIDITY-TEMPERATURE METER | $ 157.78 |
| 66 619 | BACHARACH | 2002-4000 | MS040 MANIFOLD SET WITH SIGHT GLASS | $ 69.25 |
| 66 619 | BACHARACH | 2002-4300 | MS430 MANIFOLD SET WITH SIGHT GLASS R-410A | $ 74.51 |
| 66 619 | BACHARACH | 2002-4350 | MS435 4-VALVE MANIFOLD, R-410A | $ 97.74 |
| 66 619 | BACHARACH | 2002-4375 | MS437 4-VALVE MANIFOLD, R-12 / 22 / 134A | $ 92.48 |
| 66 619 | BACHARACH | 2002-4400 | MS440 MANIFOLD SET R-410A | $ 69.25 |
| 66 619 | BACHARACH | 2002-4700 | MS470 HOSE SET, R-12 / 22 / 134A, 60" | $ 35.06 |
| 66 619 | BACHARACH | 2002-5000 | MS050 MANIFOLD SET R-12/22/134A | $ 61.36 |
| 66 619 | BACHARACH | 2002-6100 | HT500 FLARING TOOL | $ 24.40 |
| 66 619 | BACHARACH | 2002-6500 | HT278 FLARING, SWAGING AND CUTTING KIT | $ 65.74 |
| 66 619 | BACHARACH | 2002-6700 | HT666 3-IN-1 TUBING BENDER 180 | $ 15.78 |
| 66 619 | BACHARACH | 2002-7000 | HT203 HEAVY FLARING TOOL | $ 39.45 |
| 66 619 | BACHARACH | 2007-0080 | CARRYING STRAP, STINGER | $ 17.53 |
| 66 619 | BACHARACH | 2010-0000 | CS-100 150KG REFRIGERANT CHARGING SCALE | $ 197.67 |
| 66 619 | BACHARACH | 2013-0090 | FAN, STINGER | $ 26.03 |
| 66 619 | BACHARACH | 2014-0050 | CIRCUIT BREAKER, 15 AMP, 3600 | $ 10.08 |
| 66 619 | BACHARACH | 2014-0250 | CIRCUIT BREAKER, 20 AMP, 3700 | $ 10.08 |
| 66 619 | BACHARACH | 2014-0310 | HIGH PRESSURE SWITCH, STINGER, 3600, 3700 | $ 24.54 |
| 66 619 | BACHARACH | 2030-0000 | DUAL CHANNEL DIGITAL THERMOMETER | $ 94.23 |
| 66 619 | BACHARACH | 2034-0150 | 30-LB DOT APPROVED RECOVERY TANK, W/ 80% SHUTOFF | $ 169.70 |
| 66 619 | BACHARACH | 2042-0000 | TH4200 ANEMOMETER | $ 195.91 |
| 66 619 | BACHARACH | 2045-0021 | COMPRESSOR ASSEMBLY, 3700 | $ 819.60 |
| 66 619 | BACHARACH | 2045-0051 | COMPRESSOR ASSEMBLY, 3600 | $ 486.50 |
| 66 619 | BACHARACH | 3015-0456 | H10G REFRIGERANT LEAK DETECTOR | $ 455.82 |
| 66 619 | BACHARACH | 3015-0627 | H10PM REFRIGERANT LEAK DETECTOR | $ 468.97 |
| 66 619 | BACHARACH | 3015-0638 | STANDARD PROBE ASSEMBLY | $ 71.88 |
| 66 619 | BACHARACH | 3015-0648 | H10PM RLD w/o CHARGER | $ 425.14 |
| 66 619 | BACHARACH | 3015-0781 | TUNE-UP KIT | $ 120.97 |
| 66 619 | BACHARACH | 3015-0784 | MAINTENANCE KIT | $ 25.07 |
| 66 619 | BACHARACH | 3015-0864 | LEAK REFERENCE BOTTLE | $ 17.09 |
| 66 619 | BACHARACH | 3015-0880 | H10 PROBE ASSY, LED | $ 71.88 |
| 66 619 | BACHARACH | 4998-8986 | CORD, 120V, UNIVERSAL POWER SUPPLY | $ 14.46 |
| 66 619 | BACHARACH | 0006-5456 | Sling Cap | $ 7.01 |
| 66 619 | BACHARACH | 0006-8733 | Printer paper, 1 roll per package for IrDA (24-1229 and 24-1400) printer | $ 5.26 |
| 66 619 | BACHARACH | 0006-9457 | Maglite® flashlight | $ 42.95 |
| 66 619 | BACHARACH | 0007-1646 | Filter, Probe, Compact Sample Conditioner (pk of 5) | $ 30.68 |
| 66 619 | BACHARACH | 0007-1647 | Filter, Peltier Cooler, Compact Sample Conditioner | $ 18.41 |
| 66 619 | BACHARACH | 0007-1700 | Pre-filter 1/4 x 1/4 for Stinger | $ 40.32 |
| 66 619 | BACHARACH | 0010-5090 | Fyrite®7% Duplex CO2 and O2 Testing Kit | $ 572.40 |
| 66 619 | BACHARACH | 0011-0020 | Fyrite® Valve Plunger Gasket | $ 13.59 |
| 66 619 | BACHARACH | 0011-0102 | Fyrite® Bezel | $ 14.46 |
| 66 619 | BACHARACH | 0011-0109 | Fyrite® Bezel Gasket | $ 8.33 |
| 66 619 | BACHARACH | 0011-0120 | Fyrite® Aspirator Bulb | $ 13.59 |
| 66 619 | BACHARACH | 0011-0121 | Wool saturator for water trap (for probes 24-7271, 19-3084 & 19-3086) | $ 11.83 |
| 66 619 | BACHARACH | 0011-0138 | Fyrite® Aspirator Valve (Inlet or Outlet) | $ 10.96 |
| 66 619 | BACHARACH | 0011-7033 | Fyrite® 7.6% O2 | $ 344.49 |
| 66 619 | BACHARACH | 0011-7047 | Fyrite® Carbon Dioxide Refill Kit, 20 & 60% | $ 62.68 |
| 66 619 | BACHARACH | 0012-0050 | Tempoint® Clip | $ 12.71 |
| 66 619 | BACHARACH | 0012-0066 | Tempoint® Scale C | $ 9.20 |
| 66 619 | BACHARACH | 0012-0176 | Psych Therm Clip | $ 8.33 |
| 66 619 | BACHARACH | 0019-0270 | Leakator® 10 Replacement ETO sensor and matching resistor | $ 51.72 |
| 66 619 | BACHARACH | 0019-0394 | Leakator® 10 Replacement battery door | $ 7.45 |
| 66 619 | BACHARACH | 0019-0473 | Refrigerant probe tip, blue (Informant® and Informant® 2) | $ 8.33 |
| 66 619 | BACHARACH | 0019-0481 | Replacement probe assembly for Informant® 2 | $ 91.60 |
| 66 619 | BACHARACH | 0019-0488 | Replacement front retaining collar for Informant® 2 | $ 4.82 |
| 66 619 | BACHARACH | 0019-0491 | Soft carrying case for Informant® 2 | $ 33.31 |
| 66 619 | BACHARACH | 0019-0497 | Protective rubber boot (Informant® and Informant® 2) | $ 33.31 |
| 66 619 | BACHARACH | 0019-0507 | Combustibles probe tip, red (Informant® 2 only) | $ 8.33 |
| 66 619 | BACHARACH | 0019-0509 | Replacement filters, pack of five (Informant® and Informant® 2) | $ 8.33 |
| 66 619 | BACHARACH | 0019-0525 | Oxor / Monoxor Battery Door | $ 4.82 |
| 66 619 | BACHARACH | 0019-0548 | Tru Pointe® Replacement Battery Door | $ 8.33 |
| 66 619 | BACHARACH | 0019-0576 | Leakator® Jr. Replacement sensor cover | $ 5.70 |
| 66 619 | BACHARACH | 0019-0577 | Leakator® Jr. Replacement battery door | $ 5.70 |
| 66 619 | BACHARACH | 0019-0591 | Replacement battery door assembly for Informant® 2 | $ 33.31 |
| 66 619 | BACHARACH | 0019-3086 | Replacement Probe & hose assembly (for Oxor II) | $ 61.36 |
| 66 619 | BACHARACH | 0019-3244 | Snifit® Replacement Filter | $ 5.70 |
| 66 619 | BACHARACH | 0019-6106 | Snifit + Calibration Adapter | $ 15.78 |
| 66 619 | BACHARACH | 0019-7600 | Snifit® Plus Carbon Monoxide (CO) Monitor with digital display, alarms. 2-year life. | $ 209.50 |
| 66 619 | BACHARACH | 0019-8040 | Refrigerant only Informant® 2 detector kit with refrigerant sensor, color-coded probe tip, instruction manual, 4 AA batteries, 5 filters and a soft carrying case. | $ 349.75 |
| 66 619 | BACHARACH | 0019-8112 | Oxor® III (O2 Monitor) includes 4 AA batteries, probe and hose assembly and hard carrying case | $ 473.35 |
| 66 619 | BACHARACH | 0019-8113 | Oxor® III (O2 Monitor) includes 4 AA batteries, probe and hose assembly, hard carrying case and IRDA printer with a roll of printer paper | $ 661.81 |
| 66 619 | BACHARACH | 0019-8117 | Monoxor® Plus (CO Monitor) includes probe & hose assembly, instruction manual and hard carrying case. | $ 460.20 |
| 66 619 | BACHARACH | 0019-8118 | Monoxor® Plus Kit (CO Monitor) includes printer, probe & hose assembly, carrying strap, instruction manual and hard carrying case. | $ 679.35 |
| 66 619 | BACHARACH | 0019-8200 | Tru Pointe® IR Refrigerant Leak Detector Kit | $ 376.05 |
| 66 619 | BACHARACH | 0021-0033 | True Spot® Replacement Handle | $ 10.96 |
| 66 619 | BACHARACH | 0021-0035 | True Spot® Replacement Cup | $ 11.83 |
| 66 619 | BACHARACH | 0021-0071 | True Spot® Replacement Tube (rubber hose) | $ 8.33 |
| 66 619 | BACHARACH | 0021-0072 | True Spot® Replacement Sampling Tube (metal) | $ 9.20 |
| 66 619 | BACHARACH | 0021-0075 | True Spot® Replacement Check Valve | $ 12.71 |
| 66 619 | BACHARACH | 0021-0078 | True Spot® Replacement Wrench | $ 7.45 |
| 66 619 | BACHARACH | 0024-0864 | Sensor shutoff/blank | $ 8.33 |
| 66 619 | BACHARACH | 0024-0877 | Connector, gas, female | $ 10.96 |
| 66 619 | BACHARACH | 0024-0878 | Connector, draft, female | $ 10.96 |
| 66 619 | BACHARACH | 0024-1111 | Oxygen sensor gasket for 0024-8106 | $ 1.31 |
| 66 619 | BACHARACH | 0024-1126 | Calibration gas, 5% CO2, 17 L | $ 61.36 |
| 66 619 | BACHARACH | 0024-1130 | Calibration gas, 2,500 ppm CO2, 17 L | $ 61.36 |
| 66 619 | BACHARACH | 0024-1405 | Replacement battery door for 0024-1400 IrDA printer (w/o magnet) | $ 7.01 |
| 66 619 | BACHARACH | 0024-1453 | INSIGHT®/Plus Battery Cover | $ 9.20 |
| 66 619 | BACHARACH | 0024-1461 | Protective Boot with Magnet for INSIGHT®/INSIGHT® Plus/InTech™ | $ 44.71 |
| 66 619 | BACHARACH | 0024-1467 | B-Smart® Carbon Monoxide sensor, CO for INSIGHT (old), InTech | $ 192.85 |
| 66 619 | BACHARACH | 0024-1470 | Fyrite® User Software | $ 42.95 |
| 66 619 | BACHARACH | 0024-1471 | O-ring Kit w/ gas and draft O-rings | $ 13.59 |
| 66 619 | BACHARACH | 0024-1479 | Replacement bottom end cap for Fyrite® Tech/Pro | $ 13.59 |
| 66 619 | BACHARACH | 0024-1480 | PCA®2/3 Bottom Plate Assembly | $ 28.05 |
| 66 619 | BACHARACH | 0024-1483 | Replacement End Plate Assembly for INSIGHT | $ 31.56 |
| 66 619 | BACHARACH | 0024-1491 | Fyrite® User Software (FUS) PC Software Kit | $ 35.94 |
| 66 619 | BACHARACH | 0024-1492 | Fyrite® User Software (FUS) Reporting Kit w/printer | $ 305.92 |
| 66 619 | BACHARACH | 0024-1505 | Optional NOx Filter Kit for INSIGHT®, InTech™,Tech 60 | $ 42.08 |
| 66 619 | BACHARACH | 0024-1506 | Replacement Hose Piece and Fitting (for NOx filter) | $ 17.97 |
| 66 619 | BACHARACH | 0024-1541 | PCA®3 B-Smart® CO (H2-compensated) Pre-Calibrated Sensor | $ 333.10 |
| 66 619 | BACHARACH | 0024-1542 | PCA®3 B-Smart® CO (High) Pre-Calibrated Sensor | $ 333.10 |
| 66 619 | BACHARACH | 0024-1543 | PCA®3 B-Smart® SO2 Pre-Calibrated Sensor | $ 333.10 |
| 66 619 | BACHARACH | 0024-1544 | PCA®3 B-Smart® NO2 Pre-Calibrated Sensor | $ 333.10 |
| 66 619 | BACHARACH | 0024-1545 | PCA®3 B-Smart® NO Pre-Calibrated Sensor | $ 333.10 |
| 66 619 | BACHARACH | 0024-1579 | Fyrite® InTech™ Replacement Inlet/End Plate Assembly (no draft port) | $ 13.59 |
| 66 619 | BACHARACH | 0024-1583 | INSIGHT® Plus Sensor Adapter - O2 to LLO2 Sensor | $ 6.57 |
| 66 619 | BACHARACH | 0024-1585 | INSIGHT® Plus Replacement Inlet/End Plate Assembly | $ 40.32 |
| 66 619 | BACHARACH | 0024-1586 | INSIGHT® Plus LL O2 Sensor Cap (includes gasket) | $ 10.96 |
| 66 619 | BACHARACH | 0024-1587 | INSIGHT® Plus CO Sensor Cap (includes gasket) | $ 10.96 |
| 66 619 | BACHARACH | 0024-1591 | INSIGHT® Plus Replacement Long-life O2 Sensor | $ 192.85 |
| 66 619 | BACHARACH | 0024-1593 | INSIGHT® Plus Replacement CO Sensor w/NOx Filter (not calibrated) | $ 140.25 |
| 66 619 | BACHARACH | 0024-1606 | Fyrite® InTech™ Soft Carrying Case | $ 22.79 |
| 66 619 | BACHARACH | 0024-1611 | INSIGHT® Plus Universal AC Power Adapter, mini-USB to wall 120-240V | $ 44.71 |
| 66 619 | BACHARACH | 0024-1616 | INSIGHT® Plus Replacement B-Smart®Pre-Calibrated CO Sensor w/NOx Filter | $ 197.23 |
| 66 619 | BACHARACH | 0024-1620 | Fyrite® InTech™ /Monoxor Plus Battery Cover | $ 9.20 |
| 66 619 | BACHARACH | 0024-1637 | Replacement battery door for 0024-1400 IrDA printer (with magnet) | $ 13.59 |
| 66 619 | BACHARACH | 0024-3049 | Replacement Pump for Fyrite® INSIGHT (old style) | $ 111.76 |
| 66 619 | BACHARACH | 0024-3050 | B-Smart® 2-Year (2-Sensor) Program - Pre-Calibrated CO sensor every 12 mo. For INSIGHT, Monoxor Plus, InTech | $ 174.44 |
| 66 619 | BACHARACH | 0024-3051 | B-Smart® 2-Year (4-Sensor) Program - Pre-Calibrated CO sensor every 6 mo. For INSIGHT, Monoxor Plus, InTech | $ 288.39 |
| 66 619 | BACHARACH | 0024-3056 | PCA®3 B-Smart® CO-H2-comp. Field-Upgrade Add-a-Sensor Module | $ 631.13 |
| 66 619 | BACHARACH | 0024-3057 | PCA®3 B-Smart® CO (High) Field-Upgrade Add-a-Sensor Module | $ 631.13 |
| 66 619 | BACHARACH | 0024-3058 | PCA®3 B-Smart® SO2 Field-Upgrade Add-a-Sensor Module | $ 631.13 |
| 66 619 | BACHARACH | 0024-3059 | PCA®3 B-Smart® NO2 Field-Upgrade Add-a-Sensor Module | $ 631.13 |
| 66 619 | BACHARACH | 0024-3060 | PCA®3 B-Smart® NO Field-Upgrade Add-a-Sensor Module | $ 631.13 |
| 66 619 | BACHARACH | 0024-3061 | B-Smart® 3-Year (4-Sensor) Program - Pre-Calibrated CO sensor every 9 mo. For PCA3 | $ 305.92 |
| 66 619 | BACHARACH | 0024-3062 | B-Smart® 3-Year (4-Sensor) Program - Pre-Calibrated CO-High sensor every 9 mo. For PCA3 | $ 305.92 |
| 66 619 | BACHARACH | 0024-3063 | B-Smart® 3-Year (4-Sensor) Program - Pre-Calibrated NO sensor every 9 mo. For PCA3 | $ 305.92 |
| 66 619 | BACHARACH | 0024-3064 | B-Smart® 3-Year (4-Sensor) Program - Pre-Calibrated NO2 sensor every 9 mo. For PCA3 | $ 305.92 |
| 66 619 | BACHARACH | 0024-3065 | B-Smart® 3-Year (4-Sensor) Program - Pre-Calibrated SO2 sensor every 9 mo. For PCA3 | $ 305.92 |
| 66 619 | BACHARACH | 0024-3066 | B-Smart® 3-Year (8-Sensor) Program - Pre-Calibrated CO & NO sensors every 9 mo. For PCA3 | $ 612.73 |
| 66 619 | BACHARACH | 0024-3067 | B-Smart® 3-Year (8-Sensor) Program - Pre-Calibrated CO & CO-High sensors every 9 mo. For PCA3 | $ 612.73 |
| 66 619 | BACHARACH | 0024-3068 | B-Smart® 3-Year (8-Sensor) Program - Pre-Calibrated CO & SO2 sensors every 9 mo. For PCA3 | $ 612.73 |
| 66 619 | BACHARACH | 0024-3069 | B-Smart® 3-Year (12-Sensor) Program - Pre-Calibrated CO, NO & NO2 sensors every 9 mo. For PCA3 | $ 901.99 |
| 66 619 | BACHARACH | 0024-3070 | B-Smart® 3-Year (12-Sensor) Program - Pre-Calibrated CO, NO & SO2 sensors every 9 mo. For PCA3 | $ 901.99 |
| 66 619 | BACHARACH | 0024-3071 | B-Smart® 3-Year (12-Sensor) Program - Pre-Calibrated CO, CO-High & NO sensors every 9 mo. For PCA3 | $ 901.99 |
| 66 619 | BACHARACH | 0024-3073 | Fyrite® InTech™/INSIGHT® Plus Replacement Pump Assembly | $ 111.76 |
| 66 619 | BACHARACH | 0024-3075 | B-Smart® 2-Year (2-Sensor) Program - Pre-Calibrated CO sensor every 12 mo. For INSIGHT Plus | $ 174.44 |
| 66 619 | BACHARACH | 0024-3076 | B-Smart® 2-Year (4-Sensor) Program - Pre-Calibrated CO sensor every 6 mo. For INSIGHT Plus | $ 288.39 |
| 66 619 | BACHARACH | 0024-3150 | High Temperature, High Dust Sintered Filter | $ 241.06 |
| 66 619 | BACHARACH | 0024-8106 | Oxygen sensor, O2 with gasket | $ 140.25 |
| 66 619 | BACHARACH | 0024-8242 | Differential Pressure & Temperature Kit | $ 80.64 |
| 66 619 | BACHARACH | 0024-8255 | Pressure Tubing Kit (consists of 4 ft tubing & draft connector) | $ 17.53 |
| 66 619 | BACHARACH | 0024-8257 | INSIGHT® Plus Long-life O2 Sensor Upgrade Kit (includes LL O2 sensor) | $ 210.38 |
| 66 619 | BACHARACH | 0024-8440 | PCA®3 225 w/ O2, CO/H2-compensated measurement | $ 1,621.66 |
| 66 619 | BACHARACH | 0024-8441 | PCA®3 235 with O2, CO/H2-compensated, NO measurement | $ 2,252.80 |
| 66 619 | BACHARACH | 0024-8442 | PCA®3 245 with O2, CO/H2-compensated, CO-High measurement | $ 2,252.80 |
| 66 619 | BACHARACH | 0024-8443 | PCA®3 255 with O2, CO/H2-compensated, SO2 measurement | $ 2,252.80 |
| 66 619 | BACHARACH | 0024-8444 | PCA®3 265 with O2, CO/H2-compensated, NO, NO2 measurement | $ 2,883.93 |
| 66 619 | BACHARACH | 0024-8445 | PCA®3 275 with O2, CO/H2-compensated, NO, SO2 measurement | $ 2,883.93 |
| 66 619 | BACHARACH | 0024-8446 | PCA®3 285 with O2, CO/H2-compensated, NO, CO-High measurement | $ 2,883.93 |
| 66 619 | BACHARACH | 0024-8447 | PCA®3 225 Kit (with O2, CO/H2-compensated measurement) w/Printer | $ 1,766.30 |
| 66 619 | BACHARACH | 0024-8448 | PCA®3 235 Kit (with O2, CO/H2-compensated, NO measurement) w/Printer | $ 2,397.43 |
| 66 619 | BACHARACH | 0024-8449 | PCA®3 245 Kit (with O2, CO/H2-compensated, CO-High measurement) w/Printer | $ 2,397.43 |
| 66 619 | BACHARACH | 0024-8450 | PCA®3 255 Kit (with O2, CO/H2-compensated, SO2 measurement) w/Printer | $ 2,397.43 |
| 66 619 | BACHARACH | 0024-8451 | PCA®3 265 Kit (with O2, CO/H2-compensated, NO, NO2 meas.) w/Printer | $ 3,028.56 |
| 66 619 | BACHARACH | 0024-8452 | PCA®3 275 Kit (with O2, CO/H2-compensated, NO, SO2 meas.) w/Printer | $ 3,028.56 |
| 66 619 | BACHARACH | 0024-8453 | PCA®3 285 Kit (with O2, CO/H2-compensated, NO, CO-High meas.) w/Printer | $ 3,028.56 |
| 66 619 | BACHARACH | 0024-8454 | PCA®3 295 with O2, CO/H2-compensated, NO2, SO2 measurement | $ 2,883.93 |
| 66 619 | BACHARACH | 0024-8455 | PCA®3 295 Kit (with O2, CO/H2-compensated, NO2, SO2 meas.) w/Printer | $ 3,028.56 |
| 66 619 | BACHARACH | 0024-8510 | Fyrite® InTech™, incl. instrument w/O2 & Temperature only, probe, soft case | $ 477.73 |
| 66 619 | BACHARACH | 0024-8511 | Fyrite® InTech™ BASIC, includes instrument w/O2 sensor, B-Smart® CO sensor, Temperature, probe, soft case | $ 565.39 |
| 66 619 | BACHARACH | 0024-8512 | Fyrite® InTech™ REPORTING KIT, incl. instrument w/O2 sensor, B-Smart® CO sensor, probe, rubber boot, spare filters, printer, FUS software, USB cable, hard case | $ 802.07 |
| 66 619 | BACHARACH | 0024-8515 | INSIGHT® Plus Basic, includes instrument w/O2 sensor, B-Smart® CO sensor, probe, rubber boot, filters and hard case | $ 1,042.25 |
| 66 619 | BACHARACH | 0024-8516 | INSIGHT® Plus REPORTING KIT, includes instrument w/O2 sensor, B-Smart® CO sensors, probe, rubber boot, printer, USB cable, FUS Software, filters and hard case | $ 1,261.39 |
| 66 619 | BACHARACH | 0024-8517 | INSIGHT® Plus Basic LL, includes instrument w/Long-life O2 sensor, B-Smart® CO sensor, probe, rubber boot, filters and hard case | $ 1,086.08 |
| 66 619 | BACHARACH | 0024-8518 | INSIGHT® Plus REPORTING KIT LL, includes instrument w/Long-life O2 sensor, B-Smart® CO sensors, probe, rubber boot, printer, USB cable, FUS Software, filters and hard case | $ 1,305.22 |
| 66 619 | BACHARACH | 0024-8523 | FYRITE® InTech™ BASIC, Includes instrument w/O2 sensor, B-Smart® CO sensor, Temp, probe, rubber boot, hard case | $ 609.22 |
| 66 619 | BACHARACH | 0024-8555 | Optional Appliance Kit for Ambient CO Test | $ 258.59 |
| 66 619 | BACHARACH | 0024-8557 | Flue Plugs 5/16" Metal (50/pk) | $ 13.15 |
| 66 619 | BACHARACH | 0028-0002 | Folding Headset for Tru Pointe Ultra | $ 22.35 |
| 66 619 | BACHARACH | 0028-0011 | Heavy-Duty Headphones for Tru Pointe Ultra | $ 147.70 |
| 66 619 | BACHARACH | 0028-0020 | Noise-Attenuating Headphones for Tru Pointe 1100/2100 | $ 129.73 |
| 66 619 | BACHARACH | 0028-0058 | Extension Probe Kit (comes with Tru Pointe® 2100 Kit | $ 135.87 |
| 66 619 | BACHARACH | 0028-8000 | Tru Pointe® Ultra Leak Detector Kit w/ Folding Headset | $ 328.72 |
| 66 619 | BACHARACH | 0028-8001 | Tru Pointe® Ultra HD Leak Detector Kit w/ Stereo Headphones | $ 398.84 |
| 66 619 | BACHARACH | 0028-8002 | Tru Pointe® 1100 Leak Detector Kit w/ Behind-the-Head Headphones | $ 1,073.80 |
| 66 619 | BACHARACH | 0028-8003 | Tru Pointe® 2100 Inspection System Kit w/ Behind-the-Head Headphones | $ 2,625.34 |
| 66 619 | BACHARACH | 0028-8006 | SoundBlaster® Ultrasonic Sound Generator | $ 170.93 |
| 66 619 | BACHARACH | 0028-8010 | Tru Pointe® Ultra Leak Detector Kit w/ Folding Headset & SoundBlaster® | $ 460.20 |
| 66 619 | BACHARACH | 0028-8011 | Tru Pointe® Ultra HD Leak Detector Kit w/ Stereo Headphones & SoundBlaster® | $ 521.56 |
| 66 619 | BACHARACH | 0028-8012 | Tru Pointe® 1100 Leak Detector Kit w/ Behind-the-Head Headphones & SoundBlaster® | $ 1,222.82 |
| 66 619 | BACHARACH | 0028-8013 | Tru Pointe® 2100 Inspection System Kit w/Behind-the-Head Headphones & SoundBlaster® | $ 2,774.36 |
| 66 619 | BACHARACH | 0051-1121 | Calibration gas, 2.5% CH4, 103 L | $ 170.93 |
| 66 619 | BACHARACH | 0051-2529 | Leakator® 10 Optional Earphone | $ 10.96 |
| 66 619 | BACHARACH | 0051-3288 | Calibration Kit (CGA600 variable flow regulator and tubing only) | $ 346.25 |
| 66 619 | BACHARACH | 0105-5104 | O-Ring, sensor blank | $ 3.94 |
| 66 619 | BACHARACH | 0204-0020 | Battery, 3V Coin Cell for NO sensor bias | $ 7.89 |
| 66 619 | BACHARACH | 1509-0001 | IQ Chek™ Datalogging Kit | $ 153.40 |
| 66 619 | BACHARACH | 1509-0002 | IEQ Chek™ Hard Carrying Case | $ 131.49 |
| 66 619 | BACHARACH | 1509-0003 | IEQ Chek™ 10" probe w/ 30" sample tubing | $ 135.87 |
| 66 619 | BACHARACH | 1509-0006 | IEQ Chek™ replacement NiMH batteries - pk of 3 | $ 96.42 |
| 66 619 | BACHARACH | 1509-0007 | IEQ Chek™ Repl Wall Adapter/ Charger | $ 135.87 |
| 66 619 | BACHARACH | 1509-0015 | IEQ Chek™ Repl Filter for High Humidity Gas Sample Probe (for 1509-0021) | $ 24.54 |
| 66 619 | BACHARACH | 1509-0017 | IEQ Chek™ Calibration Accessory Kit (order gas separately) | $ 27.17 |
| 66 619 | BACHARACH | 1509-0021 | IEQ Chek™ High Humidity Gas Sample Probe | $ 547.86 |
| 66 619 | BACHARACH | 1509-0023 | IEQ Chek™ Replacement Temperature Probe (only for use w/ 1509-xxx9) | $ 67.06 |
| 66 619 | BACHARACH | 1509-0024 | IEQ Chek™ Replacement Temp/RH Probe | $ 201.17 |
| 66 619 | BACHARACH | 1509-1050 | IEQ Chek™ CO2 Sensor Module 0-5000ppm | $ 670.58 |
| 66 619 | BACHARACH | 1509-1051 | IEQ Chek™ CO2 Sensor Module 0-5%Vol | $ 758.24 |
| 66 619 | BACHARACH | 1509-1052 | IEQ Chek™ CH4 Sensor Module 5%Vol | $ 758.24 |
| 66 619 | BACHARACH | 1509-1053 | IEQ Chek™ CO2 Sensor Module 100%Vol | $ 758.24 |
| 66 619 | BACHARACH | 1509-1054 | IEQ Chek™ CO Sensor Module 0-50ppm | $ 227.91 |
| 66 619 | BACHARACH | 1509-1055 | IEQ Chek™ NO2 Sensor Module 0-5ppm | $ 280.50 |
| 66 619 | BACHARACH | 1509-1056 | IEQ Chek™ NO Sensor Module 0-100ppm | $ 280.50 |
| 66 619 | BACHARACH | 1509-1057 | IEQ Chek™ O2 Sensor Module 0-25%Vol | $ 157.78 |
| 66 619 | BACHARACH | 1509-1059 | IEQ Chek™ NH3 Sensor Module 0-50ppm | $ 749.47 |
| 66 619 | BACHARACH | 1509-1063 | IEQ Chek™ H2S Sensor Module 0-50ppm | $ 280.50 |
| 66 619 | BACHARACH | 1509-1067 | IEQ Chek™ SO2 Sensor Module 0-20ppm | $ 350.63 |
| 66 619 | BACHARACH | 1509-1068 | IEQ Chek™ Formaldehyde (HCHO) Sensr Mod 0-10ppm | $ 473.35 |
| 66 619 | BACHARACH | 1509-1073 | IEQ Chek™ TVOC Sensor Module 0-300ppm | $ 1,534.01 |
| 66 619 | BACHARACH | 1509-1074 | IEQ Chek™ TVOC Sensor Module 0-50ppm | $ 1,972.29 |
| 66 619 | BACHARACH | 1509-1075 | IEQ Chek™ CO2 Sensor Module 0-10,000ppm | $ 670.58 |
| 66 619 | BACHARACH | 1509-1076 | IEQ Chek™ CO2 Sensor Module 0-20%Vol | $ 758.24 |
| 66 619 | BACHARACH | 1510-0001 | IEQ Chek™ Monitor - Temp., RH, CO2 0-5,000 ppm, Diffusion | $ 1,748.77 |
| 66 619 | BACHARACH | 1510-0002 | IEQ Chek™ Monitor - Temp., RH, CO2 0-5,000 ppm, Pump | $ 2,099.40 |
| 66 619 | BACHARACH | 1510-0004 | IEQ Chek™ Monitor - Temp., RH, CO2 0-5,000 ppm, Pump, Datalogging | $ 2,252.80 |
| 66 619 | BACHARACH | 1510-1001 | IEQ Chek™ Monitor - Temp., RH, CO2 0-5,000 ppm, CO, Diffusion | $ 1,976.68 |
| 66 619 | BACHARACH | 1510-1002 | IEQ Chek™ Monitor - Temp., RH, CO2 0-5,000 ppm, CO, Pump | $ 2,327.30 |
| 66 619 | BACHARACH | 1510-1003 | IEQ Chek™ Monitor - Temp., RH, CO2 0-5,000 ppm, CO, Diffusion, Datalogging | $ 2,130.08 |
| 66 619 | BACHARACH | 1510-1004 | IEQ Chek™ Monitor - Temp., RH, CO2 0-5,000 ppm, CO, Pump, Datalogging | $ 2,480.71 |
| 66 619 | BACHARACH | 1510-1302 | IEQ Chek™ Monitor - Temp., RH, CO2 0-5,000 ppm, CO, NO2, Pump | $ 2,607.81 |
| 66 619 | BACHARACH | 1510-1403 | IEQ Chek™ Monitor - Temp., RH, CO2 0-5,000 ppm, CO, HCHO, Diffusion, Datalogging | $ 2,603.43 |
| 66 619 | BACHARACH | 1512-1008 | IEQ Chek™ Monitor - Temp., RH, CO2 0-5,000 ppm, TVOC 0-300ppm, CO, Pump, Datalogging, Ext. Battery | $ 4,014.71 |
| 66 619 | BACHARACH | 1520-0001 | IEQ Chek™ Monitor - Temp., RH, CO2 0-10,000 ppm, Diffusion | $ 1,748.77 |
| 66 619 | BACHARACH | 1520-0002 | IEQ Chek™ Monitor - Temp., RH, CO2 0-10,000 ppm, Pump | $ 2,099.40 |
| 66 619 | BACHARACH | 1520-0004 | IEQ Chek™ Monitor - Temp., RH, CO2 0-10,000 ppm, Pump, Datalogging | $ 2,252.80 |
| 66 619 | BACHARACH | 1520-1002 | IEQ Chek™ Monitor - Temp., RH, CO2 0-10,000 ppm, CO, Pump | $ 2,327.30 |
| 66 619 | BACHARACH | 1520-2002 | IEQ Chek™ Monitor - Temp., RH, CO2 0-10,000 ppm, O2, Pump | $ 2,274.71 |
| 66 619 | BACHARACH | 1530-0001 | IEQ Chek™ Monitor - Temp., RH, CO2 0-5%, Diffusion | $ 2,130.08 |
| 66 619 | BACHARACH | 1540-0002 | IEQ Chek™ Monitor - Temp., RH, CO2 0-20%, Pump | $ 2,125.69 |
| 66 619 | BACHARACH | 1540-0004 | IEQ Chek™ Monitor - Temp., RH, CO2 0-20%, Pump, Datalogging | $ 2,279.09 |
| 66 619 | BACHARACH | 1540-0009 | IEQ Chek™ Monitor - CO2 (0-20%), Pump, Remote Sample Probes for Temperature, RH and CO2 | $ 2,305.39 |
| 66 619 | BACHARACH | 1540-2002 | IEQ Chek™ Monitor - Temp., RH, CO2 0-20%, O2, Pump | $ 2,301.01 |
| 66 619 | BACHARACH | 1540-2004 | IEQ Chek™ Monitor - Temp., RH, CO2 0-20%, O2, Pump, Datalogging | $ 2,454.41 |
| 66 619 | BACHARACH | 1540-2009 | IEQ Chek™ Monitor - CO2 (0-20%), O2, Pump, Remote Sample Probes for Temperature, RH and CO2 | $ 2,480.71 |
| 66 619 | BACHARACH | 1550-0004 | IEQ Chek™ Monitor - Temp., RH, CO2 0-100%, Pump, Datalogging | $ 2,340.45 |
| 66 619 | BACHARACH | 1550-2002 | IEQ Chek™ Monitor - Temp., RH, CO2 0-100%, O2, Pump | $ 2,344.84 |
| 66 619 | BACHARACH | 1580-8001 | Comfort Chek® 400 Portable Air Quality Monitor | $ 394.46 |
| 66 619 | BACHARACH | 2002-0250 | MSG250 Refrigerant Gauge (Blue) With 2-1/2" dial size, 1/8" NPT connection, °F / PSI / kg/cm2 scale, Gauge pressure: 250 PSI. | $ 12.71 |
| 66 619 | BACHARACH | 2002-0300 | HT3IM Telescopic Inspection Mirrors, set of 4 | $ 24.54 |
| 66 619 | BACHARACH | 2002-0410 | MSG410 Refrigerant Gauge (Blue) With 2-1/2" dial size, 1/8" NPT connection, °F / °C / PSI / kg/cm2 scale, Gauge pressure: 500 PSI. | $ 10.96 |
| 66 619 | BACHARACH | 2002-0420 | MSG420 Refrigerant Gauge (Red) With 2-1/2" dial size, 1/8" NPT connection, °F / °C / PSI / kg/cm2 scale, Gauge pressure: 800 PSI. | $ 10.96 |
| 66 619 | BACHARACH | 2002-0550 | MSG550 Refrigerant Gauge (Red) With 2-1/2" dial size, 1/8" NPT connection, °F / PSI / kg/cm2 scale, Gauge pressure: 500 PSI. | $ 12.71 |
| 66 619 | BACHARACH | 2002-1818 | HT1818 Tubing Cutter, aluminum alloy body, chrome plated with spare cutter wheel. Capacity 1/8" to 1-1/8" O.D. Tubing | $ 14.90 |
| 66 619 | BACHARACH | 2002-1878 | HT1878 Tubing Cutter, zinc plated finish, capacity 1/8" to 5/8" O.D. tubing | $ 8.77 |
| 66 619 | BACHARACH | 2002-2120 | HT212 PVC Pipe Cutter, capacity up to 1-5/8" | $ 15.78 |
| 66 619 | BACHARACH | 2002-4600 | HS460 Hose Set R-410A With three hoses (R/Y/B) 60" length & 1/4" flare fittings. Hose pressure: 800 PSI Max W.P. & 4000 PSI burst. | $ 35.06 |
| 66 619 | BACHARACH | 2002-6000 | HT351 Fin Straightener | $ 8.33 |
| 66 619 | BACHARACH | 2002-6900 | HT208 Inner/outer reamer, for 1/8" to 1-5/8" tubing | $ 10.52 |
| 66 619 | BACHARACH | 2002-7100 | HT195 Flaring Tool (7-sizes) for 3/16", 1/4", 5/16", 3/8", 7/16" 1/2" & 5/8" O.D. tubing | $ 26.30 |
| 66 619 | BACHARACH | 2014-0060 | Rocker power switch, for Stinger, 3600, 3700 | $ 7.45 |
| 66 619 | BACHARACH | 2020-0001 | ECO-2020 Inline Filter/Drier | $ 19.28 |
| 66 619 | BACHARACH | 2020-0002 | ECO-2020 4" Hose 3/16" ID | $ 17.53 |
| 66 619 | BACHARACH | 2020-0004 | ECO-2020 Optional 80% shut-off cord | $ 43.83 |
| 66 619 | BACHARACH | 2020-0005 | ECO-2020 Shoulder Strap | $ 16.65 |
| 66 619 | BACHARACH | 2020-0006 | ECO-2020 Inlet Port Filter Screen | $ 3.51 |
| 66 619 | BACHARACH | 2020-0007 | ECO-2020 O-Ring 8 x 1.8mm | $ 3.51 |
| 66 619 | BACHARACH | 2020-0008 | ECO-2020 Brass Inlet Fitting | $ 7.01 |
| 66 619 | BACHARACH | 2020-0010 | ECO-2020 Control Knob | $ 8.77 |
| 66 619 | BACHARACH | 2020-8000 | ################################################################### | $ 696.88 |
| 66 619 | BACHARACH | 2020-8001 | ################################################################### | $ 731.94 |
| 66 619 | BACHARACH | 2034-0071 | 50-lb DOT approved recovery tank with 80% shut-off float. | $ 255.08 |
| 66 619 | BACHARACH | 2034-0260 | Recovery Tank Float (liquid level switch.) For 80% fill shut-off. | $ 139.38 |
| 66 619 | BACHARACH | 2035-0280 | Stinger® tubing 6.5 inches | $ 3.94 |
| 66 619 | BACHARACH | 2054-0120 | Model 3600 & 3700, rubber feet | $ 3.94 |
| 66 619 | BACHARACH | 2054-0160 | Stinger®, rubber feet | $ 3.94 |
| 66 619 | BACHARACH | 2090-0091 | 80% Shut-Off Kit. (For Stinger® models 2004 and newer only.) Allows your recovery unit to be attached to a tank equipped with a float switch to prevent overfilling. Does not include tank/float. | $ 78.89 |
| 66 619 | BACHARACH | 2100-0001 | R-22id Replacement Oil Restrictor Hose w/ Brass Filter | $ 18.41 |
| 66 619 | BACHARACH | 2100-0002 | R-22id Optional AC Adapter (110/220 VAC) | $ 85.03 |
| 66 619 | BACHARACH | 2100-0003 | Pur-Chek™/ Pur-Chek™ Pro Replacement Printer Paper (1 roll) | $ 4.38 |
| 66 619 | BACHARACH | 2100-0004 | Pur-Chek™/ Pur-Chek™ Pro Replacement AC Adapter (110/220 VAC) | $ 127.10 |
| 66 619 | BACHARACH | 2100-0005 | Pur-Chek™ Replacement Hose Assembly (not for Pur-Chek Pro) | $ 71.88 |
| 66 619 | BACHARACH | 2100-0006 | Pur-Chek™/ Pur-Chek™ Pro Replacement Sample Filter | $ 31.56 |
| 66 619 | BACHARACH | 2100-0007 | Pur-Chek™/ Pur-Chek™ Pro Optional Rechargeable Battery Kit (user-installed) - comes with battery | $ 230.54 |
| 66 619 | BACHARACH | 2100-0008 | Pur-Chek™ Pro (only) Replacement Low Pressure Vapor Sample Hose Assembly | $ 89.41 |
| 66 619 | BACHARACH | 2100-0009 | Pur-Chek™ Pro (only) Replacement High Pressure Vapor Sample Hose Assembly | $ 27.17 |
| 66 619 | BACHARACH | 2100-0010 | Pur-Chek™ Pro (only) Replacement Low Pressure Vapor Sample Hose Filter (pk-3) | $ 52.59 |
| 66 619 | BACHARACH | 2100-0012 | Pur-Chek™/ Pur-Chek™ Pro Spare Rechargeable Battery (must have the Optional Rechargeable Battery Kit installed) | $ 134.12 |
| 66 619 | BACHARACH | 2100-8000 | R-22id Refrigerant Identifier | $ 744.21 |
| 66 619 | BACHARACH | 2100-8001 | Pur-Chek™ Advanced Refrigerant Identifier | $ 1,752.27 |
| 66 619 | BACHARACH | 2100-8002 | Pur-Chek™ Advanced Refrigerant Identifier with Printer | $ 2,102.90 |
| 66 619 | BACHARACH | 2100-8003 | Pur-Chek™ Pro Diagnostic Refrigerant Analyzer with Printer | $ 4,641.46 |
| 66 619 | BACHARACH | 3015-0103 | Battery for H10P and H10PM | $ 35.06 |
| 66 619 | BACHARACH | 3015-0119 | Battery Charger, 120-240 VAC Universal wall adapter for H10PM | $ 18.85 |
| 66 619 | BACHARACH | 3015-0458 | H10 Replacement Plate Assembly | $ 53.91 |
| 66 619 | BACHARACH | 3015-0554 | Replacement Pump - H10G | $ 53.91 |
| 66 619 | BACHARACH | 3015-0641 | H10PM/ H10G Clear Probe Tip | $ 9.20 |
| 66 619 | BACHARACH | 3015-0680 | H10PM/ H10G Rubber Probe Tip | $ 9.20 |
| 66 619 | BACHARACH | 3015-0737 | H10PM/ H10G Small Maintenance Kit (incl. 12 filters, 3 airflow balls) | $ 3.94 |
| 66 619 | BACHARACH | 3015-0895 | Battery Clamp/Cigarette Adapter Assembly for H10PM | $ 28.05 |
| 66 619 | BACHARACH | 3015-0906 | Replacement Pump - H10PM | $ 62.68 |
| 66 619 | BACHARACH | 3015-5773 | H10 Replacement Plate Assembly (was 3015-0458) | $ 58.29 |
| 66 619 | BACHARACH | 9550-0049 | 103 L Cylinder, 100% Nitrogen | $ 131.49 |
| 627 23 | FW BELL | 414180 | FW Bell: Model 4180: ELF Meter | $ 295.71 |
| 627 23 | FW BELL | 414190 | FW Bell: Model 4190: ELF Meter with "F20" Option Included | $ 386.44 |
| 627 23 | FW BELL | 415170 | FW Bell: Model STH17-0404: RoHS GAUSSMETER * (STH17-0404 and Domestic AC adapter included) Transverse | $ 929.96 |
| 627 23 | FW BELL | 415180 | FW Bell: Model STD18-0404: RoHS GAUSSMETER * (STD18-0404 and Domestic AC adapter included) Transverse | $ 1,242.94 |
| 627 23 | FW BELL | 415171 | FW Bell: Model STH17-0404: RoHS GAUSSMETER * (STH17-0404 and NO AC adapter included) Transverse | $ 875.70 |
| 627 23 | FW BELL | 415175 | FW Bell: Model STH17-0404: RoHS GAUSSMETER * (STH17-0404 and International AC adapter included) Transverse | $ 970.76 |
| 627 23 | FW BELL | 415176 | FW Bell: Model SAH17-1904: RoHS GAUSSMETER * (SAH17-1904 and Domestic AC adapter included) Axial | $ 929.96 |
| 627 23 | FW BELL | 415181 | FW Bell: Model STD18-0404 : RoHS GAUSSMETER * (STD18-0404 and NO AC adapter included) Transverse | $ 1,183.38 |
| 627 23 | FW BELL | 415185 | FW Bell: Model STD18-0404 : RoHS GAUSSMETER * (STD18-0404 and International AC adapter included) Tranverse | $ 1,288.30 |
| 627 23 | FW BELL | 415186 | FW Bell: Model SAD18-1904: RoHS GAUSSMETER * (SAD18-1904 and Domestic AC adapter included) Axial | $ 1,242.94 |
| 627 23 | FW BELL | 121060 | FW Bell: Model MOS51-3204: Low Field Probe | $ 721.29 |
| 627 23 | FW BELL | 115003 | FW Bell: Model PSRD-5: AC Adapter, 5V, 110V, Domestic | $ 68.07 |
| 627 23 | FW BELL | 115004 | FW Bell: Model PSRI-5: AC Adapter Switching 220V | $ 99.80 |
| 627 23 | FW BELL | 115002 | FW Bell: Model PSU-9: AC Adapter 9V 300MA (5000 Series only) | $ 68.07 |
| 627 23 | FW BELL | 125000 | FW Bell: Model X5000-0006: 6 ft. Extension Cable | $ 131.57 |
| 627 23 | FW BELL | 122920 | FW Bell: Model YA-111: Zero Gauss Chamber | $ 113.43 |
| 627 23 | FW BELL | 115001 | FW Bell Model : PSR-15AC Adapter Switching 220V | $ 99.80 |
| 627 23 | FW BELL | 116010 | FW Bell Model : 6010Gaussmeter | $ 2,132.05 |
| 627 23 | FW BELL | 117001 | FW Bell Model : Rack KitRack Kit | $ 149.72 |
| 627 23 | FW BELL | 121050 | FW Bell Model : STB1X-0201Ultra Thin Transverse Probe (0.020") | $ 453.63 |
| 627 23 | FW BELL | 123511 | FW Bell Model : VT-500REFERENCE MAGNET Gauss Level 500, Gap 0.062'' | $ 1,079.63 |
| 627 23 | FW BELL | 123512 | FW Bell Model : VT-1KREFERENCE MAGNET Gauss Level 1000, Gap 0.062'' | $ 1,134.07 |
| 627 23 | FW BELL | 123514 | FW Bell Model : VT-5KREFERENCE MAGNET Gauss Level 5000, Gap 0.062'' | $ 1,360.88 |
| 627 23 | FW BELL | 123515 | FW Bell Model : VT-10KREFERENCE MAGNET Gauss Level 10000, Gap 0.062'' | $ 2,041.32 |
| 627 23 | FW BELL | 123524 | FW Bell Model : VA-500REFERENCE MAGNET | $ 1,401.73 |
| 627 23 | FW BELL | 123526 | FW Bell Model : VA-2KREFERENCE MAGNET | $ 1,451.61 |
| 627 23 | FW BELL | 125030 | FW Bell Model : STB5X-0201Ultra Thin Transverse Probe (0.020") | $ 453.63 |
| 627 23 | FW BELL | 125030 | FW Bell Model : STB5X-0201Ultra Thin Transverse Probe (0.020") | $ 453.63 |
| 627 23 | FW BELL | 125602 | FW Bell Model : SAV56-19044" Axial Probe | $ 317.54 |
| 627 23 | FW BELL | 125605 | FW Bell Model : HTV56-06022" H.D. Transverse Probe (incl.w/5060) | $ 317.54 |
| 627 23 | FW BELL | 155061 | FW Bell Model : IA-0250CURRENT SENSOR | $ 387.95 |
| 627 23 | FW BELL | 155062 | FW Bell Model : IA-0500CURRENT SENSOR | $ 399.71 |
| 627 23 | FW BELL | 155063 | FW Bell Model : IA-1000CURRENT SENSOR | $ 411.46 |
| 627 23 | FW BELL | 155064 | FW Bell Model : IA-2000CURRENT SENSOR | $ 429.10 |
| 627 23 | FW BELL | 155065 | FW Bell Model : IA-3000CURRENT SENSOR | $ 440.86 |
| 627 23 | FW BELL | 155100 | FW Bell Model : IF-0100CURRENT SENSOR | $ 346.81 |
| 627 23 | FW BELL | 155101 | FW Bell Model : IF-0250CURRENT SENSOR | $ 358.56 |
| 627 23 | FW BELL | 155102 | FW Bell Model : IF-0500CURRENT SENSOR | $ 376.20 |
| 627 23 | FW BELL | 155103 | FW Bell Model : IF-1000CURRENT SENSOR | $ 387.95 |
| 627 23 | FW BELL | 155104 | FW Bell Model : IF-2000CURRENT SENSOR | $ 399.71 |
| 627 23 | FW BELL | 155105 | FW Bell Model : IF-2000CURRENT SENSOR | $ 411.46 |
| 627 23 | FW BELL | 155125 | FW Bell Model : PC-50Other Closed Loop Current Sensors | $ 155.05 |
| 627 23 | FW BELL | 155126 | FW Bell Model : PC-200Other Closed Loop Current Sensors | $ 178.90 |
| 627 23 | FW BELL | 155127 | FW Bell Model : PCS-50Other Closed Loop Current Sensors | $ 190.82 |
| 627 23 | FW BELL | 155128 | FW Bell Model : PCS-200Other Closed Loop Current Sensors | $ 214.67 |
| 627 23 | FW BELL | 155140 | FW Bell Model : NA-25NA(P) CURRENT SENSOR | $ 10.47 |
| 627 23 | FW BELL | 155145 | FW Bell Model : NAP-25NA(P) CURRENT SENSOR | $ 18.36 |
| 627 23 | FW BELL | 155574 | FW Bell Model : PI | $ 71.66 |
| 627 23 | FW BELL | 155575 | FW Bell Model : PI-600 | $ 75.30 |
| 627 23 | FW BELL | 155701 | FW Bell Model : IA-5020PCURRENT SENSOR | $ 843.74 |
| 627 23 | FW BELL | 155950 | FW Bell Model : CSM-010-BCURRENT SENSOR | $ 15.78 |
| 627 23 | FW BELL | 155962 | FW Bell Model : IHA-25CURRENT SENSOR | $ 129.32 |
| 627 23 | FW BELL | 155964 | FW Bell Model : IHA-150CURRENT SENSOR | $ 158.70 |
| 627 23 | FW BELL | 155970 | FW Bell Model : IHA-100CURRENT SENSOR | $ 145.60 |
| 627 23 | FW BELL | 156000 | FW Bell Model : CS-150Other Closed Loop Current Sensors | $ 113.31 |
| 627 23 | FW BELL | 156010 | FW Bell Model : CSS-150Other Closed Loop Current Sensors | $ 131.19 |
| 627 23 | FW BELL | 156020 | FW Bell Model : CLS-25CURRENT SENSOR | $ 27.31 |
| 627 23 | FW BELL | 156030 | FW Bell Model : CLN-25CURRENT SENSOR | $ 30.07 |
| 627 23 | FW BELL | 156040 | FW Bell Model : CLN-50CURRENT SENSOR | $ 28.80 |
| 627 23 | FW BELL | 156050 | FW Bell Model : CLN-100CURRENT SENSOR | $ 53.47 |
| 627 23 | FW BELL | 156051 | FW Bell Model : CLN100-SP1CURRENT SENSOR | $ 61.75 |
| 627 23 | FW BELL | 156070 | FW Bell Model : CLN-300CURRENT SENSOR | $ 241.50 |
| 627 23 | FW BELL | 156080 | FW Bell Model : CLN-500CURRENT SENSOR | $ 340.07 |
| 627 23 | FW BELL | 157020 | FW Bell Model : NT-5CURRENT SENSOR (Magneto-Resistive) | $ 27.13 |
| 627 23 | FW BELL | 157021 | FW Bell Model : NT-15CURRENT SENSOR (Magneto-Resistive) | $ 28.49 |
| 627 23 | FW BELL | 157022 | FW Bell Model : NT-25CURRENT SENSOR (Magneto-Resistive) | $ 29.72 |
| 627 23 | FW BELL | 157023 | FW Bell Model : NT-50CURRENT SENSOR (Magneto-Resistive) | $ 30.64 |
| 627 23 | FW BELL | 157050 | FW Bell Model : SCC-100CDC Current Sensor | $ 153.58 |
| 627 23 | FW BELL | 157051 | FW Bell Model : SCC-100PDC Current Sensor | $ 153.58 |
| 627 23 | FW BELL | 157052 | FW Bell Model : SCV-100LDC Current Sensor | $ 153.58 |
| 627 23 | FW BELL | 157053 | FW Bell Model : SCV-100HDC Current Sensor | $ 153.58 |
| 627 23 | FW BELL | 157054 | FW Bell Model : SCC-200CDC Current Sensor | $ 162.17 |
| 627 23 | FW BELL | 157055 | FW Bell Model : SCC-200PDC Current Sensor | $ 162.17 |
| 627 23 | FW BELL | 157056 | FW Bell Model : SCV-200LDC Current Sensor | $ 162.17 |
| 627 23 | FW BELL | 157057 | FW Bell Model : SCV-200HDC Current Sensor | $ 162.17 |
| 627 23 | FW BELL | 157058 | FW Bell Model : SCC-300CDC Current Sensor | $ 170.93 |
| 627 23 | FW BELL | 157059 | FW Bell Model : SCC-300PDC Current Sensor | $ 170.93 |
| 627 23 | FW BELL | 157060 | FW Bell Model : SCV-300LDC Current Sensor | $ 170.93 |
| 627 23 | FW BELL | 157061 | FW Bell Model : SCV-300HDC Current Sensor | $ 170.93 |
| 627 23 | FW BELL | 157150 | FW Bell Model : MS-15 | $ 7.78 |
| 627 23 | FW BELL | 157152 | FW Bell Model : MS-30 | $ 8.96 |
| 627 23 | FW BELL | 157250 | FW Bell Model : CLSM-05mACLSM CURRENT SENSOR | $ 23.93 |
| 627 23 | FW BELL | 157251 | FW Bell Model : CLSM-10mACLSM CURRENT SENSOR | $ 23.80 |
| 627 23 | FW BELL | 157252 | FW Bell Model : CLSM-25CLSM CURRENT SENSOR | $ 17.05 |
| 627 23 | FW BELL | 157253 | FW Bell Model : CLSM-50CLSM CURRENT SENSOR | $ 17.66 |
| 627 23 | FW BELL | 157254 | FW Bell Model : CLSM-50SCLSM CURRENT SENSOR | $ 20.25 |
| 627 23 | FW BELL | 157255 | FW Bell Model : CLSM-100CLSM CURRENT SENSOR | $ 21.87 |
| 627 23 | FW BELL | 157256 | FW Bell Model : CLSM-100SCLSM CURRENT SENSOR | $ 20.95 |
| 627 23 | FW BELL | 157257 | FW Bell Model : CLSM-50MTCLSM CURRENT SENSOR | $ 26.91 |
| 627 23 | FW BELL | 157258 | FW Bell Model : CLSM-100MTCLSM CURRENT SENSOR | $ 30.29 |
| 627 23 | FW BELL | 157259 | FW Bell Model : CLSM-25MCLSM CURRENT SENSOR | $ 16.70 |
| 627 23 | FW BELL | 157260 | FW Bell Model : CLSM-50LACLSM CURRENT SENSOR | $ 24.68 |
| 627 23 | FW BELL | 157261 | FW Bell Model : CLSM-100LACLSM CURRENT SENSOR | $ 28.09 |
| 627 23 | FW BELL | 157262 | FW Bell Model : CLSM-300CLSM CURRENT SENSOR | $ 88.49 |
| 627 23 | FW BELL | 157263 | FW Bell Model : CLSM-1000CLSM CURRENT SENSOR | $ 121.93 |
| 627 23 | FW BELL | 157264 | FW Bell Model : CLSM-2000CLSM CURRENT SENSOR | $ 169.57 |
| 627 23 | FW BELL | 157265 | FW Bell Model : CLSM-200LACLSM CURRENT SENSOR | $ 31.51 |
| 627 23 | FW BELL | 157266 | FW Bell Model : CLSM-1000BCLSM CURRENT SENSOR | $ 121.93 |
| 627 23 | FW BELL | 177011 | FW Bell Model : BH-200With 24'' Leads | $ 186.05 |
| 627 23 | FW BELL | 177012 | FW Bell Model : BH-201With 24'' Leads | $ 772.84 |
| 627 23 | FW BELL | 177013 | FW Bell Model : BH-205With 20'' Leads | $ 398.34 |
| 627 23 | FW BELL | 177014 | FW Bell Model : BH-206With 20'' Leads | $ 178.90 |
| 627 23 | FW BELL | 177016 | FW Bell Model : BH-209With 20'' Leads | $ 1,105.59 |
| 627 23 | FW BELL | 177017 | FW Bell Model : BH-201SP1With 24'' Leads | $ 288.62 |
| 627 23 | FW BELL | 177021 | FW Bell Model : BH-700 | $ 118.07 |
| 627 23 | FW BELL | 177022 | FW Bell Model : BH-701Linearity .25 | $ 398.34 |
| 627 23 | FW BELL | 177023 | FW Bell Model : BH-702 | $ 152.66 |
| 627 23 | FW BELL | 177024 | FW Bell Model : BH-705 | $ 244.49 |
| 627 23 | FW BELL | 177027 | FW Bell Model : BH-701-SP1Linearity .5 | $ 376.97 |
| 627 23 | FW BELL | 177030 | FW Bell Model : BH-701-SP2Higher Vh | $ 376.97 |
| 627 23 | FW BELL | 177031 | FW Bell Model : BHT-900 | $ 418.62 |
| 627 23 | FW BELL | 177032 | FW Bell Model : BHT-910 | $ 739.44 |
| 627 23 | FW BELL | 177034 | FW Bell Model : BHT-921 | $ 715.59 |
| 627 23 | FW BELL | 177041 | FW Bell Model : BH-202With 24'' Leads | $ 288.62 |
| 627 23 | FW BELL | 177042 | FW Bell Model : BH-203With 24'' Leads | $ 271.92 |
| 627 23 | FW BELL | 177043 | FW Bell Model : BH-204With 20'' Leads | $ 536.68 |
| 627 23 | FW BELL | 177045 | FW Bell Model : BH-704 | $ 399.53 |
| 627 23 | FW BELL | 177047 | FW Bell Model : BH-204SP1With 20'' Leads | $ 548.91 |
| 627 23 | FW BELL | 177051 | FW Bell Model : BHA-900 | $ 418.62 |
| 627 23 | FW BELL | 177052 | FW Bell Model : BHA-910 | $ 739.44 |
| 627 23 | FW BELL | 177054 | FW Bell Model : BHA-921 | $ 715.59 |
| 627 23 | FW BELL | 177057 | FW Bell Model : BHA-921-SP1Customer Special | $ 733.08 |
| 627 23 | FW BELL | 177061 | FW Bell Model : BH-703 | $ 2,027.51 |
| 627 23 | FW BELL | 177063 | FW Bell Model : BH-850 | $ 214.67 |
| 627 23 | FW BELL | 177075 | FW Bell Model : FH-301-020 | $ 39.36 |
| 627 23 | FW BELL | 177076 | FW Bell Model : FH-301-040 | $ 39.36 |
| 627 23 | FW BELL | 177084 | FW Bell Model : FH-301-020 SP2Special Drift Screening | $ 58.99 |
| 627 23 | FW BELL | 177085 | FW Bell Model : FH-301-020 SP3Special Screening | $ 63.51 |
| 627 23 | FW BELL | 177101 | FW Bell Model : FH-520HALL GENERATORS | $ 30.38 |
| 627 23 | FW BELL | 177102 | FW Bell Model : FH-540HALL GENERATORS | $ 30.38 |
| 627 23 | FW BELL | 177120 | FW Bell Model : GH-600Gallium Arsinide | $ 41.20 |
| 627 23 | FW BELL | 177531 | FW Bell Model : GH-840Gallium Arsinide | $ 20.42 |
| 627 23 | FW BELL | 177535 | FW Bell Model : SH-400Indium Antimonide | $ 20.82 |
| 627 23 | FW BELL | 177536 | FW Bell Model : SH-410Indium Antimonide | $ 13.15 |
| 627 23 | FW BELL | 177537 | FW Bell Model : SH-420Indium Antimonide | $ 13.15 |
| 627 23 | FW BELL | 177538 | FW Bell Model : SH-430Indium Antimonide | $ 13.15 |
| 627 23 | FW BELL | 177902 | FW Bell Model : GH-601Gallium Arsinide | $ 254.47 |
| 627 23 | FW BELL | 178100 | FW Bell Model : HS-100Other | $ 7.01 |
| 627 23 | FW BELL | 339104 | FW Bell Model : Probe Hard CaseHard Plastic Probe Case (2 probes) | $ 49.92 |
| 627 23 | FW BELL | 415172 | FW Bell Model : SAH17-1904RoHS GAUSSMETER * (SAH17-1904 and No AC adapter included) Axial | $ 875.70 |
| 627 23 | FW BELL | 415177 | FW Bell Model : SAH17-1904RoHS GAUSSMETER * (SAH17-1904 and International AC adapter included) Axial | $ 970.76 |
| 627 23 | FW BELL | 415182 | FW Bell Model : SAD18-1904RoHS GAUSSMETER * (SAD18-1904 and No AC adapter included) Axial | $ 1,183.38 |
| 627 23 | FW BELL | 415187 | FW Bell Model : SAD18-1904RoHS GAUSSMETER * (SAD18-1904 and International AC adapter included) Axial | $ 1,288.30 |
| 627 23 | FW BELL | 418010 | FW Bell Model : 8010Single Channel Desktop Gaussmeter | $ 3,501.91 |
| 627 23 | FW BELL | 418030 | FW Bell Model : 8030Three Channel Desktop Gaussmeter | $ 5,255.06 |
| 627 23 | FW BELL | 455911 | FW Bell Model : ABCCDS Magnetoresistive Sensors | $ 21.87 |
| 627 23 | FW BELL | 455912 | FW Bell Model : ABCCDS Magnetoresistive Sensors | $ 22.16 |
| 627 23 | FW BELL | 455913 | FW Bell Model : ABCCDS Magnetoresistive Sensors | $ 23.27 |
| 627 23 | FW BELL | 455914 | FW Bell Model : ABCCDS Magnetoresistive Sensors | $ 24.41 |
| 627 23 | FW BELL | 455915 | FW Bell Model : BCCDS Magnetoresistive Sensors | $ 25.20 |
| 627 23 | FW BELL | 455916 | FW Bell Model : ACCCDS Magnetoresistive Sensors | $ 34.89 |
| 627 23 | FW BELL | 455917 | FW Bell Model : ACCCDS Magnetoresistive Sensors | $ 37.17 |
| 627 23 | FW BELL | 455918 | FW Bell Model : ACCCDS Magnetoresistive Sensors | $ 41.16 |
| 627 23 | FW BELL | 455919 | FW Bell Model : ACCCDS Magnetoresistive Sensors | $ 29.32 |
| 627 23 | FW BELL | 477149 | FW Bell Model : GH-701Gallium Arsinide | $ 10.03 |
| 627 23 | FW BELL | 122325-3 | FW Bell Model : STF81-0402-30-TStandard, Transverse, DC electrical performance: 0.25%, 30kG, 1X, 0.040" stem thickness, 2" stem length, 30' cable length, Temperature Compensated | $ 1,008.06 |
| 627 23 | FW BELL | 122341-3 | FW Bell Model : MOS81-3204-30Magna, DC electrical performance: 1.0%, 1G, .001X, 0.312" stem thickness, 4" stem length, 10' cable length, Temperature Compensated | $ 1,183.38 |
| 627 23 | FW BELL | 122343-3 | FW Bell Model : ZOA83-3208-303-Axis, DC electrical performance: .25%, 10kG, 1X, 0.312" stem thickness, 8" stem length, 30' cable length | $ 3,462.47 |
| 627 23 | FW BELL | 122344-3 | FW Bell Model : ZOA83-3208-30-T3-Axis, DC electrical performance: .25%, 10kG, 1X, 0.312" stem thickness, 8" stem length, 30' cable length, Temperature Compensated | $ 3,791.18 |
| 627 23 | FW BELL | 125005-2 | FW Bell Model : XOVNK-105100 10 ft extension cable | $ 217.74 |
| 627 23 | FW BELL | 157255-1 | FW Bell Model : CLSM-100ACLSM CURRENT SENSOR | $ 30.29 |
| 66 616 | GLOBAL WATER | BR100 | 24VDC Output Voltage Regulator | $ 58.82 |
| 66 616 | GLOBAL WATER | FL16S-003 | Flow Logger, 3', Serial | $ 951.70 |
| 66 616 | GLOBAL WATER | FL16U-003 | Flow Logger, 3', USB | $ 951.70 |
| 66 616 | GLOBAL WATER | FL400-003 | Sewer Level Sensor, 0-3' | $ 633.50 |
| 66 616 | GLOBAL WATER | FLMNT | Protective Mounting Sleeve for FL16 | $ 58.82 |
| 66 616 | GLOBAL WATER | FPPROP | FP101/201 Propeller Kit | $ 32.78 |
| 66 616 | GLOBAL WATER | GL500-7-2 | 7 analog 2 pulse datalogger | $ 631.09 |
| 66 616 | GLOBAL WATER | GL500S-2-1 | 2 analog 1 pulse datalogger,Serial | $ 312.89 |
| 66 616 | GLOBAL WATER | GL500U-2-1 | 2 analog 1 pulse datalogger,USB | $ 312.89 |
| 66 616 | GLOBAL WATER | PL200-G | Garden Hose Thread Pressure Logger | $ 420.41 |
| 66 616 | GLOBAL WATER | PL200-H-1 | Hydrant Pressure Logger | $ 471.51 |
| 66 616 | GLOBAL WATER | PL200-H-2 | Hydrant Pressure Logger w/adapter | $ 521.65 |
| 66 616 | GLOBAL WATER | RG333 | Auto-Dump Rain Gauge | $ 170.67 |
| 66 618 | GLOBAL WATER | SP100 | Portable Sampling Pump | $ 461.38 |
| 66 618 | GLOBAL WATER | SP200 | Variable Speed Portable Sample Pump | $ 631.09 |
| 66 616 | GLOBAL WATER | SP250 | Variable Speed,Quick Disc.,Pump | $ 986.41 |
| 66 616 | GLOBAL WATER | VL400-003 | Vacuum Level Sensor | $ 532.26 |
| 66 616 | GLOBAL WATER | WA400-AC | High Water Alarm, 115 VAC power | $ 271.91 |
| 66 616 | GLOBAL WATER | WA400-AL | High Level Alarm, WA600 AC pwr | $ 400.16 |
| 66 616 | GLOBAL WATER | WA400-BU | High Level Alarm, 115 VAC pwr w/bat bckup | $ 314.34 |
| 66 616 | GLOBAL WATER | WA400-DC | High Level Alarm, battery power | $ 278.66 |
| 66 616 | GLOBAL WATER | WA400-FS | High Level Alarm, Float Switch Bat Pwr | $ 364.48 |
| 66 616 | GLOBAL WATER | WA600-A | Water Alarm Sensor, Air Activated | $ 193.81 |
| 66 616 | GLOBAL WATER | WA600-W | Water Alarm Sensor, Water Activated | $ 193.81 |
| 66 616 | GLOBAL WATER | WL16S-003-003 | Water Level Logger, 0-3', 3' Serial | $ 845.63 |
| 66 616 | GLOBAL WATER | WL16S-003-050 | Water Level Logger, 0-3', 50' Serial | $ 881.31 |
| 66 616 | GLOBAL WATER | WL16S-003-075 | Water Level Logger, 0-75' 75' Serial | $ 916.98 |
| 66 616 | GLOBAL WATER | WL16S-015-025 | Water Level Logger, 0-15', 25' Serial | $ 845.63 |
| 66 616 | GLOBAL WATER | WL16S-015-050 | Water Level Logger, 0-15' 50' Serial | $ 881.31 |
| 66 616 | GLOBAL WATER | WL16S-015-075 | Water Level Logger, 0-15' 75' Serial | $ 916.98 |
| 66 616 | GLOBAL WATER | WL16S-015-100 | Water Level Logger, 0-15', 100' Serial | $ 951.70 |
| 66 616 | GLOBAL WATER | WL16S-030-025 | Water Level Logger, 0-30', 25' Serial | $ 845.63 |
| 66 616 | GLOBAL WATER | WL16S-030-050 | Water Level Logger, 0-30', 50' Serial | $ 881.31 |
| 66 616 | GLOBAL WATER | WL16S-030-075 | Water Level Logger, 0-30', 75' Serial | $ 916.98 |
| 66 616 | GLOBAL WATER | WL16S-030-100 | Water Level Logger, 0-30', 100' Serial | $ 951.70 |
| 66 616 | GLOBAL WATER | WL16S-060-075 | Water Level Logger, 0-60', 75' Serial | $ 916.98 |
| 66 616 | GLOBAL WATER | WL16S-060-100 | Water Level Logger, 0-60', 100' Serial | $ 951.70 |
| 66 616 | GLOBAL WATER | WL16S-060-125 | Water Level Logger, 0-60' 125' Serial | $ 987.37 |
| 66 616 | GLOBAL WATER | WL16S-060-150 | Water Level Logger, 0-60' 150' Serial | $ 1,023.05 |
| 66 616 | GLOBAL WATER | WL16S-060-200 | Water Level Logger, 0-60' 200' Serial | $ 1,093.44 |
| 66 616 | GLOBAL WATER | WL16S-120-125 | Water Level Logger, 0-120', 125' Serial | $ 987.37 |
| 66 616 | GLOBAL WATER | WL16S-120-150 | Water Level Logger, 0-120', 150' Serial | $ 1,023.05 |
| 66 616 | GLOBAL WATER | WL16S-120-200 | Water Level Logger, 0-120' 200' Serial | $ 1,093.44 |
| 66 616 | GLOBAL WATER | WL16S-120-250 | Water Level Logger, 0-120' 250' Serial | $ 1,164.79 |
| 66 616 | GLOBAL WATER | WL16S-250-250 | Water Level Logger, 0-250', 250' Serial | $ 1,164.79 |
| 66 616 | GLOBAL WATER | WL16S-250-300 | Water Level Logger, 0-250' 300 Serial | $ 1,235.18 |
| 66 616 | GLOBAL WATER | WL16S-250-500 | Water Level Logger, 0-250', 500' Serial | $ 1,518.66 |
| 66 616 | GLOBAL WATER | WL16S-500 | Water Level Logger, 500', Serial | $ 901.56 |
| 66 616 | GLOBAL WATER | WL16U-003-003 | Water Level Logger, 0-3, 3' USB | $ 845.63 |
| 66 616 | GLOBAL WATER | WL16U-003-025 | Water Level Logger, 0-3, 25' USB | $ 845.63 |
| 66 616 | GLOBAL WATER | WL16U-003-050 | Water Level Logger, 0-3, 50' USB | $ 881.31 |
| 66 616 | GLOBAL WATER | WL16U-003-075 | Water Level Logger, 0-3, 75' USB | $ 916.98 |
| 66 616 | GLOBAL WATER | WL16U-015-025 | Water Level Logger, 0-15' 25' USB | $ 845.63 |
| 66 616 | GLOBAL WATER | WL16U-015-050 | Water Level Logger, 0-15' 50' USB | $ 881.31 |
| 66 616 | GLOBAL WATER | WL16U-015-075 | Water Level Logger, 0-15' 75' USB | $ 916.98 |
| 66 616 | GLOBAL WATER | WL16U-015-100 | Water Level Logger, 0-15' 100' USB | $ 951.70 |
| 66 616 | GLOBAL WATER | WL16U-030-025 | Water Level Logger, 0-30', 30' USB | $ 845.63 |
| 66 616 | GLOBAL WATER | WL16U-030-050 | Water Level Logger, 0-30', 50' USB | $ 881.31 |
| 66 616 | GLOBAL WATER | WL16U-030-075 | Water Level Logger, 0-30', 75' USB | $ 916.98 |
| 66 616 | GLOBAL WATER | WL16U-030-100 | Water Level Logger, 0-30', 100' USB | $ 951.70 |
| 66 616 | GLOBAL WATER | WL16U-060-075 | Water Level Logger, 0-60', 75' USB | $ 916.98 |
| 66 616 | GLOBAL WATER | WL16U-060-100 | Water Level Logger, 0-60', 100' USB | $ 951.70 |
| 66 616 | GLOBAL WATER | WL16U-060-125 | Water Level Logger, 0-60', 125' USB | $ 987.37 |
| 66 616 | GLOBAL WATER | WL16U-060-150 | Water Level Logger, 0-60' 150' USB | $ 1,023.05 |
| 66 616 | GLOBAL WATER | WL16U-060-200 | Water Level Logger, 0-60' 200' USB | $ 1,093.44 |
| 66 616 | GLOBAL WATER | WL16U-120-125 | Water Level Logger, 0-120', 125' USB | $ 987.37 |
| 66 616 | GLOBAL WATER | WL16U-120-150 | Water Level Logger, 0-120', 150' USB | $ 1,023.05 |
| 66 616 | GLOBAL WATER | WL16U-120-200 | Water Level Logger, 0-120', 200' USB | $ 1,093.44 |
| 66 616 | GLOBAL WATER | WL16U-120-250 | Water Level Logger, 0-120', 250' USB | $ 1,164.79 |
| 66 616 | GLOBAL WATER | WL16U-250-250 | Water Level Logger, 0-250', 250' USB | $ 1,164.79 |
| 66 616 | GLOBAL WATER | WL16U-250-300 | Water Level Logger, 0-250', 300' USB | $ 1,235.18 |
| 66 616 | GLOBAL WATER | WL16U-250-500 | Water Level Logger, 0-250', 500' USB | $ 1,518.66 |
| 66 616 | GLOBAL WATER | WL400-003-025 | 66-616Water Level Sensor, 0-3',25' | $ 532.26 |
| 66 616 | GLOBAL WATER | WL400-015-025 | Water Level Sensor, 0-15',25' | $ 532.26 |
| 66 616 | GLOBAL WATER | WL400-030 | Water Level Sensor, 30' | $ 525.02 |
| 66 616 | GLOBAL WATER | WL400-030-050 | Water Level Sensor, 30',50' | $ 566.97 |
| 66 616 | GLOBAL WATER | WL400-060 | Water Level Sensor, 60' | $ 525.02 |
| 66 616 | GLOBAL WATER | WL400-060-100 | Water Level Sensor, 60',100' | $ 638.32 |
| 66 616 | GLOBAL WATER | WL400-120 | Water Level Sensor, 120' | $ 525.02 |
| 66 616 | GLOBAL WATER | WL400-120-150 | Water Level Sensor, 120',150' | $ 708.71 |
| 66 616 | GLOBAL WATER | WL400-250 | Water Level Sensor, 250' | $ 525.02 |
| 66 616 | GLOBAL WATER | WL400-250-300 | Water Level Sensor, 250',300 | $ 921.81 |
| 66 616 | GLOBAL WATER | WL400-500 | Water Level Sensor, 500' | $ 578.06 |
| 66 616 | GLOBAL WATER | WS700 | Water Sampler, 1 pump | $ 1,161.42 |
| 66 616 | GLOBAL WATER | WS700-IBO | Ice Bag Water Sampler | $ 1,161.42 |
| 66 616 | GLOBAL WATER | WS700-PCO | Cooler Water Sampler | $ 1,479.61 |
| 66 616 | GLOBAL WATER | WS700R | Refridgerated Wastewater, Composite | $ 1,267.48 |
| 66 616 | GLOBAL WATER | WS750 | Water Sampler, 2 pumps | $ 1,219.75 |
| 66 616 | GLOBAL WATER | AN100-OD6 | Antenna, 900MHz Omni 6dBi | $ 145.51 |
| 66 616 | GLOBAL WATER | AN100-OM5 | Antenna, 900MHz Magnetic, 5dBi | $ 71.00 |
| 66 616 | GLOBAL WATER | AN100-YA13 | Antenna, 13dBi Yagi | $ 145.51 |
| 66 616 | GLOBAL WATER | AN100-YA9 | Antenna, 9dBi Yagi | $ 113.95 |
| 66 616 | GLOBAL WATER | BT100 | Bluetooth, External Adaptor | $ 349.75 |
| 66 616 | GLOBAL WATER | EZ100 | LCD Display | $ 392.71 |
| 66 616 | GLOBAL WATER | EZ100-EP | LCD Display, External Power | $ 392.71 |
| 66 616 | GLOBAL WATER | FC220-AC | Open Channel Flow Monitor, AC Power | $ 947.58 |
| 66 616 | GLOBAL WATER | FC220-AC-D | Open Channel Flow Monitor, AC Power, w/Logger | $ 1,157.08 |
| 66 616 | GLOBAL WATER | FC220-DC | Open Channel Flow Monitor, DC Power | $ 947.58 |
| 66 616 | GLOBAL WATER | FC220-DC-D | Open Channel Flow Monitor, DC Power, w/Logger | $ 1,157.08 |
| 66 616 | GLOBAL WATER | FP111 | Flow Probe, 3.7'-6' | $ 804.70 |
| 66 616 | GLOBAL WATER | FP111-S | Flow Probe, 3.7'-6' Swivel Head | $ 1,065.91 |
| 66 616 | GLOBAL WATER | FP211 | Flow Probe 5.5'-15' | $ 864.30 |
| 66 616 | GLOBAL WATER | FP211-S | Flow Probe 5.5'-15' Swivel Head | $ 1,121.14 |
| 66 616 | GLOBAL WATER | FP311 | Flow Probe, 2.5'-5.5' | $ 864.30 |
| 66 616 | GLOBAL WATER | FP-FIN | Flow Probe Fin | $ 55.22 |
| 66 616 | GLOBAL WATER | FSS100 | Flow Sampling System, No Logger | $ 2,159.00 |
| 66 616 | GLOBAL WATER | FSS200 | Flow Sampling System, Internal Logger | $ 2,301.01 |
| 66 616 | GLOBAL WATER | FSS300 | Flow Sampling System, External Logger | $ 2,538.56 |
| 66 616 | GLOBAL WATER | GL450-2-1 | Weather Proof Encl, GL500-2-1 w/o battery | $ 86.78 |
| 66 616 | GLOBAL WATER | GL450-2-1-B | Weather Prf Encl, GL500-2-1, w/ Bat | $ 188.46 |
| 66 616 | GLOBAL WATER | GL450-7-1 | Data Logger Enclosure Upgrade | $ 192.85 |
| 66 616 | GLOBAL WATER | GL500-7-2-BT | GL500-7-2-BT, Logger w/ Bluetooth | $ 835.38 |
| 66 616 | GLOBAL WATER | GL500-DISP | Single Ch. Display for Datalogger w/GL450-7-1 | $ 362.03 |
| 66 616 | GLOBAL WATER | GL500-Mod | Modem Package for GL500-7-2 | $ 280.50 |
| 66 616 | GLOBAL WATER | LW100 | Leaf Wetness Sensor | $ 419.88 |
| 66 616 | GLOBAL WATER | PC320-AC | Process Controller, AC Power | $ 884.46 |
| 66 616 | GLOBAL WATER | PC320-AC-D | Process Controller, AC Power, w/Logger | $ 1,256.13 |
| 66 616 | GLOBAL WATER | PC320-DC | Process Controller, DC Power | $ 790.67 |
| 66 616 | GLOBAL WATER | PC320-DC-D | Process Controller, DC Power, w/Logger | $ 1,163.21 |
| 66 616 | GLOBAL WATER | PG100-100 | Pressure gauge, 2.5", SS, 100 psi | $ 30.68 |
| 66 616 | GLOBAL WATER | PG100-15 | Pressure gauge, 2.5", SS, 15 psi | $ 30.68 |
| 66 616 | GLOBAL WATER | PG100-160 | Pressure gauge, 2.5", SS, 160 psi | $ 30.68 |
| 66 616 | GLOBAL WATER | PG100-200 | Pressure gauge, 2.5", SS, 200 psi | $ 30.68 |
| 66 616 | GLOBAL WATER | PG100-30 | Pressure gauge, 2.5"", SS, 30 psi | $ 30.68 |
| 66 616 | GLOBAL WATER | PG100-300 | Pressure gauge, 2.5", SS, 300 psi | $ 30.68 |
| 66 616 | GLOBAL WATER | PG100-60 | Pressure gauge, 2.5", SS, 60 psi | $ 30.68 |
| 66 616 | GLOBAL WATER | PG100-VAC | Pressure gauge, 2.5", SS, 30" hg | $ 30.68 |
| 66 616 | GLOBAL WATER | PG150 | Pressure gauge, 300 psi, top GHT | $ 20.16 |
| 66 616 | GLOBAL WATER | PG200-100 | Process gauge, 4.5", 100 psi | $ 100.81 |
| 66 616 | GLOBAL WATER | PG200-15 | Process gauge, 4.5", 15 psi | $ 100.81 |
| 66 616 | GLOBAL WATER | PG200-160 | Process gauge, 4.5", 160 psi | $ 100.81 |
| 66 616 | GLOBAL WATER | PG200-200 | Process gauge, 4.5", 200 psi | $ 100.81 |
| 66 616 | GLOBAL WATER | PG200-30 | Process gauge, 4.5", 30 psi | $ 100.81 |
| 66 616 | GLOBAL WATER | PG200-300 | Process gauge, 4.5", 300 psi | $ 100.81 |
| 66 616 | GLOBAL WATER | PG200-60 | Process gauge, 4.5", 60 psi | $ 100.81 |
| 66 616 | GLOBAL WATER | PG250-100 | Process altitude gauge,4.5",100 psi | $ 126.23 |
| 66 616 | GLOBAL WATER | PG250-15 | Process altitude gauge,4.5",15 psi | $ 126.23 |
| 66 616 | GLOBAL WATER | PG250-160 | Process altitude gauge,4.5",160 psi | $ 126.23 |
| 66 616 | GLOBAL WATER | PG250-200 | Process altitude gauge,4.5",200 psi | $ 126.23 |
| 66 616 | GLOBAL WATER | PG250-30 | Process altitude gauge,4.5",30 psi | $ 126.23 |
| 66 616 | GLOBAL WATER | PG250-300 | Process altitude gauge,4.5",300 psi | $ 126.23 |
| 66 616 | GLOBAL WATER | PG250-60 | Process altitude gauge,4.5",60 psi | $ 126.23 |
| 66 616 | GLOBAL WATER | PG300-100 | Digital pres. gauge, 100 psi/ft hd | $ 213.01 |
| 66 616 | GLOBAL WATER | PG300-300 | Digital pres. gauge, 300 psi/ft hd | $ 213.01 |
| 66 616 | GLOBAL WATER | PL200-H-LK | Lock, Fire Hydrant Logger, Gray | $ 54.35 |
| 66 616 | GLOBAL WATER | RM100-CLR | Client Radio, Long Range | $ 1,222.82 |
| 66 616 | GLOBAL WATER | RM100-CSK | Server/Client Radio Starter Kit | $ 887.97 |
| 66 616 | GLOBAL WATER | RM100-CSR | Client Radio, Short Range | $ 1,111.50 |
| 66 616 | GLOBAL WATER | RM100-SFL | Server Radio Modem, Indoor, Fixed | $ 711.78 |
| 66 616 | GLOBAL WATER | RM100-SMP | Server Radio Modem, Mobile | $ 766.13 |
| 66 616 | GLOBAL WATER | RM100-SPMB | Hardware, Solar Panel Mounting Kit | $ 57.85 |
| 66 616 | GLOBAL WATER | SMPL-AC | AC Power Option | $ 138.50 |
| 66 616 | GLOBAL WATER | SP102 | Solar Panel, 5W | $ 354.14 |
| 66 616 | GLOBAL WATER | SP140 | Solar Panel, 40 Watt | $ 757.36 |
| 66 616 | GLOBAL WATER | WA100 | Float switch w/shield, 20' cbl | $ 124.47 |
| 66 616 | GLOBAL WATER | WA150-49 | Tilt float switch w/49 foot cable | $ 91.16 |
| 66 616 | GLOBAL WATER | WA150-6 | Tilt float switch w/6.5ft(2m) cable | $ 57.85 |
| 66 616 | GLOBAL WATER | WA170-NC-20 | Float switch, NC, 20' cbl | $ 38.57 |
| 66 616 | GLOBAL WATER | WA170-NC-30 | Float switch, NC, 30' cbl | $ 42.95 |
| 66 616 | GLOBAL WATER | WA170-NO-20 | Float switch, NO, 20' cbl | $ 38.57 |
| 66 616 | GLOBAL WATER | WA170-NO-30 | Float switch, NO, 30' cbl | $ 42.95 |
| 66 616 | GLOBAL WATER | WL16S-003-025 | Water Level Logger,0-3',25',Serial | $ 866.93 |
| 66 616 | GLOBAL WATER | WLEXE | Cable, Vented | $ 2.02 |
| 66 616 | GLOBAL WATER | WLL-2 | Water Level Logger,0-30',50',USB | $ 902.87 |
| 66 616 | GLOBAL WATER | WL-T | Temperature/Level Data Logger Optio | $ 79.77 |
| 66 616 | GLOBAL WATER | WQEXC | Extra Cable, Non-Vented | $ 1.84 |
| 66 616 | GLOBAL WATER | WQS100 | Water Quality Sampling System, No Logger | $ 2,092.38 |
| 66 616 | GLOBAL WATER | WQS200 | Water Quality Sampling System, Internal Logger | $ 2,230.01 |
| 66 616 | GLOBAL WATER | WQS300 | Water Quality Sampling System, External Logger | $ 2,459.67 |
| 66 616 | GLOBAL WATER | WS700-10G | Composite 10 Gallon Sampler | $ 1,422.68 |
| 66 616 | GLOBAL WATER | WS700-C | Water Sampler, 1 pump No battery or charger | $ 1,177.24 |
| 66 616 | GLOBAL WATER | WS705 | GWI Water Sampler, 1 Pump | $ 1,548.91 |
| 66 616 | GLOBAL WATER | WS750-PCO | Cooler Water Sampler, 2 pumps | $ 1,679.52 |
| 66 616 | GLOBAL WATER | WS755 | GWI Water Sampler, 2 Pump | $ 1,931.09 |
| 66 616 | GLOBAL WATER | WSLO | Water Sampler Logger Option | $ 666.20 |
| 66 616 | GLOBAL WATER | WSSWK | Storm Water Kit | $ 225.28 |
| 66 618 | HANNA | HI70004P | Hanna pH 4.01 buffer solution @ 25 C-20 ml sachet (25 pcs) | $ 21.91 |
| 66 618 | HANNA | HI70007P | Hanna pH 7.01buffer solution @ 25 C- 20 ml sachet (25 pcs) | $ 21.91 |
| 66 618 | HANNA | HI70010P | Hanna pH 10.01 buffer solution @ 25 C- 20 ml sachet (25 pcs) | $ 21.91 |
| 66 618 | HANNA | HI70030P | Hanna 12880 S/cm conductivity solution ( mho/cm), 20 ml (25 pcs) | $ 20.25 |
| 66 618 | HANNA | HI7004M | Hanna pH 4.01 buffer solution @ 25 C- 0.23 L | $ 9.64 |
| 66 618 | HANNA | HI7010M | Hanna pH 10.01 buffer solution @ 25 C- 0.23 L | $ 9.64 |
| 66 618 | HANNA | HI7020M | Hanna ORP testing solution 200/275 mV @ 25 C, 0.23 L | $ 14.90 |
| 66 618 | HANNA | HI7021M | ORP testing solution 240 mV @ 25 C, 0.23 L | $ 14.90 |
| 66 618 | HANNA | HI7022M | Hanna ORP testing solution 470 mV @ 25 C, 0.23 L | $ 14.90 |
| 66 618 | HANNA | HI70300M | Hanna Storage solution for pH /ORP electrodes, 0.23 L | $ 9.64 |
| 66 618 | HANNA | HI7061M | Hanna General cleaning solution, 0.23 L | $ 9.64 |
| 66 618 | HANNA | HI73127 | Hanna Spare Electode for HI98127/HI98128/HI98121/HI98129/HI98130 | $ 42.43 |
| 66 618 | HANNA | HI73311 | Hanna Spare Electode for HI 98311/HI98312 | $ 46.46 |
| 66 618 | HANNA | HI9142 | Hanna Entry-Level Dissolved Oxygen Meter | $ 381.31 |
| 66 618 | HANNA | HI9146-04 | Hanna Dissolved Oxygen Meter with 4 meter cable | $ 464.58 |
| 66 618 | HANNA | HI9146-10 | Hanna Dissolved Oxygen Meter with 10 meter cable | $ 506.22 |
| 66 618 | HANNA | HI98103 | Hanna Checker 1 Tester | $ 30.68 |
| 66 618 | HANNA | HI98107 | Hanna pHep pH Tester | $ 40.50 |
| 66 618 | HANNA | HI98120 | Hanna ORP/Temperature Tester | $ 102.21 |
| 66 618 | HANNA | HI98127 | Hanna Phep 4 pH Tester | $ 74.51 |
| 66 618 | HANNA | HI98128 | Hanna pHep5 pH Meter | $ 85.03 |
| 66 618 | HANNA | HI98129 | Hanna pH/TDS/Temperature Combo Meter | $ 134.12 |
| 66 618 | HANNA | HI98130 | Hanna pH/TDS/Temperature Combo Meter | $ 134.12 |
| 66 618 | HANNA | HI9828-25 | Hanna Quick calibration solution for HI9828, 500mL | $ 28.05 |
| 66 618 | HANNA | HI98311 | Hanna Dist 5 EC/TDS Tester | $ 86.78 |
| 66 618 | HANNA | HI98312 | Hanna Dist 6 EC/TDS Tester | $ 86.78 |
| 66 618 | HANNA | HI991300 | Hanna pH /EC/TDS/ C/ F waterproof meter with carrying case | $ 433.90 |
| 66 618 | HANNA | HI991301 | Hanna pH /EC/TDS/ C/ F waterproof meter with carrying case | $ 433.90 |
| 66 618 | HANNA | BL1.5-1 | BlackStone Series Dosing Pump, 1.5 lph (0.4 gph) @13 bar (188.5 psi), 115V | $ 122.72 |
| 66 618 | HANNA | BL10-1 | BlackStone Series Dosing Pump, 10.8 lph (2.9 gph) @ 3 bar (43.5 psi), 115V | $ 122.72 |
| 66 618 | HANNA | BL15-1 | BlackStone Series Dosing Pump, 15.2 lph (4.0 gph)@ 1 bar (14.5 psi), 115V | $ 122.72 |
| 66 618 | HANNA | BL20-1 | BlackStone Series Dosing Pump, 18.3 lph (4.8 gph) @ 0.5 bar (7.4 psi), 115V | $ 122.72 |
| 66 618 | HANNA | BL3-1 | BlackStone Series Dosing Pump, 2.9 lph (0.8 gph) @ 8 bar (116 psi), 115V | $ 122.72 |
| 66 618 | HANNA | BL5-1 | BlackStone Series Dosing Pump, 5.0 lph (1.3 gph) @ 7 bar (101.5 psi), 115V | $ 122.72 |
| 66 618 | HANNA | BL7-1 | BlackStone Series Dosing Pump, 7.6 lph (2.0 gph) @ 3 bar (43.5 psi), 115V | $ 122.72 |
| 66 618 | HANNA | BL7916-1 | pH Controller and Pump, range: 0.00 to 14.00 pH, 110/115V ±15%; 50/60Hz (40W) power supply | $ 696.88 |
| 66 618 | HANNA | BL7917-1 | ORP Controller and Pump, range: +/-1999 mV, 110/115V ±15%; 50/60Hz (40W) power supply | $ 696.88 |
| 66 618 | HANNA | BL931700-0 | pH Mini Controller, 0.01 resolution, 4-20 MA recorder output, 12VDC | $ 189.34 |
| 66 618 | HANNA | BL931700-1 | pH Mini Controller, 0.01 resolution, 4-20 MA recorder output, 115V/230V | $ 189.34 |
| 66 618 | HANNA | BL932700-0 | ORP Mini Controller, range: -1000 to +1000 mV, 4-20 MA recorder output, 12VDC | $ 189.34 |
| 66 618 | HANNA | BL932700-1 | ORP Mini Controller, range: -1000 to +1000 mV, 4-20 MA recorder output, 115V/230V | $ 189.34 |
| 66 618 | HANNA | BL981411-0 | pH Mini Controller, 0.1 resolution, 12VDC | $ 140.25 |
| 66 618 | HANNA | BL981411-1 | pH Mini Controller, 0.1 resolution, 115V/230V | $ 140.25 |
| 66 618 | HANNA | BL982411-0 | ORP Mini Controller, range: 0 to 1000 mV, 12VDC | $ 140.25 |
| 66 618 | HANNA | BL982411-1 | ORP Mini Controller, range: 0 to 1000 mV, 115V/230V | $ 140.25 |
| 66 618 | HANNA | BL983313-0 | Conductivity Mini Controller, range: 0 to 1999 µS/cm, dosing relay: contact closed when reading exceeds setpoint value, 12VDC | $ 140.25 |
| 66 618 | HANNA | BL983313-1 | Conductivity Mini Controller, range: 0 to 1999 µS/cm, dosing relay: contact closed when reading exceeds setpoint value, 115V/230V | $ 140.25 |
| 66 618 | HANNA | BL983314-0 | Resistivity Mini Controller, range: 0.00 to 19.90 MΩ/cm, dosing relay: contact closed when reading falls below setpoint value, 12VDC | $ 249.82 |
| 66 618 | HANNA | BL983314-1 | Resistivity Mini Controller, range: 0.00 to 19.90 MΩ/cm, dosing relay: contact closed when reading falls below setpoint value, 115V/230V | $ 249.82 |
| 66 618 | HANNA | BL983315-0 | TDS Mini Controller, range: 0.0 to 199.9 mg/L (ppm), dosing relay: contact closed when reading exceeds setpoint value, 12VDC | $ 140.25 |
| 66 618 | HANNA | BL983315-1 | TDS Mini Controller, range: 0.0 to 199.9 mg/L (ppm) , dosing relay: contact closed when reading exceeds setpoint value, 115V/230V | $ 140.25 |
| 66 618 | HANNA | BL983317-0 | Conductivity Mini Controller, range: 0.00 to 10.00 mS/cm, dosing relay: contact closed when reading falls below setpoint value, 12VDC | $ 140.25 |
| 66 618 | HANNA | BL983317-1 | Conductivity Mini Controller, range: 0.00 to 10.00 mS/cm, dosing relay: contact closed when reading falls below setpoint value , 115V/230V | $ 140.25 |
| 66 618 | HANNA | BL983318-0 | TDS Mini Controllers, range: 0.00 to 10.00 ppt, dosing relay: contact closed when reading exceeds setpoint value, 12VDC | $ 140.25 |
| 66 618 | HANNA | BL983318-1 | TDS Mini Controllers, range: 0.00 to 10.00 ppt, dosing relay: contact closed when reading exceeds setpoint value, 115V/230V | $ 140.25 |
| 66 618 | HANNA | BL983319-0 | TDS Mini Controller, range: 0 to 1999 mg/L (ppm), dosing relay: contact closed when reading falls below setpoint value, 12VDC | $ 140.25 |
| 66 618 | HANNA | BL983319-1 | TDS Mini Controller, range: 0 to 1999 mg/L (ppm), dosing relay: contact closed when reading falls below setpoint value, 115V/230V | $ 140.25 |
| 66 618 | HANNA | BL983320-0 | Conductivity Mini Controller, range: 0.0 to 199.9 µS/cm, dosing relay: contact closed when reading exceeds setpoint value, 12VDC | $ 140.25 |
| 66 618 | HANNA | BL983320-1 | Conductivity Mini Controller, range: 0.0 to 199.9 µS/cm, dosing relay: contact closed when reading exceeds setpoint value, 115V/230V | $ 140.25 |
| 66 618 | HANNA | BL983321-0 | TDS Mini Controller, range: 0.00 to 19.99 mg/L (ppm), dosing relay: contact closed when reading exceeds setpoint value, 12VDC | $ 140.25 |
| 66 618 | HANNA | BL983321-1 | TDS Mini Controller, range: 0.00 to 19.99 mg/L (ppm), dosing relay: contact closed when reading exceeds setpoint value, 115V/230V | $ 140.25 |
| 66 618 | HANNA | BL983322-0 | Conductivity Mini Controller, range: 0.00 to 19.99 µS/cm, dosing relay: contact closed when reading exceeds setpoint value, 12VDC | $ 140.25 |
| 66 618 | HANNA | BL983322-1 | Conductivity Mini Controller, range: 0.00 to 19.99 µS/cm, dosing relay: contact closed when reading exceeds setpoint value, 115V/230V | $ 140.25 |
| 66 618 | HANNA | BL983324-0 | TDS Mini Controller; range: 0.0 to 49.9 mg/L (ppm), dosing relay: contact closed when reading exceeds setpoint value, 12VDC | $ 140.25 |
| 66 618 | HANNA | BL983324-1 | TDS Mini Controller, range: 0.0 to 49.9 mg/L (ppm), dosing relay: contact closed when reading exceeds setpoint value, 115V/230V | $ 140.25 |
| 66 618 | HANNA | BL983327-0 | Conductivity Mini Controller, range: 0.00 to 10.00 mS/cm, dosing relay: contact closed when reading exceeds setpoint value, 12VDC | $ 140.25 |
| 66 618 | HANNA | BL983327-1 | Conductivity Mini Controller, range: 0.00 to 10.00 mS/cm, dosing relay: contact closed when reading exceeds setpoint value, 115V/230V | $ 140.25 |
| 66 618 | HANNA | BL983329-0 | TDS Mini Controller, range: 0 to 999mg/L (ppm), dosing relay: contact closed when reading exceeds setpoint value, 12VDC | $ 140.25 |
| 66 618 | HANNA | BL983329-1 | TDS Mini Controller, range: 0 to 999 mg/L (ppm), dosing relay: contact closed when reading exceeds setpoint value, 115V/230V | $ 140.25 |
| 66 618 | HANNA | CHAMPION PLAN | Champion service Plan for PCA or Titrator | $ 521.56 |
| 66 618 | HANNA | ECO7021L | ORP SOLUTION 240mV 460mL FOR AQUATIC ECOSYSTEMS | $ 21.91 |
| 66 618 | HANNA | ECO7022L | Ecosystems HI7022L | $ 21.91 |
| 66 618 | HANNA | EXECUTIVE PLAN | Serivce Paln for Titrator or PCA | $ 569.77 |
| 66 618 | HANNA | FC098 | Blade, stainless steel for meat pH electrode, 20 mm (0.8") | $ 134.12 |
| 66 618 | HANNA | FC099 | Blade, stainless steel for meat pH electrode, 35 mm (1.4") | $ 129.73 |
| 66 618 | HANNA | FC100B | pH electrode; Use for cheese, BNC connector | $ 117.46 |
| 66 618 | HANNA | FC200B | pH electrode; Use for milk, yogurt, dairy products, and semi solid foods, BNC connector, 1 mt cable | $ 134.12 |
| 66 618 | HANNA | FC200D | FoodCare pH combination electrode PVDF-body, conic, Viscolene, DIN, 1 m cable | $ 134.12 |
| 66 618 | HANNA | FC201D | pH electrode; Use for milk, yogurt, dairy products, meat and semi solid foods, DIN connector recommended for HI 98140, HI 98150, HI 98230, HI 98240 pH meters | $ 141.13 |
| 66 618 | HANNA | FC202D | pH electrode; Use for milk, yogurt, dairy products, meat and semi solid foods, DIN connector recommended for HI 99161 pH meter | $ 145.51 |
| 66 618 | HANNA | FC210B | pH electrode; Use for milk, yogurt, and creams, BNC connector | $ 153.40 |
| 66 618 | HANNA | FC214D | Beer analysis pH electrode | $ 131.49 |
| 66 618 | HANNA | FC215D | Low Ionic Strenght water pH electrode | $ 131.49 |
| 66 618 | HANNA | FC220B | pH electrode; Use for creams, fruit juices, and sauces, BNC connector | $ 153.40 |
| 66 618 | HANNA | FC230B | Combination pH electrode with PVDF outer body; Use for meat and semi frozen products, BNC connector | $ 178.82 |
| 66 618 | HANNA | FC231D | pH electrode; Use for meat, DIN connector recommended for HI 98140, HI 98150, HI 98230, HI 98240 pH meters | $ 185.83 |
| 66 618 | HANNA | FC232D | pH electrode; Use for meat, DIN connector recommended for HI 99163 pH meter | $ 184.08 |
| 66 618 | HANNA | FC240B | Combination pH electrode with stainless steel sheath; Use for dairy products, cheese, quality control, BNC connector | $ 201.61 |
| 66 618 | HANNA | FC250B | Combination pH electrode with long thin body; Use for dairy products, and semi mature cheese, BNC connector | $ 256.84 |
| 66 618 | HANNA | FC260B | Milk pH electrode, with BNC connector and 1 m cable | $ 103.44 |
| 66 618 | HANNA | FC300B | Ion selective electrode for sodium | $ 227.91 |
| 66 618 | HANNA | FC301B | Solid-state, half-cell ion selective electrode for fluoride | $ 430.40 |
| 66 618 | HANNA | FC400B | pH electrode; black body, Use for meat, BNC connector | $ 140.25 |
| 66 618 | HANNA | FC911B | pH electrode with amplifier; Use for creams, fruit juices, and sauces, BNC connector | $ 111.32 |
| 66 618 | HANNA | HI1001 | AgricCare pH electrode, built-in Temperature sensor and amplifier, PVDF-body, Viscolene, DIN, 3 m cable, with black body | $ 118.34 |
| 66 618 | HANNA | HI1002/3 | HI 1000 series pH electrode, 3 m cable | $ 133.24 |
| 66 618 | HANNA | HI1002/5 | HI 1000 series pH electrode, 5 m cable | $ 155.15 |
| 66 618 | HANNA | HI1003/3 | HI 1000 series pH electrode, with matching pin, 3 m cable | $ 141.13 |
| 66 618 | HANNA | HI1003/5 | HI 1000 series pH electrode, with matching pin, 5 m cable | $ 162.17 |
| 66 618 | HANNA | HI1005 | Amplified pH electrode with Matching Pin and Pt100 (14) (PCA 320/330 only) | $ 162.17 |
| 66 618 | HANNA | HI1006-1005 | Industrial Flat Tip pH Electrode, PTFE junction, low Temperature glass bulb, BNC connector, 5 m cable | $ 298.04 |
| 66 618 | HANNA | HI1006-1007 | Industrial Flat Tip pH Electrode, PTFE junction, low Temperature glass bulb, BNC connector, 7 m cable | $ 319.07 |
| 66 618 | HANNA | HI1006-1205 | Industrial Flat Tip pH Electrode, PTFE junction, low Temperature glass bulb, BNC connector, Pt100, 5 m cable | $ 387.45 |
| 66 618 | HANNA | HI1006-2005 | Industrial Flat Tip pH Electrode, PTFE junction, general purpose glass bulb, BNC connector, 5 m cable | $ 283.13 |
| 66 618 | HANNA | HI1006-2010 | Industrial Flat Tip pH Electrode, PTFE junction, general purpose glass bulb, BNC connector, 10 m cable | $ 341.86 |
| 66 618 | HANNA | HI1006-2015 | Industrial Flat Tip pH Electrode, PTFE junction, general purpose glass bulb, BNC connector, 15 m cable | $ 350.63 |
| 66 618 | HANNA | HI1006-2205 | Industrial Flat Tip pH Electrode, PTFE junction, general purpose glass bulb, BNC connector, Pt100, 5 m cable | $ 394.46 |
| 66 618 | HANNA | HI1006-2210 | Industrial Flat Tip pH Electrode, PTFE junction, general purpose glass bulb, BNC connector, Pt100, 10 m cable | $ 503.15 |
| 66 618 | HANNA | HI1006-2215 | Industrial Flat Tip pH Electrode, PTFE junction, general purpose glass bulb, BNC connector, Pt100, 15 m cable | $ 503.15 |
| 66 618 | HANNA | HI1006-2305 | Industrial Flat Tip pH Electrode, PTFE junction, general purpose glass bulb, wire, Pt100, 5 m cable | $ 455.82 |
| 66 618 | HANNA | HI1006-2405 | Industrial Flat Tip pH Electrode, PTFE junction, general purpose glass bulb, BNC connector, Pt1000, 5 m cable | $ 283.13 |
| 66 618 | HANNA | HI1006-2505 | Industrial Flat Tip pH Electrode, PTFE junction, general purpose glass bulb, wire, Pt1000, 5 m cable | $ 455.82 |
| 66 618 | HANNA | HI1006-3005 | Industrial Flat Tip pH Electrode, PTFE junction, HIgh Temperature glass bulb, BNC connector, 5 m cable | $ 283.13 |
| 66 618 | HANNA | HI1006-3007 | Industrial Flat Tip pH Electrode, PTFE junction, HIgh Temperature glass bulb, BNC connector, 7 m cable | $ 283.13 |
| 66 618 | HANNA | HI1006-3010 | Industrial Flat Tip pH Electrode, PTFE junction, HIgh Temperature glass bulb, BNC connector, 10 m cable | $ 380.43 |
| 66 618 | HANNA | HI1006-3205 | Industrial Flat Tip pH Electrode, PTFE junction, HIgh Temperature glass bulb, BNC connector, Pt100, 5 m cable | $ 283.13 |
| 66 618 | HANNA | HI1006-3715 | Amplified Industrial Flat Tip pH Electrode, PTFE junction, HIgh Temperature glass bulb, wire, BNC connector, Pt100, 15 m cable | $ 525.94 |
| 66 618 | HANNA | HI1006-4005 | Industrial Flat Tip pH Electrode, PTFE junction, with glass bulb for acid samples with Fluoride, BNC connector, 5 m cable | $ 283.13 |
| 66 618 | HANNA | HI1006-4205 | Industrial Flat Tip pH Electrode, PTFE junction, with glass bulb for acid samples with Fluoride, BNC connector, Pt100, 5 m cable | $ 454.94 |
| 66 618 | HANNA | HI101 | Submersible pH electrode with PVC body & BNC | $ 142.01 |
| 66 618 | HANNA | HI101/3 | Adapter 3 meters (9.9´) cable for HI101,HI102,HI201 immersion in-line electrodes | $ 56.98 |
| 66 618 | HANNA | HI101/5 | Adapter 5 meters cable for HI101,HI102,HI201 immersion in-line electrodes | $ 69.25 |
| 66 618 | HANNA | HI1016-3005 | Industrial Flat Tip pH Electrode, ceramic junction, HIgh Temperature glass bulb, BNC connector, 5 m cable | $ 328.72 |
| 66 618 | HANNA | HI102 | In-line pH electrode with PVC body and BNC connector | $ 142.01 |
| 66 618 | HANNA | HI10430 | Digiatal combination pH electrode with triple junction; sor hydrocarbon, paints, solvents, sea water, strong acid and base high conductivity samples, tris buffer | $ 157.78 |
| 66 618 | HANNA | HI1043B | Refillable, combination pH electrode; Use for hydrocarbon, paints, solvents, sea water, strong acid and base high conductivity samples, tris buffer, BNC connector | $ 149.02 |
| 66 618 | HANNA | HI1043P | Refillable, combination pH electrode; Use for hydrocarbon, paints, solvents, sea water, strong acid and base high conductivity samples, tris buffer, BNC + PIN connector | $ 162.17 |
| 66 618 | HANNA | HI1048B | pH electrode with CPS™ (Clogging Prevention System); Use for wine, must, BNC connector | $ 168.30 |
| 66 618 | HANNA | HI1048B/50 | Mini Titrator pH electrode, BNC, 0.5 m cable | $ 168.30 |
| 66 618 | HANNA | HI1048P | pH electrode with CPS™ (Clogging Prevention System); Use for wine, must, BNC + PIN connector | $ 177.07 |
| 66 618 | HANNA | HI10530 | Digital, combination pH electrode with conical bulb, refillable; for fats, creams, soil samples, potable water, semi solid products, low conductivity solutions, & emulsions | $ 149.02 |
| 66 618 | HANNA | HI1053B | Refillable, combination pH electrode with conical bulb; Use for fats, creams, soil samples, potable water, semi solid products, low conductivity solutions, & emulsions , BNC connector | $ 139.38 |
| 66 618 | HANNA | HI1053P | Refillable, combination pH electrode with conical bulb; Use for fats, creams, soil samples, potable water, semi solid products, low conductivity solutions, & emulsions , BNC + PIN connector | $ 150.77 |
| 66 618 | HANNA | HI1083B | Refillable, combination pH electrode w/ micro bulb for small samples; Use for biotechnology samples, BNC connector | $ 257.71 |
| 66 618 | HANNA | HI1083P | Refillable, combination pH electrode w/ micro bulb for small samples; Use for biotechnology samples, BNC + PIN connector | $ 284.89 |
| 66 618 | HANNA | HI1090B/5 | Combination glass body pH electrode (High Temperature), 5 m cable | $ 115.71 |
| 66 618 | HANNA | HI1090T | Glass body combination pH electrode, double junction, T-type connector | $ 122.72 |
| 66 618 | HANNA | HI1093B | Refillable, combination pH electrode w/ extended length and micro bulb; Use for NMR tubes, BNC connector | $ 195.48 |
| 66 618 | HANNA | HI1110B | Spare electrode, gel electrolyte; Use for general laboratory purposes, BNC connector | $ 62.24 |
| 66 618 | HANNA | HI1110S | Glass pH electrode, single junction, screw cap | $ 129.73 |
| 66 618 | HANNA | HI1110T | Glass pH electrode, double junction PG13.5 thread | $ 140.25 |
| 66 618 | HANNA | HI11310 | Digital combination pH electrode, glass body, refillable, double junction | $ 118.34 |
| 66 618 | HANNA | HI11311 | Digital combination pH electrode, glass body, refillable, double junction and matching pin | $ 135.87 |
| 66 618 | HANNA | HI11312 | HALO Bluetooth Smart pH electrode, galss body | $ 157.78 |
| 66 618 | HANNA | HI1131B | Refillable, combination pH electrode; Use for general laboratory purposes and beer, BNC connector | $ 107.82 |
| 66 618 | HANNA | HI1131P | Refillable, combination pH electrode; Use for general laboratory purposes and beer, BNC + PIN connector | $ 115.71 |
| 66 618 | HANNA | HI1135B | Refillable, combination pH electrode side arm construction & fast flow rate Use for continuous monitoring with remote filling, BNC connector | $ 195.48 |
| 66 618 | HANNA | HI1143B | Refillable, combination pH electrode for fluoride applications, BNC connector | $ 178.82 |
| 66 618 | HANNA | HI1144B | Refillable, combination pH electrode with calomel references; Use for tris buffer, BNC connector | $ 134.12 |
| 66 618 | HANNA | HI1190T | T-Type electrode, glass body, double junction, polymer electrolyte, -15 to 80°C (5 to 176ºF), 3 bar | $ 130.61 |
| 66 618 | HANNA | HI1191T | T-Type electrode, glass body, double junction, polymer electrolyte, -15 to 80°C (5 to 176ºF), 8 bar | $ 158.66 |
| 66 618 | HANNA | HI1192T | T-Type electrode, glass body, double junction, polymer electrolyte, -15 to 80°C (5 to 176ºF), 8 bar | $ 194.60 |
| 66 618 | HANNA | HI1207 | pH electrode with screw type connector for Checker pH Testers | $ 38.57 |
| 66 618 | HANNA | HI1210B/5 | Combination PEI-body pH Electrode, 5 m cable | $ 119.21 |
| 66 618 | HANNA | HI1210T | T-type, PEI body pH Electrode, Double cloth junction, gel electrolyte, -5 to 80°C (23 to 176ºF), 3 bar | $ 81.52 |
| 66 618 | HANNA | HI1211 | NEMA BOX WITH MINI CONTROLLER | $ 223.53 |
| 66 618 | HANNA | HI1211T | T-type, PEI body pH Electrode, Double PTFE junction, polymer electrolyte, -5 to 80°C (23 to 176ºF), 3 bar | $ 117.46 |
| 66 618 | HANNA | HI12170 | Spare pH electrode, gel electrolyte; Use for general purpose, screw cap connection recommended for HI 9214 pH meter | $ 110.45 |
| 66 618 | HANNA | HI1217D | pH electrode, gel electrolyte; Use for general purpose, DIN connector | $ 117.46 |
| 66 618 | HANNA | HI1219 | Spare electrode for field applications and fertigation solutions | $ 49.09 |
| 66 618 | HANNA | HI122-01 | Wide screen printing pH bench meter, Calibration Check™, 5 point automatic calibration, range: -2.00 to 16.00 pH / -2.000 to 16.000 pH, mV ±999.9 and ±2000 mV, 115V | $ 810.83 |
| 66 618 | HANNA | HI1220 | EC/TDS probe for HI981409 and HI981410 | $ 49.09 |
| 66 618 | HANNA | HI1222 | NEMA pH/EC CONTROLL SYSTEM BFG P/N | $ 416.37 |
| 66 618 | HANNA | HI12300 | Digital combination pH electrode, gel electrolyte; for field applications | $ 86.78 |
| 66 618 | HANNA | HI12301 | Digital combination pH electrode with matching pin, gel electrolyte; for field applications | $ 95.55 |
| 66 618 | HANNA | HI1230B | Combination pH electrode, gel electrolyte; Use for field applications, BNC connector | $ 78.02 |
| 66 618 | HANNA | HI1270 | Spare electrode for general purpose and field applications | $ 20.16 |
| 66 618 | HANNA | HI1280 | Spare electrode for general purpose and field applications | $ 43.83 |
| 66 618 | HANNA | HI1283 | Bar, grounding with 1 m (3.3’) cable | $ 16.65 |
| 66 618 | HANNA | HI1285 | pH/EC/TDS/C ACCESSORY CC:9027.905000 | $ 86.78 |
| 66 618 | HANNA | HI1285-5 | Spare electrode for greenhouses, hydroponics, environmental monitoring, water treatment, boilers with multi-pin connector recommended for HI 9811, HI 9812 and HI 9813 series | $ 96.42 |
| 66 618 | HANNA | HI1285-6 | pH electrode for greenhouses, hydroponics, environmental monitoring, water treatment, boilers with CAL CHECK and multi-pin connector recommended for HI 9811, HI 9812 and HI 9813 series | $ 96.42 |
| 66 618 | HANNA | HI1286 | Spare electrode for general purpose, water treatment and agriculture | $ 42.95 |
| 66 618 | HANNA | HI1288 | Spare electrode for general purpose, water treatment, agriculture, boilers, cooling towers with DIN connector recommended for HI 991300 and HI 991301 multiparameter meters | $ 116.58 |
| 66 618 | HANNA | HI1290 | Spare electrode for general purpose and field applications | $ 63.11 |
| 66 618 | HANNA | HI1292D | pH electrode, KCl 3.5M + AgCl electrolyte; Use for direct soil pH measurement, and soil solution, DIN connector | $ 134.12 |
| 66 618 | HANNA | HI1293D | Spare electrode for hydroponics and greenhouses | $ 82.40 |
| 66 618 | HANNA | HI1295 | Spare electrode for general purpose and field applications | $ 74.51 |
| 66 618 | HANNA | HI1296D | pH electrode; Use for wastewater, DIN connector recommended for 991001 pH meter | $ 145.51 |
| 66 618 | HANNA | HI1297D | pH/ORP electrode; Use for wastewater, municipal water, water treatment, swimming pools, DIN connector recommended for HI 991002 and HI 991003 pH meters | $ 225.28 |
| 66 618 | HANNA | HI1312S | pH electrode, KCl 3.5M electrolyte; Use for chemicals, field applications, quality control, screw type connector | $ 78.02 |
| 66 618 | HANNA | HI1330B | Combination pH electrode, KCl 3.5M + AgCl electrolyte; Specific for vials and test tubes, BNC connector | $ 118.34 |
| 66 618 | HANNA | HI1330P | Combination pH electrode, KCl 3.5M + AgCl electrolyte; Specific for vials and test tubes, BNC + PIN connector | $ 123.60 |
| 66 618 | HANNA | HI1331B | Combination pH electrode, KCl 3.5M + AgCl electrolyte; Specific for flasks, BNC connector | $ 134.12 |
| 66 618 | HANNA | HI1332B | pH electrode, KCl 3.5M electrolyte; Use for chemicals, field applications, quality control, BNC connector | $ 74.51 |
| 66 618 | HANNA | HI1332D | pH combination electrode PEI body, double-junction, refillable, DIN, 1 m cable | $ 78.02 |
| 66 618 | HANNA | HI1332P | pH electrode, KCl 3.5M electrolyte; Use for chemicals, field applications, quality control, BNC + PIN connector | $ 103.44 |
| 66 618 | HANNA | HI1333B | Spare pH electrode, gel electrolyte; Use for field applications, BNC connector | $ 44.71 |
| 66 618 | HANNA | HI1343B | Combination pH electrode, KCl 3.5M electrolyte; Specific for tris buffer, BNC connector | $ 129.73 |
| 66 618 | HANNA | HI140AH | Temperature datalogger with hook -30.0 to 70.0°C | $ 97.30 |
| 66 618 | HANNA | HI140BH | Temperature datalogger with hook -10.0 to 30.0°C | $ 97.30 |
| 66 618 | HANNA | HI140CH | Temperature datalogger with hook -30.0 to 10.0°C | $ 97.30 |
| 66 618 | HANNA | HI140DH | Temperature datalogger with hook 20.0 to 60.0°C | $ 97.30 |
| 66 618 | HANNA | HI140GH | Temperature datalogger with hook -5.0 to 15.0°C | $ 97.30 |
| 66 618 | HANNA | HI140HH | Temperature datalogger with hook 10 to 120°C | $ 97.30 |
| 66 618 | HANNA | HI141000 | Software - Windows® compatible software for HI 141 series | $ 74.51 |
| 66 618 | HANNA | HI141001 | Transmitter, Infrared, for PC Connection, for HI 141 series | $ 129.73 |
| 66 618 | HANNA | HI1413B | pH electrode, viscolene electrolyte; Use for surfaces, skin, leather, paper, and emulsions, BNC connector | $ 115.71 |
| 66 618 | HANNA | HI1413B/50 | pH electrode, viscolene electrolyte; Use for skin and scalp, BNC connector | $ 153.40 |
| 66 618 | HANNA | HI1413S/50 | pH electrode, viscolene electrolyte; Use for skin and scalp, screw type connector | $ 145.51 |
| 66 618 | HANNA | HI1414D | pH electrode, viscolene electrolyte; Use for surfaces, leather, paper,and emulsions, DIN connector | $ 115.71 |
| 66 618 | HANNA | HI1414D/50 | pH electrode, viscolene electrolyte; Use for skin and scalp, DIN connector | $ 162.17 |
| 66 618 | HANNA | HI141AH | NTC thermo logger with internal sensor & hook -40.0 to 80.0°C | $ 127.10 |
| 66 618 | HANNA | HI141BH | NTC thermo logger with external sensor & hook -40.0 to 125.0°C | $ 127.10 |
| 66 618 | HANNA | HI141CH | NTC thermo logger, LCD, internal sensor & hook -20.0 to 70.0°C | $ 177.94 |
| 66 618 | HANNA | HI141DH | NTC thermo logger, LCD, external sensor & hook -40.0 to 125.0°C | $ 177.94 |
| 66 618 | HANNA | HI141EH | NTC thermo logger, internal & external sensor, internal -40.0 to 80.0°C / -40.0 to 176.0°F, external -40.0 to 125.0°C / -40.0 to 257.0°F | $ 177.94 |
| 66 618 | HANNA | HI141FH | NTC thermo logger, 2 external sensors & hook -40.0 to 125.0°C | $ 177.94 |
| 66 618 | HANNA | HI141GH | NTC thermo logger, LCD, internal & external sensor, internal -20.0 to 70.0°C / -40.0 to 158.0°F, external -40.0 to 125.0°C / -40.0 to 257.0°F | $ 215.64 |
| 66 618 | HANNA | HI141JH | NTC thermo logger, LCD, 2 ext. sensors, hook -40.0 to 125.0°C | $ 215.64 |
| 66 618 | HANNA | HI141JH/2 | NTC thermo logger with hook, LCD, 2 ext. sensors with 2 m cable -40.0 to 125.0°C | $ 240.18 |
| 66 618 | HANNA | HI141JH/5 | NTC thermo logger with hook, LCD, 2 ext. sensors with 5 m cable -40.0 to 125.0°C | $ 306.80 |
| 66 618 | HANNA | HI141JHS/120 | NTC thermo logger, LCD, 2 ext. sensors, hook -40.0 to 125.0°C and 2 m long cable and sharp 12 cm penetration probe | $ 232.29 |
| 66 618 | HANNA | HI143 | Temperature logger with wall cradle and lock | $ 63.11 |
| 66 618 | HANNA | HI143-00 | T-logger with locking wall cradle and HI 143001 RS232 communication dock | $ 170.93 |
| 66 618 | HANNA | HI143-10 | T-logger with locking wall cradle and HI 143002 USB communication dock | $ 174.44 |
| 66 618 | HANNA | HI143002 | Cradle, USB communication cradle complete with Windows® compatible software for HI 143 T-logger | $ 109.57 |
| 66 618 | HANNA | HI145-00 | HACCP pocket thermometer °C, with 125 mm probe Range: 50.0 to 220°C | $ 36.82 |
| 66 618 | HANNA | HI145-01 | HACCP pocket thermometer °F, with 125 mm probe Range: -58.0 to 428.0°F | $ 36.82 |
| 66 618 | HANNA | HI145-20 | HACCP pocket thermometer °C, with 300 mm probe Range: -50.0 to 220°C | $ 53.47 |
| 66 618 | HANNA | HI145-30 | HACCP pocket thermometer °F, with 300 mm probe Range: -58.0 to 428.0°F | $ 53.47 |
| 66 618 | HANNA | HI146-00 | Wall-mounting precision thermometer; resolution: 0.1°C Range: 50.0 to 150.0°C | $ 61.36 |
| 66 618 | HANNA | HI147-00 | Checkfridge™ remote sensor thermometer °C Range: -50.0 to 150.0°C | $ 44.71 |
| 66 618 | HANNA | HI151-00 | Checktemp®4C folding pocket thermometer with Calcheck, Range: -50.0 to 220°C | $ 49.09 |
| 66 618 | HANNA | HI151-01 | Checktemp®4F folding pocket thermometer with Calcheck, Range: -58.0 to 428°F | $ 63.11 |
| 66 618 | HANNA | HI151-011 | Checktemp®4F folding thermo- meter factory cert. & battery | $ 81.52 |
| 66 618 | HANNA | HI151-02 | Checktemp®4C folding pocket thermometer; Range: -50.0 to 220°C | $ 48.21 |
| 66 618 | HANNA | HI1610D | pH electrode, KCl 3.5M + AgCl electrolyte; Use for general laboratory purposes, DIN connector | $ 109.57 |
| 66 618 | HANNA | HI1611D | pH electrode, gel electrolyte; Use for continuous monitoring, DIN connector | $ 101.68 |
| 66 618 | HANNA | HI1612D | pH electrode, KCl 3.5M + AgCl electrolyte; Use for emulsions, and semi solid samples, DIN connector | $ 131.49 |
| 66 618 | HANNA | HI1615D | pH electrode; Use for general laboratory purposes, DIN connector recommended for HI 98140, HI 98150, HI 98230, HI 98240 pH meters | $ 112.20 |
| 66 618 | HANNA | HI1616D | pH electrode; Use for continuous monitoring, DIN connector recommended for HI 98140, HI 98150, HI 98230, HI 98240 pH meters | $ 108.70 |
| 66 618 | HANNA | HI1617D | pH electrode; Use for fats, creams, soil samples, semi solid products, low conductivity solutions, emulsions, DIN connector recommended for HI 98140, HI 98150, HI 98230, HI 98240 pH meters | $ 138.50 |
| 66 618 | HANNA | HI1618D | pH electrode; Use for field applications, DIN connector recommended for HI 98140, HI 98150, HI 98230, HI 98240 pH meters | $ 117.46 |
| 66 618 | HANNA | HI180A-1 | Magnetic mini stirrer, light yellow, 115V | $ 94.67 |
| 66 618 | HANNA | HI180B-1 | Magnetic mini stirrer, light sea-green, 115V | $ 94.67 |
| 66 618 | HANNA | HI180C-1 | Magnetic mini stirrer, light blue, 115V | $ 94.67 |
| 66 618 | HANNA | HI180D-1 | Magnetic mini stirrer, yellow, 115V | $ 94.67 |
| 66 618 | HANNA | HI180E-1 | Magnetic mini stirrer, green, 115V | $ 94.67 |
| 66 618 | HANNA | HI180F-1 | Magnetic mini stirrer, dark blue, 115V | $ 94.67 |
| 66 618 | HANNA | HI180G-1 | Magnetic mini stirrer, red, 115V | $ 94.67 |
| 66 618 | HANNA | HI180H-1 | Magnetic mini stirrer, grey, 115V | $ 94.67 |
| 66 618 | HANNA | HI180I-1 | Magnetic mini stirrer, ivory, 115V | $ 94.67 |
| 66 618 | HANNA | HI190M-0 | Magnetic stirrer with ABS cover; 12VDC power supply | $ 87.66 |
| 66 618 | HANNA | HI190M-1 | Magnetic stirrer with ABS cover; 115V | $ 87.66 |
| 66 618 | HANNA | HI2000BC | Bench cradle for edge | $ 56.98 |
| 66 618 | HANNA | HI2000WC | Wall cradle for edge | $ 56.98 |
| 66 618 | HANNA | HI2001 | HI 2000 series ORP electrode for continuous flow-thru monitoring | $ 133.24 |
| 66 618 | HANNA | HI2002/3 | HI 2000 series ORP electrode, 3 m cable | $ 139.38 |
| 66 618 | HANNA | HI2002/5 | HI 2000 series ORP electrode, 5 m cable | $ 163.04 |
| 66 618 | HANNA | HI2003/3 | HI 2000 series ORP electrode, with matching pin, 3 m cable | $ 142.88 |
| 66 618 | HANNA | HI2003/5 | HI 2000 series ORP electrode, with matching pin, 5 m cable | $ 155.15 |
| 66 618 | HANNA | HI2004-1005 | Industrial Flat Tip ORP electrode, PTFE junction, Pt sensor, BNC connector, 5 m cable | $ 328.72 |
| 66 618 | HANNA | HI2004-1007 | Industrial Flat Tip ORP electrode, PTFE junction, Pt sensor, BNC connector, 7 m cable | $ 346.25 |
| 66 618 | HANNA | HI2004-1010 | Industrial Flat Tip ORP electrode, PTFE junction, Pt sensor, BNC connector, 10 m cable | $ 346.25 |
| 66 618 | HANNA | HI2004-1015 | Industrial Flat Tip ORP electrode, PTFE junction, Pt sensor, BNC connector, 15 m cable | $ 421.63 |
| 66 618 | HANNA | HI2004-2005 | Industrial Flat Tip ORP electrode, PTFE junction, Gold sensor, BNC connector, 5 m cable | $ 328.72 |
| 66 618 | HANNA | HI2004-2007 | Industrial Flat Tip ORP electrode, PTFE junction, Gold sensor, BNC connector, 7 m cable | $ 346.25 |
| 66 618 | HANNA | HI2008 | ORP electrode with Gold Sensor, Double PTFE junction, Polymer electrolyte, amplifier, matching pin, 6 bar, DIN, 1.5 m cable | $ 149.02 |
| 66 618 | HANNA | HI200M-1 | Magnetic stirrer with stainless steel cover, 115V | $ 159.54 |
| 66 618 | HANNA | HI201 | Submersible ORP electrode with PVC body & BNC | $ 168.30 |
| 66 618 | HANNA | HI2020-01 | edge pH, 115V | $ 349.75 |
| 66 618 | HANNA | HI2030-01 | edge EC, 115V | $ 525.07 |
| 66 618 | HANNA | HI2031B | Refillable, spear tip combination pH electrode; Use for dairy and semi solid products, BNC connector | $ 142.01 |
| 66 618 | HANNA | HI2040-01 | edge Oxygen, 115 V | $ 525.07 |
| 66 618 | HANNA | HI207-01 | All in one pH bench meter, 2 point automatic calibration, ATC, 9VDC battery operation, range: pH -2.00 to 16.00 pH, Temperature -5.0 to 105.0°C or 23.0 to 221.0°F, 115V | $ 192.85 |
| 66 618 | HANNA | HI208-01 | All in one pH bench meter, built-in stirrer, beaker holder and top, 2 point automatic calibration, ATC, 9VDC battery operation, range: pH -2.00 to 16.00 pH, Temperature -5.0 to 105.0°C or 23.0 to 221.0°F, 115V | $ 241.06 |
| 66 618 | HANNA | HI2111B | pH half cell, range - pH: 0 to 14, Temp: 30 to 85°C (86 to 185°F); Use for general and strong alkaline solutions, BNC connector | $ 100.81 |
| 66 618 | HANNA | HI2112B | pH half cell, range - pH: 0 to 13, Temp: 20 to 40°C (68 to 104°F); Use for general purpose, BNC connector | $ 90.29 |
| 66 618 | HANNA | HI2114P | Spare electrode for general purpose and agriculture | $ 44.71 |
| 66 618 | HANNA | HI2114P/5 | Spare electrode for general purpose and agriculture, 5 m cable | $ 70.13 |
| 66 618 | HANNA | HI21211-1 | Industrial Grade pH Digital Wall Mounted Controller, dual setpoint, on/off control, analog output, range: 0.00 to 14.00 pH; Temperature -9.9 to 120°C. 115V | $ 688.11 |
| 66 618 | HANNA | HI21211-2 | Industrial Grade pH Digital Wall Mounted Controller, dual setpoint, on/off control, analog output, range: 0.00 to 14.00 pH; Temperature -9.9 to 120°C. 230V | $ 688.11 |
| 66 618 | HANNA | HI2209-01 | Analog pH/mV bench meter, 2 point manual calibration, MTC, range: pH 0.00 to 14.00 pH, mV ±1999 mV, 115V | $ 311.18 |
| 66 618 | HANNA | HI22091-01 | Analog pH/mV bench meter, 2 point manual calibration, MTC, range: pH 0.00 to 14.00 pH, mV ±1999 mV, 115V, with recorder output | $ 339.23 |
| 66 618 | HANNA | HI2210-01 | pH bench meter, 2 point automatic calibration, ATC, range: pH -2.00 to 16.00 pH, Temperature -9.9 to 120 °C, 115V | $ 346.25 |
| 66 618 | HANNA | HI2211-01 | pH bench meter, ORP mV auto ranging, 2 point automatic calibration, ATC, range: pH -2.00 to 16.00 pH, mV ±399.9 mV; ±2000 mV, Temperature -9.9 to 120 °C, 115V | $ 372.54 |
| 66 618 | HANNA | HI2211-02 | pH bench meter, ORP mV auto ranging, 2 point automatic calibration, ATC, range: pH -2.00 to 16.00 pH, mV ±399.9 mV; ±2000 mV, Temperature -9.9 to 120 °C, 230V | $ 372.54 |
| 66 618 | HANNA | HI22111-1 | Industrial Grade ORP Digital Wall Mounted Controller, single setpoint, on/off controls, analog output, range -2000 to 2000 mV; Temperature -9.9 to 120°C, 115V | $ 657.43 |
| 66 618 | HANNA | HI2212-01 | pH bench meter with 3 point calibration, range: pH –2.00 to 16.00 pH, Temperature –20.0 to 120.0 ºC, 115V | $ 394.46 |
| 66 618 | HANNA | HI2213-01 | pH/ORP bench meter with 3 point calibration, range: pH –2.00 to 16.00 pH, mV ±699.9 mV; ±2000 mV, Temperature –20.0 to 120.0 ºC, 115V | $ 416.37 |
| 66 618 | HANNA | HI2214-01 | 0.001 Resolution and datalogging pH/ORP bench meter with logging up to 100 samples, range: pH –2.0 to 16.0 pH; –2.00 to 16.00 pH mV ±999.9 mV ; ±2000 mV, Temperature –20.0 to 120.0 ºC, 115V | $ 455.82 |
| 66 618 | HANNA | HI2215-01 | 0.001 Resolution and datalogging pH/ORP bench meter with logging up to 500 samples, range: pH –2.0 to 16.0 pH; –2.00 to 16.00 pH mV ±999.9 mV ; ±2000 mV, Temperature –20.0 to 120.0 ºC, 115V | $ 482.12 |
| 66 618 | HANNA | HI2216-01 | pH bench meter with ISE, 5 point pH calibration, On-screen calibration guides, Manually log up to 200 records and interval log up to 500 records, PC connectivity, range: pH –2.0 to 16.0 pH; –2.00 to 16.00 pH; –2.000 to 16.000 pH, mV ±999.9 mV; ±2000 mV, ISE 0.001 to 19990 ppm, Temperature –20.0 to 120.0 ºC, 115V | $ 604.84 |
| 66 618 | HANNA | HI2221-01 | Calibration Check™ pH bench meter with logging up to 100 samples, Calibration Expiration Reminder, range: pH – 2.00 to 16.00 pH mV ± 699.9 mV; ± 2000 mV, Temperature – 20.0 to 120.0 °C, 115V | $ 416.37 |
| 66 618 | HANNA | HI2222-01 | Calibration Check™ pH bench meter for wine analysis, automatic pH calibration at pH 3 and pH 7, range: pH -2.00 to 16.00 pH, mV ±699.9 mV; ±2000 mV, Temperature -20.0 to 120.0°C, 115V | $ 504.03 |
| 66 618 | HANNA | HI2222W | Wine Bench Meter Kit, cleaningHI2222, HI5003, HI7007M, | $ 504.03 |
| 66 618 | HANNA | HI2223-01 | Calibration Check™ pH bench meter with logging up to 500 samples, Calibration Expiration Reminder, range: pH – 2.00 to 16.00 pH mV ± 699.9 mV; ± 2000 mV, Temperature – 20.0 to 120.0 °C, 115V | $ 512.80 |
| 66 618 | HANNA | HI2300-01 | Auto-ranging EC, TDS, NaCl, Temperature meter Ranges: EC 0.00-500.0 mS/cm, TDS 0.00-400.0 g/L, NaCl 0.0-400.0%, Temp -9.9 to 120.0°C; 115V | $ 736.32 |
| 66 618 | HANNA | HI2314-01 | Conductivity meter with HI 76300 probe, Range: 0.0-199.9 mS/cm; 115V | $ 586.43 |
| 66 618 | HANNA | HI2315-01 | Conductivity meter with HI 76300 probe, Range: 0.0-199.9 mS/cm; w/ATC 115V | $ 688.11 |
| 66 618 | HANNA | HI2316-01 | EC and resistivity meter; Ranges: EC 199.9 μS/cm; 0 to 1999 μS/cm; 19.99 mS/cm; 199.9 mS/cm, Resistivity 0 to 19.90 MΩ•cm, 115V | $ 780.15 |
| 66 618 | HANNA | HI23211-1 | Industrial Grade EC Digital Wall Mounted Controller, dual setpoint, on/off control, analog output, range: EC 0.0 to 199.9 µS/cm; 0 to 1999 µS/cm; 0.00 to 19.99 mS/cm; 0.0 to 199.9 mS/cm, Temperature -10.0 to 100.0°C, 115V | $ 854.66 |
| 66 618 | HANNA | HI23211-2 | Industrial Grade EC Digital Wall Mounted Controller, dual setpoint, on/off control, analog output, range EC 0.0 to 199.9 µS/cm; 0 to 1999 µS/cm; 0.00 to 19.99 mS/cm; 0.0 to 199.9 mS/cm, Temperature -10.0 to 100.0°C, 230V | $ 854.66 |
| 66 618 | HANNA | HI2400-01 | Dissolved oxygen meter, Range: DO 0.00 to 45.00 mg/L (ppm)% Saturation O2 0.0 to 300.0 % Temp 0.0 to 50.0°C 115V | $ 815.21 |
| 66 618 | HANNA | HI2500 | Mini Fertigator Controller System | $ 1,752.27 |
| 66 618 | HANNA | HI2500-19 | Nema Box w/, BL983319-1, BL981411-1, BL3-1, BL1.5-1 | $ 715.28 |
| 66 618 | HANNA | HI2500-27 | Nema box with BL983327-1, BL983317-1, BL981411-1 | $ 1,051.89 |
| 66 618 | HANNA | HI2500EC | Mini Fertagator Control systemfor EC | $ 1,748.77 |
| 66 618 | HANNA | HI2500ORP | Mini Fertigator Controller System for ORP | $ 1,748.77 |
| 66 618 | HANNA | HI2500PH | Nema Box with HI931700-1, HI1001 and F series pump | $ 612.73 |
| 66 618 | HANNA | HI2500TDS | Mini Fertigator for TDS | $ 1,748.77 |
| 66 618 | HANNA | HI2550-01 | pH/EC/TDS/NaCl bench meter, up to 5 point pH calibration, Log-on Stability Feature, PC connectivity, range: pH/ORP -2.00 to 16.00 pH; -2.000 to 16.000 pH / ±699.9 mV; ±2000 mV, EC 0.00 to 29.99 µS/cm; 30.0 to 299.9 µS/cm; 300 to 2999 mS/cm 3.00 to 29.99 mS/cm; 30.0 to 200.0 mS/cm; up to 500.0 mS/cm actual EC*, TDS 0.00 to 14.99 ppm; 15.0 to 149.9 ppm; 150 to 1499 ppm, 1.50 to 14.99 g/L; 15.0 to 100.0 g/L; up to 400.0 g/L actual TDS*, NaCl 0.0 to 400.0% NaCl, Temperature -10 to 120.0°C (pH); 0.0 to 60.0°C (EC), 115V | $ 857.29 |
| 66 618 | HANNA | HI2910B | PEI body pH electrode with built-in amplifier, double junction, gel-filled, external thread & BNC, 3 m cable | $ 99.05 |
| 66 618 | HANNA | HI2910B/10 | PEI body pH electrode with built-in amplifier, double junction, gel-filled, external thread & BNC,10 m cable | $ 142.88 |
| 66 618 | HANNA | HI2910B/15 | PEI body pH electrode with built-in amplifier, double junction, gel-filled, external thread & BNC, 15 m cable | $ 162.17 |
| 66 618 | HANNA | HI2910B/5 | AMPHEL® pH Electrode with Internal Battery, PEI body, gel electrolyte | $ 105.19 |
| 66 618 | HANNA | HI2911B/5 | AMPHEL® pH Electrode with Internal Battery, PEI body, polymer electrolyte | $ 118.34 |
| 66 618 | HANNA | HI2930B/5 | AMPHEL® ORP Electrode with internal battery, PEI body, platinum glass type | $ 124.47 |
| 66 618 | HANNA | HI2931B/5 | AMPHEL® ORP Electrode with internal battery, PEI body, platinum glass type | $ 134.99 |
| 66 618 | HANNA | HI3001 | Flow-thru conductivity probe with automatic Temperature compensation | $ 153.40 |
| 66 618 | HANNA | HI3001D | Flow-thru conductivity probe with automatic Temperature compensation with DIN connector | $ 173.56 |
| 66 618 | HANNA | HI3001D/10 | Flow-through 4-ring conductivity probe for 6 BAR with platinum sensor, NTC temp sensor and DIN connector, 10 m cable | $ 247.19 |
| 66 618 | HANNA | HI3001D/5 | Flow-through 4-ring conductivity probe for 6 BAR with platinum sensor, NTC temp sensor and DIN connector, 5 m cable | $ 212.13 |
| 66 618 | HANNA | HI3002 | Submersion probe with automatic Temperature compensation | $ 142.01 |
| 66 618 | HANNA | HI3003/D | Flow-thru conductivity probe with automatic Temperature compensation, PEI/PVDF body, 6 bar DIN, 3 m cable | $ 98.18 |
| 66 618 | HANNA | HI300N-1 | Heavy-duty magnetic stirrer with stainless steel cover, 2.5 liters, 115V | $ 198.11 |
| 66 618 | HANNA | HI3011 | Flow-thru conductivity probe | $ 141.13 |
| 66 618 | HANNA | HI302N-1 | Auto-reverse magnetic stirrer with stainless steel cover, 2.5 liters, 115V | $ 306.80 |
| 66 618 | HANNA | HI304N-1 | Auto-reverse magnetic stirrer with stainless steel cover, LCD tachometer, 2.5 liters, 115V | $ 381.31 |
| 66 618 | HANNA | HI3090T | Glass body platinum, ORP electrode, double junction, T-type connector | $ 133.24 |
| 66 618 | HANNA | HI310N-1 | Heavy-duty magnetic stirrer with stainless steel cover, auto-feedback, 5 liters, 115V | $ 238.43 |
| 66 618 | HANNA | HI3131B | Refillable combination ORP electrode; Use for laboratory, ORP, and titrations, BNC connector | $ 135.87 |
| 66 618 | HANNA | HI3133B | ORP half cell, range - mV, Temp: 20 to 40°C (68 to 104°F), platinum pH half cell Use for general purpose and potentiometric titration, BNC connector | $ 136.75 |
| 66 618 | HANNA | HI3148B | ORP electrode, KCl 3.5M + AgCl electrolyte; Use for wine, BNC connector | $ 192.85 |
| 66 618 | HANNA | HI3148B/50 | ORP Electrode with CPS (Clogging Prevention System) | $ 168.30 |
| 66 618 | HANNA | HI3190T | Glass body ORP electrode with platinum sensor, double PTFE junction, polymer electrolyte, -15 to 100°C (5 to 212ºF), 6 bar | $ 198.98 |
| 66 618 | HANNA | HI3210B/5 | Combination PEI-body ORP Electrode with Platinum Sensor, 5 m cable | $ 126.23 |
| 66 618 | HANNA | HI3211T | Glass body ORP electrode with platinum sensor, double cloth junction, gel electrolyte, -5 to 80°C (23 to 176ºF), 3 bar | $ 136.75 |
| 66 618 | HANNA | HI3214P | Spare electrode for general purpose, agriculture and disinfection | $ 73.63 |
| 66 618 | HANNA | HI3220-01 | Laboratory graphic LCD pH/ORP bench meter, 5 point calibration, Relative mV measurements, user selectable “Outside Calibration” warning, user selectable “Calibration Time-out” warning, Calibration Check™, Log on demand for up to 400 samples, range: pH -2.0 to 20.0; -2.00 to 20.00; -2.000 to 20.000 pH, mV ±2000 mV, Temperature -20.0 to 120.0 °C (-4.0 to 248.0 °F), 115V | $ 591.69 |
| 66 618 | HANNA | HI3221-01 | Laboratory graphic LCD pH/ORP/ISE bench meter, 5 point calibration, Relative mV measurements, user selectable “Outside Calibration” warning, user selectable “Calibration Time-out” warning, Calibration Check™, Log on demand for up to 400 samples, range: pH -2.0 to 20.0; -2.00 to 20.00; -2.000 to 20.000 pH, mV ±2000 mV, ISE From 1.00 x 10-3 to 1.00 x 105 ppm, Temperature -20.0 to 120.0 °C (-4.0 to 248.0 °F), 115V | $ 714.41 |
| 66 618 | HANNA | HI3222-01 | Laboratory graphic LCD pH/ORP/ISE bench meter w/2 channel input, 5 point calibration, choice of measurement units (ppb, ppm, molarity, weight/volume %), Relative mV measurements, user selectable “Outside Calibration” warning, user selectable “Calibration Time-out” warning, Calibration Check™, Log on demand for up to 400 samples, range: pH -2.0 to 20.0; -2.00 to 20.00; -2.000 to 20.000 pH, mV ±2000 mV, ISE ±0.5% of reading (monovalent ions), ±1% of reading 9divalent ions), Temperature -20.0 to 120.0 °C (-4.0 to 248.0 °F), 115V | $ 780.15 |
| 66 618 | HANNA | HI3230B | ORP electrode; Use for municipal water and quality control, BNC connector | $ 120.97 |
| 66 618 | HANNA | HI324N-1 | Timer controlled magnetic stirrer with stainless steel cover, auto-feedback, LCD tachometer, 5 liters, 115V | $ 328.72 |
| 66 618 | HANNA | HI3314 | Spere EC probe for Resistivity process BL983314 | $ 92.04 |
| 66 618 | HANNA | HI3316D | Resistivity probe with internal Temperature sensor, DIN connector and 1 m (3.3') cable. | $ 191.09 |
| 66 618 | HANNA | HI3512-01 | Two Channel pH/ORP/ISE, EC/TDS/NaCl/Resistivity Benchtop Meter, Ranges: pH -2.000 to 20.000 pH, mV ±2000.0 mV, ISE 1.00 E-7 to 9.99 E10 conc., Temp –20.0 to 120.0 ºC (4.0 to 248.0 ºF), EC 000 to 999.9 mS, Resistivity 01.0 100.0 Mohms, TDS 0.000 to 400.0 g/L, Salinity % NaCl: 0.0 to 400.0 %; 115V | $ 876.57 |
| 66 618 | HANNA | HI3618D | ORP electrode, KCl 3.5M + AgCl electrolyte; Use for laboratory, DIN connector | $ 135.87 |
| 66 618 | HANNA | HI3619D | ORP electrode; Use for laboratory general purposes, DIN connector recommended for HI 98140, HI 98150, HI 98230, HI 98240 pH meters | $ 141.13 |
| 66 618 | HANNA | HI3620D | ORP electrode; Use for field applications and swimming pools, DIN connector recommended for HI 98140, HI 98150, HI 98230, HI 98240 pH meters | $ 135.87 |
| 66 618 | HANNA | HI38000 | Sulfate (as SO42-), Range: (20-100 mg/L) Method: Turbidimetric, 100 tests | $ 63.11 |
| 66 618 | HANNA | HI38000-10 | Sulfate, barium chloride method, Reagent kit for 100 tests (SO42-) | $ 21.91 |
| 66 618 | HANNA | HI38001 | Sulfate (as SO42-), Range: (100-1000 mg/L)(1000-10000 mg/L) Method: titration, 200 tests | $ 64.87 |
| 66 618 | HANNA | HI38001-10 | Sulfate LR / HR, barium chloride method, Reagent kit for 100 tests (SO42-) | $ 21.91 |
| 66 618 | HANNA | HI38015 | Chloride (as Chlorine), Range: (500-10000mg/L)(5000-100000mg/L) Method: titration, 100 tests | $ 89.41 |
| 66 618 | HANNA | HI38015-100 | Chloride, extended range, silver nitrate titration method, Reagent kit for 100 tests (Cl-) | $ 61.36 |
| 66 618 | HANNA | HI38017 | Chlorine (as Cl2, free & total), Range: (0.00-0.70 mg/L)(0.0-3.5 mg/L) Method: checker disc, 200 tests | $ 61.36 |
| 66 618 | HANNA | HI38017-200 | Chlorine, free and total, LR / MR, DPD colorimetric method, Reagent kit for 200 tests (free and total Cl) | $ 35.06 |
| 66 618 | HANNA | HI38018 | Chlorine (as Cl2, free), Range: (0.00-0.70mg/L)(0.0-3.5mg/L) Method: checker disc, 200 tests | $ 61.36 |
| 66 618 | HANNA | HI38018-200 | Chlorine, free, LR / MR, DPD colorimetric method, Reagent kit for 200 tests (free chlorine) | $ 35.06 |
| 66 618 | HANNA | HI38020 | Chlorine (as Cl2, free & total), Range: (0.00-0.70 mg/L)(0.0-3.5 mg/L)(0.0-10.0 mg/L) Method: checker disc, 200 tests | $ 98.18 |
| 66 618 | HANNA | HI38020-200 | Chlorine, free and total, LR / MR / HR, DPD colorimetric method, Reagent kit for 200 tests (free and total Cl) | $ 35.94 |
| 66 618 | HANNA | HI38022 | Chlorine (as Cl2, total), Range: (0.0-4.0 mg/L)(0.0-20.0 mg/L) Method: titration, 100 tests | $ 35.94 |
| 66 618 | HANNA | HI38022-100 | Chlorine, total, HR, iodometric method, Reagent kit for 100 tests (total chlorine) | $ 37.69 |
| 66 618 | HANNA | HI38023 | Chlorine (as Cl2, total), Range: (10-200 mg/L) Method: titration, 100 tests | $ 39.45 |
| 66 618 | HANNA | HI38023-100 | Chlorine, total, extended range, iodometric method, Reagent kit for 100 tests (total chlorine) | $ 35.94 |
| 66 618 | HANNA | HI38033 | Hardness (as CaCO3)Total, Range: (0-30 gpg) Method: titration, 100 tests | $ 15.78 |
| 66 618 | HANNA | HI38033-100 | Hardness, total, EDTA method, Reagent kit for 100 test | $ 11.40 |
| 66 618 | HANNA | HI38039 | Iron (Fe+2 & Fe+3), Range: (0.00-1.00 mg/L) Method: checker disc, 100 tests | $ 64.87 |
| 66 618 | HANNA | HI38039-100 | Iron LR, phenantroline colorimetric method, Reagent kit for 100 tests (Fe) | $ 15.78 |
| 66 618 | HANNA | HI38040 | Iron (Fe+2 & Fe+3), Range: (0.0-5.0 mg/L) Method: checker disc, 100 tests | $ 56.10 |
| 66 618 | HANNA | HI38040-100 | Iron MR, phenantroline colorimetric method, Reagent kit for 100 tests (Fe) | $ 15.78 |
| 66 618 | HANNA | HI38041 | Iron (Fe+2 & Fe+3), Range: (0.0-10.0 mg/L) Method: checker disc, 100 tests | $ 56.10 |
| 66 618 | HANNA | HI38041-100 | Iron HR, phenantroline colorimetric method, Reagent kit for 100 tests (Fe) | $ 15.78 |
| 66 618 | HANNA | HI38049 | Ammonia (as NH3-N), Fresh water, Range: (0.0-3.0 mg/L) Method: checker disc, 100 tests | $ 69.25 |
| 66 618 | HANNA | HI38049-100 | Ammonia (fresh water), Nessler colorimetric method, Reagent kit for 100 tests (NH3- N fresh water) | $ 15.78 |
| 66 618 | HANNA | HI38050 | Nitrate (as NO3-N), Irrigation water and soil, Range: (water: 0-50 mg/L)(soil: 0-60 mg/L) Method: colorimetric, 100 tests ea. | $ 92.92 |
| 66 618 | HANNA | HI38050-200 | Nitrate (soil + irrigation), cadmium reduction method, Reagent kit for 200 tests (NO3--N) | $ 84.15 |
| 66 618 | HANNA | HI38054 | Ozone, Range: (0.0-2.3 mg/L) Method: checker disc, 100 tests | $ 63.11 |
| 66 618 | HANNA | HI38054-100 | Ozone, DPD method, Reagent kit for 100 tests (O3) | $ 18.41 |
| 66 618 | HANNA | HI38058 | pH, Range: (4.0-10.0 pH) Method: checker disc, 300 tests | $ 65.74 |
| 66 618 | HANNA | HI38058-100 | pH, pH indicator method, Reagent kit for 300 tests (4.0-10.0 pH) | $ 13.15 |
| 66 618 | HANNA | HI38061 | Phosphate (as orthophosphate, PO43-), Range: (0.00-1.00 mg/L) (0.0-5.0 mg/L)(0-50 mg/L) Method: checker disc, 100 tests | $ 84.15 |
| 66 618 | HANNA | HI38061-100 | Phosphate, ascorbic acid method, Reagent kit for 100 tests (PO43- orthophosphate) | $ 30.68 |
| 66 618 | HANNA | HI38067 | Silica, Range: (0-40 mg/L)(0-800 mg/L) Method: checker disc, 100 tests | $ 92.92 |
| 66 618 | HANNA | HI38067-100 | Silica HR, Heteropoly Blue method, Reagent kit for 100 tests (SiO2) | $ 61.36 |
| 66 618 | HANNA | HI38073-100 | Phosphorus (soil), colorimetric method, Reagent kit for 100 tests (phosphorus) | $ 23.67 |
| 66 618 | HANNA | HI38074 | Boron, Range: (0.0-5.0mg/L) Method: titration, 100 tests | $ 80.64 |
| 66 618 | HANNA | HI38074-100 | Boron, boric acid method, Reagent kit for 100 tests (B) | $ 31.56 |
| 66 618 | HANNA | HI3810 | Oxygen, Dissolved, Range: (0.0-10.0 mg/L) Method: titration, approx. 110 tests | $ 56.10 |
| 66 618 | HANNA | HI3810-100 | Dissolved Oxygen, Winkler method, Reagent kit for 110 tests (O2) | $ 44.71 |
| 66 618 | HANNA | HI3811 | Alkalinity (as CaCO3) Phenolphthalein and total acidity, Range: (0-100mg/L)(0-300mg/L) Method: titration, approx. 100 tests | $ 34.19 |
| 66 618 | HANNA | HI3811-100 | Alkalinity, acid titration method, Reagent kit for 110 tests (CaCO3) | $ 29.80 |
| 66 618 | HANNA | HI3812 | Hardness (as CaCO3)Total, Range: (0.0-30.0 mg/L)(0-300 mg/L) Method: titration, 100 tests | $ 21.04 |
| 66 618 | HANNA | HI3812-100 | Hardness, total, EDTA titration method, Reagent kit for 100 tests (CaCO3) | $ 19.28 |
| 66 618 | HANNA | HI3814 | Environmental monitoring test kit; acidity (as CaCO3), alkalinity (as CaCO3), carbon dioxide (as CO2), hardness (as CaCO3), dissolved oxygen, pH | $ 171.81 |
| 66 618 | HANNA | HI3815 | Chlorine (as Chlorine), Method: Range: (0-100mg/L)(0-1000mg/L) titration, approx. 110 tests | $ 33.31 |
| 66 618 | HANNA | HI3815-100 | Chloride, mercury nitrate titration method, Reagent kit for 100 tests (Cl-) | $ 31.56 |
| 66 618 | HANNA | HI3817 | Water quality test kit; alkalinity (as CaCO3), chloride (as Chlorine-), hardness as (CaCO3), iron, pH, & sulfite (as Na2SO3) | $ 210.38 |
| 66 618 | HANNA | HI3817BP | Backpack Lab™ Water Quality test kit; acidity (CaCO3), alkalinity (CaCO3) phenolphthalein & total, carbon dioxide (as CO2), dissolved oxygen, hardness (CaCO3), nitrate (NO3-N), phosphate (orthophosphate PO4-3) | $ 328.72 |
| 66 618 | HANNA | HI3817BPA | Mini Water Test Backpack | $ 262.10 |
| 66 618 | HANNA | HI3818 | Carbon Dioxide (as CO2), Range: (0.0-10.0mg/L)(0.0-50mg/L)(0-100mg/L) Method: titration, approx. 110 tests | $ 19.28 |
| 66 618 | HANNA | HI3818-100 | Carbon dioxide, base titration method, Reagent kit for 110 tests (CO2) | $ 16.65 |
| 66 618 | HANNA | HI3820 | Acidity (as CaCO3), Range: (0-100mg/L) (0-500mg/L) Method: titration, approx. 110 tests | $ 35.06 |
| 66 618 | HANNA | HI3820-100 | Acidity, methyl orange method, Reagent kit for 110 tests (CaCO3) | $ 31.56 |
| 66 618 | HANNA | HI3821 | Cooling and boiler test kit; alkalinity (as CaCO3), chloride (Chlorine-), hardness (as CaCO3), phosphate (as PO43-), dissolved oxygen, & sulfite (as Na2SO3) | $ 285.76 |
| 66 618 | HANNA | HI3822 | Sulfite (as Na2SO3), Range: (0.0-20.0 mg/L)(0-200 mg/L) Method: titration, approx. 110 tests | $ 63.99 |
| 66 618 | HANNA | HI3822-100 | Sulfite, iodometric titration method, Reagent kit for 100 tests (Na2SO3) | $ 35.06 |
| 66 618 | HANNA | HI3823 | Combination test kit for aquaculture; alkalinity, CO2, hardness, dissolved oxygen, pH and salinity | $ 235.80 |
| 66 618 | HANNA | HI3824 | Ammonia (as NH3-N), Fresh water, Range: (0.0-2.5 mg/L) Method: colorimetric, approx. 25 tests | $ 28.05 |
| 66 618 | HANNA | HI3824-025 | Ammonia (fresh water), Nessler colorimetric method, Reagent kit for 25 tests (NH3-N fresh water) | $ 17.53 |
| 66 618 | HANNA | HI3826 | Ammonia (as NH3-N), Salt water, Range: (0.0-2.5 mg/L) Method: colorimetric, approx. 25 tests | $ 30.68 |
| 66 618 | HANNA | HI3826-025 | Ammonia (sea water), Nessler colorimetric method, Reagent kit for 25 tests (NH3- N sea water) | $ 17.53 |
| 66 618 | HANNA | HI3827 | Boiler test kit; alkalinity (as CaCO3), chloride (as Chlorine-), hardness (as CaCO3), pH, phosphate (as PO43-)and sulfite (as Na2SO3) | $ 213.01 |
| 66 618 | HANNA | HI3829F | Free chlorine chemical test kit, 0.0 to 2.0 ppm | $ 14.90 |
| 66 618 | HANNA | HI3829F-050 | Reagents for HI3829F (50 tests) | $ 10.52 |
| 66 618 | HANNA | HI3830 | Bromine (as Br2), Range: (0.0-3.0mg/L) Method: colorimetric, approx. 60 tests | $ 30.68 |
| 66 618 | HANNA | HI3830-060 | Bromine, DPD colorimetric method, Reagent kit for 60 tests (Br2) | $ 9.64 |
| 66 618 | HANNA | HI3831F | Chlorine (as Cl2, free), Range: (0.0-2.5mg/L) Method: colorimetric, approx. 50 tests | $ 15.78 |
| 66 618 | HANNA | HI3831F-050 | Chlorine, free, DPD colorimetric method, Reagent kit for 50 tests (free chlorine) | $ 7.89 |
| 66 618 | HANNA | HI3831T | Chlorine (as Cl2, total), Range: (0.0-2.5mg/L) Method: colorimetric, 50 tests | $ 15.78 |
| 66 618 | HANNA | HI3831T-050 | Chlorine, total, DPD colorimetric method, Reagent kit for 50 tests | $ 7.89 |
| 66 618 | HANNA | HI3833 | Phosphate (as orthophosphate, PO43-), Range: (0-5 mg/L) Method: colorimetric, 50 tests | $ 15.78 |
| 66 618 | HANNA | HI3833-050 | Phosphate, ascorbic acid method, Reagent kit for 50 tests (PO43- orthophosphate) | $ 8.77 |
| 66 618 | HANNA | HI3834 | Iron (Fe+2 & Fe+3), Range: (0-5 mg/L) Method: colorimetric, 50 tests | $ 15.78 |
| 66 618 | HANNA | HI3834-050 | Iron, phenantroline colorimetric method, Reagent kit for 50 tests (Fe) | $ 7.01 |
| 66 618 | HANNA | HI3834-99 | Color cube for iron test kit | $ 4.38 |
| 66 618 | HANNA | HI3835 | Salinity, Range: (0.0-40.0 g/kg) Method: titration, approx. 110 tests | $ 50.84 |
| 66 618 | HANNA | HI3835-100 | Salinity, mercuric nitrate titration method, Reagent kit for 110 tests (salinity) | $ 39.45 |
| 66 618 | HANNA | HI3838 | Formaldehyde (as CH2O), Range: (0.00-1.00%)(0.0-10.0%) Method: titration, approx. 110 tests | $ 56.98 |
| 66 618 | HANNA | HI3838-100 | Formaldehyde, acid titration method, Reagent kit for 110 tests (formaldehyde) | $ 39.45 |
| 66 618 | HANNA | HI3840 | Hardness, total, EDTA method, Test kit for 50 tests (range 0 to 150 mg/L (ppm) | $ 7.01 |
| 66 618 | HANNA | HI3840-050 | Hardness LR (as CaCO3) reagents | $ 8.77 |
| 66 618 | HANNA | HI3841 | Hardness, total, EDTA method, Test kit for 50 tests (range 40 to 500 mg/L (ppm) | $ 7.01 |
| 66 618 | HANNA | HI3841-050 | Hardness MR (as CaCO3) reagents | $ 8.77 |
| 66 618 | HANNA | HI3841-S | Hardness MR indicator solution (40-500 mg/L) 9 pcs | $ 33.31 |
| 66 618 | HANNA | HI3842 | Hardness, total, EDTA method, Test kit for 50 tests (range 400 to 3000 mg/L (ppm) | $ 7.01 |
| 66 618 | HANNA | HI3842-050 | Hardness HR (as CaCO3) reagents | $ 18.41 |
| 66 618 | HANNA | HI3843 | Hypochlorite (as Cl2), Range: (50-150 g/L) Method: titration, approx. 100 tests | $ 63.11 |
| 66 618 | HANNA | HI3843-100 | Hypochlorite (bleach) reagents | $ 49.09 |
| 66 618 | HANNA | HI3844 | Hydrogen Peroxide (as H2O2), Range: (0.25 mg/L)(1.0 mg/L) Method: titration, approx. 100 tests | $ 53.47 |
| 66 618 | HANNA | HI3844-100 | Hydrogen Peroxide reagents | $ 43.83 |
| 66 618 | HANNA | HI3846 | Chromium (as Cr6+), Range: (0.0-1.0 mg/L) Method: colorimetric, approx. 100 tests | $ 35.06 |
| 66 618 | HANNA | HI3846-100 | Chromium VI, diphenylcarbohydrazide method, Reagent kit for 100 tests (Cr VI LR) | $ 20.16 |
| 66 618 | HANNA | HI3847 | Copper, Range: (0.0-2.5 mg/L) Method: colorimetric, 100 tests | $ 74.51 |
| 66 618 | HANNA | HI3847-100 | Copper HR, bicinchoninate method, Reagent kit for 100 tests (Cu HR) Copper LR / HR, bicinchoninic acid | $ 55.22 |
| 66 618 | HANNA | HI3850 | Ascorbic Acid, Range: (10-200mg/L) Method: titration, approx. 100 tests | $ 55.22 |
| 66 618 | HANNA | HI3850-100 | Ascorbic Acid, iodometric method, Reagent kit for 100 tests (ascorbic acid) | $ 35.06 |
| 66 618 | HANNA | HI3854 | Zinc (as Zn+2), Range: (0.0-3.0 mg/L) Method: colorimetric, 100 tests | $ 46.46 |
| 66 618 | HANNA | HI3854-100 | Zinc, zincon method, Reagent kit for 100 tests (Zn) | $ 39.45 |
| 66 618 | HANNA | HI3859 | Glycol, Range: (Present/Absent) Method: visual, 25 tests | $ 86.78 |
| 66 618 | HANNA | HI3859-025 | Glycol, oxidation method, Reagent kit for 25 tests (glycol) | $ 73.63 |
| 66 618 | HANNA | HI3864 | Phenols, Range: (0.00-1.00 mg/L)(0.5-5.0 mg/L) Method: checker disc, 100 tests | $ 98.18 |
| 66 618 | HANNA | HI3864-100 | Phenol, aminoantipyrine method, Reagent kit for 100 tests (phenol) | $ 61.36 |
| 66 618 | HANNA | HI3873 | Nitrite (as as NO- 2-N), Range: (0.0-1.0 mg/L) Method: colorimetric, 100 tests | $ 30.68 |
| 66 618 | HANNA | HI3873-100 | Nitrite, chromotropic acid method, Reagent kit for 100 tests (NO2--N) | $ 16.65 |
| 66 618 | HANNA | HI3874 | Nitrate (as NO3-N), Range: (0-50 mg/L) Method: colorimetric, 100 tests | $ 31.56 |
| 66 618 | HANNA | HI3874-100 | Nitrate, cadmium reduction method, Reagent kit for 100 tests (NO3--N) | $ 19.28 |
| 66 618 | HANNA | HI3875 | Chlorine (as Cl2, free), Range: (0.0-3.5mg/L) Method: checker disc, 100 tests | $ 44.71 |
| 66 618 | HANNA | HI3875-100 | Chlorine, free, MR, DPD colorimetric method, Reagent kit for 100 tests (free chlorine) | $ 18.41 |
| 66 618 | HANNA | HI3887 | Chlorine (as Cl2, free & pH), Range: (CL2 0.0-2.5mg/L)(pH 6.0-8.5) Method: colorimetric, approx. 100 tests | $ 34.19 |
| 66 618 | HANNA | HI3895 | Agriculture test kit, (10 tests ea.) | $ 21.04 |
| 66 618 | HANNA | HI3895-010 | Soil analysis, Ned (N), ascorbic acid (P), tetraphenylborate (K), pH indicators (pH) Reagent kit for 10 tests (N, P, K, pH) | $ 17.53 |
| 66 618 | HANNA | HI3896 | Agriculture test kit, (25 tests ea.) | $ 50.84 |
| 66 618 | HANNA | HI3896-025 | Soil analysis, Ned (N), ascorbic acid (P), tetraphenylborate (K), pH indicators (pH) Reagent kit for 25 tests (N, P, K, pH) | $ 35.94 |
| 66 618 | HANNA | HI3896BP | Backpack Lab™ Soil Quality test kit; nitrogen, phosphorus, potassium and pH | $ 328.72 |
| 66 618 | HANNA | HI3896BPA | Mini Soil Backpack | $ 262.10 |
| 66 618 | HANNA | HI3897 | Acidity of Olive Oil, Range: (0.00 - 1.00 % acidity) Method: titration, kit | $ 133.24 |
| 66 618 | HANNA | HI3897-010 | Acidity, olive oil, titration with hydroxide, Spare kit for 10 tests | $ 17.53 |
| 66 618 | HANNA | HI3899BP | Backpack Lab™ Marine Science test kit; acidity (CaCO3), alkalinity (CaCO3) phenolphthalein & total, carbon dioxide (as CO2), dissolved oxygen, nitrite, nitrate (NO3-N), phosphate (orthophosphate PO4-3), & salinity | $ 328.72 |
| 66 618 | HANNA | HI4000-00 | ISA for halide electrodes, 500 mL bottle | $ 62.24 |
| 66 618 | HANNA | HI4000-47 | pH 4 and pH 7 buffers with chloride background. Used to check glass internal of gas sensors. 10 packages ea. and 2 beakers | $ 53.47 |
| 66 618 | HANNA | HI4000-50 | Liquid membrane sensor handle | $ 243.69 |
| 66 618 | HANNA | HI4000-51 | Gas sensor replacement pH for Ammonia Sensor | $ 309.43 |
| 66 618 | HANNA | HI4000-52 | Gas sensor membrane cap for Ammonia | $ 30.68 |
| 66 618 | HANNA | HI4000-54 | Gas sensor replacement pH for Carbon Dioxide Sensor | $ 309.43 |
| 66 618 | HANNA | HI4000-70 | Halide polishing strip | $ 27.17 |
| 66 618 | HANNA | HI4001-00 | ISE standard solution 0.1 M ammonia std., 500 mL bottle | $ 55.22 |
| 66 618 | HANNA | HI4001-01 | ISE standard solution 100 mg/L (ppm) ammonia std. (as N), 500 mL bottle | $ 55.22 |
| 66 618 | HANNA | HI4001-02 | ISE standard solution 1000 mg/L (ppm) ammonia std. (as N), 500 mL bottle | $ 55.22 |
| 66 618 | HANNA | HI4001-03 | ISE standard solution 0.1 M ammonia std., 500 mL bottle | $ 55.22 |
| 66 618 | HANNA | HI4001-31 | Alkaline reagent for ISA 500 mL | $ 63.99 |
| 66 618 | HANNA | HI4001-33 | Filling solution for nitrate test | $ 21.04 |
| 66 618 | HANNA | HI4001-34 | Nitrogen Ammonia 100 ppm, 500 mL | $ 7.89 |
| 66 618 | HANNA | HI4001-35 | Nitrogen Nitrate 100 ppm, 500 mL | $ 7.01 |
| 66 618 | HANNA | HI4001-40 | Ammonia gas sensor fill solution, (4) 30 mL bottles | $ 92.04 |
| 66 618 | HANNA | HI4001-45 | Conditioning solution for HI 4101, 500 mL bottle | $ 47.34 |
| 66 618 | HANNA | HI4001-50 | Ammonia filling solution for ISE 4x30 mL | $ 17.53 |
| 66 618 | HANNA | HI4001-51 | Ammonia membrane kit (20 loose) | $ 92.04 |
| 66 618 | HANNA | HI4002 | Solid-state, half-cell ion selective electrode for bromide | $ 456.70 |
| 66 618 | HANNA | HI4002-01 | ISE standard solution 0.1 M bromide std., 500 mL bottle | $ 68.37 |
| 66 618 | HANNA | HI4003 | Solid-state, half-cell ion selective electrode for cadmium | $ 572.40 |
| 66 618 | HANNA | HI4003-01 | ISE standard solution 0.1 M cadmium std., 500 mL bottle | $ 68.37 |
| 66 618 | HANNA | HI4004 | Polymer membrane, half-cell ion selective electrode for calcium | $ 582.92 |
| 66 618 | HANNA | HI4004-00 | Calcium ISA, 500 mL bottle | $ 71.00 |
| 66 618 | HANNA | HI4004-01 | ISE standard solution 0.1 M calcium std. , 500 mL bottle | $ 64.87 |
| 66 618 | HANNA | HI4004-45 | Conditioning solution for calcium electrodes, 500 mL bottle | $ 59.61 |
| 66 618 | HANNA | HI4004-51 | Calcium module for half-cell | $ 180.57 |
| 66 618 | HANNA | HI4005-00 | Carbon dioxide ISA, 500 mL bottle | $ 70.13 |
| 66 618 | HANNA | HI4005-01 | ISE standard solution 0.1 M carbon dioxide std. , 500 mL bottle | $ 70.13 |
| 66 618 | HANNA | HI4005-03 | ISE standard solution 1000 mg/L (ppm) carbon dioxide std. (as CaCO3), 500 mL bottle | $ 70.13 |
| 66 618 | HANNA | HI4005-40 | Carbon dioxide gas sensor fill solution, (4) 30 mL bottles | $ 82.40 |
| 66 618 | HANNA | HI4005-45 | Conditioning solution for HI 4105, 500 mL bottle | $ 49.09 |
| 66 618 | HANNA | HI4005-50 | Carbon dioxide filling solution 4x30 mL | $ 17.53 |
| 66 618 | HANNA | HI4005-53 | Carbon dioxide membrane kit (3 caps) | $ 99.05 |
| 66 618 | HANNA | HI4007 | Solid-state, half-cell ion selective electrode for chloride | $ 456.70 |
| 66 618 | HANNA | HI4007-01 | ISE standard solution 0.1 M chloride std., 500 mL bottle | $ 46.46 |
| 66 618 | HANNA | HI4007-02 | ISE standard solution 100 mg/L (ppm) chloride std., 500 mL bottle | $ 46.46 |
| 66 618 | HANNA | HI4007-03 | ISE standard solution 1000 mg/L (ppm) chloride std., 500 mL bottle | $ 46.46 |
| 66 618 | HANNA | HI4008 | Solid-state, half-cell ion selective electrode for cupric | $ 597.82 |
| 66 618 | HANNA | HI4008-01 | ISE standard solution 0.1 M cupric std., 500 mL bottle | $ 78.02 |
| 66 618 | HANNA | HI4009 | Solid-state, half-cell ion selective electrode for cyanide | $ 456.70 |
| 66 618 | HANNA | HI4010 | Solid-state, half-cell ion selective electrode for fluoride | $ 486.50 |
| 66 618 | HANNA | HI4010-00 | TISAB II (for fluoride), 500 mL bottle | $ 35.94 |
| 66 618 | HANNA | HI4010-01 | ISE standard solution 0.1 M fluoride std. , 500 mL bottle | $ 55.22 |
| 66 618 | HANNA | HI4010-02 | ISE standard solution 100 mg/L (ppm) fluoride std. , 500 mL bottle | $ 55.22 |
| 66 618 | HANNA | HI4010-03 | ISE standard solution 1000 mg/L (ppm) fluoride std., 500 mL bottle | $ 55.22 |
| 66 618 | HANNA | HI4010-05 | TISAB II (for fluoride), 1 gallon bottle | $ 91.16 |
| 66 618 | HANNA | HI4010-06 | TISAB III concentrate (for fluoride), 500 mL bottle | $ 58.73 |
| 66 618 | HANNA | HI4010-10 | ISE standard solution 10 mg/L (ppm) fluoride std. premixed with TISAB II, 500 mL bottle | $ 54.35 |
| 66 618 | HANNA | HI4010-11 | ISE standard solution 1 mg/L (ppm) fluoride std. premixed with TISAB II, 500 mL bottle | $ 54.35 |
| 66 618 | HANNA | HI4010-12 | ISE standard solution 2 mg/L (ppm) fluoride std. premixed with TISAB II, 500 mL bottle | $ 54.35 |
| 66 618 | HANNA | HI4010-30 | ISE standard solution (4) 1 mg/L (ppm), (4) 10 mg/L (ppm) fluoride std. with (4) TISAB II, 500 mL bottle | $ 196.35 |
| 66 618 | HANNA | HI4011 | Solid-state, half-cell ion selective electrode for iodide | $ 456.70 |
| 66 618 | HANNA | HI4011-01 | ISE standard solution 0.1 M iodide std. , 500 mL bottle | $ 76.26 |
| 66 618 | HANNA | HI4012 | Solid-state, half-cell ion selective electrode for lead/sulfate | $ 603.08 |
| 66 618 | HANNA | HI4012-00 | Lead or sulfate ISA , 500 mL bottle | $ 63.99 |
| 66 618 | HANNA | HI4012-01 | ISE standard solution 0.1 M lead std., 500 mL bottle | $ 76.26 |
| 66 618 | HANNA | HI4012-21 | ISE standard solution 0.1 M sulfate std., 500 mL bottle | $ 76.26 |
| 66 618 | HANNA | HI4013 | Polymer membrane, half-cell ion selective electrode for nitrate | $ 587.30 |
| 66 618 | HANNA | HI4013-00 | Nitrate ISA, 500 mL bottle | $ 59.61 |
| 66 618 | HANNA | HI4013-01 | ISE standard solution 0.1 M nitrate std., 500 mL bottle | $ 57.85 |
| 66 618 | HANNA | HI4013-02 | ISE standard solution 100 mg/L (ppm) nitrate std., 500 mL bottle | $ 57.85 |
| 66 618 | HANNA | HI4013-03 | ISE standard solution 1000 mg/L (ppm) nitrate std., 500 mL bottle | $ 57.85 |
| 66 618 | HANNA | HI4013-06 | Nitrate interferent suppressant ISA, 500 mL bottle | $ 57.85 |
| 66 618 | HANNA | HI4013-53 | Nitrate module 3 pack for half-cell | $ 221.77 |
| 66 618 | HANNA | HI4014 | Polymer membrane, half-cell ion selective electrode for potassium | $ 597.82 |
| 66 618 | HANNA | HI4014-00 | Potassium ISA, 500 mL bottle | $ 72.76 |
| 66 618 | HANNA | HI4014-01 | ISE standard solution 0.1 M potassium std., 500 mL bottle | $ 64.87 |
| 66 618 | HANNA | HI4014-51 | Potassium module for half-cell | $ 180.57 |
| 66 618 | HANNA | HI4015 | Solid-state, half-cell ion selective electrode for silver/sulfide | $ 486.50 |
| 66 618 | HANNA | HI4015-00 | SAOB (sulfide antioxidant buffer), 500 mL, 1 pkg (2 components) | $ 44.71 |
| 66 618 | HANNA | HI4015-01 | ISE standard solution 0.1 M silver std., 500 mL bottle | $ 72.76 |
| 66 618 | HANNA | HI4016-00 | Sodium ISA, 500 mL | $ 44.71 |
| 66 618 | HANNA | HI4016-01 | 0.1M Sodium standard 500 mL | $ 7.01 |
| 66 618 | HANNA | HI4016-02 | 100 ppm Sodium standard 500 mL | $ 7.01 |
| 66 618 | HANNA | HI4016-03 | 1000 ppm Sodium standard 500 mL | $ 56.98 |
| 66 618 | HANNA | HI4016-10 | 10 ppm Sodium standard 500 mL | $ 7.01 |
| 66 618 | HANNA | HI4016-45 | Sodium storage solution (500 mL) | $ 24.54 |
| 66 618 | HANNA | HI4016-46 | Sodium conditioning solution (500 mL) | $ 7.01 |
| 66 618 | HANNA | HI4101 | Gas-sensing, combination ion selective electrode for ammonia | $ 497.89 |
| 66 618 | HANNA | HI4102 | Solid-state, combination ion selective electrode for bromide | $ 567.14 |
| 66 618 | HANNA | HI4103 | Solid-state, combination ion selective electrode for cadmium | $ 674.09 |
| 66 618 | HANNA | HI4104 | Polymer membrane, combination ion selective electrode for calcium | $ 633.76 |
| 66 618 | HANNA | HI4104-51 | Calcium module for combination | $ 201.61 |
| 66 618 | HANNA | HI4105 | Gas-sensing, combination ion selective electrode for carbon dioxide | $ 597.82 |
| 66 618 | HANNA | HI4107 | Solid-state, combination ion selective electrode for chloride | $ 567.14 |
| 66 618 | HANNA | HI4108 | Solid-state, combination ion selective electrode for cupric | $ 709.15 |
| 66 618 | HANNA | HI4109 | Solid-state, combination ion selective electrode for cyanide | $ 587.30 |
| 66 618 | HANNA | HI4110 | Solid-state, combination ion selective electrode for fluoride | $ 525.94 |
| 66 618 | HANNA | HI4110-51 | Fluoride module for combination electrode | $ 201.61 |
| 66 618 | HANNA | HI4111 | Solid-state, combination ion selective electrode for iodide | $ 567.14 |
| 66 618 | HANNA | HI4112 | Solid-state, combination ion selective electrode for lead/sulfate | $ 714.41 |
| 66 618 | HANNA | HI4113 | Polymer membrane, combination ion selective electrode for nitrate | $ 525.94 |
| 66 618 | HANNA | HI4113-53 | Nitrate module 3 pack for combination | $ 221.77 |
| 66 618 | HANNA | HI4114 | Polymer membrane, combination ion selective electrode for potassium | $ 679.35 |
| 66 618 | HANNA | HI4114-51 | Potassium module for combination | $ 201.61 |
| 66 618 | HANNA | HI4115 | Solid-state, combination ion selective electrode for silver/sulfide | $ 597.82 |
| 66 618 | HANNA | HI4221-01 | Research grade color LCD pH bench meter, auto-logging and real-time graphic displays, auto-end point mode and a fully customizable SETUP button, Calibration Check™, PC connectivity, range: pH -2.0 to 20.0; -2.00 to 20.00; -2.000 to 20.000 pH, mV ±2000 mV, Temperature -20.0 to 120°C; -4.0 to 248.0°F; 253.15 to 393.15K, Relative mV Offset Range ±2000 mV, 115V | $ 964.23 |
| 66 618 | HANNA | HI4222-01 | Research grade color LCD pH bench meter, ISE with Incremental Methods, auto-logging and real-time graphic displays, auto-end point mode and a fully customizable SETUP button, Calibration Check™, PC connectivity, range: pH -2.0 to 20.0; -2.00 to 20.00; -2.000 to 20.000 pH, mV ±2000 mV, ISE 1 x 10-7 to 9.99 x 1010 concentration, Temperature -20.0 to 120°C; -4.0 to 248.0°F; 253.15 to 393.15K, 115V | $ 1,271.03 |
| 66 618 | HANNA | HI4321-01 | Research grade conductivity/TDS meter with USP, Ranges: EC 0.000-1000 mS/cm, Resistivity 1.00-100.0 MOhm/cm, TDS 0.000-400.0 ppt, Salinity Practical salinity: 0.00 to 42.00; Natural seawater: 0.00 to 80.00 ppt; Percent: 0.0 to 400.0%, Temp -20.0 to 120°C; -4.0 to 248.0°F; 253.15 to 393.15K; 115V | $ 1,428.82 |
| 66 618 | HANNA | HI4321-02 | Research grade conductivity/TDS meter with USP, Ranges: EC 0.000-1000 mS/cm, Resistivity 1.00-100.0 MOhm/cm, TDS 0.000-400.0 ppt, Salinity Practical salinity: 0.00 to 42.00; Natural seawater: 0.00 to 80.00 ppt; Percent: 0.0 to 400.0%, Temp -20.0 to 120°C; -4.0 to 248.0°F; 253.15 to 393.15K; 230V | $ 1,436.71 |
| 66 618 | HANNA | HI4421-01 | Research grade dissolved oxygen and BOD meter, Range: Dissolved Oxygen 0.00 to 90.00 ppm; 0.0 to 600.0 % saturation Barometric Pressure 450 to 850 mmHg; 560 to 1133 mBar Salinity Compensation 0 to 45 ppt (g/L) Temp -20.0 to 120.0°C; -4.0 to 248°F; 253.1 to 393.1 K 115V | $ 1,709.32 |
| 66 618 | HANNA | HI4421-02 | Research grade dissolved oxygen and BOD meter, Range: Dissolved Oxygen 0.00 to 90.00 ppm; 0.0 to 600.0 % saturation Barometric Pressure 450 to 850 mmHg; 560 to 1133 mBar Salinity Compensation 0 to 45 ppt (g/L) Temp -20.0 to 120.0°C; -4.0 to 248°F; 253.1 to 393.1 K 230V | $ 1,722.47 |
| 66 618 | HANNA | HI4430B | Gel filled, combination ORP electrode with gold contact; Use for oxidants and ozone, BNC connector | $ 134.12 |
| 66 618 | HANNA | HI4521-01 | Research grade color LCD pH bench meter, EC USP Mode, auto-logging and real-time graphic displays, auto-end point mode, Calibration Check™, PC connectivity, range pH: 2.0 to 20.0; -2.00 to 20.00; -2.000 to 20.000 pH, mV: ±2000 mV, EC: 0.000 to 9.999 μS/cm; 10.00 to 99.99 μS/cm; 100.0 to 999.9 μS/cm; 1.000 to 9.999 mS/cm; 10.00 to 99.99 mS/cm; 100.0 to 999.9 mS/cm; 1000 mS/cm, Resistivity: 1.00 to 99.99 Ohm/cm; 100.0 to 999.9 Ohm/cm; 1.000 to 9.999 kOhm/cm; 10.00 to 99.99 kOhm/cm; 100.0 to 999.9 kOhm/cm; 1.00 to 9.99 MOhm/cm; 10.0 to 100.0 MOhm/cm, TDS: 0.000 to 9.999 ppm; 10.00 to 99.99 ppm; 100.0 to 999.9 ppm; 1.000 to 9.999 ppt; 10.00 to 99.99 ppt; 100.0 to 400.0 ppt, Salinity: Practical salinity: 0.00 to 42.00; Natural seawater: 0.00 to 80.00 ppt; Percent: 0.0 to 400.0%, Temperature: -20.0 to 120°C; -4.0 to 248.0°F; 253.15 to 393.15K, 115V | $ 1,437.58 |
| 66 618 | HANNA | HI4522-01 | Research grade color LCD pH bench meter, ISE with Incremental Methods, EC USP Mode, auto-logging and real-time graphic displays, auto-end point mode, Calibration Check™, PC connectivity, range pH: 2.0 to 20.0; -2.00 to 20.00; -2.000 to 20.000 pH, mV: ±2000 mV, ISE 1 x 10 -7 to 9.99 x 1010 concentration, EC 0.000 to 9.999 µS/cm; 10.00 to 99.99 µS/cm; 100.0 to 999.9 µS/cm; 1.000 to 9.999 mS/cm; 10.00 to 99.99 mS/cm; 100.0 to 999.9 mS/cm; 1000 mS/cm, Resistivity 1.00 to 99.99 Ohm/cm; 100.0 to 999.9 Ohm/cm; 1.000 to 9.999 kOhm/cm; 10.00 to 99.99 kOhm/cm; 100.0 to 999.9 kOhm/cm; 1.00 to 9.99 Mohm/cm; 10.0 to 100.0 Mohm/cm, TDS 0.000 to 9.999 ppm; 10.00 to 99.99 ppm; 100.0 to 999.9 ppm; 1.000 to 9.999 ppt; 10.00 to 99.99 ppt; 100.0 to 400.0 ppt, Salinity: Practical Salinity: 0.00 to 42.00; Natural Seawater: 0.00 to 80.00 ppt; Percent: 0.0 to 400.0%, Temperature -20.0 to 120°C; -4.0 to 248.0°F; 253.15 to 393.15K, 115V | $ 1,928.46 |
| 66 618 | HANNA | HI5000 | Mini-fertigator | $ 2,147.61 |
| 66 618 | HANNA | HI50001-02 | 1.00 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI50002-02 | 2.00 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI50003-02 | 3.00 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI50004-01 | 4.01 pH Value @25°C, (10) 20 mL sachets | $ 20.16 |
| 66 618 | HANNA | HI50004-02 | 4.01 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI50005-02 | 5.00 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI50007-01 | 7.01 pH Value @25°C, (10) 20 mL sachets | $ 20.16 |
| 66 618 | HANNA | HI50007-02 | 7.01 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI50009-02 | 9.00 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI5001 | 1.00 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI50010-01 | 10.01 pH Value @25°C, (10) 20 mL sachets | $ 20.16 |
| 66 618 | HANNA | HI50010-02 | 10.01 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI50011-02 | 11.00 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI50012-01 | 12.00 pH Value @25°C, (10) 20 mL sachets | $ 20.16 |
| 66 618 | HANNA | HI50012-02 | 12.00 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI50013-02 | 13.00 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI50016-01 | 1.68 pH Value @25°C, (10) 20 mL sachets | $ 20.16 |
| 66 618 | HANNA | HI50016-02 | 1.68 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI5002 | 2.00 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI5002-01 | 2.00 pH Value @25°C, (1) 1 L bottle | $ 28.93 |
| 66 618 | HANNA | HI50021P | Calibration Check solution, 20 mL, 25 pcs (for HI 9813-6 only) | $ 27.17 |
| 66 618 | HANNA | HI5003 | 3.00 pH Value @25°C, (1) 1 L bottle | $ 18.41 |
| 66 618 | HANNA | HI5004 | 4.01 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI5004-01 | 4.01 pH Value @25°C, (1) 1 L bottle | $ 28.93 |
| 66 618 | HANNA | HI5004-R | 4.01 pH Value @25°C, (1) 500 mL bottle | $ 20.16 |
| 66 618 | HANNA | HI5004-R08 | 4.01 pH Value @25°C, (1) 1 G (3.78 L) bottle | $ 64.87 |
| 66 618 | HANNA | HI5005 | 5.00 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI5005-01 | 5.00 pH Value @25°C, (1) 1 L bottle | $ 28.93 |
| 66 618 | HANNA | HI5006 | 6.00 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI50068-02 | 6.86 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI5007 | 7.01 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI5007-01 | 7.01 pH Value @25°C, (1) 1 L bottle | $ 28.93 |
| 66 618 | HANNA | HI5007-G | 7.01 pH Value @25°C, (1) 500 mL bottle | $ 20.16 |
| 66 618 | HANNA | HI5007-G08 | 7.01 pH Value @25°C, (1) 1 G (3.78 L) bottle | $ 64.87 |
| 66 618 | HANNA | HI5008 | 8.00 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI5008-01 | 8.00 pH Value @25°C, (1) 1 L bottle | $ 28.93 |
| 66 618 | HANNA | HI5009 | 9.00 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI50091-02 | 9.18 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI5010 | 10.01 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI5010-01 | 10.01 pH Value @25°C, (1) 1 L bottle | $ 30.68 |
| 66 618 | HANNA | HI5010-V | 10.01 pH Value @25°C, (1) 500 mL bottle | $ 20.16 |
| 66 618 | HANNA | HI5010-V08 | 10.01 pH Value @25°C, (1) 1 G (3.78 L) bottle | $ 64.87 |
| 66 618 | HANNA | HI5011 | 11.00 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI5012 | 12.00 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI50124-02 | 12.45 pH Value @25°C, (25) 20 mL sachets | $ 30.68 |
| 66 618 | HANNA | HI5013 | 13.00 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI5016 | 1.68 pH Value @25°C, (1) 500 mL bottle | $ 28.05 |
| 66 618 | HANNA | HI5030-12 | 12880 µS/cm EC value @25°C, 120 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI5031-12 | 1,413 µS/cm EC value @25°C, 120 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI5033-12 | 84 µS/cm EC value @25°C, 120 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI5034-12 | 80,000 µS/cm EC value @25°C, 120 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI504112-1 | pH/ORP Digital Controller with Tele-Control™ and Sensor Check™, single setpoint, on/off control, single analog output, range: -2.00 to 16.00 pH; -2000 mV to 2000 mV; -30 to 130.0°C, 115V | $ 624.12 |
| 66 618 | HANNA | HI504214-1 | pH/ORP Digital Controller with Tele-Control™ and Sensor Check™, dual setpoint, on/off control, dual analog output, range: -2.00 to 16.00 pH; -2000 mV to 2000 mV; -30 to 130.0°C, 115V | $ 681.10 |
| 66 618 | HANNA | HI504222-1 | pH/ORP Digital Controller with Tele-Control™ and Sensor Check™, dual setpoint, on/off and PID control, single analog output, range: -2.00 to 16.00 pH; -2000 mV to 2000 mV; -30 to 130.0°C, 115V | $ 681.10 |
| 66 618 | HANNA | HI504222-2 | pH/ORP Digital Controller with Tele-Control™ and Sensor Check™, dual setpoint, on/off and PID control, single analog output, range: -2.00 to 16.00 pH; -2000 mV to 2000 mV; -30 to 130.0°C, 230V | $ 683.73 |
| 66 618 | HANNA | HI504224-0 | pH/ORP Digital Controller with Tele-Control™ and Sensor Check™, dual setpoint, on/off and PID control, dual analog output, range: -2.00 to 16.00 pH; -2000 mV to 2000 mV; -30 to 130.0°C, 24VDC/AC | $ 681.10 |
| 66 618 | HANNA | HI504224-1 | pH/ORP Digital Controller with Tele-Control™ and Sensor Check™, dual setpoint, on/off and PID control, dual analog output, range: -2.00 to 16.00 pH; -2000 mV to 2000 mV; -30 to 130.0°C, 115V | $ 681.10 |
| 66 618 | HANNA | HI504224-2 | pH/ORP Digital Controller with Tele-Control™ and Sensor Check™, dual setpoint, on/off and PID control, dual analog output, range: -2.00 to 16.00 pH; -2000 mV to 2000 mV; -30 to 130.0°C, 230V | $ 683.73 |
| 66 618 | HANNA | HI504924-1 | pH/ORP Digital Controller with Tele-Control™ and Sensor Check™, dual setpoint, advanced cleaning, on/off and PID control, dual analog output, range: -2.00 to 16.00 pH; -2000 mV to 2000 mV; -30 to 130.0°C, 115V | $ 739.83 |
| 66 618 | HANNA | HI5068 | 6.86 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI5074 | 7.41 pH Value @25°C, (1) 500 mL bottle | $ 20.16 |
| 66 618 | HANNA | HI5091 | 9.18 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI5100-12 | 10.01 pH Value @25°C, 120 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI5110B | ORP half cell, range - mV, Temp: 20 to 40°C (68 to 104°F), Ag pH half cell; Use for argentometric titration, BNC connector | $ 191.09 |
| 66 618 | HANNA | HI5124 | 12.45 pH Value @25°C, (1) 500 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI5300-12 | Electrode storage solution, 120 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI5311 | Reference electrode, double, Ag/AgCl reference, glass body; Use for general purpose, and titration, 4mm banana connector | $ 80.64 |
| 66 618 | HANNA | HI5312 | Reference electrode, double, Ag/AgCl reference, glass body; Use for titrations, samples with suspended solids, 4mm banana connector | $ 112.20 |
| 66 618 | HANNA | HI5313 | Reference electrode, double, Ag/AgCl reference, PEI body; Use with FC 301B, 4mm banana connector | $ 99.05 |
| 66 618 | HANNA | HI5314 | Reference electrode, double, Ag/AgCl reference, glass body; Use for measurements with remote filling, 4mm banana connector | $ 140.25 |
| 66 618 | HANNA | HI5315 | Ion selective reference electrode | $ 202.49 |
| 66 618 | HANNA | HI5400-12 | 4.01 pH Value @25°C, 120 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI5412 | Reference electrode, Calomel, single, Hg/Hg, Cl reference, glass body; Use for general purpose, ISE, and titration, 4mm banana connector | $ 100.81 |
| 66 618 | HANNA | HI5413 | Reference electrode, single, Hg/Hg, Cl reference, glass body; Use for samples with suspended solids, 4mm banana connector | $ 112.20 |
| 66 618 | HANNA | HI5414 | Reference electrode, single, Hg/Hg, Cl2 reference, glass body; Use for measurements with remote filling, 4mm banana connector | $ 112.20 |
| 66 618 | HANNA | HI54710 | pH 4.01, pH 7.01, pH 10.01 @25°C, (3) 500mL bottles | $ 51.72 |
| 66 618 | HANNA | HI54710-10 | pH 4.01, pH 7.01, pH 10.01, pH Value @25°C, (4) 500 mL bottles HI 70300L | $ 64.87 |
| 66 618 | HANNA | HI54710-11 | pH 4.01, pH 7.01, pH 10.01, (5) 500 mL bottles HI 70300L, HI 7061L | $ 76.26 |
| 66 618 | HANNA | HI5700-12 | 7.01 pH Value @25°C, 120 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI60001-02 | 1.000 pH Value @ 25°C, (25) 20 mL sachets | $ 35.94 |
| 66 618 | HANNA | HI60002-02 | 2.000 pH Value @ 25°C, (25) 20 mL sachets | $ 35.94 |
| 66 618 | HANNA | HI60004-02 | 4.010 pH Value @ 25°C, (25) 20 mL sachets | $ 35.94 |
| 66 618 | HANNA | HI60007-02 | 7.010 pH Value @ 25°C, (25) 20 mL sachets | $ 35.94 |
| 66 618 | HANNA | HI6001 | 1.000 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI60010-02 | 10.010 pH Value @ 25°C, (25) 20 mL sachets | $ 35.94 |
| 66 618 | HANNA | HI60016-02 | 1.679 pH Value @ 25°C, (25) 20 mL sachets | $ 35.94 |
| 66 618 | HANNA | HI6002 | 2.000 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6003 | 3.000 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6004 | 4.010 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6004-01 | 4.010 pH Value @ 25°C, (1) 1 L bottle | $ 30.68 |
| 66 618 | HANNA | HI6006 | 6.000 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6007 | 7.010 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6007-01 | 7.010 pH Value @ 25°C, (1) 1 L bottle | $ 30.68 |
| 66 618 | HANNA | HI6008 | 8.000 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6009 | 9.000 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6010 | 10.010 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6010-01 | 10.010 pH Value @ 25°C, (1) 1 L bottle | $ 30.68 |
| 66 618 | HANNA | HI6011 | 11.000 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6012 | 12.000 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6013 | 13.000 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6016 | 1.679 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6031 | 1413 µS/cm EC value @25°C, 500 mL bottle with certificate of analysis | $ 19.28 |
| 66 618 | HANNA | HI6032 | 1382 mg/L (ppm) TDS value @25°C, 500 mL bottle with certificate of analysis | $ 19.28 |
| 66 618 | HANNA | HI6033 | 84 µS/cm EC value @25°C, 500 mL bottle with certificate of analysis | $ 19.28 |
| 66 618 | HANNA | HI6050 | Submersible Electrode Holder, 605 mm (23.8”), 475 mm (18.7”) submersion length | $ 96.42 |
| 66 618 | HANNA | HI60501 | Immersion Electrode Holders for Tanks, Vessels, Baths and Open Channels, PVC body | $ 156.91 |
| 66 618 | HANNA | HI60501-0 | O-ring set for HI 60501 | $ 20.16 |
| 66 618 | HANNA | HI60501-1 | Spare external cap for electrode holder | $ 28.93 |
| 66 618 | HANNA | HI605011 | PVC mounting flange for HI 60501 and HI 60503 | $ 75.39 |
| 66 618 | HANNA | HI60503 | Immersion Electrode Holders for Tanks, Vessels, Baths and Open Channels, PVDF body | $ 255.96 |
| 66 618 | HANNA | HI6051 | Submersible Electrode Holder, 1105 mm (43.5”), 975 mm (38.4”) submersion length | $ 100.81 |
| 66 618 | HANNA | HI6052 | Submersible Electrode Holder, 1605 mm (63.2”), 1500 mm (59.1”) submersion length | $ 114.83 |
| 66 618 | HANNA | HI60542 | Electrode holder for in-line direct pipe installation, PG 13.5 thread | $ 156.91 |
| 66 618 | HANNA | HI60542-0 | O-ring set for HI60542 | $ 22.79 |
| 66 618 | HANNA | HI60545 | Electrode holder for by-pass loop configurations | $ 156.91 |
| 66 618 | HANNA | HI60545-0 | O-ring set for HI60545 | $ 20.16 |
| 66 618 | HANNA | HI6054B | Electrode holder for in-line installation, 3/4x16UNF thread | $ 31.56 |
| 66 618 | HANNA | HI6054T | Electrode holder for in-line installation, PG 13.5 thread | $ 31.56 |
| 66 618 | HANNA | HI6068 | 6.862 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6074 | 7.413 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6091 | 9.177 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6100205 | Industrial pH Electrode for Acid samples with Fluoride ions F-, PVDF body, double junction PTFE, -5 to 60 °C, 6 bar, BNC 5m | $ 178.82 |
| 66 618 | HANNA | HI6100405 | Industrial pH Electrode,general purpose, PVDF body, double junction PTFE, -5 to 80 °C, 6 bar, BNC 5m | $ 178.82 |
| 66 618 | HANNA | HI6100410 | Industrial pH Electrode,general purpose, PVDF body, double junction PTFE, -5 to 80 °C, 6 bar, BNC 10 m | $ 178.82 |
| 66 618 | HANNA | HI6100805 | Industrial pH Electrode for high Temperatures, PVDF body, double junction PTFE, 0to 100 °C, 6 bar, BNC 5m | $ 178.82 |
| 66 618 | HANNA | HI6101205 | Industrial pH Electrode for Acid samples with Fluoride ions F-, PVDF body, double junction PTFE, -5 to 60 °C, 6 bar, BNC 5m,PT100 | $ 214.76 |
| 66 618 | HANNA | HI6101405 | Industrial pH Electrode,general purpose, PVDF body, double junction PTFE, -5 to 80 °C, 6 bar, BNC 5m,PT100 | $ 214.76 |
| 66 618 | HANNA | HI6101415 | Industrial pH Electrode,general purpose, PVDF body, double junction PTFE, -5 to 80 °C, 6 bar, BNC 15m,PT100 | $ 333.97 |
| 66 618 | HANNA | HI6101605 | Industrial pH Electrode for low Temperatures, PVDF body, double junction PTFE, -10 to 80 °C, 6 bar, BNC 5m,PT100 | $ 221.77 |
| 66 618 | HANNA | HI6101805 | Industrial pH Electrode for high Temperatures, PVDF body, double junction PTFE, 0to 100 °C, 6 bar, BNC 5m,PT100 | $ 214.76 |
| 66 618 | HANNA | HI6124 | 12.450 pH Value @ 25°C, (1) 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI6200405 | Industrial Platinum ORP Electrode, PVDF body, double junction PTFE, -5 to 100 °C, 6 bar, BNC 5m, | $ 189.34 |
| 66 618 | HANNA | HI6200505 | Industrial Gold ORP Electrode, PVDF body, double junction PTFE, -5 to 100 °C, 6 bar, BNC 5m,PT100 | $ 189.34 |
| 66 618 | HANNA | HI6291005 | AMPHEL® pH electrode with replaceable battery, for general purpose | $ 145.51 |
| 66 618 | HANNA | HI62911D | pH electrode; Use for plating baths, DIN connector recommended for HI 99131 pH meter | $ 127.10 |
| 66 618 | HANNA | HI62920D | pH electrode with titanium body, amplified, with Temperature and DIN connector for HI504902 | $ 177.07 |
| 66 618 | HANNA | HI6293005 | AMPHEL® ORP Electrode with replaceable battery, PEI body, platinum glass type | $ 156.91 |
| 66 618 | HANNA | HI6493005 | AMPHEL® ORP Electrode with replaceable battery, PEI body, gold glass type | $ 230.54 |
| 66 618 | HANNA | HI700 | Ammonia LR Checker HC, 0.00-3.00 ppm | $ 42.95 |
| 66 618 | HANNA | HI700-11 | Ammonia Checker calibration set (0.00 and 1.00 ppm Ammonia) | $ 16.65 |
| 66 618 | HANNA | HI700-25 | Reagents for LR ammonia Checker | $ 11.40 |
| 66 618 | HANNA | HI70000P | Rinsing Solution , (25) 20 mL sachet | $ 21.04 |
| 66 618 | HANNA | HI70004C | 4.01 pH Value @25°C, (25) 20 mL sachets with Certificate of Analysis | $ 25.42 |
| 66 618 | HANNA | HI70006C | 6.86 pH Value @25°C, (25) 20 mL sachet with Certificate of Analysis | $ 25.42 |
| 66 618 | HANNA | HI70006P | 6.86 pH Value @25°C, (25) 20 mL sachet | $ 21.91 |
| 66 618 | HANNA | HI70007C | 7.01 pH Value @25°C, (25) with Certificate of Analysis | $ 25.42 |
| 66 618 | HANNA | HI70009C | 9.18 pH (@25°C) Standard Calibration Solution, (25) 20 mL Sachets with Certificate of Analysis | $ 25.42 |
| 66 618 | HANNA | HI70009P | 9.18 pH (@25°C) Standard Calibration Solution, (25) 20 mL sachets | $ 21.91 |
| 66 618 | HANNA | HI70010C | 10.01pH (@25°C) Standard Calibration Solution, (25) 20 mL sachets with Certificate of Analysis | $ 25.42 |
| 66 618 | HANNA | HI70010P/5 | 10.01pH (@25°C) Standard Calibration Solution, (500) 20 mL sachets | $ 362.90 |
| 66 618 | HANNA | HI7001L | 1.68 pH Value @25°C, 500 mL bottle | $ 20.16 |
| 66 618 | HANNA | HI7001M | 1.68 pH Value @25°C, 250 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI700221-1 | Conductivity Digital Panel Mount Controller, dual setpoint, on/off and PID controls, analog output, range: EC 0.0 to 199.9 µS/cm; 0 to 1999 µS/cm; 0.00 to 19.99 mS/cm; 0.0 to 199.9 mS/cm Temperature -10.0 to 100.0°C, 115V | $ 511.04 |
| 66 618 | HANNA | HI700221-2 | Conductivity Digital Panel Mount Controller, dual setpoint, on/off and PID controls, analog output, range: EC 0.0 to 199.9 µS/cm; 0 to 1999 µS/cm; 0.00 to 19.99 mS/cm; 0.0 to 199.9 mS/cm Temperature -10.0 to 100.0°C, 230V | $ 512.80 |
| 66 618 | HANNA | HI700222-1 | Conductivity Digital Panel Mount Controller, dual setpoint, on/off and PID controls, RS485 output, range: EC 0.0 to 199.9 µS/cm; 0 to 1999 µS/cm; 0.00 to 19.99 mS/cm; 0.0 to 199.9 mS/cm Temperature -10.0 to 100.0°C, 115V | $ 511.04 |
| 66 618 | HANNA | HI700222-2 | Conductivity Digital Panel Mount Controller, dual setpoint, on/off and PID controls, RS485 output, range: EC 0.0 to 199.9 µS/cm; 0 to 1999 µS/cm; 0.00 to 19.99 mS/cm; 0.0 to 199.9 mS/cm Temperature -10.0 to 100.0°C, 230V | $ 512.80 |
| 66 618 | HANNA | HI70030C | 12880 µS/cm EC value @25°C, (25) 20 mL sachets with certificate of analysis | $ 25.42 |
| 66 618 | HANNA | HI70031C | 1413 µS/cm EC value @25°C, (25) 20 mL sachets with certificate of analysis | $ 25.42 |
| 66 618 | HANNA | HI70031P | 1413 µS/cm EC value @25°C, (25) 20 mL sachets | $ 21.91 |
| 66 618 | HANNA | HI70032C | 1382 mg/L (ppm) TDS value @25°C, (25) 20 mL sachets with certificate of analysis | $ 25.42 |
| 66 618 | HANNA | HI70032P | 1382 mg/L (ppm) TDS value @25°C, (25) 20 mL sachets | $ 21.91 |
| 66 618 | HANNA | HI70038C | 6.44 g/L (ppt) TDS value @25°C, (25) 20 mL sachets with certificate of analysis | $ 25.42 |
| 66 618 | HANNA | HI70038P | 6.44 g/L (ppt) TDS value @25°C, (25) 20 mL sachets | $ 21.91 |
| 66 618 | HANNA | HI70039C | 5000 µS/cm EC value @25°C, (25) 20 mL sachets with certificate of analysis | $ 25.42 |
| 66 618 | HANNA | HI70039P | 5000 µS/cm EC value @25°C, (25) 20 mL sachets | $ 21.91 |
| 66 618 | HANNA | HI7004/1G | 4.01 pH Value @25°C, 1 Gallon (3.78 L) bottle | $ 35.94 |
| 66 618 | HANNA | HI7004/1L | 4.01 pH Value @25°C, 1 L bottle | $ 13.15 |
| 66 618 | HANNA | HI7004C | 4.01 pH Value @25°C, 500 mL bottle RED COLOR | $ 10.52 |
| 66 618 | HANNA | HI7004L | 4.01 pH Value @25°C, 500 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI7004L/C | 4.01 pH Value @25°C, 500 mL bottle with Certificate of Analysis | $ 15.78 |
| 66 618 | HANNA | HI7004P/5 | 4.01 pH Value @25°C, (500) 20 mL sachets | $ 362.90 |
| 66 618 | HANNA | HI7006/1G | 6.86 pH Value @25°C, 1 Gallon (3.78 L) bottle | $ 35.06 |
| 66 618 | HANNA | HI7006/1L | 6.86 pH Value @25°C, 1 L bottle | $ 13.15 |
| 66 618 | HANNA | HI70060M | Buffer solution pH 6.00 (230 ml), for HI84529. | $ 13.15 |
| 66 618 | HANNA | HI700630P | Acid Cleaning Solution for Meat Grease and Fats (Food Industry), (25) 20 mL sachets | $ 27.17 |
| 66 618 | HANNA | HI700635P | Cleaning Solution for Wine Deposits (Wine-Making), (25) 20 mL sachets | $ 27.17 |
| 66 618 | HANNA | HI700636P | Cleaning Solution for Wine Stains (Wine-Making), (25) 20 mL sachets | $ 27.17 |
| 66 618 | HANNA | HI700640P | Cleaning Solution for Milk Deposits (Food Industry), (25) 20 mL sachets | $ 27.17 |
| 66 618 | HANNA | HI700641P | Cleaning and Disinfection Solution for Dairy Products (Food Industry), (25) 20 mL sachets | $ 27.17 |
| 66 618 | HANNA | HI700642P | Cleaning Solution for Cheese Deposits (Food Industry), (25) 20 mL sachets | $ 27.17 |
| 66 618 | HANNA | HI700661P | General purpose cleaning solution for agriculture (1 x 20 mL sachet) | $ 27.17 |
| 66 618 | HANNA | HI700663P | Cleaning Solution for Soil Deposits (Agriculture), (25) 20 mL sachets | $ 27.17 |
| 66 618 | HANNA | HI700664P | Cleaning Solution for Humus Deposits (Agriculture), (25) 20 mL sachets | $ 27.17 |
| 66 618 | HANNA | HI700670P | Cleaning Solution for Salt Deposits (Industrial Processes), (25) 20 mL sachets | $ 27.17 |
| 66 618 | HANNA | HI7006L | 6.86 pH Value @25°C, 500 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI7006L/C | 6.86 pH Value @25°C, 500 mL bottle with Certificate of Analysis | $ 15.78 |
| 66 618 | HANNA | HI7006M | 6.86 pH Value @25°C, 250 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI7007/1G | 7.01 pH Value @25°C, 1 Gallon (3.78 L) bottle | $ 35.94 |
| 66 618 | HANNA | HI7007/1L | 7.01 pH Value @25°C, 1 L bottle | $ 13.15 |
| 66 618 | HANNA | HI7007C | 7.01 pH Value @25°C, 500 mL bottle GEEN COLOR | $ 10.52 |
| 66 618 | HANNA | HI7007L | 7.01 pH Value @25°C, 500 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI7007L/C | 7.01 pH Value @25°C, 500 mL bottle with Certificate of Analysis | $ 15.78 |
| 66 618 | HANNA | HI7007M | 7.01 pH Value @25°C, 230 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI70080C | 800 mg/L (ppm) TDS value @25°C, (25) 20 mL sachets with certificate of analysis | $ 25.42 |
| 66 618 | HANNA | HI70080P | 800 mg/L (ppm) TDS value @25°C, (25) 20 mL sachets | $ 21.91 |
| 66 618 | HANNA | HI70082M | pH 8.20 buffer solution (230 mL) | $ 12.27 |
| 66 618 | HANNA | HI70083M | pH 8.30 buffer solution (230 mL) | $ 13.15 |
| 66 618 | HANNA | HI7009/1G | 9.18 pH (@25°C) Standard Calibration Solution, 1 Gallon (3.78 L) bottle | $ 35.94 |
| 66 618 | HANNA | HI7009/1L | 9.18 pH (@25°C) Standard Calibration Solution, 1 L bottle | $ 13.15 |
| 66 618 | HANNA | HI7009L | 9.18 pH (@25°C) Standard Calibration Solution, 500 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI7009L/C | 9.18 pH (@25°C) Standard Calibration Solution, 500 mL bottle with Certificate of Analysis | $ 15.78 |
| 66 618 | HANNA | HI7009M | 9.18 pH (@25°C) Standard Calibration Solution, 250 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI701 | Free chlorine Checker HC® colorimeter: Range 0.00 to 2.50 ppm (mg/L) | $ 42.95 |
| 66 618 | HANNA | HI701-11 | Checker HC® calibration checking set (0.00 and 1.00 ppm Free Cl2) | $ 9.64 |
| 66 618 | HANNA | HI701-25 | Chlorine, free, DPD method, reagents for 25 tests (free Chlorine) | $ 5.26 |
| 66 618 | HANNA | HI7010/1G | 10.01 pH (@25°C) Standard Calibration Solution, 1 Gallon (3.78 L) bottle | $ 35.94 |
| 66 618 | HANNA | HI7010/1L | 10.01 pH (@25°C) Standard Calibration Solution, 1 L bottle | $ 13.15 |
| 66 618 | HANNA | HI7010C | 10.01 pH (@25°C) Standard Calibration Solution, 500 mL bottle PURPLE COLOR | $ 10.52 |
| 66 618 | HANNA | HI7010L | 10.01 pH (@25°C) Standard Calibration Solution, 500 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI7010L/C | 10.01 pH (@25°C) Standard Calibration Solution, 500 mL bottle with Certificate of Analysis | $ 15.78 |
| 66 618 | HANNA | HI7020L | ORP test solution @200/275 mV (@20°C), 500 mL | $ 20.16 |
| 66 618 | HANNA | HI7021L | ORP test solution @240 mV (@20°C), 500 mL | $ 20.16 |
| 66 618 | HANNA | HI7022L | ORP test solution @470 mV (@20°C), 500 mL | $ 20.16 |
| 66 618 | HANNA | HI7023/1L | TISAB Solution, 1 L bottle | $ 67.50 |
| 66 618 | HANNA | HI7023L | TISAB Solution, 500 mL bottle | $ 35.94 |
| 66 618 | HANNA | HI7023M | TISAB Solution, 250 mL bottle | $ 22.79 |
| 66 618 | HANNA | HI7030/1G | 12880 µS/cm EC value @25°C, 1 Gallon (3.78 L) bottle | $ 48.21 |
| 66 618 | HANNA | HI70300L | Electrode storage solution, 500 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI7030L | 12880 µS/cm EC value @25°C, 500 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI7030L/C | 12880 µS/cm EC value @25°C, 500 mL bottle with certificate | $ 20.16 |
| 66 618 | HANNA | HI7030M | 12880 µS/cm EC value @25°C, 500 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI7031/1G | 1413 µS/cm EC value @25°C, 1 Gallon (3.78 L) bottle | $ 48.21 |
| 66 618 | HANNA | HI7031L | 1413 µS/cm EC value @25°C, 500 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI7031L/C | 1413 µS/cm EC value @25°C, 500 mL bottle with certificate of analysis | $ 19.28 |
| 66 618 | HANNA | HI7031M | 1413 µS/cm EC value @25°C, 500 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI7032L | 1382 mg/L (ppm) TDS value @25°C, 500 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI7032M | 1382 mg/L (ppm) TDS value @25°C, 250 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI7033L | 84 µS/cm EC value @25°C, 500 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI7033M | 84 µS/cm EC value @25°C, 500 mL bottle | $ 9.64 |
| 66 618 | HANNA | HI7034L | 80000 µS/cm EC value @25°C, 500 mL bottle | $ 20.16 |
| 66 618 | HANNA | HI7034M | 80000 µS/cm EC value @25°C, 500 mL bottle | $ 13.15 |
| 66 618 | HANNA | HI7035L | 111800 µS/cm EC value @25°C, 500 mL bottle | $ 16.65 |
| 66 618 | HANNA | HI7035M | 111800 µS/cm EC value @25°C, 500 mL bottle | $ 11.40 |
| 66 618 | HANNA | HI7036L | 12.41 g/L (ppt) TDS value @25°C, 500 mL bottle | $ 15.78 |
| 66 618 | HANNA | HI7037L | Calibration solution for % Readings (100% NaCl), 500 mL bottle | $ 16.65 |
| 66 618 | HANNA | HI7037M | Calibration solution for % Readings (100% NaCl), 250 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI7039L | 5000 µS/cm EC value @25°C, 500 mL bottle | $ 16.65 |
| 66 618 | HANNA | HI7039M | 5000 µS/cm EC value @25°C, 500 mL bottle | $ 11.40 |
| 66 618 | HANNA | HI70401 | Potassium hydrogen phthalate, 20 g | $ 56.98 |
| 66 618 | HANNA | HI70402 | Tartaric acid, 20 g | $ 26.30 |
| 66 618 | HANNA | HI70403 | Sodium Thiosulfate penta hydrate, 20 g | $ 15.78 |
| 66 618 | HANNA | HI70404 | Kl powder packets, 100 packets | $ 13.15 |
| 66 618 | HANNA | HI70405 | Glucose fructose standard, 20 g | $ 15.78 |
| 66 618 | HANNA | HI70406 | Sodium chloride, 20 g | $ 13.15 |
| 66 618 | HANNA | HI70407 | Potassium iodate, 20 g | $ 35.06 |
| 66 618 | HANNA | HI70408 | Oxalic acid, 20 g | $ 37.69 |
| 66 618 | HANNA | HI70409 | Potassium permanganate, 20 g | $ 39.45 |
| 66 618 | HANNA | HI7040L | Zero oxygen solution, 500 mL bottle | $ 13.15 |
| 66 618 | HANNA | HI7041L | Dissolved Oxygen probe electrolyte solution 500mL | $ 50.84 |
| 66 618 | HANNA | HI7041M | Dissolved Oxygen probe electrolyte solution 250mL | $ 37.69 |
| 66 618 | HANNA | HI7041S | Electrolyte solution for polarographic DO probes, 30 mL bottle | $ 13.15 |
| 66 618 | HANNA | HI70423 | NaOH, 0.11N (N/9), 1 L | $ 13.15 |
| 66 618 | HANNA | HI70424 | Ammino-propanol buffer, 25 mL | $ 15.78 |
| 66 618 | HANNA | HI70425 | Sulfuric Acid (16%), 500 mL | $ 13.15 |
| 66 618 | HANNA | HI70426 | Glyoxal (40%), 1L | $ 36.82 |
| 66 618 | HANNA | HI70427 | HNO3 (1.5M), 500 mL | $ 15.78 |
| 66 618 | HANNA | HI70428 | NaOH (0.25N), 1 L | $ 13.15 |
| 66 618 | HANNA | HI70429 | AgNO3 (0.05M), 1L | $ 54.35 |
| 66 618 | HANNA | HI7042S | Electrolyte solution for galvanic probes, 30 mL bottle | $ 14.90 |
| 66 618 | HANNA | HI70430 | DPD reagent for PCA series | $ 42.08 |
| 66 618 | HANNA | HI70431 | Total Chlorine reagent for PCA series | $ 42.08 |
| 66 618 | HANNA | HI70432 | H2O2 (3%), 25 mL | $ 17.53 |
| 66 618 | HANNA | HI70433 | Stabilized iodine, 0.01N, 1L | $ 13.15 |
| 66 618 | HANNA | HI70434 | Phosphoric acid (85%), 500 mL | $ 444.42 |
| 66 618 | HANNA | HI70435 | NaOH (5M), 500 mL | $ 15.78 |
| 66 618 | HANNA | HI70436 | Distilled water, 3.75 L | $ 15.78 |
| 66 618 | HANNA | HI70437 | Potassium Iodide concentrated (30%) solution, 500 mL | $ 58.73 |
| 66 618 | HANNA | HI70438 | Tris buffer, 1L+3.5 g powder | $ 29.80 |
| 66 618 | HANNA | HI70439 | Sodium Thiosulfate,0.1M, 1 L | $ 22.79 |
| 66 618 | HANNA | HI70440 | Iodine stabilized, 0.02N, 1 L | $ 36.82 |
| 66 618 | HANNA | HI70441 | Iodine stabilized, 0.04N, 1 L | $ 34.19 |
| 66 618 | HANNA | HI70442L | 1500 mg/L (ppm) TDS value @25°C, 500 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI70442M | 1500 mg/L (ppm) TDS value @25°C, 250 mL bottle | $ 8.77 |
| 66 618 | HANNA | HI70442P | 1500 mg/L (ppm) TDS value @25°C, (25) 20 mL sachets | $ 21.91 |
| 66 618 | HANNA | HI70443 | Sulfuric Acid 10%, 500 mL | $ 21.91 |
| 66 618 | HANNA | HI70444 | Sulfuric Acid 25%, 500 mL | $ 23.67 |
| 66 618 | HANNA | HI70445 | Nitric Acid, 1m, 500 mL | $ 15.78 |
| 66 618 | HANNA | HI70446 | Felling solution A, 500 mL | $ 20.16 |
| 66 618 | HANNA | HI70447 | Felling solution B, 500 mL | $ 30.68 |
| 66 618 | HANNA | HI70448 | NaNO3, 0.02 m, 1 L | $ 28.93 |
| 66 618 | HANNA | HI70449 | EDTA, 0.02 m, 1 L | $ 21.91 |
| 66 618 | HANNA | HI70450 | PCA Spare Parts, indicator solution | $ 12.27 |
| 66 618 | HANNA | HI70451 | PCA Spare Parts, buffer solution | $ 12.27 |
| 66 618 | HANNA | HI70452 | PCA Spare Parts, DPD reagents | $ 12.27 |
| 66 618 | HANNA | HI70453 | HCL, 0.02N, 1L | $ 22.79 |
| 66 618 | HANNA | HI70454 | NaOH, 0.02N, 1L | $ 21.91 |
| 66 618 | HANNA | HI70455 | NaOH (0.01N), 1L | $ 13.15 |
| 66 618 | HANNA | HI70456 | NaOH (0.1N), 1L | $ 13.15 |
| 66 618 | HANNA | HI70457 | NaOH (1N), 1L | $ 15.78 |
| 66 618 | HANNA | HI70458 | H2SO4 (0.01M), 1L | $ 13.15 |
| 66 618 | HANNA | HI70459 | H2SO4 (0.05M), 1L | $ 13.15 |
| 66 618 | HANNA | HI70460 | PCA Spare Parts, Indicator solution for PCA 310, PCA 320 and PCA 330 | $ 12.27 |
| 66 618 | HANNA | HI70461 | PCA Spare Parts, buffer solution for PCA 310, PCA 320 and PCA 330 | $ 12.27 |
| 66 618 | HANNA | HI70462 | HCL (0.01N), 1L | $ 13.15 |
| 66 618 | HANNA | HI70463 | HCL (0.1N), 1L | $ 15.78 |
| 66 618 | HANNA | HI70464 | HCL (1N), 1L | $ 15.78 |
| 66 618 | HANNA | HI70465 | Reagent for hydrogen peroxide titration (25 mL) | $ 15.78 |
| 66 618 | HANNA | HI70466 | Phenylarsine Oxide standard solution (500 mL) | $ 47.34 |
| 66 618 | HANNA | HI70467 | Acetate buffer pH 4 (230 mL) | $ 15.78 |
| 66 618 | HANNA | HI70468 | Potassium iodide powder for 100 tests | $ 20.16 |
| 66 618 | HANNA | HI70469 | 0.00188N iodine standard solution (4x250 mL) | $ 27.17 |
| 66 618 | HANNA | HI70470 | 0.00564N phenylarsine oxide (PAO) standard solution (500 mL) | $ 109.57 |
| 66 618 | HANNA | HI70471 | Calibration solution 0,00564N PAO (500 mL) | $ 16.65 |
| 66 618 | HANNA | HI70472 | Phosphate buffer pH 7 (250 mL) | $ 15.78 |
| 66 618 | HANNA | HI70473 | PCA tubing kit, pressure regulator to drain (2 pcs). Each kit includes: transparent Tygon tubes 86L x 3.2ID mm (3.4 x 0.1") (Length x Internal Diameter) (1, 2) and 105 x 9.5 mm (4.1 x 0.4") (3) | $ 25.42 |
| 66 618 | HANNA | HI70474 | PCA peristaltic pump tubing kit (6 pcs). Each kit includes: non-transparent C-flex tubes 55L x 0.8ID mm (2.1 x 0.03'') (5) | $ 75.39 |
| 66 618 | HANNA | HI70475 | PCA peristaltic pump tubing kit (2 pcs). Each kit includes: non-transparent C-flex tubes 55L x 0.8ID mm (2.1 x 0.03'') (5) | $ 28.93 |
| 66 618 | HANNA | HI70476 | PCA reagent bottle tubing kit (6 pcs). Each kit includes: non-transparent C-flex tubes 155L x 0.8ID mm (6.1 x 0.03'') (11) | $ 12.27 |
| 66 618 | HANNA | HI70477 | PCA tubing set for measuring cell (2 pcs). Each set includes: non-transparent C-flex tube 50L x 0.8ID mm (2.0 x 0.03'') (8) andY strainer (7) | $ 28.93 |
| 66 618 | HANNA | HI70478 | PCA tubing kit, bottle to pump (6 pcs). Each kit includes: non-transparent C-flex tube 150L x 0.8ID mm (5.9 x 0.03'') (4) | $ 12.27 |
| 66 618 | HANNA | HI70479 | PCA tubing kit, pump to Y strainer (6 pcs). Each kit includes: non-transparent C-flex tube 150L x 0.8ID mm (5.9 x 0.03'') (6) | $ 13.15 |
| 66 618 | HANNA | HI70480 | PCA free chlorine reagent kit (for fresh water). The kit includes buffer solution, indicator and DPD powder. | $ 31.56 |
| 66 618 | HANNA | HI70481 | PCA total chlorine reagent kit (for fresh water). The kit includes buffer solution, indicator and DPD powder reagent. | $ 31.56 |
| 66 618 | HANNA | HI70482 | PCA filters. The kit includes 0.5 µm and 50 µm filters (13) | $ 99.05 |
| 66 618 | HANNA | HI70483 | PCA complete tubing kit. The kit includes: non-transparent C-flex tubes (4, 6) 150L x 0.8ID (5.9 x 0.03'') (4 pcs), non-transparent C-flex tubes (5) 55L x 0.8ID (2.1 x 0.03'') (2 pcs), non-transparent C-flex tubes (8) 50L x 0.8ID (2.0 x 0.03'') and Y strainer (7) | $ 62.24 |
| 66 618 | HANNA | HI70483T | Spare Tubing for Wine Minititrators (1 set) | $ 44.71 |
| 66 618 | HANNA | HI70484 | PCA complete tubing kit (3 pcs). Each kit includes: non-transparent C-flex tubes (4, 6) 150L x 0.8ID (5.9 x 0.03'') (4 pcs), non-transparent C-flex tubes (5) 55L x 0.8ID (2.1 x 0.03'') (2 pcs), non-transparent C-flex tubes (8) 50L x 0.8ID (2.0 x 0.03''), Y strainer (7) | $ 174.44 |
| 66 618 | HANNA | HI70486 | PCA Spare Parts, magnetic bar (2 pcs) | $ 25.42 |
| 66 618 | HANNA | HI70487/N | PCA Spare Parts, measuring cell | $ 246.32 |
| 66 618 | HANNA | HI70488 | PCA Spare Parts, electrovalve, 60 Hz | $ 115.71 |
| 66 618 | HANNA | HI70489 | PCA Spare Parts, electrovalve, 50 Hz | $ 115.71 |
| 66 618 | HANNA | HI70490 | PCA Spare Parts, free chlorine reagent kit | $ 30.68 |
| 66 618 | HANNA | HI70491 | PCA Spare Parts, total chlorine reagent kit | $ 30.68 |
| 66 618 | HANNA | HI70492 | PCA Spare Parts, drain tubing kit | $ 17.53 |
| 66 618 | HANNA | HI70493 | PCA Spare Parts, drain pressure regulator | $ 17.53 |
| 66 618 | HANNA | HI70495 | PCA Spare Parts, incoming pressure regulator | $ 17.53 |
| 66 618 | HANNA | HI70496 | PCA Spare Parts, 0.45 µm filter | $ 34.19 |
| 66 618 | HANNA | HI70497 | PCA Spare Parts, 50 µm filter | $ 9.64 |
| 66 618 | HANNA | HI70498 | Bromine replacement reagent set for process bromine analyzer, 500 mL (2) + 5 sachets (DPD) | $ 34.19 |
| 66 618 | HANNA | HI705 | Silica Checker (0.00 - 4.00 ppm) | $ 42.95 |
| 66 618 | HANNA | HI705-11 | Checker HC reagents for 25 tests (Silica) | $ 19.28 |
| 66 618 | HANNA | HI705-25 | Silica Checker (0.00 - 4.00 ppm) spare reagents (25 tests) | $ 23.67 |
| 66 618 | HANNA | HI70500 | Tubes set for minititrators (845xx series), complete with valve | $ 78.02 |
| 66 618 | HANNA | HI7051L | soil sample preparation solution, 500 mL | $ 11.40 |
| 66 618 | HANNA | HI7051M | soil sample preparation solution, 250 mL | $ 9.64 |
| 66 618 | HANNA | HI706 | Phosphorous Checker HC® ,0.0 to 15 ppm (mg/L) | $ 42.95 |
| 66 618 | HANNA | HI706-11 | Checker HC® calibration checking set (0.0 and 7.5 ppm phosphorus) | $ 9.64 |
| 66 618 | HANNA | HI706-25 | Checker HC reagents for 40 tests (Phosphorus HR) | $ 5.26 |
| 66 618 | HANNA | HI70602 | Relative humidity probe used with HI 9564, HI 9565, DIN connector, 1 m (3.3’) cable | $ 56.10 |
| 66 618 | HANNA | HI7061L | Cleaning Solution for General Purpose, 500 mL bottle | $ 12.27 |
| 66 618 | HANNA | HI70621L | Cleaning Solution for Skin Grease and Sebum (Cosmetic Industry), 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI70630L | Acid Cleaning Solution for Meat Grease and Fats (Food Industry), 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI70631L | Alkaline Cleaning Solution for Meat Grease and Fats (Food Industry), 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI70632L | Cleaning and Disinfection Solution for Blood Products, 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI70635L | Cleaning Solution for Wine Deposits (Wine-Making), 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI70636L | Cleaning Solution for Wine Stains (Wine-Making), 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI70640L | Cleaning Solution for Milk Deposits (Food Industry), 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI70641L | Cleaning and Disinfection Solution for Dairy Products (Food Industry), 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI70642L | Cleaning Solution for Cheese Deposits (Food Industry), 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI70663L | Cleaning Solution for Soil Deposits (Agriculture), 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI70664L | Cleaning Solution for Humus Deposits (Agriculture), 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI70670L | Cleaning Solution for Salt Deposits (Industrial Processes), 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI70671L | Cleaning and Disinfection Solution for Algae, Fungi and Bacteria (Industrial Processes), 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI70681L | Cleaning Solution for Ink Stains, 500 mL bottle | $ 23.67 |
| 66 618 | HANNA | HI707 | Nitrite LR Checker (0-999 ppb) | $ 42.95 |
| 66 618 | HANNA | HI707-11 | Nitrite LR Checker (0-999 ppb) calibration standards | $ 16.65 |
| 66 618 | HANNA | HI707-25 | Nitrite LR Checker (0-999 ppb) spare reagents (25 tests) | $ 10.52 |
| 66 618 | HANNA | HI70701/1L | Standard Solution at 1 g/L F—, 1 L bottle | $ 51.72 |
| 66 618 | HANNA | HI70701L | Standard Solution at 1 g/L F—, 500 mL bottle | $ 35.06 |
| 66 618 | HANNA | HI70701M | Standard Solution at 1 g/L F—, 250 mL bottle | $ 28.93 |
| 66 618 | HANNA | HI70702/1L | Standard Solution at 10 mg/L F—, 1 L bottle | $ 51.72 |
| 66 618 | HANNA | HI70702L | Standard Solution at 10 mg/L F—, 500 mL bottle | $ 35.06 |
| 66 618 | HANNA | HI70702M | Standard Solution at 10 mg/L F—, 250 mL bottle | $ 28.93 |
| 66 618 | HANNA | HI70703/1L | Standard Solution at 100 mg/L F—, 1 L bottle | $ 51.72 |
| 66 618 | HANNA | HI70703L | Standard Solution at 100 mg/L F—, 500 mL bottle | $ 35.06 |
| 66 618 | HANNA | HI70703M | Standard Solution at 100 mg/L F—, 250 mL bottle | $ 28.93 |
| 66 618 | HANNA | HI7071 | Electrolyte Solution, 3.5M KCl + AgCl, (4) 30 mL bottle | $ 46.46 |
| 66 618 | HANNA | HI7071L | Electrolyte Solution, 3.5M KCl + AgCl, 500 mL bottle | $ 39.45 |
| 66 618 | HANNA | HI7071M | Electrode refilling solutions, 250 mL | $ 34.19 |
| 66 618 | HANNA | HI7072 | Electrolyte solution, 1 M KNO3, (4) 30 mL bottles | $ 46.46 |
| 66 618 | HANNA | HI7072L | Electrolyte Solution, 1M KNO3, 500 mL bottle | $ 160.41 |
| 66 618 | HANNA | HI7073L | Cleaning Solution for Proteins, 500 mL bottle | $ 21.04 |
| 66 618 | HANNA | HI7073M | Cleaning Solution for Proteins, 250 mL bottle | $ 14.90 |
| 66 618 | HANNA | HI7074L | Cleaning Solution for Inorganic Substances, 500 mL bottle | $ 21.04 |
| 66 618 | HANNA | HI7074M | Cleaning Solution for Inorganic Substances, 250 mL bottle | $ 14.90 |
| 66 618 | HANNA | HI7075 | Electrolyte solution with KNO3 and KCl, (4) 30 mL bottles | $ 31.56 |
| 66 618 | HANNA | HI7076 | Electrolyte solution, 1 M NaCl, (4) 30 mL bottles | $ 31.56 |
| 66 618 | HANNA | HI7077L | Cleaning Solution for Oil and Fats, 500 mL bottle | $ 21.04 |
| 66 618 | HANNA | HI7077M | Cleaning Solution for Oil and Fats, 250 mL bottle | $ 14.90 |
| 66 618 | HANNA | HI7078 | Electrolyte Solution, 1.7M KNO3, 0.7M KCl, (4) 30 mL bottle | $ 30.68 |
| 66 618 | HANNA | HI7079 | Reference Fill Solutions containing AgCl, Electrolyte for sodium ISE’s (contains AgCl), 30 mL bottles (4) | $ 30.68 |
| 66 618 | HANNA | HI708 | Nitrite HR Checker (0-150 ppm) | $ 42.95 |
| 66 618 | HANNA | HI708-11 | Nitrite HR Checker (0-150 ppm) calibration standards | $ 19.28 |
| 66 618 | HANNA | HI708-25 | Nitrite HR Checker (0-150 ppm)spare reagents (25 tests) | $ 12.27 |
| 66 618 | HANNA | HI7080L | Standard Solution at 2.3 g/L Na+, 500 mL bottle | $ 19.28 |
| 66 618 | HANNA | HI7080M | Standard Solution at 2.3 g/L Na+, 250 mL bottle | $ 13.15 |
| 66 618 | HANNA | HI7081L | Standard Solution at 30 g/L NaCl, 500 mL bottle | $ 17.53 |
| 66 618 | HANNA | HI7081M | Standard Solution at 30 g/L NaCl, 250 mL bottle | $ 13.15 |
| 66 618 | HANNA | HI7082 | 3.5M KCL electrolyte solution for double junction electrodes (4 x 30 ml) | $ 46.46 |
| 66 618 | HANNA | HI7082L | 3.5M KCL electrolyte solution for double junction electrodes, 460 mL | $ 56.10 |
| 66 618 | HANNA | HI7082M | 3.5M KCL electrolyte solution for double junction electrodes, 250 mL | $ 40.32 |
| 66 618 | HANNA | HI7083L | Standard Solution at 3.0 g/L NaCl, 500 mL bottle | $ 17.53 |
| 66 618 | HANNA | HI7083M | Standard Solution at 3.0 g/L NaCl, 250 mL bottle | $ 13.15 |
| 66 618 | HANNA | HI7084L | Standard Solution at 58.4 g/L NaCl, 500 mL bottle | $ 19.28 |
| 66 618 | HANNA | HI7084M | Standard Solution at 58.4 g/L NaCl, 250 mL bottle | $ 13.15 |
| 66 618 | HANNA | HI7085L | Standard Solution at 0.3 g/L NaCl, 500 mL bottle | $ 17.53 |
| 66 618 | HANNA | HI7085M | Standard Solution at 0.3 g/L NaCl, 250 mL bottle | $ 13.15 |
| 66 618 | HANNA | HI7086L | Standard Solution at 23 g/L Na+, 500 mL bottle | $ 19.28 |
| 66 618 | HANNA | HI7086M | Standard Solution at 23 g/L Na+, 250 mL bottle | $ 13.15 |
| 66 618 | HANNA | HI7087L | Standard Solution at 0.23 g/L Na+, 500 mL bottle | $ 19.28 |
| 66 618 | HANNA | HI7087M | Standard Solution at 0.23 g/L Na+, 250 mL bottle | $ 13.15 |
| 66 618 | HANNA | HI7088L | Standard Solution at 5.84 g/L NaCl, 500 mL bottle | $ 19.28 |
| 66 618 | HANNA | HI7088M | Standard Solution at 5.84 g/L NaCl, 250 mL bottle | $ 13.15 |
| 66 618 | HANNA | HI7089L | Standard Solution at 125 g/L NaCl, 500 mL bottle | $ 19.28 |
| 66 618 | HANNA | HI7089M | Standard Solution at 125 g/L NaCl, 250 mL bottle | $ 13.15 |
| 66 618 | HANNA | HI7090L | ISA Solution, 500 mL bottle | $ 19.28 |
| 66 618 | HANNA | HI7090M | ISA Solution, 250 mL bottle | $ 13.15 |
| 66 618 | HANNA | HI7091L | Pretreatment reducing solution, 500 mL | $ 17.53 |
| 66 618 | HANNA | HI7091M | Pretreatment reducing solution, 250 mL | $ 13.15 |
| 66 618 | HANNA | HI7092L | Pretreatment oxidizing solution, 500 mL | $ 17.53 |
| 66 618 | HANNA | HI7092M | Pretreatment oxidizing solution, 230 mL | $ 13.15 |
| 66 618 | HANNA | HI70960 | preparation solution for solid or semi-solid samples, 30 mL | $ 13.15 |
| 66 618 | HANNA | HI710005 | Power adapter, 115 Vac to 12 Vdc, US plug | $ 14.03 |
| 66 618 | HANNA | HI710005/8 | Adapter, for HI42xx family, 115 VAC to 12 VDC | $ 18.41 |
| 66 618 | HANNA | HI710006 | Power adapter, 230 Vac to 12 Vdc, European plug | $ 14.03 |
| 66 618 | HANNA | HI710006/8 | Adapter, for HI42xx family, 230 VAC to 12 VDC | $ 18.41 |
| 66 618 | HANNA | HI710007 | Boot, blue shockproof rubber for HI8314N | $ 32.43 |
| 66 618 | HANNA | HI710008 | Boot, orange shockproof rubber for HI8314N | $ 32.43 |
| 66 618 | HANNA | HI710009 | Boot, shockproof rubber, blue HI 93711 style casing | $ 32.43 |
| 66 618 | HANNA | HI710011 | Cap (sintered) for RH probes | $ 28.05 |
| 66 618 | HANNA | HI710012 | Power adapter, 230 Vac to 12 Vdc, UK plug | $ 15.78 |
| 66 618 | HANNA | HI710015 | Boot, shockproof rubber, blue HI 8424 style casing | $ 32.43 |
| 66 618 | HANNA | HI710019 | Spare Carrying case for Portables | $ 90.29 |
| 66 618 | HANNA | HI710023 | Boot, orange rubber for HI991001 | $ 32.43 |
| 66 618 | HANNA | HI710024 | Boot, blue rubber for HI991001 | $ 32.43 |
| 66 618 | HANNA | HI710031 | Carrying case (rugged) for general use. 340 x 230 x 90 mm (13.4 x 9.1 x 3.5’’) | $ 28.93 |
| 66 618 | HANNA | HI710032 | Paper rolls for bench meters (10 pcs) | $ 14.03 |
| 66 618 | HANNA | HI710033 | 1 pc ink cartridge for bench meters | $ 28.05 |
| 66 618 | HANNA | HI710045 | Kit, HI 9828 Accessory, Power supply cable | $ 14.03 |
| 66 618 | HANNA | HI710046 | Kit, HI 9828 Accessory, Lighter cigarette cable | $ 28.05 |
| 66 618 | HANNA | HI71006/8 | Adapter, 230 VAC/12 VDC, 800 mA | $ 49.09 |
| 66 618 | HANNA | HI7101 | Calibration chamber for RH probes with sintered cap | $ 100.81 |
| 66 618 | HANNA | HI710122 | Protective case tray for HI 8424 housing | $ 94.67 |
| 66 618 | HANNA | HI710123 | Protective case tray for HI 991300 housing | $ 94.67 |
| 66 618 | HANNA | HI710134 | General rugged carrying case for HI 98703 style casing | $ 43.83 |
| 66 618 | HANNA | HI710136 | General rugged carrying case for HI 9125 style casing | $ 53.47 |
| 66 618 | HANNA | HI710139 | General rugged carrying case for HI 93703 style casin | $ 53.47 |
| 66 618 | HANNA | HI710140 | Hard carrying case for HI 9829 | $ 81.52 |
| 66 618 | HANNA | HI7102 | Calibration chamber for RH probes without sintered cap | $ 100.81 |
| 66 618 | HANNA | HI710221-1 | Conductivity and TDS Digital Panel Mount Controller, dual setpoint, on/off and PID controls, analog output, range: EC 0.0 to 199.9 µS/cm; 0 to 1999 µS/cm; 0.00 to 19.99 mS/cm; 0.0 to 199.9 mS/cm, TDS 0.0 to 100.0 ppm; 0 to 1000 ppm; 0.00 to 10.00 ppt; 0.0 to 100.0 ppt, Temperature -10.0 to 100.0°C, 115V | $ 511.04 |
| 66 618 | HANNA | HI710222-1 | Conductivity and TDS Digital Panel Mount Controller, dual setpoint, on/off and PID controls, RS485 output, range: EC 0.0 to 199.9 µS/cm; 0 to 1999 µS/cm; 0.00 to 19.99 mS/cm; 0.0 to 199.9 mS/cm, TDS 0.0 to 100.0 ppm; 0 to 1000 ppm; 0.00 to 10.00 ppt; 0.0 to 100.0 ppt, Temperature -10.0 to 100.0°C, 115V | $ 511.04 |
| 66 618 | HANNA | HI711 | Total chlorine Checker HC® colorimeter: Range 0.00 to 3.50 ppm (mg/L) | $ 42.95 |
| 66 618 | HANNA | HI711-11 | 0.00 and 1.00 ppm standards (Total Cl2) | $ 9.64 |
| 66 618 | HANNA | HI711-25 | Chlorine, total, DPD method, reagents for 25 tests (total Chlorine) | $ 7.89 |
| 66 618 | HANNA | HI7111 | Salt, 15 g LiCl replacement for HI 7111/P | $ 88.53 |
| 66 618 | HANNA | HI7111/P | Salt (LiCl calibration)for HI 7101 and HI 7102 calibration chambers (low RH) (15 g bottle, 6 pcs) | $ 106.94 |
| 66 618 | HANNA | HI7121 | Salt, 33 g NaCl replacement for HI 7121/P | $ 88.53 |
| 66 618 | HANNA | HI7121/P | Salt (NaCl calibration)for HI 7101 and HI 7102 calibration chambers (high RH) (33 g bottle, 6 pcs) | $ 106.94 |
| 66 618 | HANNA | HI713 | Phosphate low range Checker HC® colorimeter: Range 0.00 to 2.50 ppm (mg/L) | $ 42.95 |
| 66 618 | HANNA | HI713-11 | Phosphate LR Checker HC calibration checking set 0.00 and 1.00 ppm (phosphate) | $ 9.64 |
| 66 618 | HANNA | HI713-25 | Phosphate, LR Checker HC, ascorbic acid method, reagents for 25 tests | $ 5.26 |
| 66 618 | HANNA | HI715 | Ammonia Medium Range, Checker (0.00 to 9.99 ppm) | $ 42.95 |
| 66 618 | HANNA | HI715-11 | Ammonia Medium Range, Checker calibration standards | $ 16.65 |
| 66 618 | HANNA | HI715-25 | Ammonia Medium Range, Checker spare reagents | $ 16.65 |
| 66 618 | HANNA | HI716 | Bromine Checker (0.0 to 9.99 ppm) | $ 42.95 |
| 66 618 | HANNA | HI716-11 | Bromine Checker (0.0 to 9.99 ppm) calibration standards | $ 16.65 |
| 66 618 | HANNA | HI716-25 | Bromine Checker (0.0 to 9.99 ppm) spare reagents | $ 7.89 |
| 66 618 | HANNA | HI7164 | Connector, undecal | $ 24.54 |
| 66 618 | HANNA | HI717 | Phosphate HR Checker HC®, 0.0 to 30.0 ppm (mg/L) | $ 42.95 |
| 66 618 | HANNA | HI717-11 | Phosphate HR Checker HC calibration checking set (0.0 and 15.0 ppm phosphate) | $ 9.64 |
| 66 618 | HANNA | HI717-25 | Phosphate HR Checker HC reagents for 40 tests (Phosphate HR) | $ 6.14 |
| 66 618 | HANNA | HI718 | Iodine Checker HC® colorimeter: Range 00.0 to 12.5 ppm (mg/L) | $ 42.95 |
| 66 618 | HANNA | HI718-11 | 0.0 and 1.0 ppm standards (iodine) | $ 9.64 |
| 66 618 | HANNA | HI718-25 | Iodine, DPD method, reagents for 25 tests | $ 5.26 |
| 66 618 | HANNA | HI720029 | Pump spare part, LDPE hose, 3 m (9.9’) | $ 7.89 |
| 66 618 | HANNA | HI720030 | Pump spare part, LDPE hose, 10 m (33’) | $ 15.78 |
| 66 618 | HANNA | HI720031 | Pump spare part, LDPE hose, 50 m (165’) | $ 71.00 |
| 66 618 | HANNA | HI720032 | Pump spare part, LDPE hose, 100 m (333’) | $ 120.97 |
| 66 618 | HANNA | HI720122-1 | Conductivity Process Digital Controller with Inductive Probe, single setpoint, on/off and PID control, single analog output, range: 0 to 2000 mS/cm (auto-ranging) -30 to 130°C / -22 to 266°F, Resolution 1 μS/cm (0 to 1999 μS/cm), 0.01 mS/cm (2.00 to 19.99 mS/cm), 0.1 mS/cm (20.0 to 199.9 mS/cm), 1 mS/cm (200 to 2000 mS/cm), 0.1°C / 0.2°F, 115V | $ 732.82 |
| 66 618 | HANNA | HI720224-1 | Conductivity Process Digital Controller with Inductive Probe, dual setpoint, on/off and PID control, dual analog output, range: 0 to 2000 mS/cm (auto-ranging) -30 to 130°C / -22 to 266°F, Resolution 1 μS/cm (0 to 1999 μS/cm), 0.01 mS/cm (2.00 to 19.99 mS/cm), 0.1 mS/cm (20.0 to 199.9 mS/cm), 1 mS/cm (200 to 2000 mS/cm), 0.1°C / 0.2°F, 115V | $ 771.39 |
| 66 618 | HANNA | HI721 | Iron Checker HC® colorimeter: Range 0.00 to 5.00 ppm (mg/L) | $ 42.95 |
| 66 618 | HANNA | HI721-11 | 0.00 and 1.00 ppm standards (iron) | $ 9.64 |
| 66 618 | HANNA | HI721-25 | Iron, EPA Phenantroline, reagents for 25 tests | $ 5.26 |
| 66 618 | HANNA | HI721003 | Pump spare part, Glass ball with O-ring (10 pcs each) | $ 28.93 |
| 66 618 | HANNA | HI721004 | Pump spare part, Injection valve assembly | $ 28.93 |
| 66 618 | HANNA | HI721005 | Pump spare part, Foot valve assembly | $ 26.30 |
| 66 618 | HANNA | HI721006 | Pump spare part, Spring (4 pcs) | $ 51.72 |
| 66 618 | HANNA | HI721008 | Pump spare part, Ceramic weight (4 pcs) | $ 30.68 |
| 66 618 | HANNA | HI721011 | 6XMAG. RET.SPR./PISTON/PIST.WASH/INS.DISK* | $ 83.27 |
| 66 618 | HANNA | HI721101 | Pump spare part, Pump head, O-ring, screws (6 pcs) and washers (6 pcs) | $ 83.27 |
| 66 618 | HANNA | HI721102 | Pump spare part, Discharge valve assembly | $ 32.43 |
| 66 618 | HANNA | HI721103 | Pump spare part, Suction valve assembly | $ 32.43 |
| 66 618 | HANNA | HI721104 | Pump, small diaphragm | $ 45.58 |
| 66 618 | HANNA | HI721106 | Pump head assembly | $ 95.55 |
| 66 618 | HANNA | HI721107 | Pump Head with small diaphragm + Aluminium piston + disck | $ 95.55 |
| 66 618 | HANNA | HI721301 | Battery, 1.5 V (100 pcs) | $ 148.14 |
| 66 618 | HANNA | HI721317 | Hard Carrying case | $ 90.29 |
| 66 618 | HANNA | HI721319 | Auger for ground penetration | $ 13.15 |
| 66 618 | HANNA | HI723 | Chromium VI High Range Checker HC®, 0 to 999 ppb | $ 42.95 |
| 66 618 | HANNA | HI723-11 | Chromium VI High Range Checker HC calibration checking set (0 and 300 ppb chromium VI) | $ 9.64 |
| 66 618 | HANNA | HI723-25 | Chromium VI High Range Checker HC reagents for 25 tests | $ 7.89 |
| 66 618 | HANNA | HI726 | Nickel HR Checker HC®, 0.00 to 7.00 g/L | $ 42.95 |
| 66 618 | HANNA | HI726-11 | Nickel HR Checker HC calibration checking set (0 and 3.50 Nickel HR) | $ 9.64 |
| 66 618 | HANNA | HI726-25 | Nickel HR Checker HC reagents for 25 tests (Nickel HR) | $ 37.69 |
| 66 618 | HANNA | HI727 | Color of Water Checker HC®, 0 to 500 PCU | $ 42.95 |
| 66 618 | HANNA | HI727-11 | Color of Water Checker HC calibration checking set (0 and 150 PCU) | $ 9.64 |
| 66 618 | HANNA | HI729 | Fluoride LR Checker HC®, 0.00 to 2.00 ppm | $ 42.95 |
| 66 618 | HANNA | HI729-11 | Fluoride LR Checker HC Calibration checking set (0 and 1.00 ppm Fluoride) | $ 9.64 |
| 66 618 | HANNA | HI729-26 | Fluoride LR Checker HC Reagents for 25 tests (Fluoride LR) | $ 7.89 |
| 66 618 | HANNA | HI72911B | pH/°C electrode with double junction, flat tip, titanium body, BNC+Phono plug connector | $ 137.62 |
| 66 618 | HANNA | HI72911D | pH electrode; Use for cooling towers, DIN connector recommended for HI 99141 pH meter | $ 137.62 |
| 66 618 | HANNA | HI731225 | Cap for checker chlorine cuvette HI701 | $ 8.77 |
| 66 618 | HANNA | HI73128P | Tool for electrode removal for new WP testers (10 pcs) | $ 50.84 |
| 66 618 | HANNA | HI731311 | Vial, glass, with cap for HI 93214 (5 pcs) | $ 29.80 |
| 66 618 | HANNA | HI731313 | Maintenance kit: rugged carrying case, HI 93102-0 and HI 93102-20 calibration solutions, HI 93703-50 cuvette cleaning solution, cuvettes (2), and cuvette cleaning cloth | $ 110.45 |
| 66 618 | HANNA | HI731316 | Bar, stir bars for mini titrators and HI 208 (5 pcs) | $ 50.84 |
| 66 618 | HANNA | HI731318 | Cuvette cleaning cloth (4 pcs) | $ 11.40 |
| 66 618 | HANNA | HI731319 | Bar, stir bars for magnetic stirring, for HI 180, HI 190M, HI 190MB and HI 200M stirrers (10 pcs) | $ 50.84 |
| 66 618 | HANNA | HI731320 | Bar, stir bars for magnetic stirring, for the HI 300 stirrer series (10 pcs) | $ 67.50 |
| 66 618 | HANNA | HI731321 | Cuvette (glass) for HI 937xx portable meters and HI 832xx series (4 pcs) | $ 17.53 |
| 66 618 | HANNA | HI731324 | Bar, measuring for level controllers, 0.5 m (1.7') measuring bar (5 pcs) | $ 78.02 |
| 66 618 | HANNA | HI731325 | Cap for cuvette for turbidity meters and HI 937xx series (4 pcs) | $ 9.64 |
| 66 618 | HANNA | HI731325N | Cap for cuvette for HI 832xx series (4 pcs) | $ 7.89 |
| 66 618 | HANNA | HI731325W | Caps for cuvette for HI837 series of photometers (4 pcs) | $ 14.03 |
| 66 618 | HANNA | HI731326 | Screwdriver for calibration, length 90 mm (3.5’’), to perform manual calibration with trimmers (20 pcs) | $ 24.54 |
| 66 618 | HANNA | HI731331 | Cuvette (glass) for HI 95 and 96 series (4 pcs) | $ 17.53 |
| 66 618 | HANNA | HI731331N | Cuvettes for HI98703 turbidity meter (4 pcs) | $ 21.91 |
| 66 618 | HANNA | HI731335 | Caps for larger vials for HI95700 series, 4 pcs | $ 9.64 |
| 66 618 | HANNA | HI731335N | Cap for cuvette for Hi96700 series , 4 pcs | $ 9.64 |
| 66 618 | HANNA | HI731340 | Pipette for automatic dosage, 200 µL graduated pipette | $ 106.07 |
| 66 618 | HANNA | HI731341 | Pipette for automatic dosage, 1000 µL graduated pipette | $ 106.07 |
| 66 618 | HANNA | HI731342 | Pipette for automatic dosage, 2000 µL graduated pipette | $ 106.07 |
| 66 618 | HANNA | HI731350 | Pipette for automatic dosage, Tip for 200 µL graduated pipette (25 pcs) | $ 7.01 |
| 66 618 | HANNA | HI731351 | Pipette for automatic dosage, Tip for 1000 µL graduated pipette (25 pcs) | $ 10.52 |
| 66 618 | HANNA | HI731352 | Pipette for automatic dosage, Tip for 2000 µL graduated pipette (4 pcs) | $ 14.03 |
| 66 618 | HANNA | HI73201 | Electrode (spare) for HI 98201 | $ 60.48 |
| 66 618 | HANNA | HI733 | Ammonia High Range Checker (0.0-99.9 ppm) | $ 42.95 |
| 66 618 | HANNA | HI733-11 | Ammonia High Range Checker (0.0-99.9 ppm) calibration standards | $ 16.65 |
| 66 618 | HANNA | HI733-25 | Ammonia High Range Checker (0.0-99.9 ppm) spare reagents | $ 19.28 |
| 66 618 | HANNA | HI73331 | Spare conductivity probe for HI98331 | $ 45.58 |
| 66 618 | HANNA | HI736 | Phosphorus ultra low range Checker HC® colorimeter: Range 0 to 200 ppb | $ 42.95 |
| 66 618 | HANNA | HI736-11 | 0 and 100 ppb standards (phosphorus) | $ 9.64 |
| 66 618 | HANNA | HI736-25 | Phosphorus, ultra low range, ascorbic acid, reagents for 25 tests | $ 6.14 |
| 66 618 | HANNA | HI739 | Fluoride HR Checker HC®, 0.0 to 20.0 ppm | $ 42.95 |
| 66 618 | HANNA | HI739-11 | Fluoride HR Checker HC calibration checking set (0 and 10.0 ppm Fluoride) | $ 9.64 |
| 66 618 | HANNA | HI739-26 | Fluoride HR Checker HC reagents for 25 tests (Fluoride HR) | $ 19.28 |
| 66 618 | HANNA | HI740026P | Battery, 1.5 V (12 pcs) | $ 15.78 |
| 66 618 | HANNA | HI740027P | Batteries, kit of 1.5V AA batteries (12 pcs) | $ 14.90 |
| 66 618 | HANNA | HI740028P | Batteries, kit of 1.5V AAA batteries (12 pcs) | $ 14.90 |
| 66 618 | HANNA | HI740029P | Batteries for portable non-waterproof instruments, 9 V (10 pcs) | $ 61.36 |
| 66 618 | HANNA | HI740031 | Battery, spare for AMPHEL® electrodes | $ 19.28 |
| 66 618 | HANNA | HI740032P | Beaker cap for 20 mL plastic beaker (10 pcs) | $ 13.15 |
| 66 618 | HANNA | HI740033 | Battery for HI141 series, 3.6V AA Lithium (1 pc) | $ 34.19 |
| 66 618 | HANNA | HI740034P | Beaker cap for 100 mL plastic beaker (10 pcs) | $ 13.15 |
| 66 618 | HANNA | HI740036P | Beaker, plastic 100 mL (10 pcs) | $ 14.03 |
| 66 618 | HANNA | HI740037P | Beaker, plastic 20 mL (10 pcs) | $ 14.03 |
| 66 618 | HANNA | HI740129 | Cover (transparent) for front of BL 7916 and BL 7917 | $ 20.16 |
| 66 618 | HANNA | HI740142P | Syringe, graduated, for accurately reagent dosing for CTK and photometers (1 mL) (10 pcs) | $ 13.15 |
| 66 618 | HANNA | HI740143 | Syringe, graduated, for accurately reagent dosing for CTK and photometers (1 mL) (6 pcs) | $ 10.52 |
| 66 618 | HANNA | HI740144P | Syringe tip for HI 740143 (6 pcs) | $ 13.15 |
| 66 618 | HANNA | HI740145 | Bracket for mounting for HI 8710 housing (2 pcs) | $ 20.16 |
| 66 618 | HANNA | HI740146 | Bracket for mounting for BL 931700 housing (2 pcs) | $ 12.27 |
| 66 618 | HANNA | HI740157P | Pipette for Electrode refilling (20 pcs) | $ 10.52 |
| 66 618 | HANNA | HI740205P | Terminals, Extractable, for Process Instruments, Large, 3 inputs (10 pcs) | $ 53.47 |
| 66 618 | HANNA | HI740211 | Cap (transparent) for DO probes | $ 10.52 |
| 66 618 | HANNA | HI740216 | Rack for test tube cooling (25 holes) | $ 59.61 |
| 66 618 | HANNA | HI740217 | Safety shield for HI 839800 | $ 59.61 |
| 66 618 | HANNA | HI740219 | Adapter, for COD test tube | $ 20.16 |
| 66 618 | HANNA | HI740220 | Test tube (glass) with caps, 25 mL (2 pcs) | $ 13.15 |
| 66 618 | HANNA | HI740224 | Plastic beaker (170 mL,6 pcs) | $ 42.08 |
| 66 618 | HANNA | HI740225 | Syringe, graduated, for accurately reagent dosing for CTK and photometers (60 mL) | $ 13.15 |
| 66 618 | HANNA | HI740226 | Syringe, graduated, for accurately reagent dosing for CTK and photometers 5mL | $ 7.01 |
| 66 618 | HANNA | HI740228 | Kit, HI 83215 and HI 83225 Accessory, Filter (25 pcs) | $ 39.45 |
| 66 618 | HANNA | HI740230 | Kit for Checker HC, HI 83215 and HI 83225 Accessory, Demineralized bottle (230 mL) | $ 17.53 |
| 66 618 | HANNA | HI740231 | 20 mL Glass cylinder with cap, 2 pcs | $ 13.15 |
| 66 618 | HANNA | HI740233 | Replacement paper filter Type 2 | $ 28.93 |
| 66 618 | HANNA | HI740234 | Replacement lamp for EPA turbidimeter | $ 50.84 |
| 66 618 | HANNA | HI740235 | COD adapter for HI 83099 | $ 7.01 |
| 66 618 | HANNA | HI740236 | 5 mL sysringe for mini titrators | $ 8.77 |
| 66 618 | HANNA | HI740318 | Carrying case for portable 96 series photometers | $ 43.83 |
| 66 618 | HANNA | HI746 | Iron Low Range Checker (0-999 ppb) | $ 42.95 |
| 66 618 | HANNA | HI746-11 | Iron Low Range Checker (0-999 ppb) calibration standards | $ 17.53 |
| 66 618 | HANNA | HI746-25 | Iron Low Range Checker (0-999 ppb) spare reagents | $ 13.15 |
| 66 618 | HANNA | HI749 | Chromium Low Range Checker (0-300 ppb) | $ 42.95 |
| 66 618 | HANNA | HI749-11 | Chromium Low Range Checker (0-300 ppb) calibration standards | $ 16.65 |
| 66 618 | HANNA | HI749-25 | Chromium Low Range Checker (0-300 ppb) spare reagents | $ 7.89 |
| 66 618 | HANNA | HI750146 | Holder for HI 146 probe, wall mounting | $ 7.01 |
| 66 618 | HANNA | HI753 | Chloride Checker (0.0 to 20.0 ppm) | $ 42.95 |
| 66 618 | HANNA | HI753-11 | Chloride Checker calibration standards | $ 16.65 |
| 66 618 | HANNA | HI753-25 | Chloride Checker spare reagents (25 tests) | $ 18.41 |
| 66 618 | HANNA | HI755 | Alkalinity Checker HC® colorimeter: Range 0 to 300 ppm (mg/L) | $ 42.95 |
| 66 618 | HANNA | HI755-11 | 0 and 100 ppm standard (alkalinity) | $ 9.64 |
| 66 618 | HANNA | HI755-26 | Alkalinity, colorimetric method, Reagents for 25 tests | $ 5.26 |
| 66 618 | HANNA | HI758 | Marine calcium Checker HC® colorimeter | $ 42.95 |
| 66 618 | HANNA | HI758-11 | Marine calcium Checker HC® colorimeter calibration standards | $ 14.03 |
| 66 618 | HANNA | HI758-26 | Marine calcium Checker HC® colorimeter reagents for 25 tests | $ 18.41 |
| 66 618 | HANNA | HI7609829-0 | Spare pH module for HI76x9829 series of probes | $ 177.94 |
| 66 618 | HANNA | HI7609829-1 | Spare pH/ORP module for HI76x9829 series of probes | $ 254.21 |
| 66 618 | HANNA | HI7609829-10 | Spare Ammonium ISE module for HI76x9829 series of probes | $ 311.18 |
| 66 618 | HANNA | HI7609829-11 | Spare Chloride ISE module for HI76x9829 series of probes | $ 311.18 |
| 66 618 | HANNA | HI7609829-12 | Spare Nitrate ISE module for HI76x9829 series of probes | $ 311.18 |
| 66 618 | HANNA | HI7609829-2 | Spare Dissolved Oxygen module for HI76x9829 series of probes | $ 273.49 |
| 66 618 | HANNA | HI7609829-3 | Spare EC module for HI76x9829 series of probes | $ 254.21 |
| 66 618 | HANNA | HI7609829-4 | Spare EC/Turbidity module for HI76x9829 series of probes | $ 526.82 |
| 66 618 | HANNA | HI7609829/10 | Probe (no protective sleeve, no sensors) for HI9829 and HI98290 - 10m (33') cable | $ 1,183.38 |
| 66 618 | HANNA | HI7609829/20 | Probe (no protective sleeve, no sensors) for HI9829 and HI98290 - 20m (66') cable | $ 920.40 |
| 66 618 | HANNA | HI7609829/4 | Probe (no protective sleeve, no sensors) for HI9829 and HI98290 - 4m (13') cable | $ 1,095.72 |
| 66 618 | HANNA | HI761 | Total Chlorine Checker Ultra Low Range (0 to 500 ppb) | $ 42.95 |
| 66 618 | HANNA | HI761-11 | Total Chlorine Checker Ultra Low Range calibration standards | $ 9.64 |
| 66 618 | HANNA | HI761-25 | Total Chlorine Checker Ultra Low Range spare reagents (25 tests) | $ 6.14 |
| 66 618 | HANNA | HI7610 | Stainless steel Temperature probe, Pt. 100 | $ 182.33 |
| 66 618 | HANNA | HI761285 | Conductivity probe with internal Temperature sensor, DIN connector and 1 m (3.3’) cable | $ 54.35 |
| 66 618 | HANNA | HI7619829/10 | Logging probe (and HI7698296 long protective sleeve, no sensors) for HI9829 and HI98290 - 10m (33') cable | $ 1,490.18 |
| 66 618 | HANNA | HI7619829/4 | Logging probe (and HI7698296 long protective sleeve, no sensors) for HI9829 and HI98290 - 4m (13') cable | $ 1,402.52 |
| 66 618 | HANNA | HI762 | Free Chlorine Checker Ultra Low Range (0 to 500 ppb) | $ 42.95 |
| 66 618 | HANNA | HI762-004F | Calibration check key @ -0.4ºF, (±0.8ºF) | $ 19.28 |
| 66 618 | HANNA | HI762-11 | Free Chlorine Checker Ultra Low Range calibration standards | $ 9.64 |
| 66 618 | HANNA | HI762-18C | Calibration check key @ -18ºC, (±0.4ºC) | $ 19.28 |
| 66 618 | HANNA | HI762-25 | Free Chlorine Checker Ultra Low Range spare reagents (25 tests) | $ 16.65 |
| 66 618 | HANNA | HI762000C | Calibration check key @ 0ºC, (±0.4ºC) | $ 19.28 |
| 66 618 | HANNA | HI762032F | Calibration check key @ 32ºF, (±0.8ºF) | $ 19.28 |
| 66 618 | HANNA | HI762070C | Calibration check key @ 70ºC, (±0.4ºC) | $ 19.28 |
| 66 618 | HANNA | HI762158F | Calibration check key @ 158ºF, (±0.8ºF) | $ 19.28 |
| 66 618 | HANNA | HI7629829/10 | Logging probe (no protective sleeve, no sensors) for HI9829 and HI98290 - 20m (66') cable | $ 1,621.66 |
| 66 618 | HANNA | HI7629829/20 | Logging probe (no protective sleeve, no sensors) for HI9829 and HI98290 - 20m (66') cable | $ 1,796.98 |
| 66 618 | HANNA | HI7629829/4 | Logging probe (no protective sleeve, no sensors) for HI9829 and HI98290 - 20m (66') cable | $ 1,534.01 |
| 66 618 | HANNA | HI762A | Air, gas probe with 3.3' (1m) cable, white handle | $ 76.26 |
| 66 618 | HANNA | HI762BL | General purpose, liquid probe with 3.3' (1m) cable, black handle | $ 56.98 |
| 66 618 | HANNA | HI762L | General purpose, liquid probe with 3.3' (1m) cable, white handle | $ 55.22 |
| 66 618 | HANNA | HI762L/10 | General purpose, liquid probe with 33' (10m) cable, white handle | $ 75.39 |
| 66 618 | HANNA | HI762L/2 | General purpose, liquid probe with 6.6' (2 m) cable, white handle | $ 63.99 |
| 66 618 | HANNA | HI762PBL | General purpose penetration probe with 3.3' (1m) cable, blue handle | $ 55.22 |
| 66 618 | HANNA | HI762PW | General purpose penetration probe with 3.3' (1m) cable, white handle | $ 55.22 |
| 66 618 | HANNA | HI762PWL | Penetration probe with 3.3' (1m) cable, white handle | $ 55.22 |
| 66 618 | HANNA | HI762W | Wire probe with 3.3' (1m) cable with out handle | $ 48.21 |
| 66 618 | HANNA | HI762W/10 | Wire probe with 33' (10m) cable with out handle | $ 63.99 |
| 66 618 | HANNA | HI7630 | EC/TDS probe, amperometric for HI 993301, HI 993302 with 2 m cable | $ 52.59 |
| 66 618 | HANNA | HI76300 | Platinum 4-ring conductivity probe with DIN connector and 1 m (3.3') cable for EC 214 | $ 196.35 |
| 66 618 | HANNA | HI76301D | 4-ring conductivity probe with DIN connector and 1 m (3.3’) cable for HI 8633 | $ 91.16 |
| 66 618 | HANNA | HI76301W | 4-ring conductivity probe with 1 m (3.3’) cable | $ 101.68 |
| 66 618 | HANNA | HI76302/10 | 4-ring conductivity probe with 10 m (3.3’) cable | $ 205.12 |
| 66 618 | HANNA | HI76302W | 4-ring conductivity probe with internal Temperature sensor, DIN connector and 1 m (3.3’) cable | $ 167.43 |
| 66 618 | HANNA | HI76303 | Platinum 4-ring conductivity probe with internal Temperature sensor, DIN connector and 1 m (3.3') cable. | $ 201.61 |
| 66 618 | HANNA | HI76304 | Conductivity probe with internal Temperature sensor, DIN connector and 1 m (3.3’) cable for HI933100 measurement in soil slurry sample | $ 85.90 |
| 66 618 | HANNA | HI76305 | Stainless steel conductivity probe with internal Temperature sensor, DIN connector and 1 m (3.3’) cable for direct soil measurement, for HI933100 | $ 121.84 |
| 66 618 | HANNA | HI76306 | EC/TDS probe with internal Temperature sensor, DIN connector and 1 m (3.3’) cable, for small casing portables | $ 85.03 |
| 66 618 | HANNA | HI76309 | Conductivity/TDS probe for HI9835 with 1 m cable | $ 213.01 |
| 66 618 | HANNA | HI76309/1.5 | 4-ring conductivity probe with internal Temperature sensor, DIN connector and 1.5 m (4.9') cable. | $ 222.65 |
| 66 618 | HANNA | HI7631/2 | EC probe with 2 m cable and 1/2" thread | $ 39.45 |
| 66 618 | HANNA | HI7631/2/5 | EC probe with 5 m cable and 1/2" thread | $ 59.61 |
| 66 618 | HANNA | HI76310 | Platinum, 4-ring conductivity/TDS probe with 1 m (3.3’) cable | $ 268.23 |
| 66 618 | HANNA | HI763100 | digital EC probe for edge | $ 293.65 |
| 66 618 | HANNA | HI76312 | Platinum, 4-ring conductivity/TDS probe with internal Temperature sensor and 1 m (3.3') cable | $ 339.23 |
| 66 618 | HANNA | HI76313 | Platinum, 4-ring conductivity/TDS probe w/ internal Temperature sensor, DIN connector and 4 m (13.1') cable | $ 275.24 |
| 66 618 | HANNA | HI7632 | Conductivity/TDS probe, with 2 m (6.6') cable | $ 39.45 |
| 66 618 | HANNA | HI7632-00 | EC probe for minicontrollers, 2 m cable | $ 39.45 |
| 66 618 | HANNA | HI7632-00/6 | EC probe for minicontrollers, 6m cable | $ 89.41 |
| 66 618 | HANNA | HI76320 | Volumetric Karl Fischer Electrode | $ 287.52 |
| 66 618 | HANNA | HI7632D/1 | Conductivity probe, HR, with internal Temperature sensor, DIN connector and 1 m (3.3’) cable | $ 49.09 |
| 66 618 | HANNA | HI76330 | Detector Electrode for HI904 | $ 306.80 |
| 66 618 | HANNA | HI7633W | ATC EC/TDS probe for HI8733 old model | $ 124.47 |
| 66 618 | HANNA | HI7634 | EC/TDS probe for HI 983301, HI 983303 and HI 983306 | $ 39.45 |
| 66 618 | HANNA | HI7634-00 | TDS probe for minicontrollers, 2 m cable | $ 39.45 |
| 66 618 | HANNA | HI7634-00/4 | TDS probe for minicontrollers, 4 m cable | $ 68.37 |
| 66 618 | HANNA | HI7634-00/5 | TDS probe for minicontrollers, 5 m cable | $ 81.52 |
| 66 618 | HANNA | HI7634D/1 | Conductivity probe, LR, with internal Temperature sensor, DIN connector and 1 m (3.3’) cable | $ 49.09 |
| 66 618 | HANNA | HI7635D | In-line EC probe w/threaded ends & temperature sensor | $ 93.79 |
| 66 618 | HANNA | HI7635W | 4 PIN IN LINE CONDUCTIVITY PROBE FOR HI8931 SERIES (WIRE) | $ 89.41 |
| 66 618 | HANNA | HI7638 | EC/TDS probe with NTC sensor for immersion installation | $ 261.22 |
| 66 618 | HANNA | HI7638/10 | 4-ring EC probe with Pt rings, Temperature NTC sensor for ATC, 10 m cable | $ 291.90 |
| 66 618 | HANNA | HI7638/20 | 4-ring EC probe with Pt rings, Temperature NTC sensor for ATC, 20 m cable | $ 337.48 |
| 66 618 | HANNA | HI7639 | EC/TDS probe with PT100 sensor for immersion installation | $ 253.33 |
| 66 618 | HANNA | HI7639829/10 | Logging probe for pH/pH+ORP/ISE, DO, EC+turbidity, Temperature, with HI 7698296 long protective shield, and 10 m (33’) cable | $ 2,059.95 |
| 66 618 | HANNA | HI7639829/20 | Spare probe fopr the HI9829 series, Logging short cap | $ 2,217.73 |
| 66 618 | HANNA | HI7639829/4 | Logging probe for pH/pH+ORP/ISE, DO, EC+turbidity, Temperature, with HI 7698296 long protective shield, and 4 m (13.1’) cable | $ 1,972.29 |
| 66 618 | HANNA | HI764 | Nitrite ultra low range Checker HC®: Range 0 to 200 ppb | $ 42.95 |
| 66 618 | HANNA | HI764-11 | 0 and 100 ppb standards (nitrite) | $ 9.64 |
| 66 618 | HANNA | HI764-25 | Nitrite, ultra low range, EPA Diazotization, reagents for 25 tests | $ 6.14 |
| 66 618 | HANNA | HI76404 | Electrode holder for pH 209 type bench meters | $ 67.50 |
| 66 618 | HANNA | HI76404B | Electrode Holder for edge | $ 74.51 |
| 66 618 | HANNA | HI76404N | Electrode holder for HI42xx series of bench meters | $ 119.21 |
| 66 618 | HANNA | HI76405 | Electrode holder with steel base | $ 84.15 |
| 66 618 | HANNA | HI76407/10 | Dissolved oxygen probe with 10 m cable for use with HI 9142, HI 9143, HI 9145, HI 9141, HI 91410 | $ 269.98 |
| 66 618 | HANNA | HI76407/10F | DO probe with protective sheath, 10 m cable, for use with HI 9146 | $ 215.64 |
| 66 618 | HANNA | HI76407/2 | Dissolved oxygen probe with 2 m cable for use with HI 2400 | $ 212.13 |
| 66 618 | HANNA | HI76407/20 | Dissolved oxygen probe with 20 m cable for use with HI 9142, HI 9143, HI 9145, HI 9141, HI 91410 | $ 323.46 |
| 66 618 | HANNA | HI76407/20F | DO probe with protective sheath, 20 m cable, for use with HI 9146 | $ 323.46 |
| 66 618 | HANNA | HI76407/4 | Dissolved oxygen probe with 4 m cable for use with HI 9142, HI 9143, HI 9145, HI 9141, HI 91410 | $ 215.64 |
| 66 618 | HANNA | HI76407/4F | DO probe with protective sheath, 4 m cable, for use with HI 9146 | $ 163.04 |
| 66 618 | HANNA | HI76407A/P | Membrane for DO Probes; this kit contains 5 ready-to-use, replacement PTFE membranes. | $ 54.35 |
| 66 618 | HANNA | HI76408 | Dissolved oxygen probe for laboratories, 1 m cable, for use with HI 2400 | $ 346.25 |
| 66 618 | HANNA | HI764080 | digital DO probe for edge | $ 293.65 |
| 66 618 | HANNA | HI764080A/P | Spare membranes (5pcs) for HI764080 | $ 54.35 |
| 66 618 | HANNA | HI76409-0 | Sleeve, protective sleeve for HI 76409, xx Dissolved Oxygen probe series | $ 27.17 |
| 66 618 | HANNA | HI76409/10 | Galvanic Dissolved Oxygen probe with built-in Temperature sensor, 10 m cable for HI 9147 | $ 216.51 |
| 66 618 | HANNA | HI76409/4 | Galvanic Dissolved Oxygen probe with built-in Temperature sensor, 4 m cable for HI 9147 | $ 163.04 |
| 66 618 | HANNA | HI76409A/P | Membrane, 5 pcs | $ 54.35 |
| 66 618 | HANNA | HI76410/10 | Galvanic DO probe for HI8410 process, 10 mt cable | $ 328.72 |
| 66 618 | HANNA | HI76410/4 | Galvanic DO probe for HI8410 process, 4 m cable | $ 276.12 |
| 66 618 | HANNA | HI7642/2 | Conductivity probe for on line application, 10 bars | $ 62.24 |
| 66 618 | HANNA | HI765-004F | Calibration check key @ -0.4ºF, (±0.8ºF) | $ 18.41 |
| 66 618 | HANNA | HI765-18C | Calibration check key @ -18ºC, (±0.4ºC) | $ 18.41 |
| 66 618 | HANNA | HI7650-1005 | Inductive conductivity probe, ABS body, no ATC, 5 m cable | $ 527.70 |
| 66 618 | HANNA | HI7650-1010 | Inductive conductivity probe, ABS body, no ATC, 10 m cable | $ 561.01 |
| 66 618 | HANNA | HI7650-1015 | Inductive conductivity probe, ABS body, no ATC,15 m cable | $ 575.03 |
| 66 618 | HANNA | HI7650-1105 | Inductive conductivity probe, ABS body, Pt100 Temperature sensor, 5 m cable | $ 540.85 |
| 66 618 | HANNA | HI7650-1110 | Inductive conductivity probe, ABS body, Pt100 Temperature sensor, 10 m cable | $ 575.03 |
| 66 618 | HANNA | HI7650-1115 | Inductive conductivity probe, polypropylene body, Pt100 Temperature sensor, 15 m cable | $ 589.06 |
| 66 618 | HANNA | HI765000C | Calibration check key @ 0ºC, (±0.4ºC) | $ 18.41 |
| 66 618 | HANNA | HI765032F | Calibration check key @ 32ºF, (±0.8ºF) | $ 18.41 |
| 66 618 | HANNA | HI765070C | Calibration check key @ 70ºC, (±0.4ºC) | $ 18.41 |
| 66 618 | HANNA | HI765158F | Calibration check key @ 158ºF, (±0.8ºF) | $ 18.41 |
| 66 618 | HANNA | HI765A | Air, gas probe with 3.3' (1m) cable, white handle | $ 76.26 |
| 66 618 | HANNA | HI765A/10 | Air, gas probe with 33' (10m) cable, white handle | $ 91.16 |
| 66 618 | HANNA | HI765BL | General purpose, penetration probe with 3.3' (1m) cable, black handle | $ 55.22 |
| 66 618 | HANNA | HI765BP1 | Thermistor probe without handle to measure the Temperature of stacked goods, 1 m cable | $ 21.91 |
| 66 618 | HANNA | HI765L | General purpose, liquid probe with 3.3' (1m) cable, white handle | $ 55.22 |
| 66 618 | HANNA | HI765PBL | General purpose, penetration probe with 3.3' (1m) cable, blue handle | $ 55.22 |
| 66 618 | HANNA | HI765PW | General purpose, penetration probe with 3.3' (1m) cable, white handle | $ 55.22 |
| 66 618 | HANNA | HI765PW/10 | General purpose, penetration probe with 33' (10m) cable, white handle | $ 75.39 |
| 66 618 | HANNA | HI765PWL | Penetration probe with 3.3' (1m) cable, white handle | $ 55.22 |
| 66 618 | HANNA | HI765W | Wire probe thermistor sensor 3,3' (1m) cable with out handle | $ 48.21 |
| 66 618 | HANNA | HI765W1 | Wire probe thermistor sensor 3,3' (1m) cable with out handle | $ 27.17 |
| 66 618 | HANNA | HI76608 | Replacement Temperature probe for HI8614 | $ 71.00 |
| 66 618 | HANNA | HI7662 | Replacement Temperature probe for portable | $ 59.61 |
| 66 618 | HANNA | HI7662-T | Replacement Temperature probe for color bench | $ 59.61 |
| 66 618 | HANNA | HI7669/2W | Replacement Temperature probe for portable with phono connector | $ 59.61 |
| 66 618 | HANNA | HI7669AW | Replacement Temperature probe for portable with jack connector | $ 62.24 |
| 66 618 | HANNA | HI766A | Roller surface K-type thermocouple probe with flexible stainless. steel tube | $ 74.51 |
| 66 618 | HANNA | HI766B | Surface Temperature K-type thermocouple probe with stainless steel tube | $ 74.51 |
| 66 618 | HANNA | HI766B1 | 90°C angle surface K-type thermocouple probe with stainless steel tube | $ 115.71 |
| 66 618 | HANNA | HI766B2 | Surface Temperature K-type thermocouple probe, with stainless steel tube | $ 63.11 |
| 66 618 | HANNA | HI766B3 | Surface Temperature K-type thermocouple probe, insulated shaft, stain. steel | $ 63.11 |
| 66 618 | HANNA | HI766B4 | Grill surface K-type thermocouple probe with jacketed cable, stainless sensor | $ 147.26 |
| 66 618 | HANNA | HI766C | Penetration K-type thermocouple probe with stainless steel tube | $ 52.59 |
| 66 618 | HANNA | HI766C1 | Ultra-fast penetration, K-type thermocouple probe with stainless steel tube | $ 52.59 |
| 66 618 | HANNA | HI766CL | Penetration K-type thermocouple probe with stainless steel tube, 310 mm long, 5 mm (.19") diameter | $ 59.61 |
| 66 618 | HANNA | HI766D | Air Temperature K-type thermocouple probe with stainless steel tube | $ 66.62 |
| 66 618 | HANNA | HI766E1 | General purpose K-type thermocouple probe with stainless steel tube | $ 52.59 |
| 66 618 | HANNA | HI766E2 | General purpose K-type thermocouple probe with stainless steel tube | $ 52.59 |
| 66 618 | HANNA | HI766EX | Cable (extension) for K-type thermocouple probes, 1 m (3.3’) | $ 28.05 |
| 66 618 | HANNA | HI766F | High Temperature K-type thermocouple wire probe with stainless steel AISI 316 tube with out handle | $ 31.56 |
| 66 618 | HANNA | HI766F1 | Flexible wire Temperature K-type thermocouple probe with out handle | $ 35.94 |
| 66 618 | HANNA | HI766F1/5 | Flexible wire Temperature K-type thermocouple probe with out handle, 3 m cable | $ 56.10 |
| 66 618 | HANNA | HI766HD | Probe handle with PVC, 3.3' (1m) cable with male K-thermocouple connector, 5 m cable | $ 34.19 |
| 66 618 | HANNA | HI766PA | Roller surface K-type thermocouple probe with stainless steel tube | $ 59.61 |
| 66 618 | HANNA | HI766PB | Surface Temperature K-type thermocouple probe with stainless steel tube | $ 58.73 |
| 66 618 | HANNA | HI766PC | Penetration K-type thermocouple probe with stainless steel tube | $ 29.80 |
| 66 618 | HANNA | HI766PD | Air Temperature K-type thermocouple probe with stainless steel tube | $ 43.83 |
| 66 618 | HANNA | HI766PE1 | General purpose K-type thermocouple probe with stainless steel tube | $ 35.06 |
| 66 618 | HANNA | HI766PE2 | General purpose K-type thermocouple probe with stainless steel tube | $ 35.06 |
| 66 618 | HANNA | HI766TR1 | Penetration K-type thermocouple probe with stainless steel tube | $ 60.48 |
| 66 618 | HANNA | HI766TR2 | Penetration K-type thermocouple probe with stainless steel tube | $ 68.37 |
| 66 618 | HANNA | HI766TR3 | Penetration K-type thermocouple probe with stainless steel 1.5 m tube | $ 76.26 |
| 66 618 | HANNA | HI766TR4 | Penetration K-type thermocouple probe with stainless steel 2 m tube | $ 84.15 |
| 66 618 | HANNA | HI766TV1 | Pipe clamp K-type thermocouple Temperature probe with sensor in clamp | $ 48.21 |
| 66 618 | HANNA | HI766Z | Wire Temperature probe for ovens, 1 m cable | $ 58.73 |
| 66 618 | HANNA | HI766Z/3 | Wire Temperature probe for ovens, 3 m cable | $ 79.77 |
| 66 618 | HANNA | HI766Z/7 | Wire Temperature probe for ovens, 7 m cable | $ 125.35 |
| 66 618 | HANNA | HI768A | Air, gas Pt100 4-wire Temperature probe, 1 m cable | $ 113.95 |
| 66 618 | HANNA | HI768L | General purpose, liquid Pt100 4-wire probe, 5 m cable | $ 106.94 |
| 66 618 | HANNA | HI768P | PT100 penetration Temperature probe | $ 106.94 |
| 66 618 | HANNA | HI769828-0 | Spare pH module for HI769828 probe | $ 200.74 |
| 66 618 | HANNA | HI769828-1 | Spare pH, ORP module for HI769828 probe | $ 277.87 |
| 66 618 | HANNA | HI769828-2 | Spare DO module for HI769828 probe | $ 156.03 |
| 66 618 | HANNA | HI769828-3 | Spare EC module for HI769828 probe | $ 277.87 |
| 66 618 | HANNA | HI769828/10 | Spare DO/EC/°C probe for HI9828 with 10 m cable | $ 1,129.90 |
| 66 618 | HANNA | HI769828/100 | Spare DO/EC/°C probe for HI9828 with 100 m cable | $ 2,011.74 |
| 66 618 | HANNA | HI769828/20 | Spare DO/EC/°C probe for HI9828 with 20 m cable | $ 1,228.08 |
| 66 618 | HANNA | HI769828/4 | Spare DO/EC/°C probe for HI9828 with 4 m cable | $ 1,031.73 |
| 66 618 | HANNA | HI7698281 | Cable, USB PC connection for HI 9828 | $ 84.15 |
| 66 618 | HANNA | HI7698282 | Kit, HI 9828 Accessory, Maintenance probe kit | $ 134.12 |
| 66 618 | HANNA | HI7698283 | HI 9828 Calibration beaker | $ 94.67 |
| 66 618 | HANNA | HI7698284 | HI 9828 Flow cell | $ 99.05 |
| 66 618 | HANNA | HI7698290 | Short calibration beaker | $ 239.30 |
| 66 618 | HANNA | HI7698291 | USB cable, PC to meter | $ 47.34 |
| 66 618 | HANNA | HI76982910 | USB cable, PC to probe | $ 81.52 |
| 66 618 | HANNA | HI7698292 | Probe maintenance kit consisting of HI 7042S (electrolyte solution for DO sensor), O-rings for DO sensor (5), small brush, O-rings for probe (5), and syringe with grease to lubricate the O-rings. | $ 134.12 |
| 66 618 | HANNA | HI7698293 | Long calibration beaker | $ 131.49 |
| 66 618 | HANNA | HI7698294 | Short flow cell | $ 177.94 |
| 66 618 | HANNA | HI7698295 | Short protective shield | $ 81.52 |
| 66 618 | HANNA | HI7698296 | Long protective shield | $ 110.45 |
| 66 618 | HANNA | HI7698297 | Long, quick release flow cell | $ 283.13 |
| 66 618 | HANNA | HI770 | Silica HR Checker HC®, 0 to 200 ppm | $ 42.95 |
| 66 618 | HANNA | HI770-11 | Silica HR Checker HC calibration checking set (0 and 100 ppm) | $ 9.64 |
| 66 618 | HANNA | HI770-25 | Silica HR Checker HC reagents for 25 tests (Silica HR) | $ 32.43 |
| 66 618 | HANNA | HI770710C | 10.01 & 7.01 pH Value @25°C, (10) sachets, 5 each with Certificate of Analysis | $ 13.15 |
| 66 618 | HANNA | HI770710P | 10.01 & 7.01 pH Value @25°C, (10) sachets, 5 each | $ 12.27 |
| 66 618 | HANNA | HI771 | Chlorine Checker, Ultra High Range (0-500 ppm) | $ 42.95 |
| 66 618 | HANNA | HI771-11 | Chlorine UHR calibration standards | $ 16.65 |
| 66 618 | HANNA | HI771-25 | Chlorine UHR Checker HC reagents for 25 tests | $ 9.64 |
| 66 618 | HANNA | HI77100C | 1413 µS/cm and pH 7.01 EC value @25°C, (20) 20 mL sachets (10 each) with certificate of analysis | $ 28.93 |
| 66 618 | HANNA | HI77100P | 1413 µS/cm and pH 7.01 EC value @25°C, (20) 20 mL sachets (10 each) | $ 23.67 |
| 66 618 | HANNA | HI77200P | 1500 mg/L (ppm) & pH 7.01 TDS value @25°C, (20) 20 mL sachets (10 each) | $ 25.42 |
| 66 618 | HANNA | HI77400C | 4.01 & 7.01 pH Value @25°C, (10) 20 mL sachets (5 each) with Certificate of Analysis | $ 13.15 |
| 66 618 | HANNA | HI77400P | 4.01 & 7.01 pH Value @25°C, (10) 20 mL sachets (5each) | $ 12.27 |
| 66 618 | HANNA | HI775 | Alkalinity Checker for drinking water | $ 42.95 |
| 66 618 | HANNA | HI775-11 | Calibration standards for Alkalinity checker | $ 16.65 |
| 66 618 | HANNA | HI775-26 | Alkalinity Reagents 25 Tests for HI775 | $ 16.65 |
| 66 618 | HANNA | HI77700P | 7.01 pH Value @25°C, (10) sachets, 5 each | $ 12.27 |
| 66 618 | HANNA | HI7855/1 | Connection cable with screw and BNC connectors, 1 m (3.3’) | $ 24.54 |
| 66 618 | HANNA | HI7855/10 | Connection cable with screw and BNC connectors, 10 m (33’) | $ 72.76 |
| 66 618 | HANNA | HI7855/3 | Connection cable with screw and BNC connectors, 3 m (9.9’) | $ 31.56 |
| 66 618 | HANNA | HI7855/5 | Connection cable with screw and BNC connectors, 5 m (16.5’) | $ 40.32 |
| 66 618 | HANNA | HI7858/1 | Connection cable with BNC and BNC connectors, 1 m 3.3’) | $ 21.91 |
| 66 618 | HANNA | HI7858/10 | Connection cable with BNC and BNC connectors, 10 m (33’) | $ 70.13 |
| 66 618 | HANNA | HI7858/5 | Connection cable with BNC and BNC connectors, 5 m (16.5’) | $ 37.69 |
| 66 618 | HANNA | HI787 | Salt Water Ammonia Checker (0.00 to 3.00 ppm) | $ 42.95 |
| 66 618 | HANNA | HI787-11 | Salt Water Ammonia Checker calibration standards | $ 16.65 |
| 66 618 | HANNA | HI787-25 | Salt Water Ammonia Checker spare reagents (25 tests) | $ 16.65 |
| 66 618 | HANNA | HI7871/115 | Mini Level Controller, control relay: high and low, 110, 115V | $ 91.16 |
| 66 618 | HANNA | HI7871/220 | Mini Level Controller, control relay: high and low, 220, 240V | $ 91.16 |
| 66 618 | HANNA | HI7873/115 | Mini Level Controller, control relay: high, low and overflow, 110, 115V | $ 101.68 |
| 66 618 | HANNA | HI7873/220 | Mini Level Controller, control relay: high, low and overflow, 220, 240V | $ 101.68 |
| 66 618 | HANNA | HI7874 | Holder for level controller bars, bar holder and level transmitter | $ 94.67 |
| 66 618 | HANNA | HI8001-0100U | Fertigation controller with priority for pH and EC, panel mount, 8 sectors, English, 115V. | $ 1,288.56 |
| 66 618 | HANNA | HI8001-0400U | Fertigation controller with priority for pH and EC, panel mount, 32 sectors, English, 115V. | $ 2,170.40 |
| 66 618 | HANNA | HI800104 | Windows compatible PC application | $ 113.95 |
| 66 618 | HANNA | HI8002-0100U | Fertigation controller with priority for pH and EC, wall mount, 8 sectors, English, 115V. | $ 1,434.08 |
| 66 618 | HANNA | HI8004L | pH 4.01 buffer at 25°C0.46 L FDA approved bottle | $ 19.28 |
| 66 618 | HANNA | HI8004L/C | 4.01 pH Value @25°C, 500 mL FDA bottle with Certificate of Analysis | $ 23.67 |
| 66 618 | HANNA | HI8006L | 6.86 pH Value @25°C, 500 mL FDA bottle | $ 17.53 |
| 66 618 | HANNA | HI8006L/C | 6.86 pH Value @25°C, 500 mL FDA bottle with Certificate of Analysis | $ 23.67 |
| 66 618 | HANNA | HI8007L | 7.01 pH Value @25°C, 500 mL FDA bottle | $ 17.53 |
| 66 618 | HANNA | HI8007L/C | 7.01 pH Value @25°C, 500 mL FDA bottle with Certificate of Analysis | $ 23.67 |
| 66 618 | HANNA | HI8009L | 9.18 pH (@25°C) Standard Calibration Solution,500 mL FDA bottle | $ 17.53 |
| 66 618 | HANNA | HI8009L/C | 9.18 pH (@25°C) Standard Calibration Solution, 500 mL FDA bottle with Certificate of Analysis | $ 23.67 |
| 66 618 | HANNA | HI8010 | Educational pH meter, MTC, range: pH 0.00 to 14.00 pH | $ 156.91 |
| 66 618 | HANNA | HI8010L | 10.01 pH (@25°C) Standard Calibration Solution, 500 mL FDA bottle | $ 17.53 |
| 66 618 | HANNA | HI8010L/C | 10.01 pH (@25°C) Standard Calibration Solution, 500 mL FDA bottle with Certificate of Analysis | $ 23.67 |
| 66 618 | HANNA | HI8014 | Educational pH/ORP meter, MTC, range: pH 0.00 to 14.00 pH, mV -1999 to +1999 mV | $ 193.72 |
| 66 618 | HANNA | HI80300L | Electrode storage solution, 500 mL FDA bottle | $ 17.53 |
| 66 618 | HANNA | HI80300M | Electrode storage solution, 250 mL FDA bottle | $ 14.90 |
| 66 618 | HANNA | HI8030L | 12880 µS/cm EC value @25°C, 500 mL FDA bottle | $ 17.53 |
| 66 618 | HANNA | HI8031L | 1413 µS/cm EC value @25°C, 500 mL FDA bottle | $ 17.53 |
| 66 618 | HANNA | HI8033 | µS/mS/TDS meter, Range: EC 0.0 to 199.9 μS/cm; 0 to 1999 μS/cm; 0.00 to 19.99 mS/cm TDS 0 to 19990 ppm | $ 307.68 |
| 66 618 | HANNA | HI8033L | 84 µS/cm EC value @25°C, 500 mL FDA bottle | $ 17.53 |
| 66 618 | HANNA | HI8034L | 80000 µS/cm EC value @25°C, 500 mL FDA bottle | $ 17.53 |
| 66 618 | HANNA | HI8035L | 111800 µS/cm EC value @25°C, 500 mL FDA bottle | $ 17.53 |
| 66 618 | HANNA | HI8039L | 5000 µS/cm EC value @25°C, 500 mL FDA bottle | $ 17.53 |
| 66 618 | HANNA | HI8061L | Cleaning Solution for General Purpose, 500 mL FDA bottle | $ 21.91 |
| 66 618 | HANNA | HI8071 | Electrolyte Solution, 3.5M KCl + AgCl, (4) 30 mL FDA bottle | $ 53.47 |
| 66 618 | HANNA | HI8073L | Cleaning Solution for Proteins, 500 mL FDA bottle | $ 21.91 |
| 66 618 | HANNA | HI8077L | Cleaning Solution for Oil and Fats, 500 mL FDA bottle | $ 21.91 |
| 66 618 | HANNA | HI8080L | Standard Solution at 2.3 g/L Na+, 500 mL FDA bottle | $ 21.91 |
| 66 618 | HANNA | HI8082 | Electrolyte Solution, 3.5M KCl, (4) 30 mL FDA bottle | $ 53.47 |
| 66 618 | HANNA | HI8086L | Standard Solution at 23 g/L Na+, 500 mL FDA bottle | $ 21.91 |
| 66 618 | HANNA | HI8087L | Standard Solution at 0.23 g/L Na+, 500 mL FDA bottle | $ 21.91 |
| 66 618 | HANNA | HI8088L | Standard Solution at 5.84 g/L NaCl, 500 mL FDA bottle | $ 21.91 |
| 66 618 | HANNA | HI8093 | Electrolyte Solution, 1M KCl + AgCl, (4) 30 mL FDA bottle | $ 53.47 |
| 66 618 | HANNA | HI8299505 | AMPHEL® pH electrode with replaceable battery, for high Temperatures | $ 150.77 |
| 66 618 | HANNA | HI83099-01 | COD and multiparameter bench meter; Range: Aluminum 0.00 - 1.00 mg/L, Ammonia LR 0.00 - 3.00 mg/L, Ammonia MR 0.00 - 9.99 mg/L, Bromine 0.00 - 8.00 mg/L, Chlorine, free 0.00 - 2.50 mg/L, Chlorine, total 0.00 - 3.50 mg/L, Chlorine dioxide 0.00 - 2.00 mg/L, Chromium VI LR 0 - 300µg/L, Chromium VI HR 0 - 1000 µg/L, COD LR 0 - 150 mg/L, COD MR 0 - 1500 mg/L 0 - 1000 mg/L, COD HR 0 - 15000 mg/L, Color 0 - 500 PCU, Copper LR 0 - 990µg/L, Copper HR 0.00 - 5.00 mg/L, Cyanide 0.000 - 0.200 mg/L, Cyanuric acid 0 - 80 mg/L, Fluoride 0.00 - 2.00 mg/L, Hardness (Calcium) 0.00 - 2.70 mg/L, Hardness (Magnesium) 0.00 - 2.00 mg/L, Hydrazine 0 - 400µg/L, Iodine 0.0 - 12.5 mg/L, Iron LR 0 - 400 µg/L, Iron HR 0.00 - 5.00 mg/L, Manganese HR 0.0 - 20.0 mg/L, Manganese LR 0 - 300 µg/L, Molybdenum 0.0 - 40.0 mg/L, Nickel HR 0.00 - 7.00 g/L, Nitrate 0.0 - 30.0 mg/L, Nitrite LR 0.00 - 0.35 mg/L, Nitrite HR 0 - 150 mg/L, DO 0.0 - 10.0 mg/L, pH 6.5 - 8.5 pH, Phosphate LR 0.00 - 2.50 mg/L, Phosphate HR 0.0 - 30.0 mg/L, Phosphorus 0.0 - 15.0 mg/L, Silica 0.00 - 2.00 mg/L, Silver 0.000 - 1.000 mg/L, Zinc 0.00 - 3.00 mg/L 115V | $ 972.12 |
| 66 618 | HANNA | HI8314 | Analog pH/mV/°C meter with HI 1217D electrode, range: pH 0.00 to 14.00 pH, mV ±1999 mV, Temperature 0.0 to 100.0°C | $ 209.50 |
| 66 618 | HANNA | HI83141 | Analog pH/mV/°C meter with HI 1230B electrode, range: pH 0.00 to 14.00 pH, mV ±1999 mV, Temperature 0.0 to 100.0°C | $ 209.50 |
| 66 618 | HANNA | HI83200-01 | Multiparameter photometer for laboratories; Aluminum 0.00 to 1.00 mg/L, Alkalinity 0 to 500 mg/L, Ammonia MR 0.00 to 10.00 mg/L, Ammonia LR 0.00 to 3.00 mg/L, Bromine 0.00 to 8.00 mg/L, Calcium 0 to 400 mg/L, Chlorine Dioxide 0.00 to 2.00 mg/L, Chlorine*, Free 0.00 to 2.50 mg/, Chlorine*, Total 0.00 to 3.50 mg/L, Chromium VI HR 0 to 1000 μg/L, Chromium VI LR 0 to 300 μg/L, Color 0 to 500 PCU, Copper HR 0.00 to 5.00 mg/L, Copper LR 0 to 1000 μg/L, Cyanide 0.000 to 0.200 mg/L, Cyanuric Acid 0 to 80 mg/L, Fluoride 0.00 to 2.00 mg/L, Hardness (calcium) 0.00 to 2.70 mg/L, Hardness (magnesium) 0.00 to 2.00 mg/L, Hydrazine 0 to 400 μg/L, Iodine 0.0 to 12.5 mg/L, Iron HR 0.00 to 5.00 mg/L, Iron LR 0 to 400 μg/L, Magnesium 0 to 150 mg/L, Manganese HR 0.0 to 20.0 mg/L, Manganese LR 0 to 300 μg/L, Molybdenum 0.0 to 40.0 mg/L, Nickel HR 0.00 to 7.00 g/L, Nickel LR 0.000 mg/L to 1.000 mg/L, Nitrate 0.0 to 30.0 mg/L, Nitrite HR 0 to 150 mg/L, Nitrite LR 0.00 to 0.35 mg/L, Oxygen, Dissolved (DO) 0.0 to 10.0 mg/L, Ozone 0.00 to 2.00 mg/L, pH 6.5 to 8.5 pH, Phosphate HR 0.0 to 30.0 mg/L, Phosphate LR 0.00 to 2.50 mg/L, Phosphorus 0.0 to 15.0 mg/L, Potassium HR 20 to 200 mg/L, Potassium MR 10 to 100 mg/L, Potassium LR 0.0 to 20.0 mg/L, Silica 0.00 to 2.00 mg/L, Silver 0.000 to 1.000 mg/L, Sulfate 0 to 150 mg/L, Zinc 0.00 to 3.00 mg/L; 115V | $ 785.41 |
| 66 618 | HANNA | HI83203-01 | Multiparameter photometer for aquaculture; Range: Ammonia MR 0.00-10.00 mg/L, Ammonia LR 0.00-3.00 mg/L, Chlorine*, Free 0.00-2.50 mg/, Chlorine*, Total 0.00-3.50 mg/L, Copper HR 0.00 - 5.00 mg/L, Copper LR 0 - 1000 μg/L, Nitrate 0.0 - 30.0 mg/L, Nitrite HR 0 - 150 mg/L, Nitrite LR 0.00 - 0.35 mg/L, Oxygen, Dissolved (DO) 0.0 - 10.0 mg/L, pH 6.5 - 8.5 pH, Phosphate HR 0.0 - 30.0 mg/L, Phosphate LR 0.00 - 2.50 mg/L; 115V | $ 421.63 |
| 66 618 | HANNA | HI83205-01 | Multiparameter photometer for boilers and cooling towers; Ranges: Aluminum 0.00 to 1.00 mg/L, Ammonia MR 0.00 to 10.00 mg/L, Ammonia LR 0.00 to 3.00 mg/L, Bromine 0.00 to 8.00 mg/L, Chlorine Dioxide 0.00 to 2.00 mg/L, Chlorine*, Free 0.00 to 2.50 mg/, Chlorine*, Total 0.00 to 3.50 mg/L, Chromium VI HR 0 to 1000 μg/L, Chromium VI LR 0 to 300 μg/L, Copper HR 0.00 to 5.00 mg/L, Copper LR 0 to 1000 μg/L, Hydrazine 0 to 400 μg/L, Iron HR 0.00 to 5.00 mg/L, Iron LR 0 to 400 μg/L, Molybdenum 0.0 to 40.0 mg/L, Nitrate 0.0 to 30.0 mg/L, Nitrite HR 0 to 150 mg/L, Nitrite LR 0.00 to 0.35 mg/L, Oxygen, Dissolved (DO) 0.0 to 10.0 mg/L, pH 6.5 to 8.5 pH, Phosphate HR 0.0 to 30.0 mg/L, Phosphate LR 0.00 to 2.50 mg/L, Silica 0.00 to 2.00 mg/L, Zinc 0.00 to 3.00 mg/L; 115V | $ 421.63 |
| 66 618 | HANNA | HI83206-01 | Multiparameter photometer for environmental testing; Ranges: Ammonia MR 0.00 to 10.00 mg/L, Ammonia LR 0.00 to 3.00 mg/L, Chlorine*, Free 0.00 to 2.50 mg/, Chlorine*, Total 0.00 to 3.50 mg/L, Chromium VI HR 0 to 1000 μg/L, Chromium VI LR 0 to 300 μg/L, Color 0 to 500 PCU, Copper HR 0.00 to 5.00 mg/L, Copper LR 0 to 1000 μg/L, Cyanuric Acid 0 to 80 mg/L, Molybdenum 0.0 to 40.0 mg/L, Nickel HR 0.00 to 7.00 g/L, Nickel LR 0.000 mg/L to 1.000 mg/L, Nitrate 0.0 to 30.0 mg/L, Nitrite HR 0 to 150 mg/L, Nitrite LR 0.00 to 0.35 mg/L, Oxygen, Dissolved (DO) 0.0 to 10.0 mg/L, pH 6.5 to 8.5 pH, Phosphate HR 0.0 to 30.0 mg/L, Phosphate LR 0.00 to 2.50 mg/L, Phosphorus 0.0 to 15.0 mg/L, Silica 0.00 to 2.00 mg/L, Silver 0.000 to 1.000 mg/L, Zinc 0.00 to 3.00 mg/L; 115V | $ 421.63 |
| 66 618 | HANNA | HI83208-01 | Multiparameter photometer for water conditioning; Ranges: Ammonia MR 0.00 to 10.00 mg/L, Ammonia LR 0.00 to 3.00 mg/L, Chlorine*, Free 0.00 to 2.50 mg/L, Chlorine*, Total 0.00 to 3.50 mg/L, Copper HR 0.00 to 5.00 mg/L, Copper LR 0 to 1000 μg/L, Fluoride 0.00 to 2.00 mg/L, Iron HR 0.00 to 5.00 mg/L, Iron LR 0 to 400 μg/L, Manganese HR 0.0 to 20.0 mg/L, Manganese LR 0 to 300 μg/L, Molybdenum 0.0 to 40.0 mg/L, Nickel HR 0.00 to 7.00 g/L, Nickel LR 0.000 mg/L to 1.000 mg/L, Nitrate 0.0 to 30.0 mg/L, Oxygen, Dissolved (DO) 0.0 to 10.0 mg/L, pH 6.5 to 8.5 pH, Phosphate HR 0.0 to 30.0 mg/L, Phosphate LR 0.00 to 2.50 mg/L, Phosphorus 0.0 to 15.0 mg/L, Silica 0.00 to 2.00 mg/L, Silver 0.000 to 1.000 mg/L, Zinc 0.00 to 3.00 mg/L; 115V | $ 421.63 |
| 66 618 | HANNA | HI83209-01 | Multiparameter photometer for education; Ranges: Ammonia MR 0.00 to 10.00 mg/L, Ammonia LR 0.00 to 3.00 mg/L, Chlorine*, Free 0.00 to 2.50 mg/, Chlorine*, Total 0.00 to 3.50 mg/L, Chromium VI HR 0 to 1000 μg/L, Chromium VI LR 0 to 300 μg/L, Color 0 to 500 PCU, Copper HR 0.00 to 5.00 mg/L, Copper LR 0 to 1000 μg/L, Nitrate 0.0 to 30.0 mg/L, Nitrite HR 0 to 150 mg/L, Nitrite LR 0.00 to 0.35 mg/L, Oxygen, Dissolved (DO) 0.0 to 10.0 mg/L, pH 6.5 to 8.5 pH, Phosphorus 0.0 to 15.0 mg/L, Phosphate HR 0.0 to 30.0 mg/L, Silica 0.00 to 2.00 mg/L, Silver 0.000 to 1.000 mg/L, Zinc 0.00 to 3.00 mg/L; 115V | $ 421.63 |
| 66 618 | HANNA | HI83213-01 | Multiparameter photometer for municipal wastewater monitoring; Ranges: Aluminum 0.00 to 1.00 mg/L, Ammonia MR 0.00 to 10.00 mg/L, Ammonia LR 0.00 to 3.00 mg/L, Bromine 0.00 to 8.00 mg/L, Chlorine*, Free 0.00 to 2.50 mg/L, Chlorine*, Total 0.00 to 3.50 mg/L, Chromium VI HR 0 to 1000 μg/L, Chromium VI LR 0 to 300 μg/L, Color 0 to 500 PCU, Copper HR 0.00 to 5.00 mg/L, Copper LR 0 to 1000 μg/L, Iodine 0.0 to 12.5 mg/L, Nickel HR 0.00 to 7.00 g/L, Nickel LR 0.000 mg/L to 1.000 mg/L, Nitrate 0.0 to 30.0 mg/L, Nitrite HR 0 to 150 mg/L, Nitrite LR 0.00 to 0.35 mg/L, Oxygen, Dissolved (DO) 0.0 to 10.0 mg/L, pH 6.5 to 8.5 pH, Phosphate HR 0.0 to 30.0 mg/L, Phosphate LR 0.00 to 2.50 mg/L, Phosphorus 0.0 to 15.0 mg/L, Silver 0.000 to 1.000 mg/L, Zinc 0.00 to 3.00 mg/L; 115V | $ 674.09 |
| 66 618 | HANNA | HI83214-01 | COD/multiparameter photometer for wastewater analysis; Range: Ammonia, LR 0.00-3.00 mg/L, Ammonia, HR 0-100 mg/L, Chlorine, free 0.00-5.00 mg/L, Chlorine, total 0.00-5.00 mg/L, Nitrate 0.0-30.0 mg/L, Nitrogen, total 0.0-25.0 mg/L, Nitrogen, total HR 10-150 mg/L, COD LR, EPA 0-150 mg/L, COD MR, EPA 0-1500 mg/L, COD HR 0-15000 mg/L, COD LR,Mercury-free 0-150 mg/L, COD MR, Mercury-free 0-1500 mg/L, COD LR, ISO 0-150 mg/L, COD MR, ISO 0-1000 mg/L, Phosphorus, reactive 0.00-5.00 mg/L, Phosphorus acid hydrolyzable 0.00-5.00 mg/L, Phosphorus, total 0.00-3.50 mg/L, Phosphorus, reactive HR 0.0-100.0 mg/L, Phosphorus, total HR 0.0-100.0 mg/L 115V | $ 785.41 |
| 66 618 | HANNA | HI83215-01 | Nutrient analysis photometer for greenhouses and hydroponics; Ranges: Ammonia HR 0.00 to 100 mg/L, Ammonia MR 0.00 to 50.00 mg/L, Ammonia LR 0.00 to 10.00 mg/L, Nitrate HR 0 to 300 mg/L, Nitrite MR 0 to 150 mg/L, Nitrite LR 0.00 to 30.0 mg/L, Phosphorus LR 0.0 to 10.0 mg/L, Phosphorus MR 0.0 to 50.0 mg/L, Phosphorus HR 0 to 100 mg/L, Potassium LR 0.0 to 20.0 mg/L, Potassium MR 10 to 100 mg/L, Potassium HR 20 to 200 mg/L; 115V | $ 460.20 |
| 66 618 | HANNA | HI83216-01 | Multiparameter photometer for pools and spas; Ranges: Alkalinity 0 to 500 mg/L, Chlorine*, Free 0.00 to 5.00 mg/L, Chlorine*, Total 0.00 to 5.00 mg/L, Cyanuric Acid 0 to 200 mg/L, Hardness (calcium) 0 to 500 mg/L, pH 6.5 to 8.5 pH; 115V | $ 421.63 |
| 66 618 | HANNA | HI83224-01 | COD/multiparameter photometer w/bar code recognition of sample vials; Range: Ammonia LR 0.00 to 3.00 mg/L (as NH3 -N), Ammonia HR 0 to 100 mg/L (as NH3 -N), Chlorine, free 0.00 to 5.00 mg/L , Chlorine, total 0.00 to 5.00 mg/L, Chemical Oxygen Demand LR 0 to 150 mg/L (as COD), Chemical Oxygen Demand MR 0 to 1500 mg/L (as COD), Chemical Oxygen Demand HR 0 to 15000 mg/L (as COD),Nitrate 0.0 to 30.0 mg/L (as NO3-N), Nitrogen, Total LR 0.0 to 25.0 mg/L (as N), Nitrogen, Total HR 10 to 150 mg/L (as N), Phosphorus, Acid Hydrolyzable 0.00 to 1.60 mg/L (as P), Phosphorus, Reactive 0.00 to 1.60 mg/L (as P), Phosphorus, Reactive HR 0.0 to 32.6 mg/L (as P), Phosphorus, Total 0.00 to 1.15 mg/L (as P), Phosphorus, Total HR 0.0 to 32.6 mg/L (as P), 115V (NOT for sale in USA and Germany) | $ 1,358.69 |
| 66 618 | HANNA | HI83225-01 | Nutrient analysis photometer for greenhouses and hydroponics; Ranges: Ammonia HR 0.00 to 100 mg/L, Ammonia MR 0.00 to 50.00 mg/L, Ammonia LR 0.00 to 10.00 mg/L, Nitrate HR 0 to 300 mg/L, Nitrite MR 0 to 150 mg/L, Nitrite LR 0.00 to 30.0 mg/L, Phosphorus LR 0.0 to 10.0 mg/L, Phosphorus MR 0.0 to 50.0 mg/L, Phosphorus HR 0 to 100 mg/L, Potassium LR 0.0 to 20.0 mg/L, Potassium MR 10 to 100 mg/L, Potassium HR 20 to 200 mg/L, Calcium 0 to 400 mg/L, Magnesium 0 to 150 mg/L, Sulfate 0 to 150 mg/L; 115V | $ 496.14 |
| 66 618 | HANNA | HI83226-01 | Multiparameter photometer for pools and spas; Ranges: Alkalinity 0 to 500 mg/L, Bromine 0.00 to 10.00 mg/L, Chlorine*, Free 0.00 to 5.00 mg/L, Chlorine*, Total 0.00 to 5.00 mg/L, Copper, Free 0.00 to 5.00 mg/L, Copper, Total 0.00 to 5.00 mg/L, Cyanuric Acid 0 to 200 mg/L, Hardness (calcium) 0 to 500 mg/L, Iron 0.00 to 5.00 mg/L, Ozone 0.00 to 2.00 mg/L, pH 6.5 to 8.5 pH;115V | $ 442.67 |
| 66 618 | HANNA | HI83414-01 | Precision turbidity and free/total chlorine meter with 4 measuring ranges; Range: 0.00 to 4000 NTU, 0.0 to 26800 Nephelos 0.00 to 980 EBC, Free Cl2: 0.00 to 5.00 mg/L Total Cl2: 0.00 to 5.00 mg/L; 115V | $ 1,448.98 |
| 66 618 | HANNA | HI83540-50 | Standard solution, 500 mL (3) | $ 28.93 |
| 66 618 | HANNA | HI83540-51 | Electrode cleaning solution, 230 mL | $ 28.93 |
| 66 618 | HANNA | HI83540-55 | Calibration solution, 230 mL | $ 28.93 |
| 66 618 | HANNA | HI83730-01 | Photometer for Peroxide Value in Olive Oil, 115V | $ 569.77 |
| 66 618 | HANNA | HI83730-20 | Peroxide in olive oil spare reagents set (20 tests) | $ 36.82 |
| 66 618 | HANNA | HI83740-20 | Copper reagent | $ 51.72 |
| 66 618 | HANNA | HI83741-20 | Iron reagent | $ 41.20 |
| 66 618 | HANNA | HI83742-20 | Total Phenols and color reagents | $ 46.46 |
| 66 618 | HANNA | HI83742-25 | Wine solvent | $ 36.82 |
| 66 618 | HANNA | HI83742-27 | Wine solvent No. 3 | $ 36.82 |
| 66 618 | HANNA | HI83742B-0 | Total phenols in wine reagent B for 20 tests (10ml) | $ 62.24 |
| 66 618 | HANNA | HI83746-01 | Photometer for residual sugar measurement in wine, Range 0.00 to 50.00 mg/L 115V | $ 556.62 |
| 66 618 | HANNA | HI83746-02 | Photometer for residual sugar measurement in wine, Range 0.00 to 50.00 mg/L 230V | $ 556.62 |
| 66 618 | HANNA | HI83746-20 | Reagents for reducing sugar analysis | $ 36.82 |
| 66 618 | HANNA | HI83748-01 | Photometer for the determination of Tartaric Acid in wine; Range 0.0 to 5.0 g/L 115V | $ 407.61 |
| 66 618 | HANNA | HI83748-20 | Tartaric acid reagents | $ 42.08 |
| 66 618 | HANNA | HI83749-01 | Photometer for monitoring turbidity and Bentonite in wine, Range 0.00 to 9.99 NTU; 10.0 to 99.9 NTU; 100 to 1200 NTU 115V | $ 767.00 |
| 66 618 | HANNA | HI83749-11 | Calibration turbidity kit | $ 113.95 |
| 66 618 | HANNA | HI83749-20 | Bentocheck solution | $ 19.28 |
| 66 618 | HANNA | HI83900-00 | Cleaning solution starter kit (120 mL) | $ 21.91 |
| 66 618 | HANNA | HI83900-25 | Lysimeter, cleaning solution replacement kit for suction lysimeter, 500 mL | $ 21.91 |
| 66 618 | HANNA | HI83900-30 | Suction lysimeter for root level soil monitoring, for use with HI 83225 and HI 83215; 30 cm | $ 43.83 |
| 66 618 | HANNA | HI83900-60 | Suction lysimeter for root level soil monitoring, for use with HI 83225 and HI 83215; 60 cm | $ 59.61 |
| 66 618 | HANNA | HI83900-90 | Suction lysimeter for root level soil monitoring, for use with HI 83225 and HI 83215; 90 cm | $ 81.52 |
| 66 618 | HANNA | HI839800-01 | COD test tube heater with 25 vial capacity; Temperature of Reaction 105°C or 150°C (221°F or 302°F) 115V | $ 653.05 |
| 66 618 | HANNA | HI8410 | Panel Mounted Dissolved Oxygen Controller with Extended Range and Analog Output, range: 0.0 to 50.0 mg/L (ppm) O2, 0 to 600 % O2, Temperature -5.0 to 50.0 °C | $ 532.08 |
| 66 618 | HANNA | HI84100-20 | Free sulphite reagent for mini titrator wine analysis | $ 10.52 |
| 66 618 | HANNA | HI84100-50 | SO2 Titrant solution, 100 mL | $ 21.91 |
| 66 618 | HANNA | HI84100-51 | SO2 Alkaline reagent, 500 mL | $ 21.91 |
| 66 618 | HANNA | HI84100-52 | Acid reagent for total SO2 determination, 500 mL | $ 21.91 |
| 66 618 | HANNA | HI84100-53 | Acid reagent for free SO2 determination, 500 mL | $ 21.91 |
| 66 618 | HANNA | HI84100-54 | Stabilizer reagent, 25 pieces | $ 34.19 |
| 66 618 | HANNA | HI84100-55 | Calibration standard, 500 mL | $ 34.19 |
| 66 618 | HANNA | HI84100FREE | Free SO2 Kit w/ HI84100-50, 5354, 55 | $ 105.19 |
| 66 618 | HANNA | HI84100KIT | Replacement Reagents for So2 Mini-Titrator | $ 142.01 |
| 66 618 | HANNA | HI84100TOTAL | Total SO2 kit, HI84100-50, 51, 52, 54, 55 | $ 131.49 |
| 66 618 | HANNA | HI84102-50 | Titrant solution, 100 mL | $ 21.91 |
| 66 618 | HANNA | HI84102-55 | Calibration standard, 100 mL | $ 34.19 |
| 66 618 | HANNA | HI84102-60 | pH 7.00 buffer for acidity in wine mini titrator | $ 24.54 |
| 66 618 | HANNA | HI84102-61 | pH 8.20 buffer for acidity in wine mini titrator | $ 24.54 |
| 66 618 | HANNA | HI84102KIT | Replacement Reagents for TotalAcidity Mini-Titrator | $ 78.89 |
| 66 618 | HANNA | HI8424 | Microprocessor pH/mV meter, automatic calibration, ATC, range: pH -2.00 to 16.00 pH, mV ±699.9 mV; ±1999 mV | $ 275.24 |
| 66 618 | HANNA | HI8427 | pH and mV precision simulator, range: pH 0, 2, 4, 7, 10, 12, 14, mV -1900, -350, 350, 1900 | $ 145.51 |
| 66 618 | HANNA | HI84429-50 | Titrant solution for the determination of titratable acidity, 100 mL | $ 21.04 |
| 66 618 | HANNA | HI84429-55 | Pump calibration standard, 500 mL | $ 21.04 |
| 66 618 | HANNA | HI84429-60 | pH 8.30 buffer solution for titrable acids minititrator, 6x230mL | $ 52.59 |
| 66 618 | HANNA | HI84429-65 | pH 4.01 buffer solution for titrable acids minititrator, 6x230mL | $ 52.59 |
| 66 618 | HANNA | HI84429-70 | pH 6.00 buffer solution for titrable acids minititrator, 6x230mL | $ 52.59 |
| 66 618 | HANNA | HI84430-50 | Titrant solution for Low Range, 100 mL | $ 21.04 |
| 66 618 | HANNA | HI84430-51 | Titrant solution for High Range, 100 mL | $ 21.04 |
| 66 618 | HANNA | HI84430-55M | Pump calibration solution (500 mL) | $ 21.04 |
| 66 618 | HANNA | HI84430-58 | Additional reagent, 30 mL | $ 18.41 |
| 66 618 | HANNA | HI84430-70 | Reagents kit for low and high range (about 150 titrations) | $ 54.35 |
| 66 618 | HANNA | HI84430-71 | Reagents kit for low range (about 150 titrations) | $ 54.35 |
| 66 618 | HANNA | HI84430-72 | Reagents kit for high range (about 150 titrations) | $ 54.35 |
| 66 618 | HANNA | HI84431-50 | Titrant solution for low range, 100 mL | $ 21.04 |
| 66 618 | HANNA | HI84431-51 | Titrant solution for high range, 100 mL | $ 21.04 |
| 66 618 | HANNA | HI84431-55M | Pump calibration solution, 230 mL | $ 21.04 |
| 66 618 | HANNA | HI84431-70 | Reagents kit for low and high range (about 150 titrations) | $ 54.35 |
| 66 618 | HANNA | HI84431-71 | Reagents kit for low range (about 150 titrations) | $ 54.35 |
| 66 618 | HANNA | HI84431-72 | Reagents kit for high range (about 150 titrations) | $ 54.35 |
| 66 618 | HANNA | HI84432-50 | Titrant (1 mL/analysis) | $ 21.91 |
| 66 618 | HANNA | HI84432-55 | Pump calibration solution (2.00 mL/calibration) | $ 21.91 |
| 66 618 | HANNA | HI84432-70 | Reagents kit (about 150 titration) | $ 54.35 |
| 66 618 | HANNA | HI84433-50 | Titrant solution, low concentration, 100 mL | $ 22.79 |
| 66 618 | HANNA | HI84433-51 | pH adjustment solution, 100 mL | $ 22.79 |
| 66 618 | HANNA | HI84433-55 | Pump calibration solution, 100 mL | $ 22.79 |
| 66 618 | HANNA | HI84433-58 | Additional reagent, 30 mL | $ 22.79 |
| 66 618 | HANNA | HI84433-60 | Formol base reagent, 230 mL | $ 56.98 |
| 66 618 | HANNA | HI84433-70 | Reagents kit for HI 84433-70 | $ 56.98 |
| 66 618 | HANNA | HI84434-50 | Titrant solution, 100 mL | $ 22.79 |
| 66 618 | HANNA | HI84434-55 | Pump calibration solution, 100 mL | $ 16.65 |
| 66 618 | HANNA | HI84434-70 | Reagents kit (about 150 titrations) | $ 56.98 |
| 66 618 | HANNA | HI84435-50 | Titrant solution (100 mL) | $ 20.16 |
| 66 618 | HANNA | HI84435-55 | Pump calibration solution (100 mL) | $ 22.79 |
| 66 618 | HANNA | HI84435-70 | Reagents kit (about 150 titrations) | $ 20.16 |
| 66 618 | HANNA | HI84437-50 | Titrant solution, 100 mL | $ 20.16 |
| 66 618 | HANNA | HI84437-55 | Pump calibration solution, 100 mL | $ 16.65 |
| 66 618 | HANNA | HI84437-70 | Reagents kit (about 150 titrations) | $ 20.16 |
| 66 618 | HANNA | HI84438-50 | Titrnt solution for Low Range, 100 mL | $ 16.65 |
| 66 618 | HANNA | HI84438-51 | Titrant solution for Highr Rnage, 100 mL | $ 99.05 |
| 66 618 | HANNA | HI84438-55 | Pump Calibration solution for Low range, 100 mL | $ 16.65 |
| 66 618 | HANNA | HI84438-56 | Pump calibration solution for High Rnage, 100 mL | $ 16.65 |
| 66 618 | HANNA | HI84438-70 | Replacement Kit for LR+HR, 150 titrations | $ 392.71 |
| 66 618 | HANNA | HI84438-71 | Replacement Kit for LR, 150 titrations | $ 163.92 |
| 66 618 | HANNA | HI84438-72 | Replacement Kit for HR, 150 titrations | $ 393.58 |
| 66 618 | HANNA | HI84439-50 | Titrant solution Low Range, 100 mL | $ 23.67 |
| 66 618 | HANNA | HI84439-51 | Titrant olution for High Range + Saline, 100 mL | $ 163.92 |
| 66 618 | HANNA | HI84439-55 | Pump calibration solution 230mL | $ 16.65 |
| 66 618 | HANNA | HI84439-70 | Replacement Kit for LR+HR, 150 titrations | $ 163.92 |
| 66 618 | HANNA | HI84439-71 | Replacement Kit for LR , 150 titrations | $ 163.92 |
| 66 618 | HANNA | HI84439-72 | Replacement Kit for HR, 150 titrations | $ 393.58 |
| 66 618 | HANNA | HI84442-50 | Titrant solution (100 mL) | $ 16.65 |
| 66 618 | HANNA | HI84442-55 | Pump calibration solution (100 mL) | $ 16.65 |
| 66 618 | HANNA | HI84445-20 | Sulfite kit for Hi84445 | $ 65.74 |
| 66 618 | HANNA | HI84445-50 | Sulfite Titrant | $ 16.65 |
| 66 618 | HANNA | HI84445-51 | Sulfamic acid solution | $ 17.53 |
| 66 618 | HANNA | HI84445-52 | EDTA reagent solution | $ 17.53 |
| 66 618 | HANNA | HI84529-01 | Titratable acids mini titrator and pH meter for the dairy industry; Titratable Acidity Range ºSH 0.0 to 15.0 °SH, ºTh 0 to 40 °Th, ºD 0 to 30 °D, % l.a. 0.00 to 0.35 % l.a., High Range: ºSH 10 to 75 °SH, High Range: ºTh 20 to 200 °Th, High Range ºD 20 to 175 °D, High Range % l.a. 0.0 to 2.0 % l.a., pH -2.0 to 16.0 pH; -2.00 to 16.00 pH, Temperature -20.0 to 120.0 °C (-4 to 248°F), 115V | $ 744.21 |
| 66 618 | HANNA | HI84529-50 | Titrant solution for low range 20, 120 mL | $ 20.16 |
| 66 618 | HANNA | HI84529-51 | Titrant solution for high range 20, 120 mL | $ 20.16 |
| 66 618 | HANNA | HI84529-52 | Titrant solution for low range 50, 120 mL | $ 20.16 |
| 66 618 | HANNA | HI84529-55 | Pump calibration solution (230 mL) | $ 30.68 |
| 66 618 | HANNA | HI84530-01 | Total acidity mini titrator and pH meter, Titratable acidity (Low range) mg/L : 15.0 - 500.0 mg/L as CaCO3, meq/L : 0.3 - 10.0 meq/L as CaCO3, Titratable acidity (High range) mg/L : 400 - 4000 mg/L as CaCO3, meq/L : 8 - 80 meq/L as CaCO3, pH -2.0 to 16.0 pH / -2.00 to 16.00 pH, Temperature -20.0 to 120.0 °C (-4.0 to 248.0 °F), 115V | $ 744.21 |
| 66 618 | HANNA | HI84530-50 | Titrant solution for Low Range, 100 mL | $ 20.16 |
| 66 618 | HANNA | HI84530-51 | Titrant solution for High Range, 100 mL | $ 20.16 |
| 66 618 | HANNA | HI84530-55 | Pump calibration solution (100 mL) | $ 30.68 |
| 66 618 | HANNA | HI84530-60 | Hydrogen Peroxide | $ 26.30 |
| 66 618 | HANNA | HI84531-01 | Total Alkalinity mini titrator and pH meter, 115V | $ 744.21 |
| 66 618 | HANNA | HI84531-50 | Titrant solution for low range alkalinity (120 mL) | $ 20.16 |
| 66 618 | HANNA | HI84531-51 | Titrant solution for low high alkalinity (120 mL) | $ 20.16 |
| 66 618 | HANNA | HI84531-55 | Pump calibration solution for low and high range alkalinity (230 mL) | $ 30.68 |
| 66 618 | HANNA | HI84532-01 | Titratable acidity mini titrator and pH meter for fruit juice, Range Titrator g/100 mL as citric acid : 0.20 - 8.00% CA, g/100 mL as tartaric acid : 0.23 - 9.30% TA, g/100 mL as malic acid : 0.21 - 8.30% MA, pH -2.0 to 16.0 pH / -2.00 to 16.00 pH, Temperature -20.0 to 120.0 °C (-4.0 to 248.0 °F), 115V | $ 744.21 |
| 66 618 | HANNA | HI84532-50 | Titrant (1 mL/analysis) for low range (100 ml) | $ 20.16 |
| 66 618 | HANNA | HI84532-51 | Titrant (1 mL/analysis) for high range (100 ml) | $ 20.16 |
| 66 618 | HANNA | HI84532-55 | Pump calibration solution (100 mL) | $ 30.68 |
| 66 618 | HANNA | HI847492-01 | Haze meter for beer quality analysis,USEPA; Range 0.00 to 9.99 FTU 10.0 to 99.9 FTU 100 to 1000 FTU; 115V | $ 660.94 |
| 66 618 | HANNA | HI847492-11 | Calibration cuvette kit | $ 100.81 |
| 66 618 | HANNA | HI8510 | Panel Mounted pH Analog Indicator with Self-diagnostic test, range: 0.00 to 14.00 pH | $ 378.68 |
| 66 618 | HANNA | HI8512 | Panel Mounted ORP Analog Indicator with Self-diagnostic test, range: +/-1999 mV | $ 378.68 |
| 66 618 | HANNA | HI8614LN | pH Transmitter with 4-20 mA Galvanically Isolated output; with LCD display, range: 0.00 to 14.00 pH | $ 402.35 |
| 66 618 | HANNA | HI8614N | pH Transmitter with 4-20 mA Galvanically Isolated output, range: 0.00 to 14.00 pH | $ 275.24 |
| 66 618 | HANNA | HI8615LN | ORP Transmitter with 4-20 mA Galvanically Isolated output; with LCD display, HI 8615(L): ±1000 mV / 4-20 mA, HI 8615(L)-01: ±1999 mV / 4-20 mA | $ 402.35 |
| 66 618 | HANNA | HI8615N | ORP Transmitter with 4-20 mA Galvanically Isolated output, HI 8615(L): ±1000 mV / 4-20 mA, HI 8615(L)-01: ±1999 mV / 4-20 mA | $ 275.24 |
| 66 618 | HANNA | HI86301 | TDS meter; Range: 0 to 1999 mg/L (ppm) | $ 106.94 |
| 66 618 | HANNA | HI86302 | TDS meter; Range: 0.00 to 10.00 g/L (ppt) | $ 106.94 |
| 66 618 | HANNA | HI86303 | EC meter; Range: 0 to 1999 µS/cm | $ 106.94 |
| 66 618 | HANNA | HI86304 | EC meter; Range: 0.00 to 19.99 mS/cm | $ 106.94 |
| 66 618 | HANNA | HI8633 | Multi-range EC meter with HI 76301D probe, Range: 0.0 to 199.9 mS/cm | $ 276.12 |
| 66 618 | HANNA | HI8666 | Relative Humidity and Temperature Compact Transmitter, Range: RH 0% (4 mA) to 100% (20 mA) Temp -20°C (4 mA) to 60°C (20 mA) | $ 307.68 |
| 66 618 | HANNA | HI8710 | Panel Mounted pH Analog Controller with Self-diagnostic test, range: 0.00 to 14.00 pH | $ 442.67 |
| 66 618 | HANNA | HI8711 | Panel Mounted pH Analog Controller with Dual Output and Self-diagnostic test, range: 0.00 to 14.00 pH | $ 471.60 |
| 66 618 | HANNA | HI8720 | Panel Mounted ORP Analog Controller with Self-diagnostic test, range: +/-1999 mV | $ 442.67 |
| 66 618 | HANNA | HI8730 | EC/TDS/Temperature meter; EC range: 0 to 1990 µS/cm, TDS range: 0 to 1990 mg/L (ppm) | $ 129.73 |
| 66 618 | HANNA | HI8731 | EC/TDS/Temperature meter; EC range: 0 to 6000 µS/cm, TDS range: 0 to 3000 mg/L (ppm) | $ 129.73 |
| 66 618 | HANNA | HI87314 | EC and resistivity meter, Range: EC 199.9 μS/cm; 1999 μS/cm; 19.99 mS/cm; 199.9 mS/cm Resistivity 0 to 19.90 MΩ•cm | $ 372.54 |
| 66 618 | HANNA | HI8732 | EC/TDS/Temperature meter; EC range: 0.00 to 4.00 mS/cm, TDS range: 0 to 1999 mg/L (ppm) | $ 129.73 |
| 66 618 | HANNA | HI8733 | Multi-range EC meter with HI 76302W probe, Range: 0.0 to 199.9 mS/cm w/ATC | $ 344.49 |
| 66 618 | HANNA | HI8734 | TDS meter, Range: 0.0 to 199.9 mg/L (ppm); 0 to 1999 mg/L (ppm); 0.00 to 19.99 g/L (ppt) | $ 344.49 |
| 66 618 | HANNA | HI88703-01 | Precision turbidity and free/total chlorine meter with 2 measuring ranges; Range: 0.00 to 4000 NTU, 0.0 to 26800 Nephelos 0.00 to 980 EBC; 115V | $ 1,402.52 |
| 66 618 | HANNA | HI88703-11 | Turbidity calibration KIT for HI88703 | $ 81.52 |
| 66 618 | HANNA | HI88713-01 | ISO turbidity meter; Range: FNU Mode 0.00 to 9.99; 10.0 to 99.9; 100 to 1000 FNU, FAU Mode 10.0 to 99.9; 100 to 4000 FAU, NTU Ratio Mode 0.00 to 9.99; 10.0 to 99.9; 100 to 4000 NTU 0.00 to 9.99; 10.0 to 99.9; 100 to 980 EBC, NTU Non-Ration Mode 0.00 to 9.99; 10.0 to 99.9; 100 to 1000 NTU 0.00 to 9.99; 10.0 to 99.9; 100 to 245 EBC;115V | $ 1,446.35 |
| 66 618 | HANNA | HI88713-11 | Calibration set for HI88713-0/10/100/800/2000 | $ 81.52 |
| 66 618 | HANNA | HI8915 | PortablepH/mV/C with recorder output | $ 266.48 |
| 66 618 | HANNA | HI8931AN | Panel mounted conductivity controller 0.0-199.9 mS/cm | $ 378.68 |
| 66 618 | HANNA | HI8931BN | Panel mounted conductivity controller 0.00-19.99 mS/cm | $ 378.68 |
| 66 618 | HANNA | HI8931CN | Panel mounted conductivity controller 0-1999 µS/cm | $ 378.68 |
| 66 618 | HANNA | HI8931DN | Panel mounted conductivity controller 0.0-199.9 µS/cm | $ 378.68 |
| 66 618 | HANNA | HI8936ALN | Conductivity Transmitter Using 4-Ring Technology, range: 0.0 to 199.9 mS/cm; with LCD display | $ 295.41 |
| 66 618 | HANNA | HI8936AN | Conductivity Transmitter Using 4-Ring Technology, range: 0.0 to 199.9 mS/cm | $ 191.97 |
| 66 618 | HANNA | HI8936BLN | Conductivity Transmitter Using 4-Ring Technology, range: 0.00 to 19.99 mS/cm; with LCD display | $ 295.41 |
| 66 618 | HANNA | HI8936BN | Conductivity Transmitter Using 4-Ring Technology, range: 0.00 to 19.99 mS/cm | $ 191.97 |
| 66 618 | HANNA | HI8936CLN | Conductivity Transmitter Using 4-Ring Technology, range: 0 to 1999 µS/cm; with LCD display | $ 295.41 |
| 66 618 | HANNA | HI8936CN | Conductivity Transmitter Using 4-Ring Technology, range: 0 to 1999 µS/cm | $ 191.97 |
| 66 618 | HANNA | HI8936DLN | Conductivity Transmitter Using 4-Ring Technology, range: 0.0 to 199.9 µS/cm; with LCD display | $ 295.41 |
| 66 618 | HANNA | HI8936DN | Conductivity Transmitter Using 4-Ring Technology, range: 0.0 to 199.9 µS/cm | $ 191.97 |
| 66 618 | HANNA | HI900100 | Titrant Dosing Pump | $ 1,709.32 |
| 66 618 | HANNA | HI900105 | 5 mL burette assembly for titrator( includes syringe, aspiration and dispensing tubes) | $ 674.09 |
| 66 618 | HANNA | HI900110 | 10 mLburette assembly for titrator (includes syringe, aspiration and dispensing tubes) | $ 674.09 |
| 66 618 | HANNA | HI900125 | 25 mL burette assembly for titrator (includes syringe, aspiration and dispensing tubes) | $ 674.96 |
| 66 618 | HANNA | HI900150 | 50 mL burette assembly for titrator (includes syringe, aspiration and dispensing tubes) | $ 737.20 |
| 66 618 | HANNA | HI900180 | Solvent handling pump | $ 186.71 |
| 66 618 | HANNA | HI900181 | Reagent adapter holder (assembly) for HI904 | $ 113.95 |
| 66 618 | HANNA | HI900190 | Burette Holder | $ 25.42 |
| 66 618 | HANNA | HI900205 | 5 mL burette syringe for Titrator | $ 223.53 |
| 66 618 | HANNA | HI900210 | 10 mL burette syringe for Titrator | $ 223.53 |
| 66 618 | HANNA | HI900225 | 25 mL burette syringe for Titrator | $ 223.53 |
| 66 618 | HANNA | HI900260 | 3 way valve for Titrator (includes 3 gaskets and 3 screws) | $ 223.53 |
| 66 618 | HANNA | HI900270 | Aspiration tube with fitting (includes blue protection tube, gasket and tube lock) | $ 56.10 |
| 66 618 | HANNA | HI900280 | Dispensing tube with fitting (includes standard dispensing tip,blue protection tube,gasket and tube lock) | $ 67.50 |
| 66 618 | HANNA | HI900301 | Overhead stirrer assembly (includes overhead stirrer and 3 propellers) | $ 525.94 |
| 66 618 | HANNA | HI900302 | Propeller (includes 3 propellers) | $ 17.53 |
| 66 618 | HANNA | HI900303 | Kynar Propeller (includes 3 propellers) | $ 39.45 |
| 66 618 | HANNA | HI900320 | Stirrer stand | $ 60.48 |
| 66 618 | HANNA | HI900401 | Potentiometric analog board | $ 425.14 |
| 66 618 | HANNA | HI900505 | 5 mL burette assembly for Karl Fischer Titrator (includes syringe, aspiration and dispensinf tubes) | $ 689.86 |
| 66 618 | HANNA | HI900511 | Generator electrode with diaphragm | $ 788.92 |
| 66 618 | HANNA | HI900512 | Generator electrode without diaphragm | $ 701.26 |
| 66 618 | HANNA | HI900520 | Beaker assembly for Karl Fischer Titrator | $ 814.34 |
| 66 618 | HANNA | HI900522 | Karl Fischer beaker | $ 106.07 |
| 66 618 | HANNA | HI900523 | Dispensing tip (2 pcs) for Karl Fischer Titrator | $ 71.88 |
| 66 618 | HANNA | HI900527 | Septum (5 pcs) for Karl Fischer Titrator | $ 21.91 |
| 66 618 | HANNA | HI900528 | Solvent port plugs (2 pcs) for Karl Fischer Titrator | $ 21.04 |
| 66 618 | HANNA | HI900530 | Titrant bottle top assembly | $ 335.73 |
| 66 618 | HANNA | HI900531 | Sovent/waste bottle top assembly | $ 335.73 |
| 66 618 | HANNA | HI900532 | Dessicant cartridge for beaker or titrant | $ 43.83 |
| 66 618 | HANNA | HI900533 | Dessicant cartridge for use with solvent or waste bottle top assemblies | $ 43.83 |
| 66 618 | HANNA | HI900534 | Waste bottle (HI904) | $ 52.59 |
| 66 618 | HANNA | HI900535 | Tubing set for solvent/waste (HI904) | $ 43.83 |
| 66 618 | HANNA | HI900536 | Tubing for solvent-handling pump | $ 28.93 |
| 66 618 | HANNA | HI900537 | Bottle top assembly, with molecular sieves (HI904) | $ 271.74 |
| 66 618 | HANNA | HI900538 | Dessicant cartridge for reagent/waste botle, with molecular sieve (HI904) | $ 70.13 |
| 66 618 | HANNA | HI900540 | O-ring set for Karl Fischer titrator | $ 38.57 |
| 66 618 | HANNA | HI900542 | O-rings set for HI904 | $ 13.15 |
| 66 618 | HANNA | HI900543 | Glass joint grease for HI904 | $ 7.01 |
| 66 618 | HANNA | HI900550 | Dessicant for KF titrator, 250 gr | $ 48.21 |
| 66 618 | HANNA | HI900551 | Molecular sieves, 200g | $ 341.86 |
| 66 618 | HANNA | HI900560 | Titration vessel for HI904 (assembly) | $ 482.12 |
| 66 618 | HANNA | HI900561 | Titration vessel for HI904 (glass only) | $ 70.13 |
| 66 618 | HANNA | HI900563 | Glass stopper, standard taper 19 | $ 83.27 |
| 66 618 | HANNA | HI900564 | Dissicant cartridge for generator electrode | $ 52.59 |
| 66 618 | HANNA | HI900567 | Septum kit for HI904 | $ 8.77 |
| 66 618 | HANNA | HI900569 | Reagent exchange adapter for HI904 | $ 219.14 |
| 66 618 | HANNA | HI900570 | Aspiration tubing and fitting (PTFE titrant tubing,blue protection and tube lock) | $ 53.47 |
| 66 618 | HANNA | HI900580 | Dispensing tubing and fitting (PTFE titrant tubing,blue protection , fitting and tube lock) | $ 57.85 |
| 66 618 | HANNA | HI900900 | HI900 PC software | $ 112.20 |
| 66 618 | HANNA | HI900902 | HI902 startupup disk | $ 1,225.45 |
| 66 618 | HANNA | HI900920 | Temperature probe for Titrator | $ 168.30 |
| 66 618 | HANNA | HI900930 | RS232 cable for PC connection | $ 34.19 |
| 66 618 | HANNA | HI900940 | Calibration key HI904 | $ 30.68 |
| 66 618 | HANNA | HI900941 | Shorting connector | $ 12.27 |
| 66 618 | HANNA | HI900942 | Burette cap removal tool | $ 34.19 |
| 66 618 | HANNA | HI900946 | 24V power supply | $ 74.51 |
| 66 618 | HANNA | HI900950 | Weighing Spoon for the HI903 & HI904 | $ 70.13 |
| 66 618 | HANNA | HI901-01 | Potentiometric titrator supplied complete with one burette driver assembly, 25 mL glass burette, performs acid/base, potentiometric titrations, stores up to 100 methods: 89 of which can be user defined, range: -2000.0 to 2000.0 mV / -2.000 to 20.000 pH / -5.0 to 105.0°C, Burette Capacity 5 mL (±5 µl), 10 mL (±10 µl), 25 mL (±25 µl) and 50 mL (±50 µl) with 0.001 mL display resolution, burette resolution 1/40000, dosing accuracy 0.1% of full burette volume, 115V | $ 5,040.30 |
| 66 618 | HANNA | HI901-01A | Potentionmetric Titrator with two Burettesw and one driver | $ 5,522.42 |
| 66 618 | HANNA | HI901-01B | HI901-01 w/extra HI900100, extra HI900125 and reagents | $ 6,661.96 |
| 66 618 | HANNA | HI901-01W | HI901-01, pump, burette, stir HI1131B, HI3131B | $ 5,171.79 |
| 66 618 | HANNA | HI901-01X | HI901-01 w/ 2 buretts, stirrerHI1131B, 4, 7, 10 buffers | $ 5,522.42 |
| 66 618 | HANNA | HI901-01Y | HI901-01 w/2 HI900100, stirrer2 HI900125, 4, 7, 10 buffers | $ 6,486.65 |
| 66 618 | HANNA | HI901-01Z | HI901-01, HI900100, HI900125, HI900301, 4, 7, 10 buffers | $ 5,171.79 |
| 66 618 | HANNA | HI90140 | Transmitter, Infrared, for PC Connection, for HI 140 series | $ 84.15 |
| 66 618 | HANNA | HI902C1-01 | Potentiometric titrator with color LCD, ISE mode, 1 analog input, 1 pump with 25 mL burette, 1 stirrer and USB, performs acid/base, potentiometric titrations, direct ISE measurements, stores up to 100 methods: 89 of which can be user defined, linked method capability, laboratory balance connectivity via serial interface, range: -2000.0 to 2000.0 mV / -2.000 to 20.000 pH / -5.0 to 105.0°C, ISE 1 x 10-7 to 9.99 x 1010 concentration, Burette Capacity 5 mL (±5 µl), 10 mL (±10 µl), 25 mL (±25 µl) and 50 mL (±50 µl) with 0.001 mL display resolution, burette resolution 1/40000, dosing accuracy 0.1% of full burette volume, 115V | $ 5,434.76 |
| 66 618 | HANNA | HI902C1-01D | HI902C1-01,1 POMP, 2 BURETTES,STIRRER, HI1131B, HI3131B | $ 5,960.71 |
| 66 618 | HANNA | HI902C1-01E | HI902C1-01, 2 PUMPS, 2 BURETTSHI3131B, HI1131B | $ 6,837.28 |
| 66 618 | HANNA | HI902C1-01W | HI902C-01 WITH BURETTE, PUMP STIRRER, HI1131B,HI3131B | $ 5,697.73 |
| 66 618 | HANNA | HI902C1-01X | Color LCD Titrator with 1 pump& 2 buretts, and stir motor | $ 6,048.36 |
| 66 618 | HANNA | HI902C1-01Y | Color Titrator w/ 2 pumps, 2 burettes and stir motor | $ 6,837.28 |
| 66 618 | HANNA | HI902C1-01Z | HI902C1-01, HI1131B,HI5004M, HI7007M, HI7010M | $ 5,697.73 |
| 66 618 | HANNA | HI902C2-01 | Potentiometric titrator with color LCD, ISE mode, 2 analog inputs, 1 pump with 25 mL burette, 1 stirrer and USB, performs acid/base, potentiometric titrations, direct ISE measurements, stores up to 100 methods: 89 of which can be user defined, linked method capability, laboratory balance connectivity via serial interface, range: -2000.0 to 2000.0 mV / -2.000 to 20.000 pH / -5.0 to 105.0°C, ISE 1 x 10-7 to 9.99 x 1010 concentration, Burette Capacity 5 mL (±5 µl), 10 mL (±10 µl), 25 mL (±25 µl) and 50 mL (±50 µl) with 0.001 mL display resolution, burette resolution 1/40000, dosing accuracy 0.1% of full burette volume, 115V | $ 5,873.05 |
| 66 618 | HANNA | HI902C2-01D | HI902C2-01, 1 PUMP, 2 BURETTS DUAL BOARD,HI1131B,HI3131B | $ 6,837.28 |
| 66 618 | HANNA | HI902C2-01E | HI902C2-01, 2 PUMPS, 2 BURETTE2 STIRRER, HI1131B, HI3131B | $ 7,450.88 |
| 66 618 | HANNA | HI902C2-01W | HI902C2-01, H1 PUMP, 1 BURETT STIRRER, HI1131B, HI3131B | $ 5,873.05 |
| 66 618 | HANNA | HI902C2-01X | Color Titrator, dual boards, 1 pump, 2 burettes, stir motor | $ 6,749.62 |
| 66 618 | HANNA | HI902C2-01Y | Color Titrator, dual boards, 2pumps,2 burrettes,2 stir motor | $ 7,450.88 |
| 66 618 | HANNA | HI902C2-01Z | HI902C2-01, HI1131B,HI5004 HI7007M, HI7010M | $ 6,048.36 |
| 66 618 | HANNA | HI903-01 | Karl Fischer volumetric titrator for moisture determination, sophisticated endpoint detection, dynamic dosing and background drift correction algorithms, laboratory balance connectivity via serial interface, all necessary calculations performed automatically, titration vessel conical with operating volume between 50-150 mL, Clip-Lock™ Exchangeable Burette System; syringe: 5 mL precision ground with Teflon plunger; dosing pump: 40,000 Step (0.125 μL Resolution); dispensing tip: glass, fixed position, anti-diffusion; valve: motor-driven 3/2-way; Teflon liquid contact material; tubing: Teflon with light block and thermal jacketing; mixing system optically regulated; magnetic stirring 200-2000 RPM with 100 RPM resolution; advanced solvent handling system: add fresh or remove depleted solvent without opening cell. Titrator supplied with dual platinum pin electrode, dosing pump, 5 mL burette assembly with tubing, air pump assembly with tubing, beaker and bottle top assemblies and all fittings, 4 desiccant cartridges with indicating desiccant, stir bar, waste bottle, calibration key, USB cable, power cable, HI 900 PC application CD, quality certificate, ISO 8655 burette compliance report and instruction manual binder, range: Titratable Water Content 100 ppm to 100%, Sample Type Solid or liquid, result units: %, ppm, mg/g, μg/g, mg, μg, mg/mL, μg/mL, mg/pc, μg/pc. 115V | $ 5,610.08 |
| 66 618 | HANNA | HI9033 | Multi-range EC meter, Range: 0.0-199.9 mS/cm | $ 433.03 |
| 66 618 | HANNA | HI9034 | Multi-range TDS meter, Range: 0.00 to 19.99 g/L | $ 433.03 |
| 66 618 | HANNA | HI904-01 | Karl Fischer Coulometric titrator with diaphragm-less generator, 115 V | $ 5,610.08 |
| 66 618 | HANNA | HI904D-01 | Karl Fischer Coulometric titrator with diaphragm generator, 115 V | $ 6,837.28 |
| 66 618 | HANNA | HI9063 | Heavy-duty K-type thermocouple thermometer, Range: -50.0 to 199.9°C; 200 to 1350°C -58.0 to 399.9°F; 400 to 2462°F | $ 167.43 |
| 66 618 | HANNA | HI9124 | Waterproof, portable pH meter with Calibration Check™, range: pH -2.00 to 16.00 pH, Temperature 20.0 to 120.0°C / -4.0°F to 248.0°F | $ 334.85 |
| 66 618 | HANNA | HI9125 | Waterproof, portable pH/ORP meter with Calibration Check™, range: pH -2.00 to 16.00 pH, mV ±699.9 mV; ±1999 mV, Temperature 20.0 to 120.0°C / -4.0°F to 248.0°F | $ 354.14 |
| 66 618 | HANNA | HI9126 | Waterproof, portable pH/ORP meter with Calibration Check™, range: pH -2.00 to 16.00 pH, mV ±699.9 mV; ±1999 mV, Temperature 20.0 to 120.0°C / -4.0°F to 248.0°F | $ 381.31 |
| 66 618 | HANNA | HI9142/10 | Manual calibration D.O meter 10m, Range 0.0 to 19.9 mg/L | $ 403.22 |
| 66 618 | HANNA | HI9146W | D.O Meter for Wine with Special probe HI76408 | $ 644.28 |
| 66 618 | HANNA | HI9147-04 | Dissolved oxygen meter for aquaculture; 4 m probe cable, Range: O2: 0.0 to 50.0 mg/L; % Saturation O2: 0 to 600 %; Temp: -5.0 to 50.0°C | $ 380.43 |
| 66 618 | HANNA | HI9147-10 | Dissolved oxygen meter for aquaculture; 10 m probe cable, Range: O2: 0.0 to 50.0 mg/L; % Saturation O2: 0 to 600 %; Temp: -5.0 to 50.0°C | $ 436.53 |
| 66 618 | HANNA | HI9147-15 | Dissolved oxygen meter for aquaculture; 15 m probe cable, Range: O2: 0.0 to 50.0 mg/L; % Saturation O2: 0 to 600 %; Temp: -5.0 to 50.0°C | $ 474.23 |
| 66 618 | HANNA | HI920-053 | 20 X Plastic Beakers for HI920-11853 | $ 8.77 |
| 66 618 | HANNA | HI920-060 | 20 X Plastic Beakers for HI920-11660 | $ 8.77 |
| 66 618 | HANNA | HI920-101 | Peristaltic Pump with Dispen- sing Tubing | $ 258.59 |
| 66 618 | HANNA | HI920-102 | Peristaltic Pump with Aspiration Pump | $ 258.59 |
| 66 618 | HANNA | HI920-11660 | Single Row Tray with RFID 16 Beakers, 60 mm Diameter | $ 306.80 |
| 66 618 | HANNA | HI920-11853 | Single Row Tray with RFID 18 Beakers, 53 mm Diameter | $ 306.80 |
| 66 618 | HANNA | HI920-190 | Pump Covers | $ 13.15 |
| 66 618 | HANNA | HI920-201 | Peristaltic Pump cap and rotor | $ 65.74 |
| 66 618 | HANNA | HI920-202 | Peristaltic Pump Tubing Set with Plastic dispensing Tube | $ 39.45 |
| 66 618 | HANNA | HI920-203 | Peristaltic Pump Tubing set with SS aspiration Tube | $ 48.21 |
| 66 618 | HANNA | HI920-204 | Peristaltic Pump Roller Tube 3 pcs | $ 21.91 |
| 66 618 | HANNA | HI920-211 | Membrane Pump with Tubing | $ 394.46 |
| 66 618 | HANNA | HI920-212 | Membrane Pump Tubing Set | $ 39.45 |
| 66 618 | HANNA | HI920-280 | Titrant Dispensing Tube | $ 21.91 |
| 66 618 | HANNA | HI920-290 | 5 m Tygon Tube | $ 30.68 |
| 66 618 | HANNA | HI920-301 | Overhead Stirrer | $ 438.29 |
| 66 618 | HANNA | HI920-302 | 3 X Replacement Propellers | $ 13.15 |
| 66 618 | HANNA | HI920-303 | 3 X High Chemical resistance replacement Propellers | $ 39.45 |
| 66 618 | HANNA | HI920-310 | 3 Electrode Holder | $ 127.10 |
| 66 618 | HANNA | HI920-320 | Cable Chain | $ 170.93 |
| 66 618 | HANNA | HI920-921 | Control Panel | $ 245.44 |
| 66 618 | HANNA | HI920-930 | Communication Cable | $ 13.15 |
| 66 618 | HANNA | HI920-931 | BNC Extension Cable | $ 39.45 |
| 66 618 | HANNA | HI920-932 | Reference Extension Cable | $ 21.91 |
| 66 618 | HANNA | HI920-960 | Tray Lock Screw | $ 74.51 |
| 66 618 | HANNA | HI92000 | Software - Windows® compatible software for logging instruments, photometers and turbidity meters | $ 72.76 |
| 66 618 | HANNA | HI920005 | iButton Fast Tracker tags, 5 tag holders with tags | $ 100.81 |
| 66 618 | HANNA | HI920010 | Cable (serial) for PC connection (9 to 9-pin) | $ 30.68 |
| 66 618 | HANNA | HI920011 | Cable (serial) for PC connection (5 to 9-pin) | $ 32.43 |
| 66 618 | HANNA | HI920013 | Cable, USB PC connection (excluding HI 9828, use HI 7698281 instead) | $ 28.93 |
| 66 618 | HANNA | HI920014 | Mini USB cable connector | $ 28.93 |
| 66 618 | HANNA | HI921 | Autosampler with Chain Cable | $ 6,048.36 |
| 66 618 | HANNA | HI9214 | pH and Temperature meter with electrode | $ 204.24 |
| 66 618 | HANNA | HI92140 | Software HI 143 | $ 72.76 |
| 66 618 | HANNA | HI92143 | Compact adapter for RS232 to USB | $ 39.45 |
| 66 618 | HANNA | HI92150 | RS232 to USB cable | $ 28.93 |
| 66 618 | HANNA | HI9241 | KTY thermometerwith HI765PW probe | $ 94.67 |
| 66 618 | HANNA | HI92500 | Software application | $ 72.76 |
| 66 618 | HANNA | HI929829 | Software - Windows® compatible software for HI 9829 series | $ 120.09 |
| 66 618 | HANNA | HI931001 | pH and mV precision simulator with a pH resolution of ±0.01 and an mV resolution of 1, range: pH 0.00 to 14.00 pH, mV -1000 to 1000 | $ 211.25 |
| 66 618 | HANNA | HI931002 | 4-20 mA Amperometer, Simulator and Calibrator, range: 2.00 to 19.99 mA and -1.50 to 14.00 pH (active and passive drive mode); 0.00 to 19.99 mA and -3.50 to 14.00 pH (active and passive measuring mode) | $ 241.93 |
| 66 618 | HANNA | HI93102 | Portable Turbidity with Bromine, Free & Total Chlorine, Cyanuric Acid, Iron, Iodine and pH; Ranges: Turbidity 0.00 to 50.0 NTU*, Bromine 0.00 to 8.00 mg/L, Free Cl2 0.00 to 2.50 mg/L, Total Cl2 0.00 to 3.50 mg/L, CYS 0 to 80 mg/L, Iodine 0.0 to 12.5 mg/L, LR Iron 0.00 to 1.00 mg/L, pH 5.9 to 8.5 | $ 835.38 |
| 66 618 | HANNA | HI93102-0 | AMCO-AEPA-1 Turbidity Calibration Solution at 0 NTU, 30 mL bottle | $ 17.53 |
| 66 618 | HANNA | HI93102-20 | AMCO-AEPA-1 Turbidity Calibration Solution at 20 NTU, 30 mL bottle | $ 26.30 |
| 66 618 | HANNA | HI931100 | HACCP compliant salinity and sodium content meter with 4 NaCl ranges | $ 488.25 |
| 66 618 | HANNA | HI931101 | HACCP compliant salinity and sodium content meter with 4 Na ranges and one pNa range | $ 511.04 |
| 66 618 | HANNA | HI931102 | HACCP compliant salinity and sodium content meter with 5 NaCl ranges | $ 503.15 |
| 66 618 | HANNA | HI93124-0 | Standard Turbidity Solution at 0 EBC, 30 mL bottle | $ 19.28 |
| 66 618 | HANNA | HI93124-03 | EBC haze meter calibration Set | $ 64.87 |
| 66 618 | HANNA | HI93124-1 | Standard Turbidity Solution at 2.5 EBC, 30 mL bottle | $ 25.42 |
| 66 618 | HANNA | HI93124-2 | Standard Turbidity Solution at 125 EBC, 30 mL bottle | $ 25.42 |
| 66 618 | HANNA | HI93414-01 | EPA compliant turbidity and free/total chlorine meter with Fast Tracker™ technology; Range 0.00 to 9.99; 10.0 to 99.9 and 100 to 1000 NTU, Free Cl2 0.00 to 5.00 mg/L; Total Cl2 0.00 to 5.00 mg/L; 115V | $ 920.40 |
| 66 618 | HANNA | HI93414-11 | Calibration set for HI93414 | $ 119.21 |
| 66 618 | HANNA | HI935002 | 2-channel, K-type thermocouple thermometer, Range: -50.0 to 199.9°C and 200 to 1350°C; -58.0 to 399.9°F and 400 to 2462°F | $ 99.93 |
| 66 618 | HANNA | HI935005 | K-type thermocouple thermometer, Range: -50.0 to 199.9°C and 200 to 1350°C; -58.0 to 399.9°F and 400 to 2462°F | $ 88.53 |
| 66 618 | HANNA | HI935005N | K-type thermocouple thermometer with CAL button and backlit LCD, Range -50.0 to 199.9°C and 200 to 1350°C; -58.0 to 399.9°F and 400 to 2462°F | $ 88.53 |
| 66 618 | HANNA | HI935007N | Waterproof °C/°F K-type thermocouple thermometer; Range: -50.0 to 199.9°C; 200 to 1350°C or 58.0 to 399.9°F; 400 to 2462°F | $ 103.44 |
| 66 618 | HANNA | HI93501N | Waterproof °C thermistor thermometer with HI762PWL probe, Range: -50.0 to 150.0°C | $ 98.18 |
| 66 618 | HANNA | HI93501NS | Thermistor thermometer with HOLD button and on-screen bar graph , Range: -50.0 to 150.0°C | $ 102.56 |
| 66 618 | HANNA | HI93502N | Waterproof °C thermistor thermometer Lumberg connector, Range: -50.0 to 150.0°C | $ 98.18 |
| 66 618 | HANNA | HI93503 | Waterproof °C KTY thermometer with HI765PW probe, Range: -50.0 to 150.0°C | $ 98.18 |
| 66 618 | HANNA | HI93510 | Thermistor thermometer for lab and field use, Range: -50.0 to 150.0°C; -58.0 to 302.0°F | $ 139.38 |
| 66 618 | HANNA | HI93510N | Thermistor thermometer with CAL button and backlit LCD, Range: -50.0 to 150.0°C; -58.0 to 302.0°F | $ 167.43 |
| 66 618 | HANNA | HI93530 | 0.1° resolution K-type thermocouple thermometer, Range:-200.0 to 999.9°C; 1000 to 1371°C; -328.0 to 999.9°F; 1000 to 2500°F | $ 111.32 |
| 66 618 | HANNA | HI93530N | 0.1° resolution K-type thermocouple thermometer with CAL button and backlit LCD, Range: -200.0 to 999.9°C; 1000 to 1371°C; -328.0 to 999.9°F; 1000 to 2500°F | $ 167.43 |
| 66 618 | HANNA | HI93531 | 0.1° resolution K-type thermocouple thermometer, Range: -200.0 to 999.9°C; 1000 to 1371°C -328.0 to 999.9°F; 1000 to 2500°F | $ 150.77 |
| 66 618 | HANNA | HI93531N | 0.1° resolution K-type thermocouple thermometer with CAL button and backlit LCD, Range: -200.0 to 999.9°C; 1000 to 1371°C -328.0 to 999.9°F; 1000 to 2500°F | $ 177.94 |
| 66 618 | HANNA | HI93531R | 0.1° resolution K-type thermocouple thermometer with CAL button, backlit LCD and PC connectivity | $ 200.74 |
| 66 618 | HANNA | HI93532 | Dual-input, K-type thermocouple thermometer, Range: -200.0 to 999.9°C; 1000 to 1371°C; -328.0 to 999.9°F; 1000 to 2500°F | $ 177.94 |
| 66 618 | HANNA | HI93532R | Dual-input, K-type thermocouple thermometer with CAL button, backlit LCD and PC connectivity, Range: -200.0 to 999.9°C; 1000 to 1371°C; -328.0 to 999.9°F; 1000 to 2500°F | $ 222.65 |
| 66 618 | HANNA | HI93542 | Dual-channel, K,J,T-type thermocouple thermometer, Range: K -200.0 to 999.9°C and 1000 to 1371°C; -328.0 to 999.9°F and 1000 to 2500°F J -200.0 to 999.9°C; -328.0 to 999.9°F and 1000 to 1832°F T -200.0 to 400.0°C; -328.0 to 752.0°F | $ 190.22 |
| 66 618 | HANNA | HI93551 | Waterproof K,J,T thermocouple thermometer, Range: K -200.0 to 999.9°C and 1000 to 1371°C; -328.0 to 999.9°F and 1000 to 2500°F J -200.0 to 999.9°C; -328.0 to 999.9°F and 1000 to 1832°F T -200.0 to 400.0°C; -328.0 to 752.0°F | $ 162.17 |
| 66 618 | HANNA | HI93551N | Waterproof K,J,T thermocouple thermometer with CAL button and backlit LCD, Range: K -200.0 to 999.9°C and 1000 to 1371°C; -328.0 to 999.9°F and 1000 to 2500°F J -200.0 to 999.9°C; -328.0 to 999.9°F and 1000 to 1832°F T -200.0 to 400.0°C; -328.0 to 752.0°F | $ 190.22 |
| 66 618 | HANNA | HI93552R | Dual-channel, K,J,T-type thermocouple thermometer CAL button, backlit LCD and PC connectivity, Range: K -200.0 to 999.9°C and 1000 to 1371°C; -328.0 to 999.9°F and 1000 to 2500°F J -200.0 to 999.9°C; -328.0 to 999.9°F and 1000 to 1832°F T -200.0 to 400.0°C; -328.0 to 752.0°F | $ 244.56 |
| 66 618 | HANNA | HI93640 | Compact Thermo-Hygrometer with Built-in Sensor Range: RH 5.0 to 95.0% Temp 0.0 to 60.0°C ; 32 to 140°F | $ 281.38 |
| 66 618 | HANNA | HI93700-01 | Ammonia LR, Nessler method, Reagent kit for 100 tests (NH3-N LR) | $ 38.57 |
| 66 618 | HANNA | HI93700-03 | Ammonia LR, Nessler method, Reagent kit for 300 tests (NH3-N LR) | $ 113.95 |
| 66 618 | HANNA | HI93701-00 | Free chlorine standard, 0 mG/L | $ 77.14 |
| 66 618 | HANNA | HI93701-01 | Chlorine, free, DPD method, Powder reagent kit for 100 tests (free Cl2) | $ 19.28 |
| 66 618 | HANNA | HI93701-03 | Chlorine, free, DPD method, Powder reagent kit for 300 tests (free Cl2) | $ 53.47 |
| 66 618 | HANNA | HI93701-10 | Free Chlorine standard , 1mg/L | $ 77.14 |
| 66 618 | HANNA | HI93701-11 | Free Chlorine standards 0.025, 0.5 and 1 mg/L | $ 77.14 |
| 66 618 | HANNA | HI93701-25 | Free chlorine standard 0.25 mg/L | $ 77.14 |
| 66 618 | HANNA | HI93701-50 | Free chlorine standard 0.50 mg/L | $ 77.14 |
| 66 618 | HANNA | HI93701-F | Chlorine, free, DPD method, Liquid reagent Kit for 300 tests (free Cl2) | $ 21.91 |
| 66 618 | HANNA | HI93701-T | Chlorine, total, DPD method, Liquid reagent Kit for 300 tests (total Cl2) | $ 31.56 |
| 66 618 | HANNA | HI93702-01 | Copper HR, bicinchoninate acid method, Reagent kit for 100 tests (Cu HR) | $ 29.80 |
| 66 618 | HANNA | HI93702-03 | Copper HR, bicinchoninate acid method, Reagent kit for 300 tests (Cu HR) | $ 86.78 |
| 66 618 | HANNA | HI93702T-01 | Copper HR, bicinchoninate acid method, Reagent kit for total copper 100 tests (Cu HR) | $ 108.70 |
| 66 618 | HANNA | HI93702T-03 | Copper HR, bicinchoninate acid method, Reagent kit for total copper 300 tests (Cu HR) | $ 319.95 |
| 66 618 | HANNA | HI93703 | Portable logging turbidity meter | $ 599.58 |
| 66 618 | HANNA | HI93703-0 | AMCO-AEPA-1 Turbidity Calibration Solution at 0 FTU, 30 mL bottle | $ 18.41 |
| 66 618 | HANNA | HI93703-05 | AMCO-AEPA-1 Turbidity Calibration Solution at 500 FTU, 30 mL bottle | $ 51.72 |
| 66 618 | HANNA | HI93703-10 | AMCO-AEPA-1 Turbidity Calibration Solution at 10 FTU, 30 mL bottle | $ 26.30 |
| 66 618 | HANNA | HI93703-11 | Logging turbidity meter (ISO 7027) with PC connectivity and real time clock; Range 0.00 to 50.00 FTU/50 to 1000 FTU | $ 666.20 |
| 66 618 | HANNA | HI93703-50 | Cleaning solution for cuvet , 230 mL | $ 20.16 |
| 66 618 | HANNA | HI93703-51 | Dispersing agent 20 mL | $ 10.52 |
| 66 618 | HANNA | HI93703-52 | Glycine powder 100 pcs | $ 14.03 |
| 66 618 | HANNA | HI93703-52-2 | Ozone reagent for HI 83 series bench photometers | $ 56.98 |
| 66 618 | HANNA | HI93703-53 | Dropper bottle ( Chlorine remover) | $ 21.04 |
| 66 618 | HANNA | HI93703-55 | Activated Carbon (for 50 tests) | $ 9.64 |
| 66 618 | HANNA | HI93703-56 | Glycerol (30 mL), 60 square cuvettes, pipette, syringe | $ 81.52 |
| 66 618 | HANNA | HI93703-57 | Glycerol AR, 4x20 mL | $ 16.65 |
| 66 618 | HANNA | HI93703-58 | Silicon oil set for turbidity meter | $ 16.65 |
| 66 618 | HANNA | HI93703-59 | Charcoal, Activated (10g) | $ 16.65 |
| 66 618 | HANNA | HI93703-60 | Spare caps for HI98703, 4pcs | $ 10.52 |
| 66 618 | HANNA | HI93703C | Logging turbidity meter (ISO 7027) with HI 731313 maintenance kit; Range 0.00 to 50.00 FTU/50 to 1000 FTU | $ 692.49 |
| 66 618 | HANNA | HI93704-01 | Hydrazine, p-dimethylaminobenzaldehyde method, Reagent kit for 100 tests (N2H4) | $ 13.15 |
| 66 618 | HANNA | HI93704-03 | Hydrazine, p-dimethylaminobenzaldehyde method, Reagent kit for 300 tests (N2H4) | $ 39.45 |
| 66 618 | HANNA | HI93705-01 | Silica, LR heteropoly blue method, Reagent kit for 100 tests (SiO2) | $ 38.57 |
| 66 618 | HANNA | HI93705-03 | Silica, LR heteropoly blue method, Reagent kit for 300 tests (SiO2) | $ 113.95 |
| 66 618 | HANNA | HI93706-01 | Phosphorus, amino acid method, Reagent kit for 100 tests | $ 21.04 |
| 66 618 | HANNA | HI93706-03 | Phosphorus, amino acid method, Reagent kit for 300 tests | $ 62.24 |
| 66 618 | HANNA | HI93707-01 | Nitrite LR, diazotation method, Reagent kit for 100 tests (N-NO2- LR) | $ 26.30 |
| 66 618 | HANNA | HI93707-03 | Nitrite LR, diazotation method, Reagent kit for 300 tests (N-NO2- LR) | $ 77.14 |
| 66 618 | HANNA | HI93708-01 | Nitrite HR, ferrous sulphate method, Reagent kit for 100 tests (NO2- HR) | $ 27.17 |
| 66 618 | HANNA | HI93708-03 | Nitrite HR, ferrous sulphate method, Reagent kit for 300 tests (NO2- HR) | $ 80.64 |
| 66 618 | HANNA | HI93709-01 | Manganese HR, periodate method, Reagent kit for 100 tests (Mn HR) | $ 37.69 |
| 66 618 | HANNA | HI93709-03 | Manganese HR, periodate method, Reagent kit for 300 tests (Mn HR) | $ 110.45 |
| 66 618 | HANNA | HI93710-01 | pH, phenol red method, Reagent kit for 100 tests (pH) | $ 15.78 |
| 66 618 | HANNA | HI93710-03 | pH, phenol red method, Reagent kit for 300 tests (pH) | $ 46.46 |
| 66 618 | HANNA | HI93711-01 | Chlorine, total, DPD method, Powder reagent kit for 100 tests (total Cl2) | $ 19.28 |
| 66 618 | HANNA | HI93711-03 | Chlorine, total, DPD method, Powder reagent kit for 300 tests (total Cl2) | $ 53.47 |
| 66 618 | HANNA | HI93711-D3 | Chlorine, total, DPD method, DPD3 reagent for 600 tests (total Cl2) | $ 23.67 |
| 66 618 | HANNA | HI93712-01 | Aluminum, aluminon method, Reagent kit for 100 tests (Al) | $ 75.39 |
| 66 618 | HANNA | HI93712-03 | Aluminum, aluminon method, Reagent kit for 300 tests (Al) | $ 220.90 |
| 66 618 | HANNA | HI93713-01 | Phosphate LR, ascorbic acid method, Reagent kit for 100 tests (PO43- LR) | $ 23.67 |
| 66 618 | HANNA | HI93713-03 | Phosphate LR, ascorbic acid method, Reagent kit for 300 tests (PO43- LR) | $ 67.50 |
| 66 618 | HANNA | HI93714-01 | Cyanide, pyridine-pyrazalone method, Reagent kit for 100 tests (CN-) | $ 58.73 |
| 66 618 | HANNA | HI93714-03 | Cyanide, pyridine-pyrazalone method, Reagent kit for 300 tests (CN-) | $ 174.44 |
| 66 618 | HANNA | HI93715-01 | Ammonia MR, Nessler method, Reagent kit for 100 tests (NH3-N MR) | $ 38.57 |
| 66 618 | HANNA | HI93715-03 | Ammonia MR, Nessler method, Reagent kit for 300 tests (NH3-N MR) | $ 113.95 |
| 66 618 | HANNA | HI93716-01 | Bromine, DPD method, Reagent kit for 100 tests (Br2) | $ 19.28 |
| 66 618 | HANNA | HI93716-03 | Bromine, DPD method, Reagent kit for 300 tests (Br2) | $ 53.47 |
| 66 618 | HANNA | HI93717-01 | Phosphate HR, amino acid method, Reagent kit for 100 tests (PO43- HR) | $ 21.04 |
| 66 618 | HANNA | HI93717-03 | Phosphate HR, amino acid method, Reagent kit for 300 tests (PO43- HR) | $ 62.24 |
| 66 618 | HANNA | HI93718-01 | Iodine, DPD method, Reagent kit for 100 tests (l2) | $ 19.28 |
| 66 618 | HANNA | HI93718-03 | Iodine, DPD method, Reagent kit for 300 tests (l2) | $ 53.47 |
| 66 618 | HANNA | HI93719-01 | Hardness magnesium, EDTA method, Reagent kit for 100 tests (Mg hardness, CaCO3) | $ 35.94 |
| 66 618 | HANNA | HI93719-03 | Hardness magnesium, EDTA method, Reagent kit for 300 tests (Mg hardness, CaCO3) | $ 106.94 |
| 66 618 | HANNA | HI93720-01 | Hardness calcium, calmagite method, Reagent kit for 100 tests (Ca hardness, CaCO3) | $ 35.94 |
| 66 618 | HANNA | HI93720-03 | Hardness calcium, calmagite method, Reagent kit for 300 tests (Ca hardness, CaCO3) | $ 106.94 |
| 66 618 | HANNA | HI93721-01 | Iron HR, phenantroline method, Reagent kit for 100 tests (Fe HR) | $ 17.53 |
| 66 618 | HANNA | HI93721-03 | Iron HR, phenantroline method, Reagent kit for 300 tests (Fe HR) | $ 50.84 |
| 66 618 | HANNA | HI93722-01 | Cyanuric Acid, turbidimetric method, Reagent kit for 100 tests (cyanuric acid) | $ 32.43 |
| 66 618 | HANNA | HI93722-03 | Cyanuric Acid, turbidimetric method, Reagent kit for 300 tests (cyanuric acid) | $ 93.79 |
| 66 618 | HANNA | HI93723-01 | Chromium VI HR, diphenylcarbohydrazide method, Reagent kit for 100 tests (Cr VI HR) | $ 21.04 |
| 66 618 | HANNA | HI93723-03 | Chromium VI HR, diphenylcarbohydrazide method, Reagent kit for 300 tests (Cr VI HR) | $ 63.11 |
| 66 618 | HANNA | HI93726-01 | Nickel HR, fotometric method, Reagent kit for 50 tests (Ni LR) | $ 145.51 |
| 66 618 | HANNA | HI93726-03 | Nickel HR, fotometric method, Reagent kit for 150 tests (Ni LR) | $ 426.89 |
| 66 618 | HANNA | HI93728-01 | Nitrate, cadmium reduction method, Reagent kit for 100 tests (NO3--N) | $ 53.47 |
| 66 618 | HANNA | HI93728-03 | Nitrate, cadmium reduction method, Reagent kit for 300 tests (NO3--N) | $ 156.91 |
| 66 618 | HANNA | HI93729-01 | Fluoride LR, SPADNS method, Reagent kit for 100 tests (F- LR) | $ 23.67 |
| 66 618 | HANNA | HI93729-03 | Fluoride LR, SPADNS method, Reagent kit for 300 tests (F- LR) | $ 70.13 |
| 66 618 | HANNA | HI93730-01 | Molybdenum, mercaptoacetic acid method, Reagent kit for 100 tests (Mo) | $ 66.62 |
| 66 618 | HANNA | HI93730-03 | Molybdenum, mercaptoacetic acid method, Reagent kit for 300 tests (Mo) | $ 196.35 |
| 66 618 | HANNA | HI93731-01 | Zinc, zincon method, Reagent kit for 100 tests (Zn) | $ 42.08 |
| 66 618 | HANNA | HI93731-03 | Zinc, zincon method, Reagent kit for 300 tests (Zn) | $ 123.60 |
| 66 618 | HANNA | HI93732-01 | Dissolved Oxygen, Winkler method, Reagent kit for 100 tests (O2) | $ 51.72 |
| 66 618 | HANNA | HI93732-03 | Dissolved Oxygen, Winkler method, Reagent kit for 300 tests (O2) | $ 154.28 |
| 66 618 | HANNA | HI93733-01 | Ammonia HR, Nessler method, Reagent kit for 100 tests (NH4+ HR) | $ 56.98 |
| 66 618 | HANNA | HI93733-03 | Ammonia HR, Nessler method, Reagent kit for 300 tests (NH4+ HR) | $ 167.43 |
| 66 618 | HANNA | HI93734-01 | Chlorine, free and total HR, DPD method, Powder reagent kit for 100 tests (Cl2 free or total) | $ 18.41 |
| 66 618 | HANNA | HI93734-03 | Chlorine, free and total HR, DPD method, Powder reagent kit for 300 tests (Cl2 free or total) | $ 53.47 |
| 66 618 | HANNA | HI93735-0 | Hardness, total, colorimetric method, Reagent kit for 100 tests (0-750 mg/L CaCO3) | $ 89.41 |
| 66 618 | HANNA | HI93735-00 | Hardness, total, colorimetric method, Reagent kit for 100 tests (0-250 mg/L CaCO3) | $ 31.56 |
| 66 618 | HANNA | HI93735-01 | Hardness, total, colorimetric method, Reagent kit for 100 tests (200-500 mg/L CaCO3) | $ 31.56 |
| 66 618 | HANNA | HI93735-02 | Hardness, total, colorimetric method, Reagent kit for 100 tests (400-750 mg/L CaCO3) | $ 31.56 |
| 66 618 | HANNA | HI93737-01 | Silver, PAN method, Reagent kit for 50 tests (Ag) | $ 133.24 |
| 66 618 | HANNA | HI93737-03 | Silver, PAN method, Reagent kit for 150 tests (Ag) | $ 397.09 |
| 66 618 | HANNA | HI93738-01 | Chlorine Dioxide, chlorophenol red method, Reagent kit for 100 tests (ClO2) | $ 57.85 |
| 66 618 | HANNA | HI93738-03 | Chlorine Dioxide, chlorophenol red method, Reagent kit for 300 tests (ClO2) | $ 171.81 |
| 66 618 | HANNA | HI93739-01 | Fluoride HR, SPADNS method, Reagent kit for 100 tests (F- HR) | $ 74.51 |
| 66 618 | HANNA | HI93739-03 | Fluoride HR, SPADNS method, Reagent kit for 300 tests (F- HR) | $ 216.51 |
| 66 618 | HANNA | HI93740-01 | Nickel LR, PAN method, Reagent kit for 50 tests (Ni LR) | $ 136.75 |
| 66 618 | HANNA | HI93740-03 | Nickel LR, PAN method, Reagent kit for 150 tests (Ni LR) | $ 405.85 |
| 66 618 | HANNA | HI93746-01 | Iron LR, TPTZ method, Reagent kit for 50 tests (Fe LR) | $ 40.32 |
| 66 618 | HANNA | HI93746-03 | Iron LR, TPTZ method, Reagent kit for 150 tests (Fe LR) | $ 117.46 |
| 66 618 | HANNA | HI93748-01 | Manganese LR, PAN method, Reagent kit for 50 tests (Mn LR) | $ 89.41 |
| 66 618 | HANNA | HI93748-03 | Manganese LR, PAN method, Reagent kit for 150 tests (Mn LR) | $ 263.85 |
| 66 618 | HANNA | HI93749-01 | Chromium VI LR, diphenylcarbohydrazide method, Reagent kit for 100 tests (Cr VI LR) | $ 42.95 |
| 66 618 | HANNA | HI93749-03 | Chromium VI LR, diphenylcarbohydrazide method, Reagent kit for 300 tests (Cr VI LR) | $ 123.60 |
| 66 618 | HANNA | HI93750-01 | Potassium, turbidimetric method, Reagent kit for 100 tests (K) | $ 93.79 |
| 66 618 | HANNA | HI93750-03 | Potassium, turbidimetric method, Reagent kit for 300 tests (K) | $ 281.38 |
| 66 618 | HANNA | HI93751-01 | Sulfate, turbidimetric method, Reagent kit for 100 tests (SO42-) | $ 34.19 |
| 66 618 | HANNA | HI93751-03 | Sulfate, turbidimetric method, Reagent kit for 300 tests (SO42-) | $ 99.93 |
| 66 618 | HANNA | HI93752-01 | Calcium and magnesium HR, oxalate (Ca) and calmagite (Mg) methods, Reagent kit for 100 tests (50 ea.) | $ 26.30 |
| 66 618 | HANNA | HI93752-03 | Calcium and magnesium HR, oxalate (Ca) and calmagite (Mg) methods, Reagent kit for 300 tests (150 ea.) | $ 75.39 |
| 66 618 | HANNA | HI937520-01 | Magnesium, calmagite method, reagent kit for 50 tests | $ 21.04 |
| 66 618 | HANNA | HI937520-03 | Magnesium, calmagite method, reagent kit for 150 tests | $ 59.61 |
| 66 618 | HANNA | HI937521-01 | Calcium, oxalate method, reagent kit for 50 tests (Ca) | $ 23.67 |
| 66 618 | HANNA | HI937521-03 | Calcium, oxalate method, reagent kit for 150 tests (Ca) | $ 70.13 |
| 66 618 | HANNA | HI93753-01 | Chloride, mercury (II) thiocyanate method, Reagent kit for 100 tests (Cl-) | $ 61.36 |
| 66 618 | HANNA | HI93753-03 | Chloride, mercury (II) thiocyanate method, Reagent kit for 300 tests (Cl-) | $ 181.45 |
| 66 618 | HANNA | HI93754A-25 | COD, LR EPA*, dichromate method, Reagent kit for 25 test vials (O2) | $ 42.95 |
| 66 618 | HANNA | HI93754B-25 | COD, MR EPA*, dichromate method, Reagent kit for 25 test vials (O2) | $ 42.95 |
| 66 618 | HANNA | HI93754C-25 | COD, HR, dichromate method, Reagent kit for 25 test vials (O2) | $ 42.95 |
| 66 618 | HANNA | HI93754D-25 | COD, LR, dichromate method mercury free, Reagent kit for 25 test vials (O2) | $ 34.19 |
| 66 618 | HANNA | HI93754E-25 | COD, MR, dichromate method mercury free, Reagent kit for 25 test vials (O2) | $ 34.19 |
| 66 618 | HANNA | HI93754F-25 | COD, LR ISO**, dichromate method, Reagent kit for 25 test vials (O2) | $ 42.95 |
| 66 618 | HANNA | HI93754G-25 | COD, MR ISO**, dichromate method, Reagent kit for 25 test vials (O2) | $ 42.95 |
| 66 618 | HANNA | HI93754H-25 | COD certified reagents LR compatible | $ 42.95 |
| 66 618 | HANNA | HI93755-01 | Alkalinity, colorimetric method, Reagent kit for 100 tests (CaCO3) | $ 18.41 |
| 66 618 | HANNA | HI93755-03 | Alkalinity , colorimetric method, 0 to 500 mg/L reagents, 300 tests | $ 53.47 |
| 66 618 | HANNA | HI93755-53 | Chloride removal kit | $ 7.45 |
| 66 618 | HANNA | HI93756-01 | Calcium Hardness powder reagent, 100 test | $ 46.46 |
| 66 618 | HANNA | HI93756-03 | Calcium Hardness powder reagent , 300 tests | $ 136.75 |
| 66 618 | HANNA | HI93757-01 | Ozone, DPD method, Reagent kit for 100 tests (O3) | $ 21.04 |
| 66 618 | HANNA | HI93757-03 | Ozone, DPD method, Reagent kit for 300 tests (O3) | $ 63.11 |
| 66 618 | HANNA | HI93758A-50 | Phosphorus, reactive, ascorbic acid method, Reagent kit for 50 test vials (PO43-) | $ 46.46 |
| 66 618 | HANNA | HI93758B-50 | Phosphorus acid-hydrolyzable, ascorbic acid method, Reagent kit for 50 test vials (PO43-) | $ 46.46 |
| 66 618 | HANNA | HI93758C-50 | Phosphorus total, ascorbic acid method, Reagent kit for 50 test vials (PO43-) | $ 42.95 |
| 66 618 | HANNA | HI93763A-50 | Phosphorus reactive HR, vanadomolibdophosphoric acid method, Reagent kit for 50 test vials (PO43-) | $ 49.09 |
| 66 618 | HANNA | HI93763B-50 | Phosphorus total, HR, vanadomolibdophosphoric acid method, Reagent kit for 50 test vials (PO43-) | $ 63.99 |
| 66 618 | HANNA | HI93764A-25 | Ammonia LR, Nessler method, Reagent kit for 25 test vials (NH3-N LR) | $ 67.50 |
| 66 618 | HANNA | HI93764B-25 | Ammonia HR, Nessler method, Reagent kit for 25 test vials (N-NH3 HR) | $ 59.61 |
| 66 618 | HANNA | HI93766-50 | Nitrate, chromotropic acid method, Reagent kit for 50 test vials (NO3--N) | $ 49.09 |
| 66 618 | HANNA | HI93767A-50 | Nitrogen, total, LR, chromotropic acid method, Reagent kit for 50 test vials (N) | $ 87.66 |
| 66 618 | HANNA | HI93767B-50 | Nitrogen, total, HR, chromotropic acid method, Reagent kit for 50 test vials (N) | $ 93.79 |
| 66 618 | HANNA | HI943500A | Conductivity Analog Controller with Direct Input from Potentiometric Probe, range: 0.0 to 199.9 mS/cm | $ 454.07 |
| 66 618 | HANNA | HI943500B | Conductivity Analog Controller with Direct Input from Potentiometric Probe, range: 0.00 to 19.99 mS/cm | $ 454.07 |
| 66 618 | HANNA | HI943500C | Conductivity Analog Controller with Direct Input from Potentiometric Probe, range: 0 to 1999 µS/cm | $ 454.07 |
| 66 618 | HANNA | HI943500D | Conductivity Analog Controller with Direct Input from Potentiometric Probe, range: 0.0 to 199.9 µS/cm | $ 454.07 |
| 66 618 | HANNA | HI94754A-25 | COD LR EPA approved Dichromate method with bar code, 25 tests | $ 39.45 |
| 66 618 | HANNA | HI94754B-25 | COD medium range EPA approved Dichromate method with bar code, 25 tests | $ 39.45 |
| 66 618 | HANNA | HI94754C-25 | COD HR EPA approved Dichromate method with bar code, 25 tests | $ 39.45 |
| 66 618 | HANNA | HI94754D-25 | COD LR Mercury free with bar code, 25 tests | $ 49.09 |
| 66 618 | HANNA | HI94758A-50 | Phosphorus, Reactive, Ascorbic Acid Method with bar code, 50 tests | $ 72.76 |
| 66 618 | HANNA | HI94758B-50 | Phosphorus Acid-Hydrolyzable, Ascorbic Acid Method, with bar code, 50 tests | $ 72.76 |
| 66 618 | HANNA | HI94758C-50 | Phosphorus Total, Ascorbic Acid Method, with bar code, 50 tests | $ 72.76 |
| 66 618 | HANNA | HI94763A-50 | Phosphorus Reactive HR, Vanadomolibdophosphoric Acid Method, with bar code, 45 tests | $ 72.76 |
| 66 618 | HANNA | HI94763B-50 | Phosphorus Total HR, Vanadomolibdophosphoric Acid Method, with bar code, 45 tests | $ 72.76 |
| 66 618 | HANNA | HI94764A-25 | Ammonia LR, Nessler Method with bar code, 25 tests | $ 72.76 |
| 66 618 | HANNA | HI94764B-25 | Ammonia HR, Nessler Method, with bar code, 25 tests | $ 72.76 |
| 66 618 | HANNA | HI94766-50 | Nitrate, Chromotropic Acid Method with bar code, 50 tests | $ 56.98 |
| 66 618 | HANNA | HI94767A-50 | Nitrogen, Total, LR, Chromotropic Acid Method, with bar code, 50 tests | $ 98.18 |
| 66 618 | HANNA | HI94767B-50 | Nitrogen, Total, HR, Chromotropic Acid Method with bar code, 50 tests | $ 98.18 |
| 66 618 | HANNA | HI955501 | 4-wire PT100 thermometer with HI 768 series, Pt100, stainless steel, with 1 m (3.3’) cable (not included), Range: -199.9 to 199.9°C; 200 to 850°C | $ 133.24 |
| 66 618 | HANNA | HI955502 | 4-wire PT100 thermometer with Pt100, stainless steel, with 1 m (3.3’) cable (fixed), Range: -199.9 to 199.9°C; 200 to 850°C | $ 167.43 |
| 66 618 | HANNA | HI9564 | Thermo-Hygrometer and calibration data-logging probe Range: RH 20.0 to 95.0%, Temp 0.0 to 60.0°C / 32 to 140.0°F | $ 101.68 |
| 66 618 | HANNA | HI9565 | Thermo-Hygrometers with Dew Point and calibration data-logging probe with dew point Range: RH 20.0 to 95.0%, Temp 0.0 to 60.0°C / 32 to 140.0°F Dew PT -20.0 to 60.0°C / -4.0 to 140.0°F | $ 124.47 |
| 66 618 | HANNA | HI95747-01 | Copper LR, bicinchoninate acid method, Reagent kit for 100 tests (Cu LR) | $ 93.79 |
| 66 618 | HANNA | HI95747-03 | Copper LR, bicinchoninate acid method, Reagent kit for 300 tests (Cu LR) | $ 281.38 |
| 66 618 | HANNA | HI95761-01 | Chlorine, total, ULR, DPD method, Reagent kit for 100 tests (total Cl2) | $ 20.16 |
| 66 618 | HANNA | HI95761-03 | Chlorine, total, ULR, DPD method, Reagent kit for 300 tests (total Cl2) | $ 56.98 |
| 66 618 | HANNA | HI95762-01 | Chlorine, free, ULR, DPD method, Reagent kit for 100 tests (free Cl2) | $ 19.28 |
| 66 618 | HANNA | HI95762-03 | Chlorine, free, ULR, DPD method, Reagent kit for 300 tests (free Cl2) | $ 53.47 |
| 66 618 | HANNA | HI95769-01 | Detergents, Anionic, MBAS method, Reagent kit for 40 tests (SDBS) | $ 54.35 |
| 66 618 | HANNA | HI95771-01 | Ultra HR chlorine reagent set 100 test | $ 20.16 |
| 66 618 | HANNA | HI95771-03 | Ultra HR chlorine reagent set 300 tests | $ 56.98 |
| 66 618 | HANNA | HI96101 | Bromine, chlorine, cyanuric acid, iron, iodine, and pH photometer: Range Bromine: 0.00 to 8.00 mg/L, Free Chlorine: 0.00 to 2.50 mg/L, Total Chlorine: 0.00 to 3.50 mg/L, Cyanuric Acid: 0 to 80 mg/L, Iron: 0 to 400 μg/L Iodine: 0.0 to 12.5 mg/L, pH: 5.9 to 8.5 pH | $ 254.21 |
| 66 618 | HANNA | HI96101C | Kit including HI 96101 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for bromine, chlorine, cyanuric acid, iron, iodine, and pH. Testing reagents sold separately. | $ 378.68 |
| 66 618 | HANNA | HI96104 | Free & Total Chlorine, Cyanuric Acid, pH ISM | $ 201.61 |
| 66 618 | HANNA | HI96104C | Kit with HI96104 and carrying case (no reagents) | $ 316.44 |
| 66 618 | HANNA | HI96700 | Ammonia LR photometer: Range 0.00 to 3.00 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96700-11 | Cal Check standards for Ammonia LR, 0.0 and 1.5 ppm | $ 119.21 |
| 66 618 | HANNA | HI96700C | Kit including HI 96700 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning clothcuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for ammonia. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96701 | Free chlorine photometer: Range 0.00 to 5.00 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96701-11 | CalCheck standards for Free Chlorine, 0.0 and 1.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96701C | Kit including HI 96701 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for free chlorine. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96702 | Copper, high range photometer: Range 0.00 to 5.00 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96702-11 | CalCheck standards for Copper HR, 0.0 and 2,0 ppm | $ 119.21 |
| 66 618 | HANNA | HI96702C | Copper, high range photometer: Range 0.00 to 5.00 mg/L (ppm) with rugged carryibg case | $ 302.42 |
| 66 618 | HANNA | HI96704 | Hydrazine photometer: Range 0 to 400 μg/L | $ 186.71 |
| 66 618 | HANNA | HI96704-11 | CalCheck standards for Hydrazine, 0.0 and 1 µg/l | $ 119.21 |
| 66 618 | HANNA | HI96705 | Silica photometer: Range 0.00 to 2.00 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96705-11 | CalCheck standards for Silica LR, 0.0 and 1.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96706 | Phosphorus photometer: Range 0.0 to 15.0 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96706-11 | CalCheck standards for Phosphorous, 0.0 and 7.5 ppm | $ 119.21 |
| 66 618 | HANNA | HI96706C | Kit including HI 96706 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for phosphorus. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96707 | Nitrite LR photometer: Range 0.000 to 0.600 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96707-11 | CalCheck standards for Nitrite LR, 0.0 and 0.2 ppm | $ 119.21 |
| 66 618 | HANNA | HI96708 | Nitrite HR photometer: Range 0 to 150 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96708-11 | CalCheck standards for Nitrite HR, 0.0 and 75 ppm | $ 119.21 |
| 66 618 | HANNA | HI96708C | Kit including HI 96708 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for nitrite HR. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96709 | Manganese HR photometer: Range 0.0 to 20.0 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96709-11 | CalCheck standards for Manganese HR, 0.0 and 10 ppm | $ 119.21 |
| 66 618 | HANNA | HI96710 | Free and total chlorine and pH photometer: Range Free Chlorine: 0.00 to 2.50 mg/L, Total Chlorine: 0.00 to 3.50 mg/L, pH: 5.9 to 8.5 pH | $ 201.61 |
| 66 618 | HANNA | HI96710-11 | CalCheck standards for pH, 0.0 and pH 7.0 | $ 119.21 |
| 66 618 | HANNA | HI96710C | Kit including HI 96710 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for total chlorine and pH. Testing reagents sold separately. | $ 316.44 |
| 66 618 | HANNA | HI96711 | Free and total chlorine photometer: Range Free Chlorine 0.00 to 5.00 mg/L, Total Chlorine 0.00 to 5.00 mg/L | $ 201.61 |
| 66 618 | HANNA | HI96711-11 | CalCheck standards for Total Chlorine, 0.0 and 1.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96711C | Kit including HI 96711 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for free and total chlorine. Testing reagents sold separately. | $ 316.44 |
| 66 618 | HANNA | HI96712 | Aluminum Photometer: Range 0.00 to 1.00 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96712-11 | CalCheck standards for Aluminum, 0.0 and 0.50 ppm | $ 119.21 |
| 66 618 | HANNA | HI96713 | Phosphate LR photometer: Range 0.00 to 2.50 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96713-11 | CalCheck standards for Phosphate LR, 0.0 and 1.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96713C | Kit including HI 96713 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for phosphate LR. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96714 | Cyanide HI 96 series portable photometer, 0.000 to 0.200 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96714-11 | CalCheck standards for Cyanide, 0.0 and 0.100 ppm | $ 119.21 |
| 66 618 | HANNA | HI96715 | Ammonia MR photometer: Range 0.00 to 9.99 mg/L (as NH³-N) | $ 186.71 |
| 66 618 | HANNA | HI96715-11 | CalCheck standards for Ammonia MR, 0.0 and 6.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96715C | Kit including HI 96715 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for ammonia MR. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96716 | Bromine photometer: Range, Free Chlorine 0.00 to 8.00 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96716-11 | CalCheck standards for Bromine, 0.0 and 2.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96717 | Phosphate HR photometer: Range 0.0 to 30.0 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96717-11 | CalCheck standards for Phosphate HR, 0.0 and 15.0 ppm | $ 119.21 |
| 66 618 | HANNA | HI96717C | Kit including HI 96717 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for phosphate HR. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96718 | Iodine photometer: Range 0.0 to 12.5 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96718-11 | CalCheck standards for Iodine, 0.0 and 2.5 ppm | $ 119.21 |
| 66 618 | HANNA | HI96719 | Magnesium hardness photometer: Range 0.00 to 2.00 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96719-11 | CalCheck standards for Magnesium Hardness, 0.0 and 1.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96720 | Calcium hardness photometer: Range 0.00 to 2.70 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96720-11 | CalCheck standards for Calcium Hardness, 0.0 and 1.50 ppm | $ 119.21 |
| 66 618 | HANNA | HI96721 | Iron HR photometer: Range 0.00 to 5.00 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96721-11 | CalCheck standards for Iron HR, 0.0 and 1.50 ppm | $ 119.21 |
| 66 618 | HANNA | HI96721C | Kit including HI 96721 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for iron HR. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96722 | Cyanuric acid photometer: Range 0 to 80 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96722-11 | CalCheck standards for Cyanuric Acid, 0.0 and 20 ppm | $ 119.21 |
| 66 618 | HANNA | HI96723 | Chromium VI photometer: Range 0 to 1000 μg/L | $ 186.71 |
| 66 618 | HANNA | HI96723-11 | CalCheck standards for Chromium VI HR, 0.0 and 300 µg/l | $ 119.21 |
| 66 618 | HANNA | HI96724 | Cyanuric acid and pH photometer: Range: Cyanuric Acid: 0 to 80 mg/L; pH: 6.5 to 8.5 pH | $ 201.61 |
| 66 618 | HANNA | HI96724-11 | CalCheck standards for Free & Total Chlorine (liquid), 0.0 and 1.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96724C | Kit including HI 96724 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for cyanuric acid and pH. Testing reagents sold separately. | $ 316.44 |
| 66 618 | HANNA | HI96725 | Chlorine, cyanuric acid and pH photometer: Range Free Chlorine: 0.00 to 5.00 mg/L; Total Chlorine: 0.00 to 5.00 mg/L (ppm); Cyanuric Acid: 0 to 80 mg/L (ppm); pH: 6.5 to 8.5 pH | $ 254.21 |
| 66 618 | HANNA | HI96725C | Kit including HI 96725 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for free chlorine, total chorine, cyanuric acid and pH. Testing reagents sold separately. | $ 378.68 |
| 66 618 | HANNA | HI96726 | Nickel HR photometer: Range 0.00 to 7.00 g/L | $ 186.71 |
| 66 618 | HANNA | HI96726-11 | CalCheck standards for Nickel HR, 0.0 and 3.5 ppm | $ 119.21 |
| 66 618 | HANNA | HI96727 | Color of water photometer: Range 0 to 500 PCU | $ 201.61 |
| 66 618 | HANNA | HI96727-11 | CalCheck standards for Color of Water, 0.0 and 250 PCU | $ 119.21 |
| 66 618 | HANNA | HI96727C | Kit including HI 96727 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96728 | Nitrate photometer: Range 0.0 to 30.0 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96728-11 | CalCheck standards for Nitrate, 0.0 and 15.0 ppm | $ 120.97 |
| 66 618 | HANNA | HI96728C | Kit including HI 96728 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for nitrate. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96729 | Fluoride MR photometer: Range 0.00 to 2.00 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96729-11 | CalCheck standards for Fluoride LR, 0.0 and 1.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96729C | Kit including HI 96729 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for fluoride MR. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96730 | Molybdenum photometer: Range 0.0 to 40.0 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96730-11 | CalCheck standards for Molybdenum, 0.0 and 10.0 ppm | $ 119.21 |
| 66 618 | HANNA | HI96731 | Zinc photometer: Range 0.00 to 3.00 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96731-11 | CalCheck standards for Zinc, 0.0 and 1.50 ppm | $ 119.21 |
| 66 618 | HANNA | HI96732 | Dissolved oxygen photometer: Range 0.0 to 10.0 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96732-11 | CalCheck standards for Dissolved Oxygen, 0.0 and 5.0 ppm | $ 119.21 |
| 66 618 | HANNA | HI96733 | Ammonia HR photometer: Range 0.0 to 50.0 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96733-11 | CalCheck standards for Ammonia HR, 0.0 and 25.0 | $ 129.73 |
| 66 618 | HANNA | HI96733C | Kit including HI 96733 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for ammonia HR. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96734 | HR free and total chlorine photometer: Range Free Chlorine 0.00 to 10.00 mg/L (ppm), Total Chlorine 0.00 to 10.00 mg/L (ppm) | $ 201.61 |
| 66 618 | HANNA | HI96734-11 | CalCheck standards for Free & Total Chlorine HR, 0.0 and 4.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96734C | Kit including HI 96734 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for high range free and total chlorine. Testing reagents sold separately. | $ 316.44 |
| 66 618 | HANNA | HI96735 | Total hardness photometer: Range LR: 0 to 250 mg/L (ppm); MR: 200 to 500 mg/L (ppm); HR: 400 to 750 mg/L (ppm) | $ 201.61 |
| 66 618 | HANNA | HI96735-11 | CalCheck standards for Hardness LR/MR/HR, 0.0 and 150/350/520 ppm | $ 119.21 |
| 66 618 | HANNA | HI96735C | Kit including HI 96735 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for high range free and total chlorine. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96736 | Total hardness and pH ISM | $ 201.61 |
| 66 618 | HANNA | HI96737 | Silver photometer: Range 0.000 to 1.000 mg/L | $ 201.61 |
| 66 618 | HANNA | HI96737-11 | CalCheck standards for Silver, 0.0 and 0.500 ppm | $ 119.21 |
| 66 618 | HANNA | HI96738 | Chlorine dioxide photometer: Range 0.00 to 2.00 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96738-11 | CalCheck standards for Chlorine Dioxide, 0.0 and 1.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96739 | Fluoride HR photometer: Range 0.0 to 20.0 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96739-11 | CalCheck standards for Fluoride HR, 0.0 and 10.0 ppm | $ 119.21 |
| 66 618 | HANNA | HI96739C | Fluoride HR portable photometer kit: Includes photometer, sample cuvettes (2) with caps, 2000 µL automatic pipette with instruction sheet, 9V battery, cuvette cleaning cloth, instrument quality certificate, instruction manual and rigid carrying case. Range 0.0 to 20.0 mg/L (ppm) | $ 302.42 |
| 66 618 | HANNA | HI96740 | Nickel LR photometer: Range 0.000 to 1.000 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96740-11 | CalCheck standards for Nickel LR, 0.0 and 0.500 ppm | $ 119.21 |
| 66 618 | HANNA | HI96741 | Total hardness and iron LR: Range Iron: 0 to 400 μg/L, Total Hardness: 0.00 to 4.70 mg/L | $ 201.61 |
| 66 618 | HANNA | HI96742 | Iron LR and manganese photometer: Range Iron: 0 to 400 μg/L Manganese: 0 to 300 μg/L | $ 201.61 |
| 66 618 | HANNA | HI96744-11 | Cal check cuvets for Total hardness | $ 120.09 |
| 66 618 | HANNA | HI96745 | Chlorine, total hardness, iron, and pH photometer: Free Chlorine: 0.00 to 2.50 mg/L, Total Chlorine: 0.00 to 3.50 mg/L, Total Hardness: 0.00 to 4.70 mg/L, Iron: 0 to 400 μg/L pH: 5.9 to 8.5 pH | $ 201.61 |
| 66 618 | HANNA | HI96746 | Iron LR photometer: Range 0 to 400 μg/L | $ 186.71 |
| 66 618 | HANNA | HI96746-11 | CalCheck standards for Iron LR, 0.0 and 0.800 ppm | $ 119.21 |
| 66 618 | HANNA | HI96747 | Copper LR photometer: Range 0.000 to 1.500 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96747-11 | CalCheck standards for Copper LR, 0.0 and 0.750 ppm | $ 119.21 |
| 66 618 | HANNA | HI96748 | Manganese LR photometer: Range 0 to 300 µg/L | $ 186.71 |
| 66 618 | HANNA | HI96748-11 | CalCheck standards for Manganese LR, 0.0 and 150 µg/l | $ 119.21 |
| 66 618 | HANNA | HI96749 | Chromium LR photometer | $ 186.71 |
| 66 618 | HANNA | HI96749-11 | CalCheck standards for Chromium VI LR, 0.0 and 100 µg/l | $ 119.21 |
| 66 618 | HANNA | HI96750 | Potassium photometer: Range 0.00 to 50.0 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96750-11 | CalCheck standards for Potassium LR & MR, 0.0 and 5.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96751 | Sulfate photometer: Range 0 to 150 mg/L | $ 186.71 |
| 66 618 | HANNA | HI96751-11 | CalCheck standards for Sulphate, 0.0 and 75.0 ppm | $ 119.21 |
| 66 618 | HANNA | HI96751C | Kit including HI 96751 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for sulfate. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96752 | Calcium and magnesium photometer: Range Ca: 0 to 400 mg/L, Mg: 0 to 150 mg/L | $ 201.61 |
| 66 618 | HANNA | HI96752-11 | CalCheck standards for Calcium, 0.0 and 200 ppm | $ 119.21 |
| 66 618 | HANNA | HI96753 | Chloride photometer: Range 0.0 to 20.0 mg/L (ppm | $ 186.71 |
| 66 618 | HANNA | HI96753-11 | CalCheck standards for Chloride, 0.0 and 10.0 ppm | $ 119.21 |
| 66 618 | HANNA | HI96753C | Kit including HI 96753 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for chloride. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96754-11 | CalCheck standards for Magnesium HR, 0.0 and 100 ppm | $ 119.21 |
| 66 618 | HANNA | HI96759 | Maple syrup photometer (for USA): Range 0.0 to100.0% transmittance | $ 239.30 |
| 66 618 | HANNA | HI96761 | Trace total chlorine photometer: Range 0.000 to 0.500 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96761-11 | CalCheck standards for Total Chlorine Traces, 0.0 and 0.400 ppm | $ 119.21 |
| 66 618 | HANNA | HI96762 | Trace free chlorine photometer: Range 0.000 to 0.500 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96762-11 | CalCheck standards for Free Chlorine Traces, 0.0 and 0.400 ppm | $ 119.21 |
| 66 618 | HANNA | HI96762C | Kit including HI 96762 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for free chlorine (traces). Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96769 | Anionic detergents photometer: Range 0.00 to 3.50 mg/L (as SDBS) | $ 186.71 |
| 66 618 | HANNA | HI96769-11 | CalCheck standards for Anionic Surfactants, 0.0 and 1.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96770 | Silica ISM, 0 to 200 ppm, with CAL CHECK | $ 186.71 |
| 66 618 | HANNA | HI96770-01 | Silica HR powder reagent 100 tests | $ 128.86 |
| 66 618 | HANNA | HI96770-03 | Silica HR powder reagent 300 tests | $ 334.85 |
| 66 618 | HANNA | HI96770-11 | CalCheck standards for Silica HR, 0.0 and 150 ppm | $ 119.21 |
| 66 618 | HANNA | HI96771 | UHR chlorine photometer: Range LR: 0.00 to 5.00 mg/L (ppm) UHR: 0 to 500 mg/L (ppm) | $ 186.71 |
| 66 618 | HANNA | HI96771-11 | CalCheck standards for Chlorine LR & ULR, 0.0 and 1.00 ppm | $ 119.21 |
| 66 618 | HANNA | HI96771C | Kit including HI 96771 photometer, hard carrying case, 2 sample cuvettes, scissors, cuvette cleaning cloth, battery, instruction manual and CAL CHECK standards for ultra high range chlorine. Testing reagents sold separately. | $ 302.42 |
| 66 618 | HANNA | HI96785 | Portable honey grade analyzer | $ 283.13 |
| 66 618 | HANNA | HI96786 | Nitrate ISM w/ CAL CHECK | $ 186.71 |
| 66 618 | HANNA | HI96786-11 | Nitrate CAL CHECK reagents set | $ 119.21 |
| 66 618 | HANNA | HI96786C | Nitrate portable photometer, 0.0 to 100 mg/L | $ 302.42 |
| 66 618 | HANNA | HI96800 | Refracting Index Refractometer | $ 258.59 |
| 66 618 | HANNA | HI96801 | Sugar in foods refractometer; sugar content Range: 0 to 85% Brix (% Brix) | $ 148.14 |
| 66 618 | HANNA | HI96802 | Sugar in foods refractometer; sugar content Range: 0 to 85% (by weight) (% Fructose) | $ 148.14 |
| 66 618 | HANNA | HI96803 | Sugar in foods refractometer; sugar content Range: 0 to 85% (by weight) (% Glucose) | $ 148.14 |
| 66 618 | HANNA | HI96804 | Sugar in foods refractometer; sugar content Range: 0 to 85% (by weight) (%Invert Sugar) | $ 148.14 |
| 66 618 | HANNA | HI96811 | Sugar in wine refractometer; sugar content Range: 0 to 50 % Brix | $ 149.02 |
| 66 618 | HANNA | HI96812 | Sugar in wine refractometer; sugar content Range: 0 to 27 °Baumé | $ 148.14 |
| 66 618 | HANNA | HI96813 | Sugar in wine refractometer; sugar content Range: 0 to 50 % Brix; 0.0-25.0 % V/V Potential Alcohol | $ 148.14 |
| 66 618 | HANNA | HI96814 | Sugar in wine refractometer; sugar content Range: 0 to 50 % Brix; 0-230° Oechsle; 0-42° KMW | $ 148.14 |
| 66 618 | HANNA | HI96816 | Sugar in wine refractometer; sugar content Range: 4.9 to 56.8 %v/v Potential Alcohol (10 to 75 %Brix) | $ 148.14 |
| 66 618 | HANNA | HI96821 | Sodium chloride measurement for the food industry Range: (g/100 g) 0-28, (g/100 mL) 0-34, Specific Gravity 1.000 to 1.216, °Baumé 0-26, Temp 0 to 80 °C (32 to 176 °F) | $ 148.14 |
| 66 618 | HANNA | HI96822 | Seawater analysis refractometer, Range: PSU 0 to 50, ppt 0 to 150, Specific Gravity (20/20) 1.000 to 1.114, Temperature 0 to 80°C (32 to 176°F) | $ 148.14 |
| 66 618 | HANNA | HI96831 | Refractometer for ethylene glycol, Range: 0 to 100 %Volume 0 to -50 °C (32 to -58 °F) Freezing Point | $ 179.70 |
| 66 618 | HANNA | HI96832 | Refractometer for propylene glycol, Range: 0 to 100 %Volume 0 to -51 °C (32 to -59.8 °F) Freezing Point | $ 179.70 |
| 66 618 | HANNA | HI97500 | Portable lux meter Range: 0.001 to 1.999 Klux/0.01 to 19.99 Klux/0.1 to 199.9 Klux | $ 116.58 |
| 66 618 | HANNA | HI9810-6 | PH/EC/TDS METER | $ 144.63 |
| 66 618 | HANNA | HI98103B | Beer pH tester Kit | $ 37.69 |
| 66 618 | HANNA | HI98103H | Hydroponics pH Kit, HI98103, HI710022, 7.0,4.0 clean.caccia | $ 39.45 |
| 66 618 | HANNA | HI98103SK | Lab In The Box Student Kit for Education | $ 43.83 |
| 66 618 | HANNA | HI98103SW | SOIL WATER KIT | $ 43.83 |
| 66 618 | HANNA | HI98103TK | Lab In The Box Teachers Kit for Education w/ Student Kit | $ 131.49 |
| 66 618 | HANNA | HI98106 | Champ® pH electronic paper | $ 39.45 |
| 66 618 | HANNA | HI98108 | pHep® pH electronic paper with automatic Temperature compensation | $ 42.95 |
| 66 618 | HANNA | HI9811-5 | pH/EC/TDS/Temperature meter; EC range: 0 to 6000 µS/cm, TDS range: 0 to 3000 ppm (mg/L) | $ 175.31 |
| 66 618 | HANNA | HI98111 | pH Piccolo® with a 9 cm electrode | $ 144.63 |
| 66 618 | HANNA | HI98112 | pH Piccolo®2 with 16 cm electrode | $ 154.28 |
| 66 618 | HANNA | HI98113 | pH Piccolo® Plus; with 16 cm electrode and Temperature readout on LCD | $ 174.44 |
| 66 618 | HANNA | HI9812-5 | pH/EC/TDS/Temperature meter; EC range: 0 to 1990 µS/cm, TDS range: 0 to 1990 ppm (mg/L) | $ 161.29 |
| 66 618 | HANNA | HI98127B | Home Beer pH/Temp. tester kit | $ 80.64 |
| 66 618 | HANNA | HI98127N | pHep®4 Waterproof pH tester w/ retail packing | $ 74.51 |
| 66 618 | HANNA | HI98128N | pHep®5 Waterproof pH tester w/ retail packing | $ 85.03 |
| 66 618 | HANNA | HI98128W | pH/Temp. Meter kit for the Wine Hobbyist 7/4/ cleaning | $ 89.41 |
| 66 618 | HANNA | HI98129N | Combo Waterproof pH/EC/TDS/°C w/ retail packing | $ 134.12 |
| 66 618 | HANNA | HI9813-5 | pH/EC/TDS/Temperature meter; EC range: 0.00 to 4.00 mS/cm, TDS range: 0 to 1999 ppm (mg/L) | $ 179.70 |
| 66 618 | HANNA | HI9813-5N | New pH/EC/TDS/C meter, w/ range (4.0 - 1999 ppm) | $ 179.70 |
| 66 618 | HANNA | HI9813-6 | pH/EC/TDS/Temperature meter with CAL CHECK™, Range: pH 0.0 to 14.0 pH EC 0.00 to 4.00 mS/cm TDS 0 to 1999 ppm (mg/L) | $ 179.70 |
| 66 618 | HANNA | HI9813-6N | New pH/EC/TDS/C meter w range (4.00 - 199ppm) | $ 179.70 |
| 66 618 | HANNA | HI98130N | Combo Waterproof pH/EC/TDS/°C w/ retail packing | $ 134.12 |
| 66 618 | HANNA | HI98140 | Waterproof, portable pH meter with HANNA®' intelligent electrode, up to 5 point Calibration points, log-on-demand up to 500 records, PC connectivity, range: pH -4.00 to 19.99 pH, Temperature -20.0 to 120.0°C | $ 433.90 |
| 66 618 | HANNA | HI981401N-01 | pH Gro'chek pH indicator Range: 0.0 to 14.0 pH, 115V | $ 87.66 |
| 66 618 | HANNA | HI981402-01 | Pronto pH indicator Range: 0.0 to 14.0 pH, 115V | $ 90.29 |
| 66 618 | HANNA | HI981404N-01 | pH/TDS combination Gro'Chek® with large LCD , Range: 0.0 to 14.0 pH; 0 to 1990 ppm (mg/L), 115V | $ 144.63 |
| 66 618 | HANNA | HI981405N-01 | pH/EC combination Gro'Chek® with large LCD, Range: 0.0 to 14.0 pH; 0.00 to 9.99 mS/cm, 115V | $ 144.63 |
| 66 618 | HANNA | HI98143-01 | pH and EC transmitter with isolated output; range: 0 to 14 pH; 0 to 10 mS/cm, 0-1 V output | $ 369.04 |
| 66 618 | HANNA | HI98143-04 | pH and EC transmitter with isolated range: 0 to 14 pH; 0 to 10 mS/cm, output; 0-4 V output | $ 369.04 |
| 66 618 | HANNA | HI98143-20 | pH and EC transmitter with isolated range: 0 to 14 pH; 0 to 10 mS/cm, output; 0-5 V output | $ 369.04 |
| 66 618 | HANNA | HI98143-22 | pH and EC transmitter with isolated range: 0 to 14 pH; 0 to 10 mS/cm, output; 4-20 mA output | $ 369.04 |
| 66 618 | HANNA | HI98150 | Waterproof, portable pH/ORP meter with HANNA®' intelligent electrode, up to 5 point Calibration points, log-on-demand up to 500 records, PC connectivity, range: pH -4.00 to 19.99 pH, mV ±600.0 mV; ±2000 mV, Temperature -20.0 to 120.0°C | $ 455.82 |
| 66 618 | HANNA | HI981504/5-01 | pH/TDS/temperature monitor with backlit LCDs; TDS factor 0.5 | $ 184.08 |
| 66 618 | HANNA | HI981504/7-01 | pH/TDS/temperature monitor with backlit LCDs; TDS factor 0.7 | $ 184.08 |
| 66 618 | HANNA | HI98160 | Waterproof, portable pH/ORP and Temperature meter with auto-endpoint (meter automatically enters the HOLD mode, when the reading is stable), log-on-demand up to 500 records, PC connectivity, Calibration Check™, range: pH -4.00 to 19.99 pH, mV ±600.0 mV; ±2000 mV, Temperature -20.0 to 120.0°C | $ 473.35 |
| 66 618 | HANNA | HI98172 | Waterproof, portable pH/ORP/ISE meter with up to 5 calibration points, log-on-demand up to 150 records, PC connectivity, Calibration Check™, range: pH -2.0 to 16.0; -2.00 to 16.00 pH, mV ±699.9 mV; ±2000 mV, ISE 0.001 to 19990 ppm (0.001 ppm (from 0.001 to 1.999) 0.01 ppm (from 2.00 to 19.99) 0.1 ppm (from 20.0 to 199.9) 1 ppm (from 200 to 1999) 10 ppm (from 2000 to 19990)), Temperature -20.0 to 120.0 °C (-4.0 to 248.0°F) | $ 814.34 |
| 66 618 | HANNA | HI98183-01 | Waterproof, portable pH/ORP and Temperature meter with Graphic Display, expanded calibration and PC connectivity, rechargeable batteries w/inductive charger and power supply, range: pH -2.0 to 20.0; -2.00 to 20.00; -2.000 to 20.000 pH, mV ±2000 mV, Temperature -20.0 to 120.0 °C (-4.0 to 248.0°F), 115V | $ 761.74 |
| 66 618 | HANNA | HI98185-01 | Waterproof, portable pH/ORP/ISE and Temperature meter with Graphic Display, expanded calibration and PC connectivity, rechargeable batteries w/inductive charger and power supply, range: pH -2.0 to 20.0; -2.00 to 20.00; -2.000 to 20.000 pH, mV ±2000 mV, From 1.00 x 10-7 to 9.99 x 1010 concentration (choice of units), Temperature -20.0 to 120.0 °C (-4.0 to 248.0°F), 115V | $ 955.47 |
| 66 618 | HANNA | HI98186-01 | Dissolved oxygen and BOD meter; Range: DO 0.00 to 50.00 ppm; 0.0 to 600.0 % saturation Barometric Pressure 450 to 850 mmHg Salinity Compensation 0 to 70 ppt (g/L) Temp -20.0 to 120.0°C (-4.0 to 248.0°F) 115V | $ 911.64 |
| 66 618 | HANNA | HI98188-01 | Graphic Display EC/resistivity/TDS/NaCl meter, Ranges: EC 0.-1000.0 mS/cm, Resistivity 1-100.0 MOhm•cm, TDS 0.00-400.0 g/L (autoranging), NaCl %: 0.0 to 400.0%; seawater scale: 0.00 to 80.00 (PSU); Practical salinity: 0.01 to 42.00, Temp -20.0 to 120.0°C; 115V | $ 810.83 |
| 66 618 | HANNA | HI98201 | ORP tester | $ 86.78 |
| 66 618 | HANNA | HI98203 | Salintest Salt content meter Range: 0.00 to 1.00 pNaCl (58.4 to 5.84 g/L NaCl) | $ 83.27 |
| 66 618 | HANNA | HI9828-27 | Quick calibration solution, 1 G | $ 110.45 |
| 66 618 | HANNA | HI9829-00041 | HI9829 with pH/ORP, EC, DO, 4 meter probe, carrying case, 115V | $ 2,191.44 |
| 66 618 | HANNA | HI9829-00101 | HI9829 with pH/ORP, EC, DO, 10 meter probe, carrying case, 115V | $ 2,279.09 |
| 66 618 | HANNA | HI9829-00201 | HI9829 with pH/ORP, EC, DO, 20 meter probe, carrying case, 115V | $ 2,366.75 |
| 66 618 | HANNA | HI9829-01 | Meter only, charging adapter and instruction manual, 115VAC | $ 1,139.55 |
| 66 618 | HANNA | HI9829-01041 | HI9829 with pH/ORP, EC, DO, Turbidity, 4 meter probe, carrying case, 115V | $ 2,805.04 |
| 66 618 | HANNA | HI9829-01101 | HI9829 with pH/ORP, EC, DO, Turbidity, 10 meter probe, carrying case, 115V | $ 2,892.70 |
| 66 618 | HANNA | HI9829-01201 | HI9829 with pH/ORP, EC, DO, Turbidity, 20 meter probe, carrying case, 115V | $ 2,805.04 |
| 66 618 | HANNA | HI9829-02041 | HI9829, Logging with pH/ORP, EC, DO, 4 meter probe, carrying case, 115V | $ 2,629.72 |
| 66 618 | HANNA | HI9829-02101 | HI9829, Logging with pH/ORP, EC, DO, 10 meter probe, carrying case, 115V | $ 2,717.38 |
| 66 618 | HANNA | HI9829-02201 | HI9829, Logging with pH/ORP, EC, DO, 20 meter probe, carrying case, 115V | $ 2,805.04 |
| 66 618 | HANNA | HI9829-03041 | HI9829, Logging with pH/ORP, EC, DO, Turbidity, 4 meter probe, carrying case, 115V | $ 3,068.01 |
| 66 618 | HANNA | HI9829-03101 | HI9829, Logging with pH/ORP, EC, DO, Turbidity, 10 meter probe, carrying case, 115V | $ 3,155.67 |
| 66 618 | HANNA | HI9829-03201 | HI9829, Logging with pH/ORP, EC, DO, Turbidity, 20 meter probe, carrying case, 115V | $ 3,243.32 |
| 66 618 | HANNA | HI9829-10 | 10 ppm standard sachet for HI 7609829-10 ammonium ISE, 25 mL (25) | $ 56.98 |
| 66 618 | HANNA | HI9829-10/11 | HI 9829-10/11 Kit containing 10 sachets each of 10 ppm and 100 ppm standard for HI 7609829-10 ammonium ISE | $ 56.98 |
| 66 618 | HANNA | HI9829-10041 | HI9829, GPS, with pH/ORP, EC, DO, 4 meter probe, carrying case, 115V | $ 2,629.72 |
| 66 618 | HANNA | HI9829-10101 | HI9829, GPS, with pH/ORP, EC, DO, 10 meter probe, carrying case, 115V | $ 2,717.38 |
| 66 618 | HANNA | HI9829-10201 | HI9829, GPS, with pH/ORP, EC, DO, 20 meter probe, carrying case, 115V | $ 2,805.04 |
| 66 618 | HANNA | HI9829-11 | 100 ppm standard sachet for HI 7609829-10 ammonium ISE, 25 mL (25) | $ 56.98 |
| 66 618 | HANNA | HI9829-11041 | HI9829, GPS, with pH/ORP, EC, DO, Turbidity, 4 meter probe, carrying case, 115V | $ 2,892.70 |
| 66 618 | HANNA | HI9829-11101 | HI9829, GPS, with pH/ORP, EC, DO, Turbidity, 10 meter probe, carrying case, 115V | $ 2,980.35 |
| 66 618 | HANNA | HI9829-11201 | HI9829, GPS, with pH/ORP, EC, DO, Turbidity, 20 meter probe, carrying case, 115V | $ 3,068.01 |
| 66 618 | HANNA | HI9829-12 | 10 ppm standard sachet for HI 7609829-11 chloride ISE, 25 mL (25) | $ 56.98 |
| 66 618 | HANNA | HI9829-12/13 | Kit containing 10 sachets each of 10 ppm and 100 ppm standard for HI 7609829-11 chloride ISE | $ 56.98 |
| 66 618 | HANNA | HI9829-12041 | HI9829, GPS, Logging with pH/ORP, EC, DO, 4 meter probe, carrying case, 115V | $ 3,243.32 |
| 66 618 | HANNA | HI9829-12101 | HI9829, GPS, Logging with pH/ORP, EC, DO, 10 meter probe, carrying case, 115V | $ 3,330.98 |
| 66 618 | HANNA | HI9829-12201 | HI9829, GPS, Logging with pH/ORP, EC, DO, 20 meter probe, carrying case, 115V | $ 3,418.64 |
| 66 618 | HANNA | HI9829-13 | 100 ppm standard sachet for HI 7609829-11 chloride ISE, 25 mL (25) | $ 56.98 |
| 66 618 | HANNA | HI9829-13041 | HI9829, GPS, Logging with pH/ORP, EC, DO, Turbidity, 4 meter probe, carrying case, 115V | $ 3,418.64 |
| 66 618 | HANNA | HI9829-13101 | HI9829, GPS, Logging with pH/ORP, EC, DO, Turbidity, 10 meter probe, carrying case, 115V | $ 3,506.30 |
| 66 618 | HANNA | HI9829-13201 | HI9829, GPS, Logging with pH/ORP, EC, DO, Turbidity, 20 meter probe, carryin, case, 115V | $ 3,593.95 |
| 66 618 | HANNA | HI9829-14 | 10 ppm standard sachet for HI 7609829-12 nitrate ISE, 25 mL (25) | $ 56.98 |
| 66 618 | HANNA | HI9829-14/15 | Kit containing 10 sachets each of 10 ppm and 100 ppm standard for HI 7609829-12 nitrate ISE | $ 56.98 |
| 66 618 | HANNA | HI9829-15 | 100 ppm standard sachet for HI 7609829-12 nitrate ISE, 25 mL (25) | $ 56.98 |
| 66 618 | HANNA | HI9829-16 | 0 FNU Turbidity Calibration solution for Hi9829 | $ 81.52 |
| 66 618 | HANNA | HI9829-17 | 20 FNU Turbidity Calibration solution for Hi9829 | $ 81.52 |
| 66 618 | HANNA | HI9829-18 | 200 FNU Turbidity Calibration solution for Hi9829 | $ 81.52 |
| 66 618 | HANNA | HI98290-01 | Meter only with GPS, charging adapter and instruction manual, 115VAC | $ 1,490.18 |
| 66 618 | HANNA | HI98300 | DiST® 1 TDS tester with HI 73301 probe (0.5 conversion factor) Range: 1999 ppm (mg/L) | $ 44.71 |
| 66 618 | HANNA | HI98301 | DiST® 1 TDS tester with HI 73301 probe Range: 1999 ppm (mg/L) | $ 44.71 |
| 66 618 | HANNA | HI98302 | DiST® 2 TDS tester with HI 73302 probe Range: 10.00 ppt (g/L) | $ 44.71 |
| 66 618 | HANNA | HI98303 | DiST® 3 EC tester with HI 73303 probe Range: 1999 μS/cm | $ 44.71 |
| 66 618 | HANNA | HI98304 | DiST® 4 EC tester with HI 73304 probe Range: 19.99 mS/cm | $ 44.71 |
| 66 618 | HANNA | HI98308 | PWT Pure water test Range: 0.0 to 99.9 μS/cm | $ 51.72 |
| 66 618 | HANNA | HI98311N | DiST®5 WP EC tester cap w/ retail packing | $ 86.78 |
| 66 618 | HANNA | HI983302N-01 | Gro'chek EC meter Range: 0.00 to 9.99 mS/cm, 115V | $ 78.02 |
| 66 618 | HANNA | HI983304-01 | Pronto EC meter, resolution: 0.01 µS/cm Range: 0.00 to 19.99 μS/cm, 115V | $ 67.50 |
| 66 618 | HANNA | HI983307-01 | Pronto EC meter, resolution: 0.01 mS/cm Range: 0.00 to 9.99 mS/cm, 115V | $ 67.50 |
| 66 618 | HANNA | HI983308-01 | Pronto TDS meter, resolution: 0.01 g/L (ppt) Range: 0.00 to 9.99 ppt (g/L), 115V | $ 67.50 |
| 66 618 | HANNA | HI98331 | Soil Test™ direct soil EC tester Range: 0.00 to 4.00 mS/cm | $ 75.39 |
| 66 618 | HANNA | HI9835 | EC/TDS/NaCl/°C meter, Ranges: EC 0.00-500.0 mS/cm, TDS 0.00-400.0 g/L, NaCl 0.0-400.0%, Temp 0.0 to 60.0°C | $ 623.24 |
| 66 618 | HANNA | HI98360 | EC/TDS/NaCl/°C meter with PC connectivity and logging, Ranges: EC 0.00-500.0 mS/cm, TDS 0.00-400.0 g/L, NaCl 0.0-400.0%, Temp -9.9 to 120.0°C | $ 739.83 |
| 66 618 | HANNA | HI98402 | Fluoride meter; fluoride range: 0.050 to 0.500 mg/L (ppm); 0.50 to 5.00 mg/L; 5.0 to 50.0 mg/L; 50 to 500 mg/L; 0.50 to 1.90 g/L; Temperature range: -20.0 to 120.0ºC (-4.0 to 248.0ºF) | $ 371.67 |
| 66 618 | HANNA | HI98501 | Checktemp®C electronic digital thermometer; resolution: 0.1°C Range: -50.0 to 150.0°C | $ 28.93 |
| 66 618 | HANNA | HI98501-1 | ±1°C accuracy pocket thermometer with 1m cable Range: -50.0 to 150.0°C | $ 17.53 |
| 66 618 | HANNA | HI98502 | Checktemp®F electronic digital thermometer; resolution: 0.1°F Range: -58.0 to 302.0°F | $ 28.93 |
| 66 618 | HANNA | HI98503 | Checktemp®C Thermistor thermometer w/ certificate | $ 64.87 |
| 66 618 | HANNA | HI98504 | Checktemp®F Thermistor thermometer w/certificate | $ 64.87 |
| 66 618 | HANNA | HI98505 | Checktemp®LC electronic digital thermometer; resolution: 0.1°C Range: -50.0 to 150.0°C | $ 28.93 |
| 66 618 | HANNA | HI98509 | Checktemp®1C pocket thermometer Range: -50.0 to 150.0°C | $ 29.80 |
| 66 618 | HANNA | HI98509-01 | Weighted probe precision thermometer °C Range: -50.0 to 150.0°C | $ 49.09 |
| 66 618 | HANNA | HI98509-1 | ±1°C accuracy pocket thermometer with 1m cable Range: -50.0 to 150.0°C | $ 17.53 |
| 66 618 | HANNA | HI98510 | Checktemp®1F pocket thermometer Range: -58.0 to 302.0°F | $ 29.80 |
| 66 618 | HANNA | HI98511 | Checktemp®1C Thermistor thermometer, certificate | $ 67.50 |
| 66 618 | HANNA | HI98512 | Checktemp®1F Thermistor thermometer, batt & cal cert. | $ 67.50 |
| 66 618 | HANNA | HI98517 | Key® pocket thermometer, 550 °C with General Purpose Probe | $ 53.47 |
| 66 618 | HANNA | HI98517-12 | Key® pocket thermometer °C ; Interchangeable probe (surface) | $ 21.91 |
| 66 618 | HANNA | HI98517-13 | Key® pocket thermometer °C ; Interchangeable probe (penetration) | $ 21.91 |
| 66 618 | HANNA | HI98517-15 | Key® pocket thermometer °C ; Interchangeable probe 170 mm (liquid, general) | $ 22.79 |
| 66 618 | HANNA | HI98517-30 | Key® pocket thermometer °C ; Interchangeable probe 320 mm (liquid, general) | $ 28.05 |
| 66 618 | HANNA | HI98703-01 | EPA turbidity meter with Fast Tracker™ technology; Range 0.00 to 9.99; 10.0 to 99.9 and 100 to 1000 NTU; 115V | $ 810.83 |
| 66 618 | HANNA | HI98703-11 | Calibration set for HI98703 | $ 85.90 |
| 66 618 | HANNA | HI98703-58 | Silicon oil for turbidity meter | $ 17.53 |
| 66 618 | HANNA | HI98713-01 | ISO turbidity meter with Fast Tracker™ technology; Range 0.00 to 9.99; 10.0 to 99.9 and 100 to 1000 FNU; 115V | $ 810.83 |
| 66 618 | HANNA | HI98713-11 | Turbidity cal set 0. 10, 15, 100, 750 NTU | $ 84.15 |
| 66 618 | HANNA | HI9910-1 | Industrial Grade pH Digital Controller Wall Mounted with Single Setpoint and Proportional Dosage, range: pH 0.00 to 14.00 pH, 115V | $ 505.78 |
| 66 618 | HANNA | HI991001 | Portable pH/Temperature meter, missing Probe Indicator, extended range: pH -2.00 to 16.00 pH, Temperature -5.0 to 105.0°C; 23.0 to 221.0°F | $ 269.98 |
| 66 618 | HANNA | HI991001C | HI991000 WITH HI710023 HI72911, BLACK CASE | $ 302.42 |
| 66 618 | HANNA | HI991002 | Portable pH/ORP/Temperature meter, missing Probe Indicator, extended range: pH -2.00 to 16.00 pH, ORP ±1999 mV, Temperature -5.0 to 105.0°C; 23.0 to 221.0°F | $ 297.16 |
| 66 618 | HANNA | HI991003 | Portable pH/pH-mV/ORP and Temperature meter with Sensor Check™, range: pH -2.00 to 16.00 pH, pH-mV ±825 mV (pH-mV), ORP ±1999 mV, Temperature -5.0 to 105.0°C; 23.0 to 221.0°F | $ 367.28 |
| 66 618 | HANNA | HI99104 | Education pH tester | $ 30.68 |
| 66 618 | HANNA | HI99104H | Hydroponics pH Tester w/ caccia | $ 37.69 |
| 66 618 | HANNA | HI9912-1 | Industrial Grade pH & ORP Digital Controller, pH dosage: activated when pH > setpoint; ORP dosage: activated when mV reading < setpoint, range: pH 0.00 to 14.0 pH, mV 0 to 1000 mV, 115V | $ 563.64 |
| 66 618 | HANNA | HI99121 | Direct soil pH measurement kit, range pH -2.00 to 16.00 pH, Temperature -5.0 to 105.0°C / 23.0 to 221.0°F | $ 341.86 |
| 66 618 | HANNA | HI99121K | Special kit of two intruments HI99121 & HI993310 | $ 786.29 |
| 66 618 | HANNA | HI9913-1 | Industrial Grade pH & Conductivity Digital Controller with Proportional Control for Fertigation, pH dosage: activated when pH > setpoint; EC dosage: activated when mS reading < setpoint, range: 0.00 to 14.00 pH; 0.00 to 10.00 mS/cm, 115V | $ 563.64 |
| 66 618 | HANNA | HI991300C | HI991300 WITH HI710024 IN HI710031 | $ 419.00 |
| 66 618 | HANNA | HI991301C | HI991301 WITH HI710023 IN HI710031 | $ 419.00 |
| 66 618 | HANNA | HI99131 | pH meter for plating baths w/flat tip Titanium body electrode, range: pH -2.00 to 16.00 pH, Temperature -5.0 to 105.0°C / 23.0 to 221.0°F | $ 356.77 |
| 66 618 | HANNA | HI9914-1 | Industrial Grade Fertigation Digital Controller for Process Control Requirements in Agriculture, range: 0.00 to 10.00 mS/cm; 0.00 to 14.00 pH, 115V | $ 565.39 |
| 66 618 | HANNA | HI991401-01 | pH Gro'chek pH and Temperature monitor Range: 0.0 to 14.0 pH 0.0 to 60.0°C (32.0 to 140.0°F), 115V | $ 92.92 |
| 66 618 | HANNA | HI991404-01 | Combo Gro'chek pH/EC/TDS/Temperature monitor; EC resolution: 1 µS/cm, TDS resolution: 1 mg/L (ppm) Range: 0.0 to 14.0 pH EC 0 to 3999 μS/cm TDS 0 to 2000 ppm (mg/L), 115V | $ 167.43 |
| 66 618 | HANNA | HI991405-01 | Combo Gro'chek pH/EC/TDS/Temperature monitor; EC resolution: 0.01 mS/cm, TDS resolution: 0.01 g/L (ppt) Range: 0.0 to 14.0 pH 0.00 to 20.00 mS/cm 0.00 to 10.00 ppt (g/L), 115V | $ 168.30 |
| 66 618 | HANNA | HI99141 | pH meter for boilers and cooling towers w/flat tip Titanium body electrode (teflon junction), range: pH -2.00 to 16.00 pH, Temperature -5.0 to 105.0°C / 23.0 to 221.0°F | $ 348.88 |
| 66 618 | HANNA | HI99151 | pH meter for Beer analysis, range pH -2.00 to 16.00 pH, with FC214 beer pH electrode | $ 337.48 |
| 66 618 | HANNA | HI99161 | HACCP Compliant pH meter for food and dairy, range: pH 0.00 to 14.00 pH, Temperature 0.0 to 60.0°C / 32.0 to 140.0°F | $ 383.06 |
| 66 618 | HANNA | HI99163 | HACCP Compliant pH meter for meat, range: pH 0.00 to 14.00 pH, Temperature 0.0 to 60.0°C / 32.0 to 140.0°F | $ 383.06 |
| 66 618 | HANNA | HI99171 | pH meter for leather and paper w/flat tip electrode, range: pH -2.00 to 16.00 pH, Temperature -5.0 to 105.0°C / 23.0 to 221.0°F | $ 383.06 |
| 66 618 | HANNA | HI99181 | pH meter for skin, range pH -2.00 to 16.00 pH, Temperature -5.0 to 105.0°C / 23.0 to 221.0°F | $ 383.06 |
| 66 618 | HANNA | HI99191 | pH meter Low Ionic Strenght water, range pH -2.00 to 16.00 pH, with FC LISW pH electrode | $ 372.54 |
| 66 618 | HANNA | HI9920-1 | Industrial Grade ORP Digital Controller Wall Mounted with Proportional Dosage, range: mV -500 to +1500 mV, 115V | $ 505.78 |
| 66 618 | HANNA | HI99300 | EC/TDS/Temperature meter; EC unit: µS/cm, TDS unit: ppm, Range: 0 to 3999 μS/cm, TDS 0 to 2000 ppm (mg/L), Temp 0.0 to 60.0°C / 32.0 to 140.0°F | $ 156.91 |
| 66 618 | HANNA | HI99301 | EC/TDS/Temperature meter; EC unit: mS/cm, TDS unit: ppt, Range: EC 0.00 to 20.00 mS/cm, TDS 0.00 to 10.00 ppt (g/L), Temp 0.0 to 60.0°C / 32.0 to 140.0°F | $ 156.91 |
| 66 618 | HANNA | HI9931-1 | Industrial Grade EC Digital Controller Proportional Function for Hydroponics and Fertigation, EC dosage activated when reading < setpoint, range: 0.00 to 10.00 mS/cm, 115V | $ 505.78 |
| 66 618 | HANNA | HI993301-01 | EC/TDS/temp. monitor; EC resolution: 1 µS/cm, TDS resolution: 1 mg/L (ppm) Range: EC 0 to 3999 μS/cm, TDS 0 to 2000 ppm, Temp 0.0 to 60.0°C /32.0 to 140.0°F, 115V | $ 79.77 |
| 66 618 | HANNA | HI993302-01 | EC/TDS/temp. monitor; EC resolution: 0.01 mS/cm, TDS resolution: 0.01 g/L (ppt) Range: EC 0.00 to 20.00 mS/cm TDS 0.00 to 10.00 ppt Temp 0.0 to 60.0°C /32.0 to 140.0°F, 115V | $ 79.77 |
| 66 618 | HANNA | HI993310 | Direct soil activity and EC measurement kit, Range: EC 0.00 to 19.99 mS/cm Salt activity 0.00 to 1.00 | $ 461.95 |
| 66 618 | HANNA | HI9934-1 | Industrial Grade TDS Digital Controller Proportional Function for Hydroponics and Fertigation, TDS dosage activated when reading < setpoint, range: 0 to 1999 ppm (mg/L), 115V | $ 505.78 |
| 66 618 | HANNA | HI9935-1 | Industrial Grade pH & TDS Digital Controller with Proportional Control for Fertigation, pH dosage: activated when pH > setpoint; TDS dosage: activated when TDS reading < setpoint, range: 0.00 to 14.00 pH; 0 to 1999 ppm (mg/L), 115V | $ 508.41 |
| 66 618 | HANNA | HI99550-00 | Infrared thermometer; range: -10 to 300°C, Range: -10 to 300°C | $ 128.86 |
| 66 618 | HANNA | HI99551-00 | Infrared thermometer (°C) with IR sensor , Range: -10 to 300°C | $ 128.86 |
| 66 618 | HANNA | HI99551-10 | Infrared thermometer (°C) with IR sensor, Range: -20 to 199.9°C | $ 128.86 |
| 66 618 | HANNA | HI99556-00 | Infrared thermometer (°C) with IR, NTC sensor, Range: -10 to 300°C | $ 209.50 |
| 66 618 | HANNA | HI99556-10 | Infrared thermometer (°C) with IR, NTC sensor, Range: -20 to 199.9°C | $ 169.18 |
| 66 618 | HANNA | HIBARIUM | Barium Chrolide | $ 23.67 |
| 66 618 | HANNA | HIFORM | Formaldehyde 37% | $ 23.67 |
| 66 618 | HANNA | HIPHECKIT | 5 ea. of 7.00, 1413Us, & stor-age HI70000P sachets | $ 14.90 |
| 66 618 | HANNA | HIPHKIT | 5 each of 4.00, 7.00 and stor-age solution HI70000P | $ 14.90 |
| 66 618 | HANNA | HIPHTDSKIT | 5 ea. 7.01, 1500ppm & storage HI70000P sachets | $ 14.90 |
| 66 618 | HANNA | HISANI | Mini Sanitation system | $ 2,629.72 |
| 66 618 | HANNA | INJECTION SYS | ACID INJECTION SYSTEM | $ 7,450.88 |
| 66 618 | HANNA | MV600111-1 | ORP Digital Panel Mount Controller, single setpoint, on/off control, analog output, range: +/-2000mV, Temperature -9.9 to 120.0 °C, 115V | $ 482.12 |
| 66 618 | HANNA | MV600121-1 | ORP Digital Panel Mount Controller, DUAL setpoint, on/off control, analog output, range: +/-2000mV, Temperature -9.9 to 120.0 °C, 115V | $ 508.41 |
| 66 618 | HANNA | PCA310-1 | Free & Total Chlorine Analyzer, range: Free & Total Chlorine 0.00 to 5.00 mg/L, Sampling Rate Free & Total Chlorine adjustable from 3 to 90 minutes, 115V | $ 2,147.61 |
| 66 618 | HANNA | PCA320-1 | Free & Total Chlorine/pH/Temperature Analyzer, range: Free & Total Chlorine 0.00 to 5.00 mg/L, 0.00 to 14.00 pH, Temperature 5.0 to 75.0°C Sampling Rate Free & Total Chlorine adjustable from 3 to 90 minutes, 115V | $ 2,301.01 |
| 66 618 | HANNA | PCA320DUAL | PCA320-1 w/ dual output | $ 2,366.75 |
| 66 618 | HANNA | PCA330-1 | Free & Total Chlorine/pH/ORP/Temperature Analyzer, range: Free & Total Chlorine 0.00 to 5.00 mg/L, 0.00 to 14.00 pH, Temperature 5.0 to 75.0°C, mV 0 to 2000 mV, Sampling Rate Free & Total Chlorine adjustable from 3 to 90 minutes, 115V | $ 2,410.58 |
| 66 618 | HANNA | PCA330DUAL | PCA330-1 w/Dual output | $ 2,454.41 |
| 66 618 | HANNA | PH500111-1 | pH Digital Panel Mount Controller, single setpoint, on/off control, analog output, range: 0.00 to 14.00 pH; Temperature -9.9 to 120°C, 115V | $ 562.76 |
| 66 618 | HANNA | PH500121-1 | pH Digital Panel Mount Controller, single setpoint, proportional control, analog output, range: 0.00 to 14.00 pH; Temperature -9.9 to 120°C, 115V | $ 562.76 |
| 66 618 | HANNA | PH500211-1 | pH Digital Panel Mount Controller, dual setpoint, on/off control, analog output, range: 0.00 to 14.00 pH; Temperature -9.9 to 120°C, 115V | $ 585.55 |
| 66 618 | HANNA | PH500221-1 | pH Digital Panel Mount Controller, dual setpoint, proportional control, analog output, range: 0.00 to 14.00 pH; Temperature -9.9 to 120°C, 115V | $ 585.55 |
| 66 618 | HANNA | PH500222-1 | pH Digital Panel Mount Controller, dual setpoint, proportional control, RS232 output, range: 0.00 to 14.00 pH; Temperature -9.9 to 120°C, 115V | $ 585.55 |
| 66 618 | HANNA | PH502421-1 | pH Digital Panel Mount Controller, dual setpoint with SSR relay, on/off and PID controls, analog output, range: 0.00 to 14.00 pH; Temperature -9.9 to 120°C, 115V | $ 609.22 |
| 66 618 | HANNA | PRIMO | TDS tester; resolution: 1 mg/L (ppm) Range: 0 to 1999 ppm (mg/L) | $ 31.56 |
| 66 618 | HANNA | PRIMO1 | TDS tester; resolution: 1 mg/L (ppm) Range: 0 to 1999 ppm (mg/L) | $ 36.82 |
| 66 618 | HANNA | PRIMO2 | TDS and Temperature tester; resolution: 1 mg/L (ppm); 0.1°C Range: 0 to 1999 ppm (mg/L); 0.0 to 60.0°C | $ 53.47 |
| 66 618 | HANNA | PRIMO3 | TDS and Temperature tester; resolution: 1 mg/L (ppm); 0.1°C Range: 0 to 1999 ppm (mg/L); 0.0 to 60.0°C | $ 59.61 |
| 66 618 | HANNA | PRIMO4 | EC tester; resolution: 0.01 mS/cm Range: 0.00 to 10.00 mS/cm | $ 36.82 |
| 66 618 | HANNA | PRIMO5 | EC tester; resolution: 1 µS/cm Range: 0 to 1999 μS/cm | $ 31.56 |
| 66 618 | HANNA | TDS1 | Pocket TDS tester Range: 0 to 999 ppm (mg/L) | $ 17.53 |
| 66 618 | YSI | 003224 | 3200 Operations/Service Manual--003224 | $ 21.91 |
| 66 618 | YSI | 030132 | 30 Service Manual--030132 | $ 21.91 |
| 66 618 | YSI | 030136 | 30 Operations Manual--030136 | $ 17.53 |
| 66 618 | YSI | 031041 | 3100 Operations Manual--031041 | $ 17.53 |
| 66 618 | YSI | 031043 | 3100 Service Manual--031043 | $ 17.53 |
| 66 618 | YSI | 031136 | 60 Operations Manual--031136 | $ 17.53 |
| 66 618 | YSI | 031187 | 63 Operations Manual--031187 | $ 17.53 |
| 66 618 | YSI | 038503 | 85 Operations Manual--038503 | $ 17.53 |
| 66 618 | YSI | 038504 | 85 Service Manual--038504 | $ 21.91 |
| 66 618 | YSI | 051029 | 5100/5000 Operations Manual--051029 | $ 17.53 |
| 66 618 | YSI | 051042 | 5100/5000 Service Manual--051042 | $ 21.91 |
| 66 618 | YSI | 052010 | 52 Operations Manual--052010 | $ 17.53 |
| 66 618 | YSI | 055207 | 55 Operations Manual--055207 | $ 17.53 |
| 66 618 | YSI | 055223 | 55 Service Manual--055223 | $ 21.91 |
| 66 618 | YSI | 055271 | 55 Operations Manual - Spanish--055271 | $ 17.53 |
| 66 618 | YSI | 059171H | 50B/52/59 Service Manual--059171 | $ 17.53 |
| 66 618 | YSI | 069387K | 58 Operations Manual--069387 | $ 17.53 |
| 66 618 | YSI | 070786 | O-Ring Bulk Pack, 25 each--070786 | $ 14.46 |
| 66 618 | YSI | 1001 | pH Sensor--605101 | $ 144.63 |
| 66 618 | YSI | 100-1 | Waterproof pH/Temp Field Probe and 1M Cable | $ 86.78 |
| 66 618 | YSI | 1002 | ORP Sensor--605102 | $ 178.38 |
| 66 618 | YSI | 1003 | pH/ORP Sensor--605103 | $ 258.59 |
| 66 618 | YSI | 1004 | Ammonium ISE, NH4+--605104 | $ 313.38 |
| 66 618 | YSI | 100-4 | Waterproof pH/Temp Field Probe and 4M Cable | $ 113.95 |
| 66 618 | YSI | 1005 | Chloride ISE--605105 | $ 313.38 |
| 66 618 | YSI | 1006 | Nitrate ISE--605106 | $ 313.38 |
| 66 618 | YSI | 1007-1 | pH/Temp single junction combination electrode with 1-meter cable w/MS connector--605107 | $ 159.10 |
| 66 618 | YSI | 1007-4 | pH/Temp single junction combination electrode with 4-meter cable w/MS connector--605177 | $ 170.93 |
| 66 618 | YSI | 1008-1 | ORP/Temp single junction combination electrode with 1-meter cable w/MS connector--605108 | $ 172.69 |
| 66 618 | YSI | 1008-4 | ORP/Temp single junction combination electrode with 4-meter cable w/MS connector--605178 | $ 205.99 |
| 66 618 | YSI | 1009-1 | pH/ORP/Temp single junction combination electrode with 1-meter cable w/MS connector--605109 | $ 258.59 |
| 66 618 | YSI | 1009-4 | pH/ORP/Temp single junction combination electrode with 4-meter cable w/MS connector--605179 | $ 276.12 |
| 66 618 | YSI | 10-1 | ISE/Temp 1-meter cable assembly--60510-1 | $ 214.76 |
| 66 618 | YSI | 10-10 | ISE/Temp 10-meter cable assembly--60510-10 | $ 258.59 |
| 66 618 | YSI | 1010-1 | Dual ISE/Temp 1-meter cable assembly--6051010-1 | $ 482.12 |
| 66 618 | YSI | 1010-10 | Dual ISE/Temp 10-meter cable assembly--6051010-10 | $ 534.71 |
| 66 618 | YSI | 1010-20 | Dual ISE/Temp 20-meter cable assembly--6051010-20 | $ 622.37 |
| 66 618 | YSI | 10102030-1 | Quatro - Dual ISE/Cond/DO/Temp cable assy--605790-1 | $ 1,135.16 |
| 66 618 | YSI | 10102030-10 | Quatro - Dual ISE/Cond/DO/Temp cable assy--605790-10 | $ 1,218.44 |
| 66 618 | YSI | 10102030-20 | Quatro - Dual ISE/Cond/DO/Temp cable assy--605790-20 | $ 1,310.48 |
| 66 618 | YSI | 10102030-30 | Quatro - Dual ISE/Cond/DO/Temp cable assy--605790-30 | $ 1,424.43 |
| 66 618 | YSI | 10102030-4 | Quatro - Dual ISE/Cond/DO/Temp cable assy--605790-4 | $ 1,161.46 |
| 66 618 | YSI | 1010-30 | Dual ISE/Temp 30-meter cable assembly--6051010-30 | $ 710.03 |
| 66 618 | YSI | 1010-4 | Dual ISE/Temp 4-meter cable assembly--6051010-4 | $ 490.88 |
| 66 618 | YSI | 10-20 | ISE/Temp 20-meter cable assembly--60510-20 | $ 315.57 |
| 66 618 | YSI | 1020-1 | DO/ISE/Temp 1-meter cable assembly--6051020-1 | $ 477.73 |
| 66 618 | YSI | 1020-10 | DO/ISE/Temp 10-meter cable assembly--6051020-10 | $ 534.71 |
| 66 618 | YSI | 1020-20 | DO/ISE/Temp 20-meter cable assembly--6051020-20 | $ 622.37 |
| 66 618 | YSI | 1020-30 | DO/ISE/Temp 30-meter cable assembly--6051020-30 | $ 723.17 |
| 66 618 | YSI | 1020-4 | DO/ISE/Temp 4-meter cable assembly--6051020-4 | $ 490.88 |
| 66 618 | YSI | 10-30 | ISE/Temp 30-meter field assembly--60510-30 | $ 394.46 |
| 66 618 | YSI | 1030-1 | ISE/Cond/Temp 1-meter cable assembly--6051030-1 | $ 394.46 |
| 66 618 | YSI | 1030-10 | ISE/Cond/Temp 10-meter cable assembly--6051030-10 | $ 442.67 |
| 66 618 | YSI | 1030-20 | ISE/Cond/Temp 20-meter cable assembly--6051030-20 | $ 490.88 |
| 66 618 | YSI | 1030-30 | ISE/Cond/Temp 30-meter cable assembly--6051030-30 | $ 591.69 |
| 66 618 | YSI | 1030-4 | ISE/Cond/Temp 4-meter cable assembly--6051030-4 | $ 403.22 |
| 66 618 | YSI | 10-4 | ISE/Temp 4-meter cable assembly--60510-4 | $ 219.14 |
| 66 618 | YSI | 170 | Electrode Stand--605170 | $ 85.03 |
| 66 618 | YSI | 200-10 | DO and Temp Field Probe and 10M Cable | $ 284.89 |
| 66 618 | YSI | 2002 | Galvanic DO Sensor--605202 | $ 154.28 |
| 66 618 | YSI | 2003 | Polarographic DO Sensor--605203 | $ 154.28 |
| 66 618 | YSI | 200-4 | DO and Temp Field Probe and 4M Cable | $ 250.70 |
| 66 618 | YSI | 200-BOD | Stirring BOD Probe, 115V | $ 591.69 |
| 66 618 | YSI | 200-BOD-230V | Stirring BOD Probe, 230V | $ 626.75 |
| 66 618 | YSI | 20-1 | DO/Temp 1-meter cable assembly--60520-1 | $ 219.14 |
| 66 618 | YSI | 20-10 | DO/Temp 10-meter cable assembly--60520-10 | $ 276.12 |
| 66 618 | YSI | 20-100 | DO/Temp 100-meter cable assembly--60520-100 | $ 657.43 |
| 66 618 | YSI | 20-20 | DO/Temp 20-meter cable assembly--60520-20 | $ 328.72 |
| 66 618 | YSI | 20-30 | DO/Temp 30-meter cable assembly--60520-30 | $ 416.37 |
| 66 618 | YSI | 2030-1 | DO/Cond/Temp 1-meter cable assembly--6052030-1 | $ 539.09 |
| 66 618 | YSI | 2030-10 | DO/Cond/Temp 10-meter cable assembly--6052030-10 | $ 591.69 |
| 66 618 | YSI | 2030-20 | DO/Cond/Temp 20-meter cable assembly--6052030-20 | $ 635.52 |
| 66 618 | YSI | 2030-30 | DO/Cond/Temp 30-meter cable assembly--6052030-30 | $ 723.17 |
| 66 618 | YSI | 2030-4 | DO/Cond/Temp 4-meter cable assembly--6052030-4 | $ 543.48 |
| 66 618 | YSI | 20-4 | DO/Temp 4-meter cable assembly--60520-4 | $ 232.29 |
| 66 618 | YSI | 20-X | DO/Temp cable assembly $445 List + $50 for 10 meter increments (can only accept 10 meter increments-this is a special order only)--60520-X | $ 368.16 |
| 66 618 | YSI | 300-10 | Conductivity/Temp Probe and 10M Cable | $ 236.68 |
| 66 618 | YSI | 30-1 | Cond/Temp 1-meter cable assembly--60530-1 | $ 276.12 |
| 66 618 | YSI | 30-10 | Salinity, Conductivity, Temperature Instrument, 10' Cable & Probe | $ 328.72 |
| 66 618 | YSI | 30-20 | Cond/Temp 20-meter cable assembly--60530-20 | $ 368.16 |
| 66 618 | YSI | 30-30 | Cond/Temp 30-meter cable assembly--60530-30 | $ 468.97 |
| 66 618 | YSI | 30-4 | Cond/Temp 4-meter cable assembly--60530-4 | $ 280.50 |
| 66 618 | YSI | 3075 | Carrying Case, Soft Sided--603075 | $ 109.57 |
| 66 618 | YSI | 3077 | Flow Cell Kit, 1 or 2 Port Probe --603077 | $ 313.38 |
| 66 618 | YSI | 3100-115 | Conductivity Instrument, Lab, 115 V | $ 784.53 |
| 66 618 | YSI | 3100-230 | Conductivity Instrument, Lab, 230V | $ 810.83 |
| 66 618 | YSI | 3200-115 | Conductivity Instrument, Lab, 115 V | $ 1,468.26 |
| 66 618 | YSI | 3200-230 | Conductivity Instrument, Lab, 230V | $ 1,485.79 |
| 66 618 | YSI | 3254 | Glass fill cell w/temp., 4 ft., K=1.0 cm-1--003254 | $ 534.71 |
| 66 618 | YSI | 3255 | Glass flow-thru w/temp., 4 ft., K=0.1cm-1--003255 | $ 530.33 |
| 66 618 | YSI | 38529 | 85 Operations Manual - Spanish--038529 | $ 17.53 |
| 66 618 | YSI | 4654 | Tripod--063507 | $ 25.07 |
| 66 618 | YSI | 5000-115 | Oxygen Instrument, Lab-115V | $ 1,161.46 |
| 66 618 | YSI | 5000-230 | Oxygen Instrument, Lab-230V | $ 1,183.38 |
| 66 618 | YSI | 5010-J | BOD Probe, Self-Stirring, 5 ft.--050103 | $ 679.35 |
| 66 618 | YSI | 5010-L | BOD Probe, Self-Stirring, 5 ft.--050105 | $ 633.50 |
| 66 618 | YSI | 5100-115 | Oxygen Instrument, Lab with SOUR software-115V | $ 1,446.35 |
| 66 618 | YSI | 5100-230 | Oxygen Instrument, Lab with SOUR software- 230V | $ 1,534.01 |
| 66 618 | YSI | 5239-10 | Field Oxygen Probe w/ Cable Assembly, 10ft--052390 | $ 447.05 |
| 66 618 | YSI | 5239-25 | Field Oxygen Probe w/ Cable Assembly, 25ft--052391 | $ 460.20 |
| 66 618 | YSI | 5239-50 | Field Oxygen Probe w/ Cable Assembly, 50ft--052392 | $ 539.09 |
| 66 618 | YSI | 550A-100 | Oxygen Instrument, 100' Cable & Probe | $ 920.40 |
| 66 618 | YSI | 550A-100CC | Oxygen Instrument, 100' Cable & Probe with Case | $ 986.15 |
| 66 618 | YSI | 550A-12 | Oxygen Instrument, 12' Cable & Probe | $ 784.53 |
| 66 618 | YSI | 550A-12CC | Oxygen Instrument, 12' Cable & Probe with Case | $ 854.66 |
| 66 618 | YSI | 550A-25 | Oxygen Instrument, 25' Cable & Probe | $ 819.60 |
| 66 618 | YSI | 550A-25CC | Oxygen Instrument, 25' Cable & Probe with Case | $ 889.72 |
| 66 618 | YSI | 550A-50 | Oxygen Instrument, 50' Cable & Probe | $ 872.19 |
| 66 618 | YSI | 550A-50CC | Oxygen Instrument, 50' Cable & Probe with Case | $ 929.17 |
| 66 618 | YSI | 55-12 | Oxygen Instrument, 12' Cable & Probe | $ 689.43 |
| 66 618 | YSI | 5560 | Cond, Temp Replaceable Probe--005560 | $ 376.93 |
| 66 618 | YSI | 556-01 | Multiparameter Instrument (carrying case (5061) and PC adaptor RS-232 included) | $ 1,643.58 |
| 66 618 | YSI | 556-02 | Multiparameter Instrument w Barometer option (case and PC adaptor RS-232 incl) | $ 1,836.42 |
| 66 618 | YSI | 5563-10 | 10 m cable and DO/Temp/Cond | $ 1,008.06 |
| 66 618 | YSI | 5563-20 | 20 m cable and DO/Temp/Cond | $ 1,095.72 |
| 66 618 | YSI | 5563-4 | 4 m cable and DO/Temp/Cond | $ 920.40 |
| 66 618 | YSI | 55D-12 | 12' Cable & Probe (detachable) | $ 346.25 |
| 66 618 | YSI | 5745 | Maintenance Kit--605745 | $ 27.17 |
| 66 618 | YSI | 58-115 | Oxygen Instrument - 115V | $ 1,827.22 |
| 66 618 | YSI | 58-230 | Oxygen Instrument - 230V | $ 1,827.22 |
| 66 618 | YSI | 5905-115V | BOD Probe, Self-Stirring, 5 ft.--059800 | $ 622.37 |
| 66 618 | YSI | 5905-230V | BOD Probe, Self-Stirring, 5 ft.--059854 | $ 635.52 |
| 66 618 | YSI | 5905-J | BOD Probe, Self-Stirring, 5 ft.--059920 | $ 696.88 |
| 66 618 | YSI | 5905-L | BOD Probe, Self-Stirring, 5 ft. --059909 | $ 650.86 |
| 66 618 | YSI | 5905-W | BOD Probe, Wine Bottle Probe, Self-Stirring, 5 ft.--059940 | $ 1,135.16 |
| 66 618 | YSI | 5912 | Cap Membrane Kit 1.00 Mil Teflon (6 each), includes electrolyte (black cap)--605912 | $ 50.14 |
| 66 618 | YSI | 5913 | Cap Membrane Kit 1.25 Mil PE (6 each), includes electrolyte (yellow cap)--605913 | $ 51.10 |
| 66 618 | YSI | 5914 | Cap Membrane Kit 2.00 Mil PE(6 each), includes electrolyte (blue cap)--605914 | $ 51.72 |
| 66 618 | YSI | 5978 | Weight, Probe/Cable, 4.9 oz--605978 | $ 23.67 |
| 66 618 | YSI | 60-10 | pH, Temperature Instrument, 10' Cable | $ 696.88 |
| 66 618 | YSI | 60-100 | pH, Temperature Instrument, 100' Cable | $ 872.19 |
| 66 618 | YSI | 60-25 | pH, Temperature Instrument, 25' Cable | $ 762.62 |
| 66 618 | YSI | 60-50 | pH, Temperature Instrument, 50' Cable | $ 784.53 |
| 66 618 | YSI | 605123 | Electrode Kit,ORP15--605123 | $ 62.68 |
| 66 618 | YSI | 605349 | Sheet, Field Guide, 550A--605349 | $ 4.38 |
| 66 618 | YSI | 6072 | Turbidity Std. 10 NTU (6026),11.2 NTU (6136), 1 Gallon--607200 | $ 270.86 |
| 66 618 | YSI | 6073G | Turbidity Std. 100 NTU (6026), 123 NTU (6136), 1 Gallon--607300 | $ 298.04 |
| 66 618 | YSI | 6074 | Turbidity Std. 800 NTU (6026), 1000 NTU (6136), 1 Gallon--607400 | $ 333.97 |
| 66 618 | YSI | 6080 | Turbidity Std. 0 NTU (6026 & 6136), 1 Gallon--608000 | $ 144.63 |
| 66 618 | YSI | 614 | Ultra Clamp--063517 | $ 21.91 |
| 66 618 | YSI | 655120 | 550 Service Manual--655120 | $ 21.91 |
| 66 618 | YSI | 655126 | 550 Operations Manual--655126 | $ 17.53 |
| 66 618 | YSI | 655127 | 550 Field Guide--655127 | $ 13.15 |
| 66 618 | YSI | 690 | Weight, Probe/Cable, 24 oz, 3"--063019 | $ 135.87 |
| 66 618 | YSI | 691 | Weight, Probe/Cable, 51 oz, 6"--063020 | $ 166.55 |
| 66 618 | YSI | 85D-10 | 10' Cable & Probe (detachable) | $ 506.22 |
| 66 618 | YSI | 85D-100 | 100' Cable & Probe (detachable) | $ 670.14 |
| 66 618 | YSI | 85D-25 | 25' Cable & Probe (detachable) | $ 554.43 |
| 66 618 | YSI | 85D-50 | 50' Cable & Probe (detachable) | $ 573.72 |
| 66 618 | YSI | EW-WIN | Eco-Watch for Windows--006075 | $ 86.78 |
| 66 618 | YSI | ODO-1 | ODO Digital probe assy with 1 meter cable--626250-1 | $ 561.01 |
| 66 618 | YSI | ODO-10 | ODO Digital probe assy with 10 meter cable--626250-10 | $ 612.29 |
| 66 618 | YSI | ODO-20 | ODO Digital probe assy with 20 meter cable--626250-20 | $ 660.50 |
| 66 618 | YSI | ODO-30 | ODO Digital probe assy with 30 meter cable--626250-30 | $ 708.71 |
| 66 618 | YSI | ODO-4 | ODO Digital probe assy with 4 meter cable--626250-4 | $ 569.77 |
| 66 618 | YSI | ODO-40 | ODO Digital probe assy with 40 meter cable--626250-40 | $ 756.92 |
| 66 618 | YSI | ODO-50 | ODO Digital probe assy with 50 meter cable--626250-50 | $ 805.13 |
| 66 618 | YSI | ODO-60 | ODO Digital probe assy with 60 meter cable--626250-60 | $ 853.35 |
| 66 618 | YSI | ODO-CAP | Replacement ODO Sensor Cap Kit--626320 | $ 87.66 |
| 66 618 | YSI | ODO-X | ODO Digital probe assy $735 List + $50 for 10 meter increments (can only accept 10 meter increments-this is a special order only)--626250-X | $ 569.77 |
| 66 618 | YSI | PRO20 | Handheld for DO/Temp--6050020 | $ 477.29 |
| 66 618 | YSI | PROBOD | DO/Temp 115V stirring BOD probe with 1-meter cable assembly--605780 | $ 609.22 |
| 66 618 | YSI | PROODO | Optical DO Digital Handheld--626281 | $ 602.64 |
| 66 618 | YSI | YAP011 | Chlorine DPD-Free--YAP011 | $ 27.00 |
| 66 618 | YSI | YAP021 | Chlorine DPD-Free, Monochloramine & Dichloramine--YAP021 | $ 31.56 |
| 66 618 | YSI | YAP056 | Ozone--YAP056 | $ 42.95 |
| 66 618 | YSI | YAP103 | Hydrazine--YAP103 | $ 86.78 |
| 66 618 | YSI | YAP109 | Nitrite-N (Nitracol)--YAP109 | $ 48.21 |
| 66 618 | YSI | YAP114 | Phosphate HR--YAP114 | $ 76.17 |
| 66 618 | YSI | YAP148 | Zinc--YAP148 | $ 117.64 |
| 66 618 | YSI | YAP177 | Phosphate LR, 200 tests per pack--YAP177 | $ 82.92 |
| 66 618 | YSI | YAP181 | Silica, 200 tests per pack--YAP181 | $ 101.24 |
| 66 618 | YSI | YAP186 | Copper--YAP186 | $ 124.39 |
| 66 618 | YSI | YAP188 | Alkalinity, Total--YAP188 | $ 62.68 |
| 66 618 | YSI | YAP189 | Potassium--YAP189 | $ 79.77 |
| 66 618 | YSI | YAP252 | Calcium Hardness--YAP252 | $ 72.32 |
| 66 618 | YSI | YAP258 | Molybdate LR--YAP258 | $ 74.51 |
| 66 618 | YSI | YAP262 | Organophosphonate--YAP262 | $ 178.38 |
| 66 618 | YSI | YAP266 | Sulfite--YAP266 | $ 70.39 |
| 66 618 | YSI | YAP281 | Chromium, hexavalent--YAP281 | $ 113.78 |
| 66 618 | YSI | YAP284 | Nickel--YAP284 | $ 177.07 |
| 66 618 | YSI | YAP287 | Phenols--YAP287 | $ 189.95 |
| 66 618 | YSI | YAT1707 | Ammonia Conditioning Reagent, 50 tests--YAT1707 | $ 25.07 |
| 66 618 | YSI | YPM021 | Chlorine DPD-Free, Monochloramine & Dichloramine--YPM021 | $ 13.15 |
| 66 618 | YSI | YPM056 | Ozone--YPM056 | $ 49.09 |
| 66 618 | YSI | YPM087 | Cyanuric Acid--YPM087 | $ 23.14 |
| 66 618 | YSI | YPM105 | Hydrogen Peroxide HR--YPM105 | $ 26.03 |
| 66 618 | YSI | YPM155 | Iron LR--YPM155 | $ 23.67 |
| 66 618 | YSI | YPM162 | Chlorine HR--YPM162 | $ 27.96 |
| 66 618 | YSI | YPM168 | Sulfide--YPM168 | $ 34.71 |
| 66 618 | YSI | YPM179 | Fluoride--YPM179 | $ 38.57 |
| 66 618 | YSI | YPM262 | Organophosphonate--YPM262 | $ 75.21 |
| 66 618 | YSI | YPM269 | Turbidity (Includes Color)--YPM269 | $ 63.64 |
| 66 618 | YSI | YPM281 | Chromium, hexavalent--YPM281 | $ 47.34 |
| 66 618 | YSI | YPM287 | Phenols--YPM287 | $ 92.04 |
| 66 618 | YSI | YPT279 | Photometer Computer Cable, 1ea.--YPT279 | $ 46.46 |
| 66 618 | YSI | YPT280 | Manual Instr YPT930--YPT280 | $ 17.53 |
| 66 618 | YSI | YPT281 | Manual Instr YPT950--YPT281 | $ 17.53 |
| 66 618 | YSI | YPT283 | USB Power Supply Unit for Photometry--YPT283 | $ 68.37 |
| 66 618 | YSI | YPT284 | USB Waterproof Computer/PSU--YPT284 | $ 41.20 |
| 66 618 | YSI | YPT361 | Syringe, 1ml, 1 ea.--YPT361 | $ 3.73 |
| 66 618 | YSI | YPT370 | 20 ml Syringe Luer, 1 ea.--YPT370 | $ 8.55 |
| 66 618 | YSI | YPT500 | DE-ION Pack, up to 5 liters, 1 ea.--YPT500 | $ 14.46 |
| 66 618 | YSI | YPT501 | Test Tube Rack--YPT501 | $ 33.75 |
| 66 618 | YSI | YPT512 | Dilution Tube, 1 ea.--YPT512 | $ 8.55 |
| 66 618 | YSI | YPT595 | Round Test Tube with Cap, 5 ea.--YPT595 | $ 42.43 |
| 66 618 | YSI | YPT600 | Filtration Set Luer/GFB, 1 ea.--YPT600 | $ 43.83 |
| 66 618 | YSI | YPT603 | GFB filters, 50 ea.--YPT603 | $ 27.00 |
| 66 618 | YSI | YZ1PHOT | Manual, Instruction 9000 & 9100--YZ1Phot | $ 26.30 |
| 66 618 | YSI | 116 | Electrode, Double Junction, PH10 | $ 85.90 |
| 66 618 | YSI | 160 | Electrode Simulator | $ 105.19 |
| 66 618 | YSI | 180 | Carrying Case, Hard Plastic w/Form Fitted Foam Insert 12.5x9.5x3.7 | $ 33.31 |
| 66 618 | YSI | 280 | Carrying Case, Hard Plastic w/Form Fitted Foam Insert 12.5x9.5x3.7 | $ 33.31 |
| 66 618 | YSI | 380 | Carrying Case, Hard Plastic w/Form Fitted Foam Insert 12.5x9.5x3.7 | $ 33.31 |
| 66 618 | YSI | 440 | 440 Cable Weight Kit | $ 34.19 |
| 66 618 | YSI | 480 | Carrying Case, Form-fitted, Clear & Black Vinyl (w/Shoulder Strap) | $ 25.42 |
| 66 618 | YSI | 559 | DO Replaceable Probe | $ 170.93 |
| 66 618 | YSI | 559 | DO Replaceable Probe | $ 170.93 |
| 66 618 | YSI | 614 | Ultra Clamp | $ 21.91 |
| 66 618 | YSI | 616 | Charger, Cigarette Lighter | $ 23.67 |
| 66 618 | YSI | 695 | Transport Calibration Cup, Clear | $ 51.72 |
| 66 618 | YSI | 900 | Model 900 Free and Total Chlorine Colorimeter, includes: instrument, manual, 100 free and 100 total chlorine DPD powder packets (251414Y and 251401Y), carrying case, batteries, cleaning brush. screw driver and (3) 10 ml cuvettes, 24 mm Ø and (2) 5 ml cuvettes, 10 mm | $ 340.99 |
| 66 618 | YSI | 910 | Model 910 COD Colorimeter, includes: manual, instrument, carrying case, batteries, screw driver, 3 ml syringe and 1 ml syringe | $ 490.88 |
| 66 618 | YSI | 3139 | Platinizing Instrument | $ 346.25 |
| 66 618 | YSI | 3140 | Platinizing Solution, 2oz | $ 197.23 |
| 66 618 | YSI | 3161 | Conductivity Calibrator, 1,000 umhos/cm (quart) | $ 62.24 |
| 66 618 | YSI | 3161 | Conductivity Calibrator, 1,000 umhos/cm (quart) | $ 62.24 |
| 66 618 | YSI | 3163 | Conductivity Calibrator, 10,000 umhos/cm (quart) | $ 62.24 |
| 66 618 | YSI | 3163 | Conductivity Calibrator, 10,000 umhos/cm (quart) | $ 62.24 |
| 66 618 | YSI | 3165 | Conductivity Calibrator, 100,000 umhos/cm (quart) | $ 62.24 |
| 66 618 | YSI | 3165 | Conductivity Calibrator, 100,000 umhos/cm (quart) | $ 62.24 |
| 66 618 | YSI | 3166 | Conductance Calibrator Set | $ 306.80 |
| 66 618 | YSI | 3167 | Conductivity Calibrator, 1,000 umhos/cm (8 ea, pint) | $ 105.19 |
| 66 618 | YSI | 3167 | Conductivity Calibrator, 1,000 umhos/cm (8 ea, pint) | $ 105.19 |
| 66 618 | YSI | 3168 | Conductivity Calibrator, 10,000 umhos/cm (8 ea, pint) | $ 105.19 |
| 66 618 | YSI | 3168 | Conductivity Calibrator, 10,000 umhos/cm (8 ea, pint) | $ 105.19 |
| 66 618 | YSI | 3169 | Conductivity Calibrator, 50,000 umhos/cm (8 ea, pint) | $ 105.19 |
| 66 618 | YSI | 3169 | Conductivity Calibrator, 50,000 umhos/cm (8 ea, pint) | $ 105.19 |
| 66 618 | YSI | 3208 | Power Supply, 115V | $ 30.68 |
| 66 618 | YSI | 3209 | Power Supply 230V | $ 65.74 |
| 66 618 | YSI | 3232 | Adaptor, Cell | $ 162.17 |
| 66 618 | YSI | 3252 | ABS Plastic cell w/temp., 4 ft., K=1.0 cm-1 | $ 254.21 |
| 66 618 | YSI | 3253 | Glass dip cell w/temp., 4 ft., K=1.0 cm-1 | $ 442.67 |
| 66 618 | YSI | 3256 | Glass dip cell w/temp., 4 ft., K=0.1cm-1 | $ 460.20 |
| 66 618 | YSI | 3401 | Glass, 4 ft., K=1.0 cm-1 | $ 468.97 |
| 66 618 | YSI | 3402 | Glass, 4 ft., K=0.1 cm-1 | $ 468.97 |
| 66 618 | YSI | 3403 | Glass, 4 ft., K=1.0 cm-1 | $ 447.05 |
| 66 618 | YSI | 3417 | ABS, 4 ft., K=1.0 cm-1 | $ 258.59 |
| 66 618 | YSI | 3418 | ABS, 4 ft., K=0.1 cm-1 | $ 258.59 |
| 66 618 | YSI | 3440 | Glass, 4 ft., K=10.0 cm-1 | $ 504.03 |
| 66 618 | YSI | 3682 | Zobell Solution, ORP Calibrator 125 mL | $ 28.05 |
| 66 618 | YSI | 3682 | Zobell Solution, ORP Calibrator 125 mL | $ 28.05 |
| 66 618 | YSI | 3682 | Zobell Solution, ORP Calibrator 125 mL | $ 28.05 |
| 66 618 | YSI | 3821 | pH 4 Buffer (box of 6 pints) | $ 69.25 |
| 66 618 | YSI | 3821 | pH 4 Buffer (box of 6 pints) | $ 69.25 |
| 66 618 | YSI | 3821 | pH 4 Buffer (box of 6 pints) | $ 69.25 |
| 66 618 | YSI | 3822 | pH 7 Buffer (box of 6 pints) | $ 69.25 |
| 66 618 | YSI | 3822 | pH 7 Buffer (box of 6 pints) | $ 69.25 |
| 66 618 | YSI | 3822 | pH 7 Buffer (box of 6 pints) | $ 69.25 |
| 66 618 | YSI | 3823 | pH 10 Buffer (box of 6 pints) | $ 69.25 |
| 66 618 | YSI | 3823 | pH 10 Buffer (box of 6 pints) | $ 69.25 |
| 66 618 | YSI | 3823 | pH 10 Buffer (box of 6 pints) | $ 69.25 |
| 66 618 | YSI | 3824 | pH Buffer, Assorted Case | $ 69.25 |
| 66 618 | YSI | 3824 | pH Buffer, Assorted Case | $ 69.25 |
| 66 618 | YSI | 3824 | pH Buffer, Assorted Case | $ 69.25 |
| 66 618 | YSI | 3841 | Ammonium Cal Solution, 1 mg/L (500mL) | $ 71.88 |
| 66 618 | YSI | 3841 | Ammonium Cal Solution, 1 mg/L (500mL) | $ 71.88 |
| 66 618 | YSI | 3842 | Ammonium Cal Solution, 10 mg/L (500mL) | $ 71.88 |
| 66 618 | YSI | 3842 | Ammonium Cal Solution, 10 mg/L (500mL) | $ 71.88 |
| 66 618 | YSI | 3843 | Ammonium Cal Solution, 100 mg/L (500mL) | $ 71.88 |
| 66 618 | YSI | 3843 | Ammonium Cal Solution, 100 mg/L (500mL) | $ 71.88 |
| 66 618 | YSI | 3885 | Nitrate Standard, 1 mg/L (500mL) | $ 71.88 |
| 66 618 | YSI | 3885 | Nitrate Standard, 1 mg/L (500mL) | $ 71.88 |
| 66 618 | YSI | 3886 | Nitrate Standard, 10 mg/L (500mL) | $ 71.88 |
| 66 618 | YSI | 3886 | Nitrate Standard, 10 mg/L (500mL) | $ 71.88 |
| 66 618 | YSI | 3887 | Nitrate Standard, 100 mg/L (500mL) | $ 71.88 |
| 66 618 | YSI | 3887 | Nitrate Standard, 100 mg/L (500mL) | $ 71.88 |
| 66 618 | YSI | 4654 | Tripod | $ 26.30 |
| 66 618 | YSI | 5010 | BOD Probe, Self-Stirring, 5 ft. | $ 578.54 |
| 66 618 | YSI | 5011 | Cable adapter for 5700/5900 series probes | $ 86.78 |
| 66 618 | YSI | 5015 | Bar Code Scanner | $ 832.75 |
| 66 618 | YSI | 5050 | Carrying Case, Small hard sided, polyurethane foam pad/HDPE (12 x 10 x 7) | $ 232.29 |
| 66 618 | YSI | 5060 | Carrying Case, Small Soft-sided (instrument & cable), Pre-cut foam/Nylon fabric (11.5 x 14.5 x 6) | $ 92.04 |
| 66 618 | YSI | 5061 | Carrying Case, Large Soft Sided (instrument & 20m cable), Pre-cut foam/Nylon fabric (15 x 19 x 5) | $ 135.87 |
| 66 618 | YSI | 5065 | Carrying Case, Form-fitted, Clear & Black Vinyl (w/Shoulder Strap) | $ 39.45 |
| 66 618 | YSI | 5083 | Flow Cell | $ 350.63 |
| 66 618 | YSI | 5084 | Maintenance Kit | $ 16.65 |
| 66 618 | YSI | 5085 | Hands Free Harness | $ 30.68 |
| 66 618 | YSI | 5085 | Harness, Hands Free | $ 30.68 |
| 66 618 | YSI | 5094 | Rechargeable Battery Pack Int'l (220V, Europe) | $ 322.58 |
| 66 618 | YSI | 5095 | Rechargeable Battery Pack Int'l (Australia) | $ 322.58 |
| 66 618 | YSI | 5117 | Power Supply, 115V/ 60 Hz | $ 30.68 |
| 66 618 | YSI | 5238 | Probe Reconditioning Kit (400 grit sanding discs and sanding tool) | $ 26.30 |
| 66 618 | YSI | 5401 | Power Supply, 115V/ 60 Hz | $ 39.45 |
| 66 618 | YSI | 5511 | Maintenance Kit | $ 27.17 |
| 66 618 | YSI | 5511 | Maintenance Kit | $ 30.68 |
| 66 618 | YSI | 5520 | Carrying Case, Handhelds, Pre-formed plastic/Polyethylene (13.5 x 9.5 x 4.5) | $ 43.83 |
| 66 618 | YSI | 5560 | Cond, Temp Replaceable Probe | $ 376.93 |
| 66 618 | YSI | 5564 | pH Kit | $ 236.68 |
| 66 618 | YSI | 5565 | pH/ORP Kit | $ 315.57 |
| 66 618 | YSI | 5568 | PC adapter cable to 556 | $ 118.34 |
| 66 618 | YSI | 5580 | 5580 Confidence Solution (case of 6 pints) | $ 89.41 |
| 66 618 | YSI | 5580 | 5580 Confidence Solution (case of 6 pints) | $ 89.41 |
| 66 618 | YSI | 5680 | Probe Reconditioning Kit | $ 30.68 |
| 66 618 | YSI | 5685 | Half Sens. Membrane Kit, includes electrolyte (2 mil) | $ 35.94 |
| 66 618 | YSI | 5718 | Field Probe/Cable Assembly, 12 ft. | $ 346.25 |
| 66 618 | YSI | 5732 | Stirrer Adapter | $ 162.17 |
| 66 618 | YSI | 5734 | Power Supply, 115V/ 60 Hz | $ 30.68 |
| 66 618 | YSI | 5739 | Requires 5740 or 5795 Cable | $ 337.48 |
| 66 618 | YSI | 5750 | BOD Probe, Non-Stirring, 6 ft. | $ 350.63 |
| 66 618 | YSI | 5775 | Membrane Kit, Standard, includes electrolyte (1 mil) | $ 34.19 |
| 66 618 | YSI | 5776 | Membrane Kit, High Sensitivity, includes electrolyte (0.5 mil) | $ 37.69 |
| 66 618 | YSI | 5793 | Membranes, 10-Pack, Standard | $ 75.39 |
| 66 618 | YSI | 5794 | Membranes, 10-Pack, High-Sens | $ 78.02 |
| 66 618 | YSI | 5901 | Power Supply, 115V/ 60 Hz | $ 39.45 |
| 66 618 | YSI | 5902 | Power Supply, (Optional) 230V | $ 65.74 |
| 66 618 | YSI | 5906 | Cap Membrane Kit 1.00 Mil Teflon (6 each), includes electrolyte (black cap) | $ 50.84 |
| 66 618 | YSI | 5908 | Cap Membrane Kit 1.25 Mil PE (6 each), includes electrolyte (yellow cap) | $ 50.84 |
| 66 618 | YSI | 5908 | Cap Membrane Kit 1.25 Mil PE (6 each), includes electrolyte (yellow cap) | $ 50.84 |
| 66 618 | YSI | 5909 | Cap Membrane Kit 2.00 Mil PE(6 each), includes electrolyte (blue cap) | $ 52.59 |
| 66 618 | YSI | 5909 | Cap Membrane Kit 2.00 Mil PE(6 each), includes electrolyte (blue cap) | $ 52.59 |
| 66 618 | YSI | 5945 | O-Ring Kit | $ 21.91 |
| 66 618 | YSI | 5986 | Diaphragm Kit | $ 21.91 |
| 66 618 | YSI | 6118 | Rechargeable Battery Kit, US | $ 315.57 |
| 66 618 | YSI | 6123 | Universal Charger | $ 43.83 |
| 66 618 | YSI | 6262 | Carry Case, Soft Sided, Small | $ 76.26 |
| 66 618 | YSI | 6930 | Carrying Case, Large Hard-sided | $ 293.65 |
| 66 618 | YSI | 52021 | RS-232 Cable Assembly | $ 39.45 |
| 66 618 | YSI | 59160 | Label Set, Bar Code (1000 labels) | $ 140.25 |
| 66 618 | YSI | 98086 | Cable Reel, Small, 25-100 ft. | $ 25.42 |
| 66 618 | YSI | 98087 | Cable Reel, Medium, 100-200 ft. | $ 38.57 |
| 66 618 | YSI | 98096 | Cable Reel, Large, 200-300 ft. | $ 56.98 |
| 66 618 | YSI | 131133 | Electrode, pH, Replacement | $ 197.23 |
| 66 618 | YSI | 131133 | Electrode, pH, Replacement | $ 197.23 |
| 66 618 | YSI | 251399 | Secondary Reference Standard Set, Chlorine | $ 74.51 |
| 66 618 | YSI | 605118 | RP,Battery Kit, Pen | $ 4.38 |
| 66 618 | YSI | YAP041 | Chlorine DPD4 | $ 35.06 |
| 66 618 | YSI | YAP052 | Chlorine Dioxide (DPD Glycine Method) | $ 228.79 |
| 66 618 | YSI | YAP272 | PHMB | $ 44.71 |
| 66 618 | YSI | YAP290 | Silica HR | $ 140.25 |
| 66 618 | YSI | YPM041 | Chlorine DPD4 | $ 20.16 |
| 66 618 | YSI | YPM052 | Chlorine Dioxide (DPD Glycine Method) | $ 92.04 |
| 66 618 | YSI | YPM064 | Chlorine Dioxide LR (Lissamine Green B) | $ 49.09 |
| 66 618 | YSI | YPM065 | Chlorine Dioxide HR (Lissamine Green B) | $ 49.09 |
| 66 618 | YSI | 1200 | Laboratory pH Instrument, 115-230V | $ 460.20 |
| 66 618 | YSI | 1201 | pH Electrode, Lab, 1M | $ 49.96 |
| 66 618 | YSI | 1202 | Temperature Probe, Stainless Steel | $ 65.74 |
| 66 618 | YSI | 1203 | pH/ATC Temp Combination Probe, Lab, 1M | $ 131.49 |
| 66 618 | YSI | 1209 | AC Adaptor,Universal | $ 43.83 |
| 66 618 | YSI | 180A | Carrying Case, Hard Plastic w/Form Fitted Foam Insert 12.5x9.5x3.7 | $ 33.31 |
| 66 618 | YSI | 200-1 | DO and Temp Field Probe and 1M Cable | $ 249.82 |
| 66 618 | YSI | 280A | Carrying Case, Hard Plastic w/Form Fitted Foam Insert 12.5x9.5x3.7 | $ 33.31 |
| 66 618 | YSI | 300-1 | Conductivity/Temp Probe and 1M Cable | $ 214.76 |
| 66 618 | YSI | 3070 | Shoulder Strap | $ 27.17 |
| 66 618 | YSI | 3160 | Conductivity Calibrator Solution 1413 umhos/CM, +/- 1% (.01 MOLAR KCL) (8 ea, pint) | $ 105.19 |
| 66 618 | YSI | 3160 | Conductivity Calibrator Solution 1413 umhos/CM, +/- 1% (.01 MOLAR KCL) (8 ea, pint) | $ 105.19 |
| 66 618 | YSI | 380A | Carrying Case, Hard Plastic w/Form Fitted Foam Insert 12.5x9.5x3.7 | $ 33.31 |
| 66 618 | YSI | 4010 Power Supply | Universal power supply | $ 109.57 |
| 66 618 | YSI | 4010 Stand | Stand + holder for 4010-X | $ 197.23 |
| 66 618 | YSI | 4010-1 | MultiLab IDS One Channel Benchtop Instrument with memory and data transfer via USB. Includes single channel instrument, universal AC power supply, electrode stand, USB cable and PC software. | $ 959.85 |
| 66 618 | YSI | 4010-2 | MultiLab IDS Two Channel Benchtop Instrument with memory and data transfer via USB. Includes two channel instrument with color display, universal AC power supply, electrode stand, USB cable and PC software. | $ 1,271.03 |
| 66 618 | YSI | 4010-2/3 BNC | BNC pH adapter for 4010-2/3 | $ 153.40 |
| 66 618 | YSI | 4010-2/3 DIN | DIN pH adapter for 4010-2/3 | $ 153.40 |
| 66 618 | YSI | 4010-3 | MultiLab IDS Three Channel Benchtop Instrument with memory and data transfer via USB. Includes three channel instrument with color display, universal AC power supply, electrode stand, USB cable and PC software | $ 1,643.58 |
| 66 618 | YSI | 5518 | USB Power Supply, US | $ 36.82 |
| 66 618 | YSI | 5519 | USB Power Supply, International | $ 41.20 |
| 66 618 | YSI | 5740-10 | Cable Assembly - 10 ft. | $ 258.59 |
| 66 618 | YSI | 5740-100 | Cable Assembly - 100 ft. | $ 394.46 |
| 66 618 | YSI | 5740-150 | Cable Assembly - 150 ft. | $ 460.20 |
| 66 618 | YSI | 5740-200 | Cable Assembly - 200 ft. | $ 521.56 |
| 66 618 | YSI | 5740-25 | Cable Assembly - 25 ft. | $ 276.12 |
| 66 618 | YSI | 5740-50 | Cable Assembly - 50 ft. | $ 328.72 |
| 66 618 | YSI | 606110 | Electrode Kit, pH10A, Grey | $ 45.58 |
| 66 618 | YSI | 606112 | Electrode Kit, ORP15A, Greg | $ 63.99 |
| 66 618 | YSI | 606114 | Sensor Kit, EC30A, Grey | $ 39.45 |
| 66 618 | YSI | 6260 | ProOBOD Power Supply, US | $ 30.68 |
| 66 618 | YSI | 6261 | ProOBOD Power Supply, International | $ 34.19 |
| 66 618 | YSI | 6850 | Flow Cell Quatro | $ 333.10 |
| 66 618 | YSI | ADA USB | RS232 serial to USB adapter for pHotoFlex colorimeters (requires instrument RS 232 cable) | $ 63.11 |
| 66 618 | YSI | ADA-16/900 | Replacement COD tube adapter, 16 mm, 910 colorimeter | $ 13.15 |
| 66 618 | YSI | AK 540/B | PC interface cable for connecting pHotoFlex to a PC via RS 232 interface. | $ 87.66 |
| 66 618 | YSI | AK CR/P | Printer connection cable for CR 3200 and CR 4200 thermoreactors. | $ 48.21 |
| 66 618 | YSI | AK CR/PC | RS 232 PC connection cable for CR 3200 and CR 4200 thermoreactors. | $ 48.21 |
| 66 618 | YSI | AK Labor | PC interface cable for connecting Lab Station with a pHotoFlex to a PC via RS 232 interface. | $ 86.78 |
| 66 618 | YSI | Al-1 RP1 | ECR, powder pack reagent, pack of 100 | $ 48.21 |
| 66 618 | YSI | Al-1 RP2 | Hexamethylenetetramine Buffer, reagent powder packs, 20 mL, pack of 100 | $ 45.58 |
| 66 618 | YSI | Al-1 RP3 | ECR Masking, liquid reagent, 25 ml | $ 9.64 |
| 66 618 | YSI | Al-1 TP | Aluminum, powder pack reagent set with 25 ml ECR Masking liquid reagent, 100 tests | $ 98.18 |
| 66 618 | YSI | Cl2-1 TP | DPD, Chlorine, free, powder pack reagent, 10 ml, pack of 100 | $ 16.65 |
| 66 618 | YSI | Cl2-1 TP LP | DPD, Chlorine, free 10 ml, powder pack reagent, pack of 1000 | $ 142.01 |
| 66 618 | YSI | Cl2-2 TP | DPD, Chlorine, free, powder pack reagent, 25 ml, pack of 100 | $ 17.53 |
| 66 618 | YSI | Cl2-2 TP LP | DPD, Chlorine, free 25 ml, powder pack reagent, pack of 1000 | $ 149.02 |
| 66 618 | YSI | Cl2-3 TP | DPD, Chlorine, total, powder pack reagent, 10 ml, pack of 100 | $ 16.65 |
| 66 618 | YSI | Cl2-3 TP LP | DPD, Chlorine, total, powder pack reagent, 10 ml, pack of 1000 | $ 140.25 |
| 66 618 | YSI | Cl2-4 TP | DPD, Chlorine, total, powder pack reagent, 25 ml, pack of 100 | $ 18.41 |
| 66 618 | YSI | Cl2-4 TP LP | DPD, Chlorine, total, powder pack reagent, 25 ml, pack of 1000 | $ 151.65 |
| 66 618 | YSI | Cl2-F5F | DPD, Chlorine, free, powder pack reagent, 5 ml, pack of 100 | $ 14.03 |
| 66 618 | YSI | Cl2-F5F LP | DPD, Chlorine, free, powder pack reagent, 5 ml, pack of 1000 | $ 118.34 |
| 66 618 | YSI | Cl2-F5T | DPD, Chlorine, total, powder pack reagent, 5 ml, pack of 100 | $ 14.03 |
| 66 618 | YSI | Cl2-F5T LP | DPD, Chlorine, total, powder pack reagent, 5 ml, pack of 1000 | $ 118.34 |
| 66 618 | YSI | Cl2T1 TT (LR) | DPD No. 1 LR, tablet reagent, pack of 100 | $ 12.27 |
| 66 618 | YSI | Cl2T2 TT (LR) | DPD No. 3 LR, tablet reagent, pack of 100 | $ 12.27 |
| 66 618 | YSI | Cl2T3 TT (HR) | DPD No. 1 HR, tablet reagent, pack of 100 | $ 12.27 |
| 66 618 | YSI | Cl2T4 TT (HR) | DPD No. 3 HR, tablet reagent, pack of 100 | $ 11.40 |
| 66 618 | YSI | COD1 TC (LR) | COD, vial reagent, LR, pack of 25 | $ 30.68 |
| 66 618 | YSI | COD1 TC (LR) | COD, LR, vial reagent, pack of 150 | $ 177.94 |
| 66 618 | YSI | COD1-F TC (LR) | COD, LR, Hg Free, vial reagent, pack of 25 | $ 30.68 |
| 66 618 | YSI | COD2 TC (MR) | COD, vial reagent, HR, pack of 25 | $ 30.68 |
| 66 618 | YSI | COD2 TC (MR) | COD, HR, vial reagent, pack of 150 | $ 177.94 |
| 66 618 | YSI | COD2-F TC (MR) | COD, HR, Hg Free, vial reagent, pack of 25 | $ 30.68 |
| 66 618 | YSI | COD3 TC (HR) | COD, vial reagent, HR+, pack of 25 | $ 30.68 |
| 66 618 | YSI | COD3 TC (HR) | COD, HR+, vial reagent, pack of 150 | $ 177.94 |
| 66 618 | YSI | COD3-F TC (HR) | COD, HR+, Hg Free, vial reagent, pack of 25 | $ 30.68 |
| 66 618 | YSI | CR 2200 | Thermoreactor for COD and thermal digestions for up to 12 test tubes, with 3 reactors temperatures and 8 fixed programs. 115 V version. | $ 653.05 |
| 66 618 | YSI | CR 3200 | Thermoreactor for COD and thermal digestions, up to 24 reaction cuvettes, 8 user defined/8 fixed programs, selectable temperature. 115 V version. | $ 920.40 |
| 66 618 | YSI | CR 4200 | Thermoreactor for COD and thermal digestions, 2 different temperature blocks for up to 12 reaction cuvettes each, 8 user defined/8 fixed programs, selectable temperature. 115 V version. | $ 1,161.46 |
| 66 618 | YSI | Cu-1 TP | Copper, powder pack reagent, pack of 100 | $ 32.43 |
| 66 618 | YSI | Data Hub | 900 Data Hub for 900 and 910 colorimeters | $ 197.23 |
| 66 618 | YSI | DEHA1 RP1 | Oxygen Scavenger, DEHA 1, powder pack reagent, pack of 100 | $ 28.93 |
| 66 618 | YSI | DEHA1 RP2 | DEHA 2, liquid reagent, 100 ml for 400 tests | $ 13.15 |
| 66 618 | YSI | DEHA1 TP | Oxygen Scavenger, powder pack reagent, pack of 100 | $ 72.76 |
| 66 618 | YSI | DO200A | Dissolved Oxygen and Temp Instrument Only | $ 245.44 |
| 66 618 | YSI | DO200ACC-01 | Kit, DO200A, 1M Probe and Case | $ 521.56 |
| 66 618 | YSI | DO200ACC-04 | Kit, DO200A, 4M Probe and Case | $ 534.71 |
| 66 618 | YSI | DO200ACC-10 | Kit, DO200A, 10M Probe and Case | $ 552.24 |
| 66 618 | YSI | EC300A | Conductivity,TDS, Salinity,Temp Instrument Only | $ 258.59 |
| 66 618 | YSI | EC300ACC-01 | Kit, EC300A, 1M Probe and Case | $ 473.35 |
| 66 618 | YSI | EC300ACC-04 | Kit, EC300A, 4M Probe and Case | $ 477.73 |
| 66 618 | YSI | EC300ACC-10 | Kit, EC300A, 10M Probe and Case | $ 512.80 |
| 66 618 | YSI | EC30A | EC30A Conductivity, TDS, Temperature Pen Tester | $ 127.10 |
| 66 618 | YSI | FC pHotoFlex | Field case with field tray to hold pHotoFlex, stand and cuvettes. Additional space to hold accessories and pipette. | $ 241.06 |
| 66 618 | YSI | Fe-1 TP | Iron, total, LR, powder pack reagent, pack of 100 | $ 23.67 |
| 66 618 | YSI | Fe-2 TP | Iron, total, powder pack reagent, pack of 100 | $ 15.78 |
| 66 618 | YSI | Fe-2 TP LP | Iron, total, powder pack reagent, pack of 1000 | $ 140.25 |
| 66 618 | YSI | IDS 4110 | Combination pH and temperature, Plastic, Gel filled, digital, double junction probe, 1.5 meter cable | $ 197.23 |
| 66 618 | YSI | IDS 4110-3 | Combination pH and temperature, Plastic, Gel filled, digital, double junction probe, 3 meter cable | $ 227.91 |
| 66 618 | YSI | IDS 4120 | Combination pH and temperature, Plastic, 3 mol KCl, digital,double junction probe, 1.5 meter cable | $ 227.91 |
| 66 618 | YSI | IDS 4130 | Combination pH and temperature, Glass, 3 mol KCL, digital, double junction probe, 1.5 meter cable | $ 284.89 |
| 66 618 | YSI | IDS 4210 | Combination ORP, Glass , digital, double junction probe, 1.5 meter cable | $ 271.74 |
| 66 618 | YSI | IDS 4310 | Conductivity and temperature, Epoxy body, 4-graphite electrodes, digital probe, 1.5 meter cable | $ 315.57 |
| 66 618 | YSI | IDS 4310-3 | Conductivity and temperature, Epoxy body, 4-graphite electrodes, digital probe, 3 meter cable | $ 341.86 |
| 66 618 | YSI | IDS 4320 | Conductivity and temperature, Stainless Steel body, 2-electrodes, digital probe, 1.5 meter cable | $ 433.90 |
| 66 618 | YSI | IDS ProOBOD | Optical Self stirrring BOD probe with temperature sensor, IDS | $ 784.53 |
| 66 618 | YSI | IoLine - 3 in 1 | IoLine - 3 in 1, pH electrode, Triple Junction, Iodine/Iodide reference, 3 in 1, Refillable, Glass shaft, 1 meter cable, BNC connector, 1 banana plug, NTC 30 kOhm | $ 416.37 |
| 66 618 | YSI | IoLine Micro - 3 in 1 | IoLine Micro - 3 in 1, pH electrode, Triple Junction, Iodine/Iodide reference, 3 in 1, Refillable, Micro electrode, Glass shaft, 1 meter cable, BNC connector, 1 banana plug, NTC 30 kOhm | $ 534.71 |
| 66 618 | YSI | LK28-Set | 12 pHotoFlex replacement vials, 28 x 60 mm. | $ 33.31 |
| 66 618 | YSI | LS Flex/430 | LabStation for pHotoFlex series includes data management software, rechargeable batteries and universal plug, RS 232 interface. Loading function; barcode reader use optional. | $ 332.22 |
| 66 618 | YSI | LSdata Flex/430 | photoFlex GLP compliant PC software for data management and transfer. | $ 258.59 |
| 66 618 | YSI | MCA-1 RP1 | Monochloramine, free, powder pack reagent, pack of 100 | $ 42.95 |
| 66 618 | YSI | MCA-1 RP2 | Free Ammonia, liquid reagent, 4 ml, 40 or more tests | $ 30.68 |
| 66 618 | YSI | MCA-1 TP | Monochloramine, Ammonia Free, powder pack reagent, 100 powerder packs for monochloramine and 4 ml of reagent for 40 to 80 Free Ammonia tests | $ 73.63 |
| 66 618 | YSI | Mn-1 RP1 | Manganese Citrate Buffer, powder pack reagent, 10 mL, pack of 100 | $ 26.30 |
| 66 618 | YSI | Mn-1 RP2 | Sodium Periodate, powder pack reagent, 10 mL, pack of 100 | $ 19.28 |
| 66 618 | YSI | Mn-1 TP | Manganese HR, powder pack reagent, pack of 100 | $ 40.32 |
| 66 618 | YSI | Mn-2 A1 | Rochelle Salt, liquid reagent, 30 ml, number of tests varies with hardness concentration | $ 9.64 |
| 66 618 | YSI | Mn-2 A2 | Rochelle Salt, liquid reagent, 500 ml, number of tests varies with hardness concentration | $ 51.72 |
| 66 618 | YSI | Mn-2 RP1 | Alkaline-Cyanide, liquid reagent, 60 ml for 50 tests | $ 13.15 |
| 66 618 | YSI | Mn-2 RP2 | Ascorbic Acid, powder pack reagent, pack of 100 | $ 15.78 |
| 66 618 | YSI | Mn-2 RP3 | PAN Indicator, liquid reagent, 0.1%, 60 ml for 50 tests | $ 12.27 |
| 66 618 | YSI | Mn-2 RP4 | Alkaline-Cyanide, liquid reagent, 100 ml | $ 17.53 |
| 66 618 | YSI | Mn-2 RP5 | Alkaline-Cyanide, liquid reagent, 500 ml | $ 46.46 |
| 66 618 | YSI | Mn-2 RP6 | PAN Indicator, liquid reagent, 0.1 %, 100 ml | $ 18.41 |
| 66 618 | YSI | Mn-2 RP7 | PAN Indicator, liquid reagent, 0.1 %, 500 ml | $ 48.21 |
| 66 618 | YSI | Mn-2 TP | Manganese LR, powder pack reagent, pack of 50 | $ 36.82 |
| 66 618 | YSI | Mo-1 RP1 | Molybdate HR1, powder pack reagent, 10 mL, pack of 100 | $ 23.67 |
| 66 618 | YSI | Mo-1 RP2 | Molybdate HR2, powder pack reagent, 10 mL, pack of 100 | $ 24.54 |
| 66 618 | YSI | Mo-1 RP3 | Molybdate HR3, powder pack reagent, 10 mL, pack of 100 | $ 24.54 |
| 66 618 | YSI | Mo-1 TP | Molybdate, powder pack reagent, 10 ml, pack of 100 | $ 68.37 |
| 66 618 | YSI | Mo-2 RP1 | Molybdate HR1, powder pack reagent, 25 mL, pack of 100 | $ 29.80 |
| 66 618 | YSI | Mo-2 RP2 | Molybdate HR2, powder pack reagent, 25 mL, pack of 100 | $ 29.80 |
| 66 618 | YSI | Mo-2 RP3 | Molybdate HR3, powder pack reagent, 25 mL, pack of 100 | $ 29.80 |
| 66 618 | YSI | Mo-2 TP | Molybdate, powder pack reagent set, 25 ml, 100 tests | $ 83.27 |
| 66 618 | YSI | MultiLab 4010P-1 | MultiLab 4010P-1 IDS digital multiparameter single channel benchtop instrument with integrated thermal printer, data storage and data transfer via USB. Includes single channel instrument with printer, universal AC power supply, electrode stand, USB cable and PC software. | $ 1,222.82 |
| 66 618 | YSI | MultiLab 4010P-1 | MultiLab 4010P-1 IDS digital multiparameter single channel benchtop instrument with integrated thermal printer, data storage and data transfer via USB. Includes single channel instrument with printer, universal AC power supply, electrode stand, USB cable and PC software. | $ 1,222.82 |
| 66 618 | YSI | MultiLab Advanced BOD/pH Lab Kit | BOD/pH Lab kit, Two channel benchtop instrument with OBOD probe, combination pH and temperature dual junction probe and BOD Analyst Pro PC software | $ 2,629.72 |
| 66 618 | YSI | MultiLab AdvancedBOD Lab Kit | BOD Lab Kit, One Channel benchtop instrument with OBOD probe and BOD Analyst Pro PC software | $ 3,133.75 |
| 66 618 | YSI | MultiLab BOD Lab Kit | BOD Lab Kit, One Channel Benchtop instrument with OBOD probe | $ 1,744.38 |
| 66 618 | YSI | MultiLab BOD/pH Lab Kit | BOD/pH Lab kit, Two channel benchtop instrument with OBOD probe and with combination pH and temperature dual junction probe | $ 2,125.69 |
| 66 618 | YSI | MultiLab pH Lab Kit | pH Lab Kit, One Channel benchtop instrument with combination pH and temperature dual junction pH probe | $ 1,157.08 |
| 66 618 | YSI | N2H41 TR | Hydrazine, liquid reagent, 100ml for 50 tests | $ 14.03 |
| 66 618 | YSI | NH4-1 RP1 | Ammonia Cyanurate, powder pack reagent, 10 mL, pack of 100 | $ 32.43 |
| 66 618 | YSI | NH4-1 RP2 | Ammonia Salicylate, powder pack reagent, 10 mL, pack of 100 | $ 48.21 |
| 66 618 | YSI | NH4-1 TP | Nitrogen, Ammonia, powder pack reagent, pack of 100 | $ 81.52 |
| 66 618 | YSI | NH4-2 RP1 | Ammonia Cyanurate, powder pack reagent, 5 mL, pack of 50 | $ 15.78 |
| 66 618 | YSI | NH4-2 RP2 | Ammonia Salicylate, powder pack reagent, 5 mL, pack of 50 | $ 24.54 |
| 66 618 | YSI | NH4-2 TC (LR) | Nitrogen, Ammonia LR, vial reagent for uo to 49 tests | $ 71.88 |
| 66 618 | YSI | NH4-3 TC (HR) | Nitrogen, Ammonia HR, vial reagent for up to 49 tests | $ 65.74 |
| 66 618 | YSI | NO2-1 TP | Nitrite, LR, powder pack reagent, 10 ml, pack of 100 | $ 26.30 |
| 66 618 | YSI | NO2-2 TC | Nitrite TC, vial reagent, pack of 24 | $ 69.25 |
| 66 618 | YSI | NO2-3 TP | Nitrite, LR, powder pack reagent, 25 ml, pack of 100 | $ 30.68 |
| 66 618 | YSI | NO3-1 TC | Nitrate, vial reagent, pack of 50 for up to 49 tests. | $ 55.22 |
| 66 618 | YSI | Ntot1 TC (LR) | Nitrogen, Total, vial reagent, pack of 50 for 25 tests for up to 49 tests | $ 92.04 |
| 66 618 | YSI | Ntot-2 RP1 | Total Nitrogen Persulfate, powder pack reagent, 10 mL, pack of 50 | $ 10.52 |
| 66 618 | YSI | Ntot2 TC (HR) | Nitrogen, Total, vial reagent pack, pack of 50 for up to 49 tests | $ 100.81 |
| 66 618 | YSI | OBOD Kit INT | ProODO BOD International Kit | $ 1,424.43 |
| 66 618 | YSI | OBOD Kit INT ADV | ProODO BOD International Kit | $ 1,779.45 |
| 66 618 | YSI | OBOD Kit US | ProODO BOD US Kit | $ 1,398.14 |
| 66 618 | YSI | OBOD Kit US ADV | ProODO BOD US Kit | $ 1,748.77 |
| 66 618 | YSI | OBOD-CAP | Replacement OBOD Sensor Cap Kit | $ 92.04 |
| 66 618 | YSI | ODO Field Kit-10 | ProODO ODO 10 Meter | $ 1,284.18 |
| 66 618 | YSI | ODO Field Kit-4 | ProODO ODO 4 Meter | $ 1,222.82 |
| 66 618 | YSI | ODO Lab/Field-4 INT | ProODO Lab Field Kit 4 Meter International | $ 2,125.69 |
| 66 618 | YSI | ODO Lab/Field-4 US | ProODO Lab Field Kit 4 Meter US | $ 2,099.40 |
| 66 618 | YSI | ORP15A | ORP Temperature Pen Tester | $ 139.38 |
| 66 618 | YSI | P20 20-10 G | Pro20 Field Galvanic DO 10 Meter | $ 986.15 |
| 66 618 | YSI | P20 20-10 P | Pro20 Field Pol DO 10 Meter | $ 986.15 |
| 66 618 | YSI | P20 20-4 G | Pro20 Field Galvanic DO 4 Meter | $ 920.40 |
| 66 618 | YSI | P20 20-4 P | Pro20 Field Pol DO 4 Meter | $ 920.40 |
| 66 618 | YSI | P20 BOD INT | Pro20 BOD Kit | $ 1,161.46 |
| 66 618 | YSI | P20 BOD US | Pro20 BOD Kit | $ 1,161.46 |
| 66 618 | YSI | P20 DOLF-4 P | Pro20 Lab Field Kit 4 Meter | $ 1,621.66 |
| 66 618 | YSI | P2030 2030-10 G | Pro2030 Field Galvanic DO 10 Meter | $ 1,468.26 |
| 66 618 | YSI | P2030 2030-10 P | Pro2030 Field Pol DO 10 Meter | $ 1,468.26 |
| 66 618 | YSI | P2030 2030-4 G | Pro2030 Field Galvanic DO 4 Meter | $ 1,398.14 |
| 66 618 | YSI | P2030 2030-4 P | Pro2030 Field Pol DO 4 Meter | $ 1,398.14 |
| 66 618 | YSI | pH100A | pH, mV, Temp Instrument Only | $ 227.91 |
| 66 618 | YSI | pH100CCA-01 | pH100A, 1M Probe and Case | $ 331.35 |
| 66 618 | YSI | pH100CCA-04 | pH 100A, 4M Probe and Case | $ 359.40 |
| 66 618 | YSI | pH10A | pH Temperature Pen Tester | $ 100.81 |
| 66 618 | YSI | pHotoFlex pH | pHotoFlex pH LED filter colorimeter with 6 wavelengths, 38 pre-defined tests, 100 user-defined tests with BNC connector for pH probe and 1000 data set memory. | $ 1,135.16 |
| 66 618 | YSI | pHotoFlex pH/SET | pHotoFlex pH/SET. LED filter colorimeter with 6 wave lengths, BNC connector for pH probe in a field case with field tray, stand and vials; pH electrode, 2 each 10 ml and 2 ml syringe. Accessories: empty cuvettes 16+28 mm, cleaning tissues, stand, 2 empty buffer bottles, beaker, screw driver, PC-software LSdata, RS232 PC cable. | $ 1,748.77 |
| 66 618 | YSI | pHotoFlex STD | pHotoFlex STD LED colorimeter with 6 wavelengths, 35 pre-defined tests, 50 user-defined tests and 100 data set memory. | $ 872.19 |
| 66 618 | YSI | pHotoFlex STD/SET | pHotoFlex STD/SET. LED colorimeter with 6 wave lengths, in a field case with field tray to hold instrument, stand and vials, 2 ea 10 ml and 2 ml syringe. Accessories: empty cuvettes 16+28 mm, cleaning tissues, stand, 2 empty bottles, beaker, screw driver, PC-software LSdata, RS232 PC cable. | $ 1,485.79 |
| 66 618 | YSI | PO4-1 TP | Phosphate (Orthophosphate), powder pack reagent, pack of 100 | $ 23.67 |
| 66 618 | YSI | PO4-1 TP LP | Phosphate (Orthophosphate), powder pack reagent, pack of 1000 | $ 197.23 |
| 66 618 | YSI | PO4-2 TC | Phosphorous, Reactive (Orthophosphate), vial reagent, pack of 50 | $ 31.56 |
| 66 618 | YSI | PO4-3 TC | Phosphorous, Total, vial reagent, pack of 50 | $ 45.58 |
| 66 618 | YSI | PO4-4 RP1 | Phosphate 3, powder pack reagent, 10 mL, pack of 50 | $ 12.27 |
| 66 618 | YSI | PO4-4 RP2 | Potassium Persulfate, powder pack reagent, pack of 50 | $ 13.15 |
| 66 618 | YSI | PO4-4 RP3 | Sodium Hydroxide, liquid reagent, 1.54 N, 100 ml, 50 tests | $ 9.64 |
| 66 618 | YSI | PO4-4 RP4 | Sodium Hydroxide, liquid reagent, 1.00 N, 100 ml, 50 tests | $ 9.64 |
| 66 618 | YSI | PO4-4 TC | Phosphorous and Acid Hydolyzable, Total, vial reagent, pack of 50 | $ 48.21 |
| 66 618 | YSI | Potassium Iodide TP | Potassium Iodide, powder packs, pack of 100 | $ 17.53 |
| 66 618 | YSI | PP 1020-10 G | ProPlus PH Galvanic DO 1020 10 Meter | $ 1,910.93 |
| 66 618 | YSI | PP 1020-10 P | ProPlus PH Polargraphic DO 1020 10 Meter | $ 1,910.93 |
| 66 618 | YSI | PP 1020-4 G | ProPlus PH Galvanic DO 1020 4 Meter | $ 1,818.89 |
| 66 618 | YSI | PP 1020-4 P | ProPlus PH Polargraphic DO 1020 4 Meter | $ 1,818.89 |
| 66 618 | YSI | PP 1030-10 PH | ProPlus PH 1030 10 Meter | $ 1,669.87 |
| 66 618 | YSI | PP 1030-4 PH | ProPlus PH 1030 4 Meter | $ 1,582.22 |
| 66 618 | YSI | PP 2030-10 G | ProPlus Galvanic DO 2030 10 Meter | $ 1,823.27 |
| 66 618 | YSI | PP 2030-10 P | ProPlus Polargraphic DO 2030 10 Meter | $ 1,823.27 |
| 66 618 | YSI | PP 2030-4 G | ProPlus Galvanic l DO 2030 4 Meter | $ 1,731.23 |
| 66 618 | YSI | PP 2030-4 P | ProPlus Polargraphic DO 2030 4 Meter | $ 1,731.23 |
| 66 618 | YSI | PP 20-4G | ProPlus Galvanic DO 20 4 Meter | $ 1,424.43 |
| 66 618 | YSI | PP 20-4P | ProPlus Polargraphic DO 20 4 Meter | $ 1,424.43 |
| 66 618 | YSI | PP BOD INT | ProPlus BOD Kit, International | $ 1,674.26 |
| 66 618 | YSI | PP BOD PH INT | ProPlus BOD PH Kit, International | $ 1,827.66 |
| 66 618 | YSI | PP BOD PH US | ProPlus BOD PH Kit, US | $ 1,814.51 |
| 66 618 | YSI | PP BOD US | ProPlus BOD Kit, US | $ 1,661.11 |
| 66 618 | YSI | PP DOLF-4 P INT | ProPlus Lab Field Kit, International, 4 Meter | $ 2,038.04 |
| 66 618 | YSI | PP DOLF-4 P US | ProPlus Lab Field Kit, US, 4 Meter | $ 2,024.89 |
| 66 618 | YSI | PP Quatro-4 G PH | ProPlus Galvanic DO PH Quatro 4 Meter | $ 2,533.30 |
| 66 618 | YSI | PP Quatro-4 G PH/ORP | ProPlus Galvanic DO PH ORP Quatro 4 Meter | $ 2,708.61 |
| 66 618 | YSI | PP Quatro-4 P PH | ProPlus Polargraphic DO PH Quatro 4 Meter | $ 2,563.98 |
| 66 618 | YSI | PP Quatro-4 P PH/ORP | ProPlus Polargraphic DO PH ORP Quatro 4 Meter | $ 2,708.61 |
| 66 618 | YSI | Pro1020 | Dissolved Oxygen, pH/mV and Temperature Handheld | $ 635.52 |
| 66 618 | YSI | Pro1030 | pH/mV, Conductivity, Salinity, TDS and Temperature Handheld | $ 635.52 |
| 66 618 | YSI | Pro2030 | Dissolved Oxygen/Conductivity/Salinity Temperature Handheld | $ 661.81 |
| 66 618 | YSI | Pro30 | Conductivity, Salinity, TDS and Temperature Handheld | $ 482.12 |
| 66 618 | YSI | ProOBOD-INT | ProOBOD Probe, International | $ 819.60 |
| 66 618 | YSI | ProOBOD-US | ProOBOD Probe, US | $ 797.68 |
| 66 618 | YSI | QSC Kit | Calibration kit for IDS pH electrodes; 3 ampules: 4.01, 6.86, 9.18 | $ 24.54 |
| 66 618 | YSI | RB Flex/430 | Rechargeable battery with universal plug for all pHotoFlex pH models. | $ 148.14 |
| 66 618 | YSI | REP3-90001004Y | Replacement light shield, photoFlex pH | $ 28.05 |
| 66 618 | YSI | REP3-90001015Y | Replacement light shield, photoFlex STD | $ 30.68 |
| 66 618 | YSI | SC-24 | Sample cuvettes, 24 mm, pack of 12, 900 colorimeter | $ 51.72 |
| 66 618 | YSI | Science pHT-G | Science pHT-G, pH electrode, Double Junction, 3 in 1, ground joint junction, 170 mm length, glass shaft, 1 meter cable, BNC connector, 1 banana plug, NTC 30 kOhm | $ 306.80 |
| 66 618 | YSI | Science pHT-Micro | Science pHT-Micro, pH electrode, Double Junction, 3 in 1, Platinum junction, 170 mm length, Micro electrode, glass shaft, 1 meter cable, BNC connector, 1 banana plug, NTC 30 kOhm | $ 416.37 |
| 66 618 | YSI | Science pHT-Pt | Science pHT-Pt, pH electrode, Double Junction, 3 in 1, Platinum junction, 170 mm length, glass shaft, 1 meter cable, BNC connector, 1 banana plug, NTC 30 kOhm | $ 262.97 |
| 66 618 | YSI | ScienceLine Temp 135 | ScienceLine Temp 135, Temperature sensor, Stainless Steel, 120 mm, 1 banana plug, NTC 30 kOhm | $ 236.68 |
| 66 618 | YSI | ScienceLine Temp 136 | ScienceLine Temp 136, Temperature sensor, Glass, 120 mm, 1 banana plug, NTC 30 kOhm | $ 201.61 |
| 66 618 | YSI | Sentix® 42 | photoFlex pH electrode, integrated temperature sensor BNC plug and banana plug, 3.3 ft (1 m) cable | $ 170.93 |
| 66 618 | YSI | Si-1 RP1 | Amino Acid F, powder pack reagent, 10 mL, pack of 100 | $ 14.90 |
| 66 618 | YSI | Si-1 RP2 | Citric Acid, powder pack reagent, 10 mL, pack of 100 | $ 14.90 |
| 66 618 | YSI | Si-1 RP3 | Molybdate 3, liquid reagent, 50 ml | $ 12.27 |
| 66 618 | YSI | Si-1 TP (LR) | Silica, LR, powder pack reagent, pack of 100 | $ 45.58 |
| 66 618 | YSI | Si-2 RP1 | Silica HR Acid, powder pack reagent, 10 mL, pack of 100 | $ 21.04 |
| 66 618 | YSI | Si-2 RP2 | Silica HR Citric Acid, powder pack reagent, 10 mL, pack of 100 | $ 15.78 |
| 66 618 | YSI | Si-2 RP3 | Silica HR Molybdate, powder pack reagent, 10 mL, pack of 100 | $ 21.04 |
| 66 618 | YSI | Si-2 TP (HR) | Silica, HR, powder pack reagent, pack of 100 | $ 52.59 |
| 66 618 | YSI | Si-3 RP1 | Silica HR Acid, powder pack reagent, 25 mL, pack of 100 | $ 31.56 |
| 66 618 | YSI | Si-3 RP2 | Silica HR Citric Acid, powder pack reagent, 25 mL, pack of 100 | $ 20.16 |
| 66 618 | YSI | Si-3 RP3 | Silica HR Molybdate, powder pack reagent 25 mL, pack of 100. | $ 23.67 |
| 66 618 | YSI | Si-3 TP | Silica, UHR, powder pack reagent, pack of 100 | $ 69.25 |
| 66 618 | YSI | SL-Ci2 1.5 mg/L | Primary Chlorine Standard, 1.5 mg/L, 100 mL, 900 colorimeter | $ 19.28 |
| 66 618 | YSI | SO4-1 TP | Sulfate, powder pack reagent, 10 ml, pack of 100 | $ 22.79 |
| 66 618 | YSI | SO4-2 TP | Sulfate, powder pack reagent, 25 ml, pack of 100 | $ 23.67 |
| 66 618 | YSI | Sulfamic Acid TP | Sulfamic Acid, powder pack reagent, 10 mL, pack of 100 | $ 13.15 |
| 66 618 | YSI | TFK CR | External temperature sensor for CR 3200 and CR 4200 thermoreactors. | $ 179.70 |
| 66 618 | YSI | TruLab pH 1110 | TruLab 1110 pH/mV single channel benchtop instrument with BNC and two banana plug connectors. Includes instrument, universal AC power supply and electrode stand. | $ 521.56 |
| 66 618 | YSI | TruLab pH 1310 | TruLab 1310 pH/mV single channel benchtop instrument with BNC and two banana plug connectors, data storage and data transfer via USB. Includes instrument, universal AC power supply, electrode stand, USB cable and PC software. | $ 696.88 |
| 66 618 | YSI | TruLab pH 1310P | TruLab 1310P pH/mV single channel benchtop instrument with BNC and two banana plug connectors, data storage, data transfer via USB and integrated thermal printer. Includes instrument with printer, universal AC power supply, electrode stand, USB cable and PC software. | $ 920.40 |
| 66 618 | YSI | TruLab pH/ISE 1320 | TruLab 1320 pH/mV/ISE dual channel benchtop meter instrument with two BNC and 4 banana plug connectors, data storage and data transfer via USB. Includes two channel instrument, universal AC power supply, electrode stand, USB cable and PC software. | $ 1,398.14 |
| 66 618 | YSI | TruLab pH/ISE 1320P | TruLab 1320P pH/mV/ISE dual channel benchtop meter instrument with two BNC and two banana plug connectors, integrated thermal printer, data storage and data transfer via USB. Includes two channel instrument with printer, universal AC power supply, electrode stand, USB cable and PC software. | $ 1,573.45 |
| 66 618 | YSI | TruLine ORP 50 | TruLine ORP 50, ORP electrode, Single Junction, Refillable, Glass shaft, 1 meter cable, BNC Connector | $ 188.46 |
| 66 618 | YSI | TruLine ORP 51 | TruLine ORP 51, ORP electrode, Single Junction, Gel electrolyte, Epoxy shaft, 1 meter cable, BNC Connector | $ 153.40 |
| 66 618 | YSI | TruLine pH 15 | TruLine pH 15, pH electrode, Single Junction, 3 in 1, Refillable, Glass shaft, 1 meter cable, BNC connector, 1 banana plug, NTC 30 kOhm | $ 205.99 |
| 66 618 | YSI | TruLine pH 17 | TruLine pH 17, pH electrode, Single Junction, Combination, Refillable, Glass shaft, 1 meter cable, BNC Connector | $ 144.63 |
| 66 618 | YSI | TruLine pH 21 | TruLine 21 pH, Single Junction, Combination, Spear tip membrane, Epoxy shaft, 1 meter cable, BNC connector. | $ 311.18 |
| 66 618 | YSI | TruLine pH 25 | TruLine pH 25, pH electrode, Single Junction, Combination, Gel electrolyte, Epoxy shaft, 1 meter cable, BNC Connector | $ 109.57 |
| 66 618 | YSI | TruLine pH 26 | TruLine pH 26, pH electrode, Single Junction, 3 in 1, Gel electrolyte, Epoxy shaft, 1 meter cable, BNC connector, 1 banana plug, NTC 30 kOhm | $ 170.93 |
| 66 618 | YSI | TruLine pH 27 | TruLine pH 27, pH electrode, Single Junction, Combination, Flat glass membrane, Glass shaft, 1 meter cable, BNC Connector | $ 223.53 |
| 66 618 | YSI | USB A – Mini B Cable | USB cable for connecting instrument with USB-Mini B to a Computer | $ 10.96 |
| 66 618 | YSI | USB A – Mini B Cable | USB cable for connecting instrument with USB-Mini B to a Computer | $ 10.96 |
| 66 618 | YSI | X’s* | Cable Lengths, Extra Long available in 25' increments only | $ 48.21 |
| 66 618 | YSI | YAP064 | Chlorine Dioxide LR (Lissamine Green B) | $ 118.34 |
| 66 618 | YSI | YAP065 | Chlorine Dioxide HR (Lissamine Green B) | $ 118.34 |
| 66 618 | YSI | YAP187 | Copper (free) | $ 96.42 |
| 66 618 | YSI | YAP292 | Iron MR | $ 105.19 |
| 66 618 | YSI | YPL503 | Dissolved Oxygen (0.0-2.0 vials) | $ 135.87 |
| 66 618 | YSI | YPL553 | Dissolved Oxygen (0.0-0.8 vials) | $ 135.87 |
| 66 618 | YSI | YPM272 | PHMB | $ 19.28 |
| 66 618 | YSI | YPM290 | Silica HR | $ 56.98 |
| 66 618 | YSI | YPM292 | Iron MR | $ 46.46 |
| 66 618 | YSI | YPT282 | Instruction Manual, Comprehensive | $ 26.30 |
| 66 618 | YSI | YPT303 | Work Tray | $ 134.99 |
| 66 618 | YSI | YPT745USA | Power Supply, universal 110- 230 VAC, 9300/9500 | $ 77.14 |